## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-03 12:11

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
121110 | 2021-05-03 11:43 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 231.1787 | μmol/L | 29.0748 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 19.685 | 91887.5569 | 212127.3077 | 27.3 | 43.4
121120 | 2021-05-03 11:44 | 0.3318 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 229.8056 | μmol/L | 29.1606 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 19.722 | 92072.1895 | 212116.6061 | 27.3 | 43.4
121130 | 2021-05-03 11:44 | 0.66552 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 229.0299 | μmol/L | 29.1912 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 19.749 | 92206.7256 | 212106.606 | 27.3 | 43.4
121140 | 2021-05-03 11:44 | 0.99837 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 228.5101 | μmol/L | 29.1912 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 19.774 | 92317.7018 | 212109.1003 | 27.3 | 43.4
121150 | 2021-05-03 11:45 | 1.3322 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 228.175 | μmol/L | 29.2157 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 19.782 | 92376.5829 | 212100.5598 | 27.3 | 43.4
121160 | 2021-05-03 11:45 | 1.6651 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.4444 | μmol/L | 29.2648 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 19.801 | 92452.567 | 212100.3555 | 27.3 | 43.4
121170 | 2021-05-03 11:45 | 1.9989 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.1951 | μmol/L | 29.277 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 19.809 | 92490.7453 | 212100.1516 | 27.3 | 43.4
121180 | 2021-05-03 11:46 | 2.3318 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 226.9452 | μmol/L | 29.2954 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 19.815 | 92529.6039 | 212091.7553 | 27.3 | 43.4
121190 | 2021-05-03 11:46 | 2.6649 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 226.171 | μmol/L | 29.3873 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 19.822 | 92560.2917 | 212098.5896 | 27.3 | 43.4
121200 | 2021-05-03 11:46 | 2.9987 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 225.9855 | μmol/L | 29.3935 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 19.829 | 92604.2703 | 212096.9847 | 27.3 | 43.4
121210 | 2021-05-03 11:47 | 3.3316 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 225.9082 | μmol/L | 29.3628 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 19.843 | 92661.7897 | 212094.8853 | 27.3 | 43.4
121220 | 2021-05-03 11:47 | 3.6648 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 225.7182 | μmol/L | 29.3996 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 19.84 | 92637.2385 | 212089.6252 | 27.3 | 43.4
121230 | 2021-05-03 11:47 | 3.9985 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 225.4309 | μmol/L | 29.4057 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 19.852 | 92707.9817 | 212085.792 | 27.3 | 43.4
121240 | 2021-05-03 11:48 | 4.3318 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 224.9575 | μmol/L | 29.4302 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 19.867 | 92755.9711 | 212077.0586 | 27.3 | 43.4
121250 | 2021-05-03 11:48 | 4.6648 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 224.8312 | μmol/L | 29.4548 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 19.865 | 92771.0266 | 212075.1052 | 27.3 | 43.4
121260 | 2021-05-03 11:48 | 4.9987 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 224.7314 | μmol/L | 29.4425 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 19.874 | 92817.7992 | 212077.3579 | 27.3 | 43.4
121270 | 2021-05-03 11:49 | 5.3316 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 224.2565 | μmol/L | 29.4854 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 19.883 | 92855.4708 | 212064.3548 | 27.3 | 43.4
121280 | 2021-05-03 11:49 | 5.6655 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 224.1581 | μmol/L | 29.467 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 19.894 | 92878.762 | 212066.8244 | 27.3 | 43.4
121290 | 2021-05-03 11:49 | 5.9985 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 224.1367 | μmol/L | 29.4731 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 19.893 | 92883.933 | 212059.8437 | 27.3 | 43.4
121300 | 2021-05-03 11:50 | 6.3315 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 223.871 | μmol/L | 29.4854 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 19.902 | 92916.3946 | 212042.8463 | 27.3 | 43.4
121310 | 2021-05-03 11:50 | 6.6653 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 223.7604 | μmol/L | 29.4854 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.907 | 92946.5287 | 212052.8473 | 27.3 | 43.4
121320 | 2021-05-03 11:50 | 6.9982 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 223.9307 | μmol/L | 29.4915 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 19.897 | 92932.0596 | 212051.7587 | 27.3 | 43.4
121330 | 2021-05-03 11:51 | 7.332 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 223.2989 | μmol/L | 29.516 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 19.92 | 93003.179 | 212034.9722 | 27.3 | 43.4
121340 | 2021-05-03 11:51 | 7.665 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 223.2504 | μmol/L | 29.5099 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.924 | 93017.8405 | 212033.3016 | 27.3 | 43.4
121350 | 2021-05-03 11:51 | 7.9983 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 223.2596 | μmol/L | 29.5099 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 19.924 | 93035.4926 | 212024.4331 | 27.3 | 43.4
121360 | 2021-05-03 11:52 | 8.3319 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 223.0533 | μmol/L | 29.5344 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 19.926 | 93037.4744 | 212023.8062 | 27.3 | 43.4
121370 | 2021-05-03 11:52 | 8.6649 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.8471 | μmol/L | 29.5589 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 19.928 | 93066.8606 | 212024.5774 | 27.3 | 43.4
121380 | 2021-05-03 11:52 | 8.9988 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.9054 | μmol/L | 29.5712 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 19.921 | 93037.6881 | 212014.9022 | 27.3 | 43.4
121390 | 2021-05-03 11:53 | 9.3319 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.602 | μmol/L | 29.5773 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 19.934 | 93079.3879 | 212008.9669 | 27.3 | 43.4
121400 | 2021-05-03 11:53 | 9.6648 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.5928 | μmol/L | 29.5773 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.934 | 93078.3559 | 212003.833 | 27.3 | 43.4
121410 | 2021-05-03 11:53 | 9.9986 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.4599 | μmol/L | 29.5835 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 19.939 | 93078.3049 | 211998.0069 | 27.3 | 43.4
121420 | 2021-05-03 11:54 | 10.3316 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.5738 | μmol/L | 29.5712 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.937 | 93079.4743 | 211996.5476 | 27.3 | 43.4
121430 | 2021-05-03 11:54 | 10.6654 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.602 | μmol/L | 29.5773 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 19.934 | 93072.9618 | 211986.095 | 27.3 | 43.4
121440 | 2021-05-03 11:54 | 10.9984 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.3984 | μmol/L | 29.5896 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 19.94 | 93095.9384 | 211985.0998 | 27.3 | 43.4
121450 | 2021-05-03 11:55 | 11.3322 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.2249 | μmol/L | 29.608 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.942 | 93100.1888 | 211987.5197 | 27.3 | 43.4
121460 | 2021-05-03 11:55 | 11.6649 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.2438 | μmol/L | 29.6141 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.939 | 93082.5247 | 211980.2039 | 27.3 | 43.4
121470 | 2021-05-03 11:55 | 11.9986 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.9981 | μmol/L | 29.6386 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.943 | 93090.9569 | 211982.9565 | 27.3 | 43.4
121480 | 2021-05-03 11:56 | 12.3317 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.0533 | μmol/L | 29.608 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 19.951 | 93119.5122 | 211974.3061 | 27.3 | 43.4
121490 | 2021-05-03 11:56 | 12.6648 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.9117 | μmol/L | 29.6141 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 19.956 | 93138.1536 | 211960.4758 | 27.3 | 43.4
121500 | 2021-05-03 11:56 | 12.9987 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.6159 | μmol/L | 29.6448 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.96 | 93164.5628 | 211956.2767 | 27.3 | 43.4
121510 | 2021-05-03 11:57 | 13.3316 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.3236 | μmol/L | 29.6509 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 19.973 | 93216.8552 | 211963.3889 | 27.3 | 43.4
121520 | 2021-05-03 11:57 | 13.6652 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.3532 | μmol/L | 29.657 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.969 | 93207.6889 | 211956.074 | 27.3 | 43.4
121530 | 2021-05-03 11:57 | 13.9984 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.1097 | μmol/L | 29.6754 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.975 | 93213.8081 | 211946.8557 | 27.3 | 43.4
121540 | 2021-05-03 11:58 | 14.3315 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.9653 | μmol/L | 29.6448 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 19.993 | 93291.0074 | 211943.2244 | 27.3 | 43.4
121550 | 2021-05-03 11:58 | 14.6652 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.7342 | μmol/L | 29.657 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20 | 93326.1664 | 211941.3938 | 27.3 | 43.4
121560 | 2021-05-03 11:58 | 14.9982 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.9935 | μmol/L | 29.657 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.987 | 93274.2768 | 211934.3921 | 27.3 | 43.4
121570 | 2021-05-03 11:59 | 15.3321 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.7018 | μmol/L | 29.7183 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.981 | 93242.7478 | 211938.445 | 27.3 | 43.4
121580 | 2021-05-03 11:59 | 15.665 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.7005 | μmol/L | 29.7244 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.979 | 93240.3171 | 211931.0435 | 27.3 | 43.4
121590 | 2021-05-03 11:59 | 15.9982 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.1813 | μmol/L | 29.6631 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 19.976 | 93251.8748 | 211923.7871 | 27.3 | 43.4
121600 | 2021-05-03 12:00 | 16.3321 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.8277 | μmol/L | 29.6877 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.985 | 93244.139 | 211910.3863 | 27.3 | 43.4
121610 | 2021-05-03 12:00 | 16.6656 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.031 | μmol/L | 29.6693 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.981 | 93240.976 | 211918.3898 | 27.3 | 43.4
121620 | 2021-05-03 12:00 | 16.9987 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.9524 | μmol/L | 29.6631 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.987 | 93259.4263 | 211927.353 | 27.3 | 43.4
121630 | 2021-05-03 12:01 | 17.3318 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.6644 | μmol/L | 29.706 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.987 | 93267.4439 | 211924.4186 | 27.3 | 43.4
121640 | 2021-05-03 12:01 | 17.6656 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.3537 | μmol/L | 29.7122 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.001 | 93296.4316 | 211916.3998 | 27.3 | 43.4
121650 | 2021-05-03 12:01 | 17.9985 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.4652 | μmol/L | 29.706 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.997 | 93289.0341 | 211919.0655 | 27.3 | 43.4
121660 | 2021-05-03 12:02 | 18.3315 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.5661 | μmol/L | 29.6999 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.994 | 93293.5971 | 211907.5382 | 27.3 | 43.4
121670 | 2021-05-03 12:02 | 18.6649 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.0598 | μmol/L | 29.7428 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.005 | 93318.0581 | 211900.9933 | 27.3 | 43.4
121680 | 2021-05-03 12:02 | 18.9988 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.8997 | μmol/L | 29.7919 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 19.997 | 93305.8638 | 211893.3306 | 27.3 | 43.4
121690 | 2021-05-03 12:03 | 19.3319 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.7317 | μmol/L | 29.7919 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.005 | 93321.8339 | 211892.9235 | 27.3 | 43.4
121700 | 2021-05-03 12:03 | 19.665 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.036 | μmol/L | 29.7612 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20 | 93317.3399 | 211886.8958 | 27.3 | 43.4
121710 | 2021-05-03 12:03 | 19.9989 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.8137 | μmol/L | 29.7796 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.005 | 93352.1239 | 211884.956 | 27.3 | 43.4
121720 | 2021-05-03 12:04 | 20.3317 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.7607 | μmol/L | 29.749 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.018 | 93391.7254 | 211880.8449 | 27.3 | 43.4
121730 | 2021-05-03 12:04 | 20.6655 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.5348 | μmol/L | 29.7857 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.017 | 93406.7369 | 211869.615 | 27.3 | 43.4
121740 | 2021-05-03 12:04 | 20.9984 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.2536 | μmol/L | 29.8041 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.025 | 93440.0444 | 211883.3355 | 27.3 | 43.4
121750 | 2021-05-03 12:05 | 21.3314 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.47 | μmol/L | 29.8102 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.012 | 93405.5226 | 211849.9161 | 27.3 | 43.4
121760 | 2021-05-03 12:05 | 21.6651 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.0201 | μmol/L | 29.8286 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.029 | 93454.6033 | 211863.4338 | 27.3 | 43.4
121770 | 2021-05-03 12:05 | 21.9988 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.7868 | μmol/L | 29.8593 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.03 | 93496.3195 | 211854.4342 | 27.3 | 43.4
121780 | 2021-05-03 12:06 | 22.3317 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.8345 | μmol/L | 29.8225 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.04 | 93530.1083 | 211855.393 | 27.3 | 43.4
121790 | 2021-05-03 12:06 | 22.6654 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.8529 | μmol/L | 29.8286 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.037 | 93533.4685 | 211852.1464 | 27.3 | 43.4
121800 | 2021-05-03 12:06 | 22.9985 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.574 | μmol/L | 29.8409 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.047 | 93562.9372 | 211847.8462 | 27.3 | 43.4
121810 | 2021-05-03 12:07 | 23.3316 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.7303 | μmol/L | 29.847 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.037 | 93524.7019 | 211846.2335 | 27.3 | 43.4
121820 | 2021-05-03 12:07 | 23.6655 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.408 | μmol/L | 29.8777 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.043 | 93548.0828 | 211845.3479 | 27.3 | 43.4
121830 | 2021-05-03 12:07 | 23.9985 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.4685 | μmol/L | 29.8715 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.042 | 93558.6542 | 211837.1543 | 27.3 | 43.4
121840 | 2021-05-03 12:08 | 24.3322 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.8966 | μmol/L | 29.8777 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.069 | 93648.1235 | 211835.9266 | 27.3 | 43.4
121850 | 2021-05-03 12:08 | 24.6653 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.9176 | μmol/L | 29.8715 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.07 | 93662.1445 | 211827.0074 | 27.3 | 43.4
121860 | 2021-05-03 12:08 | 24.9983 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.8391 | μmol/L | 29.8715 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.074 | 93680.9944 | 211831.3946 | 27.3 | 43.4
121870 | 2021-05-03 12:09 | 25.3321 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.4622 | μmol/L | 29.8899 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.087 | 93743.6593 | 211825.9974 | 27.3 | 43.4
121880 | 2021-05-03 12:09 | 25.6653 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.3447 | μmol/L | 29.8899 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.093 | 93760.9744 | 211824.2688 | 27.3 | 43.4
121890 | 2021-05-03 12:09 | 25.9983 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.2952 | μmol/L | 29.8899 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.096 | 93797.3838 | 211825.293 | 27.3 | 43.4
121900 | 2021-05-03 12:10 | 26.332 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.8939 | μmol/L | 29.9328 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.102 | 93827.546 | 211811.289 | 27.3 | 43.4
121910 | 2021-05-03 12:10 | 26.6648 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.8548 | μmol/L | 29.9328 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.104 | 93836.6506 | 211816.4103 | 27.3 | 43.4
121920 | 2021-05-03 12:10 | 26.9986 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.637 | μmol/L | 29.9083 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.123 | 93905.4288 | 211812.7055 | 27.3 | 43.4
121930 | 2021-05-03 12:11 | 27.332 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.7916 | μmol/L | 29.9145 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.113 | 93946.1617 | 211801.4035 | 27.3 | 43.4