## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-03 12:11

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
121111 | 2021-05-03 11:43 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 202.9717 | μmol/L | 29.1423 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.628 | 86483.5359 | 289667.1303 | 28.7 | 67.6
121121 | 2021-05-03 11:44 | 0.32527 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 202.005 | μmol/L | 29.1728 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.671 | 86656.6329 | 289672.1939 | 28.7 | 67.6
121131 | 2021-05-03 11:44 | 0.65916 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 201.1684 | μmol/L | 29.2277 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.699 | 86811.251 | 289659.0027 | 28.7 | 67.6
121141 | 2021-05-03 11:44 | 0.99218 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.571 | μmol/L | 29.2582 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.722 | 86891.6419 | 289661.07 | 28.7 | 67.6
121151 | 2021-05-03 11:45 | 1.3259 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.1017 | μmol/L | 29.2827 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.74 | 86961.0876 | 289649.1982 | 28.7 | 67.6
121161 | 2021-05-03 11:45 | 1.6587 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.9218 | μmol/L | 29.2888 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.748 | 87023.1815 | 289651.7269 | 28.7 | 67.6
121171 | 2021-05-03 11:45 | 1.9925 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.7609 | μmol/L | 29.2827 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.759 | 87084.0711 | 289655.8823 | 28.7 | 67.6
121181 | 2021-05-03 11:46 | 2.3252 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.6898 | μmol/L | 29.2766 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.765 | 87096.7355 | 289643.4149 | 28.7 | 67.6
121191 | 2021-05-03 11:46 | 2.6591 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.5451 | μmol/L | 29.2949 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.767 | 87129.0797 | 289654.5434 | 28.7 | 67.6
121201 | 2021-05-03 11:46 | 2.992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.401 | μmol/L | 29.3071 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.771 | 87147.1178 | 289645.1277 | 28.7 | 67.6
121211 | 2021-05-03 11:47 | 3.3258 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.2376 | μmol/L | 29.3376 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.77 | 87164.3165 | 289644.2189 | 28.7 | 67.6
121221 | 2021-05-03 11:47 | 3.6589 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.0569 | μmol/L | 29.362 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.772 | 87173.1208 | 289635.916 | 28.7 | 67.6
121231 | 2021-05-03 11:47 | 3.9926 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.9115 | μmol/L | 29.3925 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.77 | 87168.0528 | 289625.8015 | 28.7 | 67.6
121241 | 2021-05-03 11:48 | 4.3257 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.75 | μmol/L | 29.4047 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.775 | 87168.6721 | 289612.3003 | 28.7 | 67.6
121251 | 2021-05-03 11:48 | 4.6586 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.6581 | μmol/L | 29.4352 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.77 | 87169.4052 | 289601.6153 | 28.7 | 67.6
121261 | 2021-05-03 11:48 | 4.9926 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.5502 | μmol/L | 29.4474 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.772 | 87159.2957 | 289601.3464 | 28.7 | 67.6
121271 | 2021-05-03 11:49 | 5.3257 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.514 | μmol/L | 29.4535 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.772 | 87151.8867 | 289583.5166 | 28.7 | 67.6
121281 | 2021-05-03 11:49 | 5.6587 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.5485 | μmol/L | 29.4657 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.766 | 87134.7075 | 289569.5835 | 28.7 | 67.6
121291 | 2021-05-03 11:49 | 5.9925 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.4216 | μmol/L | 29.4901 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.765 | 87133.0168 | 289558.3811 | 28.7 | 67.6
121301 | 2021-05-03 11:50 | 6.3253 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.5284 | μmol/L | 29.4901 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.759 | 87084.6267 | 289554.8183 | 28.7 | 67.6
121311 | 2021-05-03 11:50 | 6.6591 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.9376 | μmol/L | 29.5328 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.778 | 87198.8551 | 289544.5611 | 28.7 | 67.6
121321 | 2021-05-03 11:50 | 6.9919 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.1548 | μmol/L | 29.4901 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.78 | 87210.0716 | 289532.9601 | 28.7 | 67.6
121331 | 2021-05-03 11:51 | 7.3257 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.6539 | μmol/L | 29.5328 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.794 | 87263.3235 | 289532.0525 | 28.7 | 67.6
121341 | 2021-05-03 11:51 | 7.6589 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.6178 | μmol/L | 29.5389 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.794 | 87263.2577 | 289520.1495 | 28.7 | 67.6
121351 | 2021-05-03 11:51 | 7.9926 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.3833 | μmol/L | 29.5817 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.793 | 87272.0666 | 289513.5362 | 28.7 | 67.6
121361 | 2021-05-03 11:52 | 8.3256 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.4396 | μmol/L | 29.5511 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.8 | 87287.873 | 289500.1467 | 28.7 | 67.6
121371 | 2021-05-03 11:52 | 8.6586 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.3675 | μmol/L | 29.5633 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.8 | 87296.0958 | 289501.8448 | 28.7 | 67.6
121381 | 2021-05-03 11:52 | 8.9923 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.1155 | μmol/L | 29.6061 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.8 | 87293.0064 | 289487.6424 | 28.7 | 67.6
121391 | 2021-05-03 11:53 | 9.3252 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.1135 | μmol/L | 29.6244 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.794 | 87277.5691 | 289467.8279 | 28.7 | 67.6
121401 | 2021-05-03 11:53 | 9.6588 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.1495 | μmol/L | 29.6183 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.794 | 87263.7611 | 289467.1305 | 28.7 | 67.6
121411 | 2021-05-03 11:53 | 9.9919 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.8637 | μmol/L | 29.6488 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.8 | 87283.5621 | 289454.1184 | 28.7 | 67.6
121421 | 2021-05-03 11:54 | 10.3256 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.901 | μmol/L | 29.6305 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.804 | 87309.9065 | 289461.8922 | 28.7 | 67.6
121431 | 2021-05-03 11:54 | 10.6585 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.4381 | μmol/L | 29.6732 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.816 | 87332.784 | 289437.3529 | 28.7 | 67.6
121441 | 2021-05-03 11:54 | 10.9925 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.8644 | μmol/L | 29.6427 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.802 | 87285.5365 | 289433.8283 | 28.7 | 67.6
121451 | 2021-05-03 11:55 | 11.3255 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.9288 | μmol/L | 29.6244 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.804 | 87301.1238 | 289419.334 | 28.7 | 67.6
121461 | 2021-05-03 11:55 | 11.6592 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.5078 | μmol/L | 29.6793 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.81 | 87323.9785 | 289418.7505 | 28.7 | 67.6
121471 | 2021-05-03 11:55 | 11.9922 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.2945 | μmol/L | 29.6976 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.816 | 87344.2909 | 289411.2221 | 28.7 | 67.6
121481 | 2021-05-03 11:56 | 12.3253 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.2586 | μmol/L | 29.7037 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.816 | 87350.6909 | 289396.9031 | 28.7 | 67.6
121491 | 2021-05-03 11:56 | 12.6591 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.1869 | μmol/L | 29.7159 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.816 | 87345.888 | 289384.1804 | 28.7 | 67.6
121501 | 2021-05-03 11:56 | 12.992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.4381 | μmol/L | 29.6732 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.816 | 87341.514 | 289388.5855 | 28.7 | 67.6
121511 | 2021-05-03 11:57 | 13.3257 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.197 | μmol/L | 29.7098 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.817 | 87343.8632 | 289374.5716 | 28.7 | 67.6
121521 | 2021-05-03 11:57 | 13.6585 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.8772 | μmol/L | 29.7403 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.825 | 87371.6635 | 289361.7636 | 28.7 | 67.6
121531 | 2021-05-03 11:57 | 13.9923 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.1158 | μmol/L | 29.722 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.818 | 87359.4406 | 289365.3777 | 28.7 | 67.6
121541 | 2021-05-03 11:58 | 14.3259 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.903 | μmol/L | 29.7403 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.824 | 87383.7684 | 289352.5831 | 28.7 | 67.6
121551 | 2021-05-03 11:58 | 14.6588 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.8847 | μmol/L | 29.7464 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.823 | 87384.6919 | 289360.8925 | 28.7 | 67.6
121561 | 2021-05-03 11:58 | 14.9919 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.7436 | μmol/L | 29.7525 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.829 | 87400.3498 | 289345.3141 | 28.7 | 67.6
121571 | 2021-05-03 11:59 | 15.3255 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.6661 | μmol/L | 29.7464 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.835 | 87419.4097 | 289335.7727 | 28.7 | 67.6
121581 | 2021-05-03 11:59 | 15.6586 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.6508 | μmol/L | 29.7281 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.842 | 87429.3353 | 289323.4757 | 28.7 | 67.6
121591 | 2021-05-03 11:59 | 15.9923 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.3911 | μmol/L | 29.7708 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.843 | 87461.7071 | 289324.3045 | 28.7 | 67.6
121601 | 2021-05-03 12:00 | 16.3254 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.3903 | μmol/L | 29.7769 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.841 | 87440.6488 | 289320.504 | 28.7 | 67.6
121611 | 2021-05-03 12:00 | 16.659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.3647 | μmol/L | 29.7769 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.842 | 87460.6525 | 289317.4022 | 28.7 | 67.6
121621 | 2021-05-03 12:00 | 16.992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.3647 | μmol/L | 29.7769 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.842 | 87460.1051 | 289310.1326 | 28.7 | 67.6
121631 | 2021-05-03 12:01 | 17.3258 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.5085 | μmol/L | 29.7464 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.844 | 87473.8478 | 289286.5498 | 28.7 | 67.6
121641 | 2021-05-03 12:01 | 17.6587 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.1083 | μmol/L | 29.7952 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.851 | 87502.3815 | 289291.947 | 28.7 | 67.6
121651 | 2021-05-03 12:01 | 17.9923 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.2644 | μmol/L | 29.7403 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.86 | 87517.818 | 289271.7064 | 28.7 | 67.6
121661 | 2021-05-03 12:02 | 18.3252 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.101 | μmol/L | 29.7891 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.853 | 87518.4688 | 289292.1048 | 28.7 | 67.6
121671 | 2021-05-03 12:02 | 18.6589 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.1724 | μmol/L | 29.7769 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.853 | 87516.327 | 289277.2348 | 28.7 | 67.6
121681 | 2021-05-03 12:02 | 18.9922 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.7671 | μmol/L | 29.8074 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.866 | 87542.7358 | 289274.747 | 28.7 | 67.6
121691 | 2021-05-03 12:03 | 19.326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.7995 | μmol/L | 29.8258 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.858 | 87521.3553 | 289265.1794 | 28.7 | 67.6
121701 | 2021-05-03 12:03 | 19.6589 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.4786 | μmol/L | 29.8807 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.858 | 87518.7701 | 289255.767 | 28.7 | 67.6
121711 | 2021-05-03 12:03 | 19.9926 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.4454 | μmol/L | 29.8685 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.864 | 87547.3373 | 289262.8145 | 28.7 | 67.6
121721 | 2021-05-03 12:04 | 20.3256 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.4098 | μmol/L | 29.8746 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.864 | 87523.8073 | 289223.0828 | 28.7 | 67.6
121731 | 2021-05-03 12:04 | 20.6586 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.283 | μmol/L | 29.9112 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.859 | 87522.82 | 289221.8575 | 28.7 | 67.6
121741 | 2021-05-03 12:04 | 20.9925 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.0346 | μmol/L | 29.9478 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.861 | 87553.4604 | 289231.8025 | 28.7 | 67.6
121751 | 2021-05-03 12:05 | 21.3257 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.0007 | μmol/L | 29.9417 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.865 | 87553.618 | 289223.5048 | 28.7 | 67.6
121761 | 2021-05-03 12:05 | 21.6586 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.2317 | μmol/L | 29.9051 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.864 | 87540.2355 | 289219.6477 | 28.7 | 67.6
121771 | 2021-05-03 12:05 | 21.9926 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.8602 | μmol/L | 29.9539 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.869 | 87555.4512 | 289211.0922 | 28.7 | 67.6
121781 | 2021-05-03 12:06 | 22.3254 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.9322 | μmol/L | 29.9356 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.871 | 87563.1048 | 289199.5726 | 28.7 | 67.6
121791 | 2021-05-03 12:06 | 22.6591 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.9677 | μmol/L | 29.9295 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.871 | 87578.7546 | 289201.9711 | 28.7 | 67.6
121801 | 2021-05-03 12:06 | 22.9923 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.7114 | μmol/L | 29.96 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.876 | 87584.3124 | 289174.7059 | 28.7 | 67.6
121811 | 2021-05-03 12:07 | 23.3255 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.7899 | μmol/L | 29.96 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.871 | 87573.8344 | 289180.4623 | 28.7 | 67.6
121821 | 2021-05-03 12:07 | 23.6585 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.6304 | μmol/L | 29.9844 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.872 | 87579.6937 | 289176.5797 | 28.7 | 67.6
121831 | 2021-05-03 12:07 | 23.9922 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.4882 | μmol/L | 30.0088 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.872 | 87581.4101 | 289159.9687 | 28.7 | 67.6
121841 | 2021-05-03 12:08 | 24.3253 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.4982 | μmol/L | 29.9966 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.876 | 87597.2432 | 289145.5348 | 28.7 | 67.6
121851 | 2021-05-03 12:08 | 24.659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.4099 | μmol/L | 30.0088 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.877 | 87587.9986 | 289153.8374 | 28.7 | 67.6
121861 | 2021-05-03 12:08 | 24.9919 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.226 | μmol/L | 30.0272 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.881 | 87583.9038 | 289158.002 | 28.7 | 67.6
121871 | 2021-05-03 12:09 | 25.3258 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.0131 | μmol/L | 30.0638 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.881 | 87603.1999 | 289131.3939 | 28.7 | 67.6
121881 | 2021-05-03 12:09 | 25.6589 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.2269 | μmol/L | 30.0211 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.883 | 87614.562 | 289132.9 | 28.7 | 67.6
121891 | 2021-05-03 12:09 | 25.9919 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.2078 | μmol/L | 30.0333 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.88 | 87597.5038 | 289128.8367 | 28.7 | 67.6
121901 | 2021-05-03 12:10 | 26.3257 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.085 | μmol/L | 30.0455 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.883 | 87622.6106 | 289117.3703 | 28.7 | 67.6
121911 | 2021-05-03 12:10 | 26.6585 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.2479 | μmol/L | 29.9966 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.89 | 87638.3743 | 289104.8656 | 28.7 | 67.6
121921 | 2021-05-03 12:10 | 26.9925 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.7362 | μmol/L | 30.0699 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.895 | 87646.778 | 289095.7768 | 28.7 | 67.6
121931 | 2021-05-03 12:11 | 27.3259 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.9159 | μmol/L | 30.076 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.883 | 87730.9318 | 289093.3823 | 28.7 | 67.6