## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-03 12:11

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
121113 | 2021-05-03 11:43 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 202.2638 | μmol/L | 29.0578 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.697 | 91684.5777 | 292727.5707 | 30.45 | 114.2
121123 | 2021-05-03 11:44 | 0.32639 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.0816 | μmol/L | 29.1133 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.744 | 91887.7655 | 292719.0811 | 30.45 | 114.2
121133 | 2021-05-03 11:44 | 0.66008 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 200.0356 | μmol/L | 29.1441 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.792 | 92139.3618 | 292715.283 | 30.45 | 114.2
121143 | 2021-05-03 11:44 | 0.99339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.1859 | μmol/L | 29.2181 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.815 | 92261.6568 | 292710.7717 | 30.45 | 114.2
121153 | 2021-05-03 11:45 | 1.3264 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.7747 | μmol/L | 29.2304 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.834 | 92337.3252 | 292706.856 | 30.45 | 114.2
121163 | 2021-05-03 11:45 | 1.6599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.3645 | μmol/L | 29.2427 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.853 | 92442.8986 | 292685.5745 | 30.45 | 114.2
121173 | 2021-05-03 11:45 | 1.9937 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.2785 | μmol/L | 29.2242 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.864 | 92510.0059 | 292693.4523 | 30.45 | 114.2
121183 | 2021-05-03 11:46 | 2.3268 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.9544 | μmol/L | 29.2612 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.87 | 92555.5264 | 292689.1104 | 30.45 | 114.2
121193 | 2021-05-03 11:46 | 2.6599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.613 | μmol/L | 29.2982 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.877 | 92607.7854 | 292685.138 | 30.45 | 114.2
121203 | 2021-05-03 11:46 | 2.9929 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.7358 | μmol/L | 29.3043 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.868 | 92644.9571 | 292678.6012 | 30.45 | 114.2
121213 | 2021-05-03 11:47 | 3.3268 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.2731 | μmol/L | 29.329 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.886 | 92722.1528 | 292675.0429 | 30.45 | 114.2
121223 | 2021-05-03 11:47 | 3.6598 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.6067 | μmol/L | 29.3167 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.928 | 92968.2469 | 292658.0585 | 30.45 | 114.2
121233 | 2021-05-03 11:47 | 3.9934 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.3222 | μmol/L | 29.3413 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.936 | 92987.6481 | 292662.6515 | 30.45 | 114.2
121243 | 2021-05-03 11:48 | 4.3266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.4078 | μmol/L | 29.3536 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.927 | 92961.093 | 292643.4584 | 30.45 | 114.2
121253 | 2021-05-03 11:48 | 4.6596 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.4234 | μmol/L | 29.366 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.922 | 92923.4731 | 292622.252 | 30.45 | 114.2
121263 | 2021-05-03 11:48 | 4.9935 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.2646 | μmol/L | 29.3721 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.929 | 92959.5602 | 292605.6533 | 30.45 | 114.2
121273 | 2021-05-03 11:49 | 5.3266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.7471 | μmol/L | 29.4337 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.938 | 93006.7436 | 292619.9979 | 30.45 | 114.2
121283 | 2021-05-03 11:49 | 5.6597 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.8345 | μmol/L | 29.4337 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.933 | 93019.1443 | 292601.5547 | 30.45 | 114.2
121293 | 2021-05-03 11:49 | 5.9936 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.5271 | μmol/L | 29.4954 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.93 | 92986.9091 | 292596.9047 | 30.45 | 114.2
121303 | 2021-05-03 11:50 | 6.3264 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.6382 | μmol/L | 29.4584 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.936 | 93023.8809 | 292591.8069 | 30.45 | 114.2
121313 | 2021-05-03 11:50 | 6.6602 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.5261 | μmol/L | 29.5015 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.928 | 92974.72 | 292576.8224 | 30.45 | 114.2
121323 | 2021-05-03 11:50 | 6.993 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.5938 | μmol/L | 29.5139 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.92 | 92936.9555 | 292565.8298 | 30.45 | 114.2
121333 | 2021-05-03 11:51 | 7.3269 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.2581 | μmol/L | 29.5385 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.931 | 92982.8468 | 292565.7638 | 30.45 | 114.2
121343 | 2021-05-03 11:51 | 7.66 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.0099 | μmol/L | 29.5632 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.937 | 93012.6135 | 292553.0022 | 30.45 | 114.2
121353 | 2021-05-03 11:51 | 7.9931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.711 | μmol/L | 29.5817 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.948 | 93025.9781 | 292534.2846 | 30.45 | 114.2
121363 | 2021-05-03 11:52 | 8.3267 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.9979 | μmol/L | 29.5324 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.948 | 93019.5802 | 292535.4058 | 30.45 | 114.2
121373 | 2021-05-03 11:52 | 8.6598 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.9925 | μmol/L | 29.5632 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.938 | 93001.7193 | 292534.3135 | 30.45 | 114.2
121383 | 2021-05-03 11:52 | 8.9935 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.9566 | μmol/L | 29.5693 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.938 | 92993.3223 | 292500.4987 | 30.45 | 114.2
121393 | 2021-05-03 11:53 | 9.3267 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.6382 | μmol/L | 29.6001 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.946 | 93040.1809 | 292520.5947 | 30.45 | 114.2
121403 | 2021-05-03 11:53 | 9.6597 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.0547 | μmol/L | 29.6618 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.959 | 93100.4589 | 292492.3246 | 30.45 | 114.2
121413 | 2021-05-03 11:53 | 9.9934 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.1643 | μmol/L | 29.631 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.963 | 93075.0276 | 292481.5663 | 30.45 | 114.2
121423 | 2021-05-03 11:54 | 10.3263 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.1413 | μmol/L | 29.6618 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.954 | 93010.8656 | 292487.0805 | 30.45 | 114.2
121433 | 2021-05-03 11:54 | 10.66 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.3063 | μmol/L | 29.6125 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.961 | 93024.6384 | 292461.9194 | 30.45 | 114.2
121443 | 2021-05-03 11:54 | 10.993 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.0408 | μmol/L | 29.6433 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.966 | 93052.0105 | 292462.497 | 30.45 | 114.2
121453 | 2021-05-03 11:55 | 11.3267 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.9785 | μmol/L | 29.6063 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.982 | 93108.3643 | 292451.1086 | 30.45 | 114.2
121463 | 2021-05-03 11:55 | 11.6603 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.9796 | μmol/L | 29.6001 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.984 | 93112.3239 | 292461.0927 | 30.45 | 114.2
121473 | 2021-05-03 11:55 | 11.9932 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.4476 | μmol/L | 29.6741 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.99 | 93135.9279 | 292441.7615 | 30.45 | 114.2
121483 | 2021-05-03 11:56 | 12.327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.1132 | μmol/L | 29.7111 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.997 | 93182.3732 | 292424.5652 | 30.45 | 114.2
121493 | 2021-05-03 11:56 | 12.6601 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.0948 | μmol/L | 29.7172 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.996 | 93199.3293 | 292426.2415 | 30.45 | 114.2
121503 | 2021-05-03 11:56 | 12.9931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.3822 | μmol/L | 29.6556 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21 | 93169.3143 | 292416.4698 | 30.45 | 114.2
121513 | 2021-05-03 11:57 | 13.3269 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.2824 | μmol/L | 29.6371 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.012 | 93239.8382 | 292417.8695 | 30.45 | 114.2
121523 | 2021-05-03 11:57 | 13.6598 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.0859 | μmol/L | 29.6741 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.011 | 93201.3505 | 292391.7023 | 30.45 | 114.2
121533 | 2021-05-03 11:57 | 13.9935 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.8049 | μmol/L | 29.7049 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.017 | 93217.4739 | 292380.7125 | 30.45 | 114.2
121543 | 2021-05-03 11:58 | 14.3266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.9999 | μmol/L | 29.6741 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.016 | 93220.3539 | 292379.1084 | 30.45 | 114.2
121553 | 2021-05-03 11:58 | 14.6595 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.6418 | μmol/L | 29.7481 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.012 | 93223.3099 | 292388.9998 | 30.45 | 114.2
121563 | 2021-05-03 11:58 | 14.9934 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.5732 | μmol/L | 29.7481 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.016 | 93236.9828 | 292358.1074 | 30.45 | 114.2
121573 | 2021-05-03 11:59 | 15.327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.5989 | μmol/L | 29.7049 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.029 | 93268.1572 | 292364.0213 | 30.45 | 114.2
121583 | 2021-05-03 11:59 | 15.66 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.6332 | μmol/L | 29.7049 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.027 | 93257.1246 | 292360.7721 | 30.45 | 114.2
121593 | 2021-05-03 11:59 | 15.993 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.5254 | μmol/L | 29.7296 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.025 | 93240.1518 | 292342.9845 | 30.45 | 114.2
121603 | 2021-05-03 12:00 | 16.3269 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.8416 | μmol/L | 29.6926 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.019 | 93231.6772 | 292343.2954 | 30.45 | 114.2
121613 | 2021-05-03 12:00 | 16.6601 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.3026 | μmol/L | 29.7296 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.038 | 93297.531 | 292342.9845 | 30.45 | 114.2
121623 | 2021-05-03 12:00 | 16.9932 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.4421 | μmol/L | 29.7172 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.034 | 93308.113 | 292337.9724 | 30.45 | 114.2
121633 | 2021-05-03 12:01 | 17.327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.2317 | μmol/L | 29.7419 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.038 | 93342.6034 | 292346.3961 | 30.45 | 114.2
121643 | 2021-05-03 12:01 | 17.6599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.1215 | μmol/L | 29.7789 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.032 | 93314.0771 | 292332.4908 | 30.45 | 114.2
121653 | 2021-05-03 12:01 | 17.9929 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.8638 | μmol/L | 29.785 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.045 | 93342.7981 | 292331.2785 | 30.45 | 114.2
121663 | 2021-05-03 12:02 | 18.3267 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.8783 | μmol/L | 29.7974 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.04 | 93357.3799 | 292311.4655 | 30.45 | 114.2
121673 | 2021-05-03 12:02 | 18.6598 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.8125 | μmol/L | 29.785 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.048 | 93389.9995 | 292305.3695 | 30.45 | 114.2
121683 | 2021-05-03 12:02 | 18.9929 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.4662 | μmol/L | 29.8097 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.06 | 93445.8893 | 292298.6474 | 30.45 | 114.2
121693 | 2021-05-03 12:03 | 19.3266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.1363 | μmol/L | 29.8405 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.069 | 93481.6867 | 292291.4088 | 30.45 | 114.2
121703 | 2021-05-03 12:03 | 19.6596 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.0983 | μmol/L | 29.859 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.065 | 93458.2729 | 292275.7843 | 30.45 | 114.2
121713 | 2021-05-03 12:03 | 19.9935 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.1402 | μmol/L | 29.822 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.075 | 93534.4864 | 292289.266 | 30.45 | 114.2
121723 | 2021-05-03 12:04 | 20.3264 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.1415 | μmol/L | 29.8159 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.077 | 93589.0303 | 292275.815 | 30.45 | 114.2
121733 | 2021-05-03 12:04 | 20.6601 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.0055 | μmol/L | 29.8159 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.085 | 93605.3275 | 292270.2052 | 30.45 | 114.2
121743 | 2021-05-03 12:04 | 20.9931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.6751 | μmol/L | 29.8528 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.092 | 93641.2469 | 292255.3052 | 30.45 | 114.2
121753 | 2021-05-03 12:05 | 21.3262 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.4583 | μmol/L | 29.9145 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.084 | 93615.4298 | 292251.8791 | 30.45 | 114.2
121763 | 2021-05-03 12:05 | 21.6599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.5105 | μmol/L | 29.9083 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.083 | 93613.2512 | 292244.1571 | 30.45 | 114.2
121773 | 2021-05-03 12:05 | 21.9929 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.4414 | μmol/L | 29.9145 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.085 | 93617.2975 | 292243.4682 | 30.45 | 114.2
121783 | 2021-05-03 12:06 | 22.3266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.9778 | μmol/L | 29.9453 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.102 | 93697.4838 | 292237.4066 | 30.45 | 114.2
121793 | 2021-05-03 12:06 | 22.6596 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.3269 | μmol/L | 29.896 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.098 | 93698.292 | 292231.1914 | 30.45 | 114.2
121803 | 2021-05-03 12:06 | 22.9937 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.4311 | μmol/L | 29.8837 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.096 | 93685.4951 | 292232.5553 | 30.45 | 114.2
121813 | 2021-05-03 12:07 | 23.3267 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.4365 | μmol/L | 29.859 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.104 | 93737.4653 | 292219.9526 | 30.45 | 114.2
121823 | 2021-05-03 12:07 | 23.6597 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.1421 | μmol/L | 29.8898 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.111 | 93762.649 | 292209.3422 | 30.45 | 114.2
121833 | 2021-05-03 12:07 | 23.9935 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.2213 | μmol/L | 29.9145 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.098 | 93762.9974 | 292199.9976 | 30.45 | 114.2
121843 | 2021-05-03 12:08 | 24.3266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.0285 | μmol/L | 29.9453 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.099 | 93757.7862 | 292192.4487 | 30.45 | 114.2
121853 | 2021-05-03 12:08 | 24.6596 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.0454 | μmol/L | 29.9453 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.098 | 93747.3858 | 292193.2649 | 30.45 | 114.2
121863 | 2021-05-03 12:08 | 24.9932 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.9636 | μmol/L | 29.933 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.107 | 93757.2171 | 292186.4694 | 30.45 | 114.2
121873 | 2021-05-03 12:09 | 25.327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.7879 | μmol/L | 29.9638 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.107 | 93747.5248 | 292164.7114 | 30.45 | 114.2
121883 | 2021-05-03 12:09 | 25.6602 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.4381 | μmol/L | 30.0193 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.109 | 93750.5846 | 292165.1449 | 30.45 | 114.2
121893 | 2021-05-03 12:09 | 25.9931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.4395 | μmol/L | 30.0131 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.111 | 93764.4133 | 292163.6192 | 30.45 | 114.2
121903 | 2021-05-03 12:10 | 26.3268 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.3708 | μmol/L | 30.0193 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.113 | 93777.8851 | 292156.8772 | 30.45 | 114.2
121913 | 2021-05-03 12:10 | 26.6598 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.4044 | μmol/L | 30.0193 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.111 | 93786.6997 | 292158.4384 | 30.45 | 114.2
121923 | 2021-05-03 12:10 | 26.9936 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.0959 | μmol/L | 30.0439 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.121 | 93808.1312 | 292154.791 | 30.45 | 114.2
121933 | 2021-05-03 12:11 | 27.3268 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.0484 | μmol/L | 30.0316 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.128 | 95345.5017 | 292142.4404 | 30.45 | 114.2