## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-03 12:11

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
121114 | 2021-05-03 11:43 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 208.8374 | μmol/L | 28.9535 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.415 | 127033.385 | 290108.9836 | 59.9307 | 49.4
121124 | 2021-05-03 11:44 | 0.33574 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 207.2868 | μmol/L | 29.0649 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.461 | 127097.3175 | 290091.4272 | 59.9307 | 49.4
121134 | 2021-05-03 11:44 | 0.66866 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 206.4243 | μmol/L | 29.1083 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.493 | 127587.8396 | 290071.3213 | 59.9307 | 49.4
121144 | 2021-05-03 11:44 | 1.0019 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 205.659 | μmol/L | 29.1454 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.522 | 127782.9419 | 290065.7131 | 59.9307 | 49.4
121154 | 2021-05-03 11:45 | 1.3356 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 205.0627 | μmol/L | 29.1825 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.542 | 127874.5625 | 290063.1228 | 59.9307 | 49.4
121164 | 2021-05-03 11:45 | 1.6692 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 204.0509 | μmol/L | 29.1825 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.597 | 128219.4875 | 290058.589 | 59.9307 | 49.4
121174 | 2021-05-03 11:45 | 2.0021 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 203.5922 | μmol/L | 29.1887 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.62 | 128413.2523 | 290045.4457 | 59.9307 | 49.4
121184 | 2021-05-03 11:46 | 2.336 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 203.3911 | μmol/L | 29.1887 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.631 | 128453.3509 | 290051.4608 | 59.9307 | 49.4
121194 | 2021-05-03 11:46 | 2.669 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 203.2937 | μmol/L | 29.2321 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.622 | 128827.8619 | 290036.6906 | 59.9307 | 49.4
121204 | 2021-05-03 11:46 | 3.002 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.6667 | μmol/L | 29.2816 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.64 | 128768.718 | 290035.4533 | 59.9307 | 49.4
121214 | 2021-05-03 11:47 | 3.3352 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.4112 | μmol/L | 29.2878 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.652 | 128804.189 | 290027.3098 | 59.9307 | 49.4
121224 | 2021-05-03 11:47 | 3.6691 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.3222 | μmol/L | 29.2754 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.661 | 129190.2914 | 290040.5303 | 59.9307 | 49.4
121234 | 2021-05-03 11:47 | 4.0019 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.372 | μmol/L | 29.3311 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.695 | 129399.4945 | 290033.7598 | 59.9307 | 49.4
121244 | 2021-05-03 11:48 | 4.3352 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.8431 | μmol/L | 29.3682 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.712 | 129460.8414 | 290006.3916 | 59.9307 | 49.4
121254 | 2021-05-03 11:48 | 4.6692 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.9212 | μmol/L | 29.3311 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.72 | 129615.6731 | 290016.6654 | 59.9307 | 49.4
121264 | 2021-05-03 11:48 | 5.0021 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.5035 | μmol/L | 29.3559 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.735 | 129784.5145 | 289999.9189 | 59.9307 | 49.4
121274 | 2021-05-03 11:49 | 5.3359 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.0076 | μmol/L | 29.424 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.74 | 129847.0194 | 289998.2974 | 59.9307 | 49.4
121284 | 2021-05-03 11:49 | 5.6689 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.7695 | μmol/L | 29.4549 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.743 | 129840.4335 | 289996.3335 | 59.9307 | 49.4
121294 | 2021-05-03 11:49 | 6.002 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.8812 | μmol/L | 29.4301 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.745 | 129855.0301 | 289986.8075 | 59.9307 | 49.4
121304 | 2021-05-03 11:50 | 6.3357 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.6286 | μmol/L | 29.4425 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.755 | 129749.9628 | 289979.8884 | 59.9307 | 49.4
121314 | 2021-05-03 11:50 | 6.6692 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.9034 | μmol/L | 29.4054 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.752 | 129516.9865 | 289971.8712 | 59.9307 | 49.4
121324 | 2021-05-03 11:50 | 7.0022 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.7917 | μmol/L | 29.4301 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.75 | 129192.5175 | 289974.0224 | 59.9307 | 49.4
121334 | 2021-05-03 11:51 | 7.3352 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.4456 | μmol/L | 29.4673 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.757 | 129400.0552 | 289956.4202 | 59.9307 | 49.4
121344 | 2021-05-03 11:51 | 7.669 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.7538 | μmol/L | 29.4425 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.748 | 129178.7214 | 289949.6727 | 59.9307 | 49.4
121354 | 2021-05-03 11:51 | 8.0021 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.1352 | μmol/L | 29.4116 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.737 | 128504.4407 | 289949.3471 | 59.9307 | 49.4
121364 | 2021-05-03 11:52 | 8.3357 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.1901 | μmol/L | 29.4054 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.736 | 128869.6201 | 289926.8376 | 59.9307 | 49.4
121374 | 2021-05-03 11:52 | 8.6688 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.8927 | μmol/L | 29.4673 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.732 | 127819.5253 | 289918.0734 | 59.9307 | 49.4
121384 | 2021-05-03 11:52 | 9.0018 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.7061 | μmol/L | 29.5106 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.728 | 127738.8371 | 289913.6359 | 59.9307 | 49.4
121394 | 2021-05-03 11:53 | 9.3354 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.6805 | μmol/L | 29.554 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.715 | 127317.5444 | 289913.679 | 59.9307 | 49.4
121404 | 2021-05-03 11:53 | 9.6693 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.845 | μmol/L | 29.5354 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.712 | 127402.9067 | 289899.1188 | 59.9307 | 49.4
121414 | 2021-05-03 11:53 | 10.0024 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.2437 | μmol/L | 29.5973 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.725 | 128555.3649 | 289890.8763 | 59.9307 | 49.4
121424 | 2021-05-03 11:54 | 10.3354 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.1422 | μmol/L | 29.5663 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.741 | 128992.7161 | 289887.2935 | 59.9307 | 49.4
121434 | 2021-05-03 11:54 | 10.6692 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.4145 | μmol/L | 29.5416 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.734 | 128523.1283 | 289879.1752 | 59.9307 | 49.4
121444 | 2021-05-03 11:54 | 11.0022 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.3988 | μmol/L | 29.5292 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.739 | 127195.8188 | 289895.17 | 59.9307 | 49.4
121454 | 2021-05-03 11:55 | 11.3359 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.1189 | μmol/L | 29.4982 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.765 | 127513.3197 | 289868.5771 | 59.9307 | 49.4
121464 | 2021-05-03 11:55 | 11.6686 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.8048 | μmol/L | 29.5601 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.762 | 127432.4914 | 289864.7775 | 59.9307 | 49.4
121474 | 2021-05-03 11:55 | 12.0024 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.748 | μmol/L | 29.5787 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.759 | 127298.2584 | 289837.8321 | 59.9307 | 49.4
121484 | 2021-05-03 11:56 | 12.3353 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.8381 | μmol/L | 29.5725 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.756 | 127231.2003 | 289848.9204 | 59.9307 | 49.4
121494 | 2021-05-03 11:56 | 12.669 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.7256 | μmol/L | 29.6035 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.752 | 127212.6087 | 289839.4221 | 59.9307 | 49.4
121504 | 2021-05-03 11:56 | 13.0021 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.4268 | μmol/L | 29.5849 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.775 | 128508.2981 | 289831.1965 | 59.9307 | 49.4
121514 | 2021-05-03 11:57 | 13.3359 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.448 | μmol/L | 29.5663 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.78 | 128702.4369 | 289833.5353 | 59.9307 | 49.4
121524 | 2021-05-03 11:57 | 13.6689 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.3936 | μmol/L | 29.5725 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.781 | 127633.3922 | 289805.6332 | 59.9307 | 49.4
121534 | 2021-05-03 11:57 | 14.0026 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.6137 | μmol/L | 29.5354 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.781 | 127371.6856 | 289819.8049 | 59.9307 | 49.4
121544 | 2021-05-03 11:58 | 14.3356 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.7893 | μmol/L | 29.5478 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.767 | 127196.1082 | 289801.1537 | 59.9307 | 49.4
121554 | 2021-05-03 11:58 | 14.6686 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.0602 | μmol/L | 29.6468 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.775 | 127279.5711 | 289814.2773 | 59.9307 | 49.4
121564 | 2021-05-03 11:58 | 15.0026 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.2458 | μmol/L | 29.6035 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.779 | 127443.7033 | 289806.6845 | 59.9307 | 49.4
121574 | 2021-05-03 11:59 | 15.3355 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.409 | μmol/L | 29.5849 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.776 | 127258.0527 | 289790.8799 | 59.9307 | 49.4
121584 | 2021-05-03 11:59 | 15.6686 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.033 | μmol/L | 29.653 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.774 | 127284.5257 | 289792.8373 | 59.9307 | 49.4
121594 | 2021-05-03 11:59 | 16.0025 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.3866 | μmol/L | 29.6097 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.769 | 127552.1104 | 289794.4023 | 59.9307 | 49.4
121604 | 2021-05-03 12:00 | 16.3355 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.2967 | μmol/L | 29.6159 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.772 | 127389.0832 | 289781.3328 | 59.9307 | 49.4
121614 | 2021-05-03 12:00 | 16.6687 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.9998 | μmol/L | 29.684 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.766 | 127461.3145 | 289775.8306 | 59.9307 | 49.4
121624 | 2021-05-03 12:00 | 17.0024 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.6963 | μmol/L | 29.6963 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.779 | 127665.5022 | 289779.707 | 59.9307 | 49.4
121634 | 2021-05-03 12:01 | 17.3354 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.8995 | μmol/L | 29.653 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.782 | 127819.8649 | 289768.4902 | 59.9307 | 49.4
121644 | 2021-05-03 12:01 | 17.6691 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.7402 | μmol/L | 29.653 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.791 | 127859.1943 | 289772.635 | 59.9307 | 49.4
121654 | 2021-05-03 12:01 | 18.002 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.5146 | μmol/L | 29.7211 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.781 | 128758.156 | 289760.8304 | 59.9307 | 49.4
121664 | 2021-05-03 12:02 | 18.3357 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.6243 | μmol/L | 29.7025 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.781 | 128671.1279 | 289749.6916 | 59.9307 | 49.4
121674 | 2021-05-03 12:02 | 18.6687 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.8464 | μmol/L | 29.653 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.785 | 129123.9483 | 289742.9369 | 59.9307 | 49.4
121684 | 2021-05-03 12:02 | 19.002 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.3354 | μmol/L | 29.7335 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.787 | 129201.041 | 289757.0004 | 59.9307 | 49.4
121694 | 2021-05-03 12:03 | 19.3356 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.589 | μmol/L | 29.7025 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.783 | 130816.5211 | 289748.3318 | 59.9307 | 49.4
121704 | 2021-05-03 12:03 | 19.6693 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.7213 | μmol/L | 29.6592 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.79 | 130710.4675 | 289730.0135 | 59.9307 | 49.4
121714 | 2021-05-03 12:03 | 20.0022 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.1388 | μmol/L | 29.7459 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.794 | 130824.9571 | 289743.8041 | 59.9307 | 49.4
121724 | 2021-05-03 12:04 | 20.3353 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.227 | μmol/L | 29.7459 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.789 | 130527.6759 | 289727.9827 | 59.9307 | 49.4
121734 | 2021-05-03 12:04 | 20.669 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.1162 | μmol/L | 29.7706 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.787 | 130892.5264 | 289720.2204 | 59.9307 | 49.4
121744 | 2021-05-03 12:04 | 21.0019 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.8417 | μmol/L | 29.8202 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.786 | 130434.8177 | 289711.8454 | 59.9307 | 49.4
121754 | 2021-05-03 12:05 | 21.3358 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.0784 | μmol/L | 29.783 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.785 | 130431.6527 | 289687.3479 | 59.9307 | 49.4
121764 | 2021-05-03 12:05 | 21.6689 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.7818 | μmol/L | 29.814 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.791 | 131377.8577 | 289716.1423 | 59.9307 | 49.4
121774 | 2021-05-03 12:05 | 22.0019 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.8442 | μmol/L | 29.8078 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.79 | 131657.1602 | 289697.6551 | 59.9307 | 49.4
121784 | 2021-05-03 12:06 | 22.3356 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.8455 | μmol/L | 29.8016 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.792 | 131471.1959 | 289706.3695 | 59.9307 | 49.4
121794 | 2021-05-03 12:06 | 22.6692 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.6278 | μmol/L | 29.8325 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.794 | 131239.4008 | 289676.7545 | 59.9307 | 49.4
121804 | 2021-05-03 12:06 | 23.0023 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.2093 | μmol/L | 29.9007 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.795 | 131330.4508 | 289680.012 | 59.9307 | 49.4
121814 | 2021-05-03 12:07 | 23.3354 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.0365 | μmol/L | 29.8883 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.809 | 131551.714 | 289671.3063 | 59.9307 | 49.4
121824 | 2021-05-03 12:07 | 23.6692 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.7171 | μmol/L | 29.9068 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.821 | 131826.4928 | 289687.5798 | 59.9307 | 49.4
121834 | 2021-05-03 12:07 | 24.0022 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.8424 | μmol/L | 29.8945 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.818 | 131887.4295 | 289662.9985 | 59.9307 | 49.4
121844 | 2021-05-03 12:08 | 24.3352 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.965 | μmol/L | 29.8945 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.811 | 131937.4402 | 289662.6236 | 59.9307 | 49.4
121854 | 2021-05-03 12:08 | 24.6691 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.2145 | μmol/L | 29.8759 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.803 | 131672.2731 | 289671.292 | 59.9307 | 49.4
121864 | 2021-05-03 12:08 | 25.0018 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.0825 | μmol/L | 29.9192 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.796 | 131587.5997 | 289660.2844 | 59.9307 | 49.4
121874 | 2021-05-03 12:09 | 25.3358 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.8559 | μmol/L | 29.913 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.811 | 131848.521 | 289644.0086 | 59.9307 | 49.4
121884 | 2021-05-03 12:09 | 25.6687 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.6323 | μmol/L | 29.8945 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.83 | 132009.4392 | 289638.4392 | 59.9307 | 49.4
121894 | 2021-05-03 12:09 | 26.0024 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.3473 | μmol/L | 29.9192 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.838 | 131705.0683 | 289626.318 | 59.9307 | 49.4
121904 | 2021-05-03 12:10 | 26.3353 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.3419 | μmol/L | 29.944 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.83 | 131369.9858 | 289639.6176 | 59.9307 | 49.4
121914 | 2021-05-03 12:10 | 26.6693 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.7938 | μmol/L | 29.8759 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.827 | 131143.5291 | 289627.0735 | 59.9307 | 49.4
121924 | 2021-05-03 12:10 | 27.0024 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.9015 | μmol/L | 29.8635 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.825 | 130821.2411 | 289636.2308 | 59.9307 | 49.4
121934 | 2021-05-03 12:11 | 27.3351 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.3621 | μmol/L | 29.9316 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.833 | 130836.4481 | 289631.5462 | 59.9307 | 49.4