## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-03 12:11

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
121116 | 2021-05-03 11:44 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 207.1164 | μmol/L | 29.0224 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.631 | 119191.9947 | 265386.6025 | 26.25 | 74
121126 | 2021-05-03 11:44 | 0.33663 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.0403 | μmol/L | 29.0774 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.671 | 119508.168 | 265371.7694 | 26.25 | 74
121136 | 2021-05-03 11:44 | 0.67025 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.3982 | μmol/L | 29.0651 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.71 | 119774.233 | 265356.3578 | 26.25 | 74
121146 | 2021-05-03 11:45 | 1.004 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.5537 | μmol/L | 29.0957 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.746 | 120027.9709 | 265361.8852 | 26.25 | 74
121156 | 2021-05-03 11:45 | 1.3371 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.1703 | μmol/L | 29.1018 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.765 | 120157.1505 | 265345.6617 | 26.25 | 74
121166 | 2021-05-03 11:45 | 1.67 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 203.5311 | μmol/L | 29.1324 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.79 | 120344.8516 | 265337.865 | 26.25 | 74
121176 | 2021-05-03 11:46 | 2.0039 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.91 | μmol/L | 29.1813 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.808 | 120496.8293 | 265336.8578 | 26.25 | 74
121186 | 2021-05-03 11:46 | 2.3367 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.8044 | μmol/L | 29.1568 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.822 | 120605.7073 | 265327.9982 | 26.25 | 74
121196 | 2021-05-03 11:46 | 2.6706 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.3868 | μmol/L | 29.1813 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.837 | 120778.9322 | 265336.3279 | 26.25 | 74
121206 | 2021-05-03 11:47 | 3.0036 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.0052 | μmol/L | 29.2118 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.848 | 121152.4158 | 265330.3136 | 26.25 | 74
121216 | 2021-05-03 11:47 | 3.3374 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.8622 | μmol/L | 29.2057 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.858 | 121255.6758 | 265327.737 | 26.25 | 74
121226 | 2021-05-03 11:47 | 3.6702 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.6454 | μmol/L | 29.2179 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.866 | 121313.0885 | 265310.9677 | 26.25 | 74
121236 | 2021-05-03 11:48 | 4.0041 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.4076 | μmol/L | 29.2546 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.867 | 121351.4367 | 265305.715 | 26.25 | 74
121246 | 2021-05-03 11:48 | 4.3373 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.1164 | μmol/L | 29.2913 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.871 | 121376.3572 | 265294.9866 | 26.25 | 74
121256 | 2021-05-03 11:48 | 4.6704 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.6607 | μmol/L | 29.3585 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.874 | 121405.3591 | 265288.3739 | 26.25 | 74
121266 | 2021-05-03 11:49 | 5.0034 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.1728 | μmol/L | 29.4074 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.885 | 121475.4041 | 265287.889 | 26.25 | 74
121276 | 2021-05-03 11:49 | 5.3373 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.9007 | μmol/L | 29.444 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.888 | 121510.6992 | 265273.2531 | 26.25 | 74
121286 | 2021-05-03 11:49 | 5.6702 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.6672 | μmol/L | 29.4624 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.895 | 121557.9752 | 265262.0004 | 26.25 | 74
121296 | 2021-05-03 11:50 | 6.0039 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.4871 | μmol/L | 29.4807 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.899 | 121587.2842 | 265265.3156 | 26.25 | 74
121306 | 2021-05-03 11:50 | 6.3368 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.1646 | μmol/L | 29.5051 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.909 | 121640.1228 | 265241.1806 | 26.25 | 74
121316 | 2021-05-03 11:50 | 6.6706 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.0026 | μmol/L | 29.5235 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.912 | 121680.1548 | 265238.401 | 26.25 | 74
121326 | 2021-05-03 11:51 | 7.0036 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.0389 | μmol/L | 29.5174 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.912 | 121708.3381 | 265241.352 | 26.25 | 74
121336 | 2021-05-03 11:51 | 7.3367 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.8063 | μmol/L | 29.5357 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.919 | 121729.2825 | 265227.9369 | 26.25 | 74
121346 | 2021-05-03 11:51 | 7.6705 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.8063 | μmol/L | 29.5357 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.919 | 121753.6317 | 265212.1648 | 26.25 | 74
121356 | 2021-05-03 11:52 | 8.0036 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.2696 | μmol/L | 29.5846 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.933 | 121823.0895 | 265197.5136 | 26.25 | 74
121366 | 2021-05-03 11:52 | 8.3373 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.3048 | μmol/L | 29.5846 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.931 | 121818.9548 | 265203.3544 | 26.25 | 74
121376 | 2021-05-03 11:52 | 8.6703 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.3038 | μmol/L | 29.5907 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.929 | 121829.1607 | 265189.022 | 26.25 | 74
121386 | 2021-05-03 11:53 | 9.0033 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.1279 | μmol/L | 29.5907 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.939 | 121873.8206 | 265179.4476 | 26.25 | 74
121396 | 2021-05-03 11:53 | 9.3371 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.8582 | μmol/L | 29.6274 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.942 | 121865.2013 | 265164.2652 | 26.25 | 74
121406 | 2021-05-03 11:53 | 9.6701 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.0307 | μmol/L | 29.5968 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.942 | 121896.1811 | 265165.7851 | 26.25 | 74
121416 | 2021-05-03 11:54 | 10.0033 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.8984 | μmol/L | 29.5968 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.95 | 121934.8826 | 265158.7438 | 26.25 | 74
121426 | 2021-05-03 11:54 | 10.3372 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.7498 | μmol/L | 29.5968 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.958 | 121974.8843 | 265146.0456 | 26.25 | 74
121436 | 2021-05-03 11:54 | 10.6702 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.497 | μmol/L | 29.6396 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.958 | 121978.8748 | 265147.5107 | 26.25 | 74
121446 | 2021-05-03 11:55 | 11.0041 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.3506 | μmol/L | 29.6763 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.954 | 121958.4164 | 265136.1405 | 26.25 | 74
121456 | 2021-05-03 11:55 | 11.3368 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.2816 | μmol/L | 29.6702 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.96 | 122004.9799 | 265129.23 | 26.25 | 74
121466 | 2021-05-03 11:55 | 11.6706 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.1766 | μmol/L | 29.6702 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.966 | 122033.5135 | 265116.0587 | 26.25 | 74
121476 | 2021-05-03 11:56 | 12.0036 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.1046 | μmol/L | 29.6824 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.966 | 122038.5241 | 265103.989 | 26.25 | 74
121486 | 2021-05-03 11:56 | 12.3368 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.8731 | μmol/L | 29.7068 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.971 | 122055.461 | 265102.8783 | 26.25 | 74
121496 | 2021-05-03 11:56 | 12.6705 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.8649 | μmol/L | 29.7007 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.974 | 122084.9388 | 265099.2428 | 26.25 | 74
121506 | 2021-05-03 11:57 | 13.0035 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.6397 | μmol/L | 29.7435 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.972 | 122062.8348 | 265094.7644 | 26.25 | 74
121516 | 2021-05-03 11:57 | 13.3373 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.7804 | μmol/L | 29.7374 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.966 | 122055.885 | 265079.7074 | 26.25 | 74
121526 | 2021-05-03 11:57 | 13.6703 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.5721 | μmol/L | 29.7313 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.98 | 122092.6859 | 265062.7172 | 26.25 | 74
121536 | 2021-05-03 11:58 | 14.0034 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.3832 | μmol/L | 29.7618 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.981 | 122124.5338 | 265069.2968 | 26.25 | 74
121546 | 2021-05-03 11:58 | 14.337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.0769 | μmol/L | 29.7741 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.994 | 122179.7581 | 265058.3773 | 26.25 | 74
121556 | 2021-05-03 11:58 | 14.67 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.3724 | μmol/L | 29.7252 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.994 | 122201.1004 | 265048.5627 | 26.25 | 74
121566 | 2021-05-03 11:59 | 15.0038 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.1313 | μmol/L | 29.7618 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.995 | 122199.5691 | 265041.7541 | 26.25 | 74
121576 | 2021-05-03 11:59 | 15.3374 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.114 | μmol/L | 29.7618 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.996 | 122229.867 | 265034.6319 | 26.25 | 74
121586 | 2021-05-03 11:59 | 15.6703 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.041 | μmol/L | 29.7802 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.994 | 122213.0037 | 265029.4537 | 26.25 | 74
121596 | 2021-05-03 12:00 | 16.0034 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.6187 | μmol/L | 29.8107 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.008 | 122274.5667 | 265025.2568 | 26.25 | 74
121606 | 2021-05-03 12:00 | 16.3373 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.4684 | μmol/L | 29.8719 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.996 | 122215.2043 | 265018.5642 | 26.25 | 74
121616 | 2021-05-03 12:00 | 16.6704 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.6083 | μmol/L | 29.8658 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.99 | 122222.0518 | 265016.8659 | 26.25 | 74
121626 | 2021-05-03 12:01 | 17.0037 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.4523 | μmol/L | 29.8658 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.999 | 122251.2085 | 265009.4732 | 26.25 | 74
121636 | 2021-05-03 12:01 | 17.3369 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.5054 | μmol/L | 29.8596 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.998 | 122267.8549 | 265009.2108 | 26.25 | 74
121646 | 2021-05-03 12:01 | 17.6706 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.1843 | μmol/L | 29.9085 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21 | 122277.0393 | 265008.0024 | 26.25 | 74
121656 | 2021-05-03 12:02 | 18.0036 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.1902 | μmol/L | 29.878 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.01 | 122331.4014 | 264997.1469 | 26.25 | 74
121666 | 2021-05-03 12:02 | 18.3367 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.1855 | μmol/L | 29.9024 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.002 | 122316.85 | 264994.3345 | 26.25 | 74
121676 | 2021-05-03 12:02 | 18.6704 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.2201 | μmol/L | 29.9024 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21 | 122297.1875 | 264983.9996 | 26.25 | 74
121686 | 2021-05-03 12:03 | 19.0035 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.1694 | μmol/L | 29.8963 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.005 | 122315.3654 | 264977.8329 | 26.25 | 74
121696 | 2021-05-03 12:03 | 19.3373 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.0596 | μmol/L | 29.9269 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.001 | 122306.9539 | 264968.6596 | 26.25 | 74
121706 | 2021-05-03 12:03 | 19.6703 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.6933 | μmol/L | 29.9452 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.016 | 122395.5012 | 264967.3525 | 26.25 | 74
121716 | 2021-05-03 12:04 | 20.0036 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.5849 | μmol/L | 29.9697 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.014 | 122404.0467 | 264970.4695 | 26.25 | 74
121726 | 2021-05-03 12:04 | 20.3374 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.2648 | μmol/L | 30.0186 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.016 | 122406.0264 | 264965.6155 | 26.25 | 74
121736 | 2021-05-03 12:04 | 20.6703 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.2107 | μmol/L | 30.0308 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.015 | 122414.6503 | 264951.0467 | 26.25 | 74
121746 | 2021-05-03 12:05 | 21.0033 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.5614 | μmol/L | 30.0002 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.005 | 122388.1243 | 264959.8685 | 26.25 | 74
121756 | 2021-05-03 12:05 | 21.3372 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.3165 | μmol/L | 30.0186 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.013 | 122414.6549 | 264944.8039 | 26.25 | 74
121766 | 2021-05-03 12:05 | 21.6701 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.117 | μmol/L | 30.0675 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.008 | 122402.0754 | 264943.3235 | 26.25 | 74
121776 | 2021-05-03 12:06 | 22.0039 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.7986 | μmol/L | 30.1103 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.012 | 122428.3157 | 264929.3095 | 26.25 | 74
121786 | 2021-05-03 12:06 | 22.337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.9648 | μmol/L | 30.0552 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.021 | 122484.0305 | 264936.112 | 26.25 | 74
121796 | 2021-05-03 12:06 | 22.6707 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.7721 | μmol/L | 30.0736 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.026 | 122509.4272 | 264912.9455 | 26.25 | 74
121806 | 2021-05-03 12:07 | 23.0039 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.5452 | μmol/L | 30.0919 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.033 | 122561.7177 | 264912.7926 | 26.25 | 74
121816 | 2021-05-03 12:07 | 23.3368 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.4898 | μmol/L | 30.1103 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.03 | 122554.1995 | 264914.5364 | 26.25 | 74
121826 | 2021-05-03 12:07 | 23.6705 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.4266 | μmol/L | 30.0858 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.042 | 122614.2988 | 264895.1439 | 26.25 | 74
121836 | 2021-05-03 12:08 | 24.0035 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.3752 | μmol/L | 30.0858 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.045 | 122659.7115 | 264906.64 | 26.25 | 74
121846 | 2021-05-03 12:08 | 24.3374 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.1632 | μmol/L | 30.1164 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.047 | 122685.476 | 264886.018 | 26.25 | 74
121856 | 2021-05-03 12:08 | 24.6704 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.0252 | μmol/L | 30.1225 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.053 | 122711.6737 | 264880.1871 | 26.25 | 74
121866 | 2021-05-03 12:09 | 25.0035 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.7951 | μmol/L | 30.1592 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.054 | 122709.1659 | 264869.0233 | 26.25 | 74
121876 | 2021-05-03 12:09 | 25.3373 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.6218 | μmol/L | 30.1714 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.06 | 122757.395 | 264871.0213 | 26.25 | 74
121886 | 2021-05-03 12:09 | 25.6704 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.8373 | μmol/L | 30.1225 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.064 | 122788.9332 | 264853.0631 | 26.25 | 74
121896 | 2021-05-03 12:10 | 26.0034 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.5039 | μmol/L | 30.1653 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.069 | 122827.9538 | 264849.8925 | 26.25 | 74
121906 | 2021-05-03 12:10 | 26.3374 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.4555 | μmol/L | 30.153 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.076 | 122843.6786 | 264847.3259 | 26.25 | 74
121916 | 2021-05-03 12:10 | 26.6704 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.3704 | μmol/L | 30.153 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.081 | 122890.7301 | 264838.1514 | 26.25 | 74
121926 | 2021-05-03 12:11 | 27.0035 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.1043 | μmol/L | 30.2019 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.08 | 122872.9785 | 264824.5463 | 26.25 | 74
121936 | 2021-05-03 12:11 | 27.3368 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.9118 | μmol/L | 30.2264 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.083 | 123005.6213 | 264831.8117 | 26.25 | 74