## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-03 12:11

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
121117 | 2021-05-03 11:44 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 208.6782 | μmol/L | 28.8333 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.441 | 119925.4362 | 267993.3626 | 32.55 | 27.7
121127 | 2021-05-03 11:44 | 0.32909 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 206.8564 | μmol/L | 28.9744 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.492 | 120358.9111 | 267970.212 | 32.55 | 27.7
121137 | 2021-05-03 11:44 | 0.66296 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 205.5524 | μmol/L | 29.0664 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.532 | 120699.5305 | 267951.4218 | 32.55 | 27.7
121147 | 2021-05-03 11:45 | 0.99598 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.6665 | μmol/L | 29.0971 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.57 | 120922.5688 | 267940.4003 | 32.55 | 27.7
121157 | 2021-05-03 11:45 | 1.3289 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.7114 | μmol/L | 29.1339 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.665 | 121522.0059 | 267940.8159 | 32.55 | 27.7
121167 | 2021-05-03 11:45 | 1.6625 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.0219 | μmol/L | 29.1523 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.697 | 121855.9519 | 267915.6405 | 32.55 | 27.7
121177 | 2021-05-03 11:46 | 1.9957 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.0259 | μmol/L | 29.2014 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.736 | 122108.406 | 267896.9619 | 32.55 | 27.7
121187 | 2021-05-03 11:46 | 2.3295 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.8073 | μmol/L | 29.2259 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.74 | 122177.2673 | 267883.4418 | 32.55 | 27.7
121197 | 2021-05-03 11:46 | 2.6626 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.8757 | μmol/L | 29.2443 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.786 | 122437.7475 | 267892.2141 | 32.55 | 27.7
121207 | 2021-05-03 11:47 | 2.9955 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.234 | μmol/L | 29.2566 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.818 | 122655.8233 | 267885.6956 | 32.55 | 27.7
121217 | 2021-05-03 11:47 | 3.3296 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.4524 | μmol/L | 29.275 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.856 | 122891.2514 | 267876.9057 | 32.55 | 27.7
121227 | 2021-05-03 11:47 | 3.6626 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.1602 | μmol/L | 29.3363 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.852 | 122851.7979 | 267866.2812 | 32.55 | 27.7
121237 | 2021-05-03 11:48 | 3.9964 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.894 | μmol/L | 29.3486 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.863 | 122939.4309 | 267870.1583 | 32.55 | 27.7
121247 | 2021-05-03 11:48 | 4.3295 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.1935 | μmol/L | 29.3486 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.846 | 122850.7397 | 267848.1367 | 32.55 | 27.7
121257 | 2021-05-03 11:48 | 4.6625 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.8909 | μmol/L | 29.367 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.857 | 122929.6066 | 267845.0959 | 32.55 | 27.7
121267 | 2021-05-03 11:49 | 4.9963 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.6591 | μmol/L | 29.3854 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.864 | 122994.0441 | 267830.0561 | 32.55 | 27.7
121277 | 2021-05-03 11:49 | 5.3294 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.4079 | μmol/L | 29.4161 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.868 | 123059.5076 | 267821.0517 | 32.55 | 27.7
121287 | 2021-05-03 11:49 | 5.6623 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.8943 | μmol/L | 29.4468 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.887 | 123173.8907 | 267818.3474 | 32.55 | 27.7
121297 | 2021-05-03 11:50 | 5.9955 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.0333 | μmol/L | 29.4529 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.877 | 123100.2879 | 267807.8637 | 32.55 | 27.7
121307 | 2021-05-03 11:50 | 6.3295 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.5224 | μmol/L | 29.4652 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.845 | 122932.5017 | 267800.1125 | 32.55 | 27.7
121317 | 2021-05-03 11:50 | 6.6624 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.896 | μmol/L | 29.4897 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.872 | 123058.086 | 267794.9385 | 32.55 | 27.7
121327 | 2021-05-03 11:51 | 6.9961 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.9195 | μmol/L | 29.502 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.867 | 123042.66 | 267790.2189 | 32.55 | 27.7
121337 | 2021-05-03 11:51 | 7.3297 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.9267 | μmol/L | 29.5143 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.862 | 123053.4359 | 267792.1856 | 32.55 | 27.7
121347 | 2021-05-03 11:51 | 7.6626 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.33 | μmol/L | 29.5265 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.892 | 123230.448 | 267768.8978 | 32.55 | 27.7
121357 | 2021-05-03 11:52 | 7.9964 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.2068 | μmol/L | 29.5327 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.897 | 123270.4689 | 267760.9645 | 32.55 | 27.7
121367 | 2021-05-03 11:52 | 8.3291 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.8701 | μmol/L | 29.5633 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.906 | 123330.3591 | 267778.2616 | 32.55 | 27.7
121377 | 2021-05-03 11:52 | 8.6629 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.8875 | μmol/L | 29.5633 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.905 | 123362.3197 | 267746.9547 | 32.55 | 27.7
121387 | 2021-05-03 11:53 | 8.996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.6741 | μmol/L | 29.5879 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.909 | 123389.8691 | 267745.4845 | 32.55 | 27.7
121397 | 2021-05-03 11:53 | 9.3289 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.6904 | μmol/L | 29.594 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.906 | 123356.2663 | 267736.1115 | 32.55 | 27.7
121407 | 2021-05-03 11:53 | 9.6627 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.4633 | μmol/L | 29.6001 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.917 | 123443.0774 | 267748.0833 | 32.55 | 27.7
121417 | 2021-05-03 11:54 | 9.9958 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.0356 | μmol/L | 29.6124 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.938 | 123576.2524 | 267717.9746 | 32.55 | 27.7
121427 | 2021-05-03 11:54 | 10.329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.1302 | μmol/L | 29.6186 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.93 | 123558.7945 | 267711.5855 | 32.55 | 27.7
121437 | 2021-05-03 11:54 | 10.6626 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.7632 | μmol/L | 29.637 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.945 | 123614.6181 | 267709.0157 | 32.55 | 27.7
121447 | 2021-05-03 11:55 | 10.9963 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.6731 | μmol/L | 29.6554 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.944 | 123580.7992 | 267712.8611 | 32.55 | 27.7
121457 | 2021-05-03 11:55 | 11.3293 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.0859 | μmol/L | 29.6676 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.916 | 123435.6082 | 267698.0386 | 32.55 | 27.7
121467 | 2021-05-03 11:55 | 11.6629 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.8052 | μmol/L | 29.686 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.926 | 123496.2426 | 267692.6527 | 32.55 | 27.7
121477 | 2021-05-03 11:56 | 11.9959 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.6644 | μmol/L | 29.6983 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.93 | 123523.7435 | 267694.6114 | 32.55 | 27.7
121487 | 2021-05-03 11:56 | 12.3297 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.5965 | μmol/L | 29.6922 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.936 | 123506.1068 | 267687.3559 | 32.55 | 27.7
121497 | 2021-05-03 11:56 | 12.6626 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.8479 | μmol/L | 29.686 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.924 | 123475.8372 | 267682.8958 | 32.55 | 27.7
121507 | 2021-05-03 11:57 | 12.9962 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.9585 | μmol/L | 29.6983 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.913 | 123390.3743 | 267671.2109 | 32.55 | 27.7
121517 | 2021-05-03 11:57 | 13.3292 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.935 | μmol/L | 29.729 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.904 | 123328.923 | 267662.5422 | 32.55 | 27.7
121527 | 2021-05-03 11:57 | 13.663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.1406 | μmol/L | 29.7413 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.888 | 123272.5897 | 267664.4177 | 32.55 | 27.7
121537 | 2021-05-03 11:58 | 13.996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.277 | μmol/L | 29.7535 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.876 | 123216.6562 | 267667.0711 | 32.55 | 27.7
121547 | 2021-05-03 11:58 | 14.329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.1034 | μmol/L | 29.7535 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.886 | 123239.4545 | 267652.2465 | 32.55 | 27.7
121557 | 2021-05-03 11:58 | 14.6628 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.2422 | μmol/L | 29.7535 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.878 | 123216.646 | 267648.2468 | 32.55 | 27.7
121567 | 2021-05-03 11:59 | 14.9958 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.0675 | μmol/L | 29.7597 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.886 | 123257.5202 | 267638.938 | 32.55 | 27.7
121577 | 2021-05-03 11:59 | 15.3295 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.096 | μmol/L | 29.7903 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.874 | 123198.1914 | 267617.9994 | 32.55 | 27.7
121587 | 2021-05-03 11:59 | 15.6625 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.6975 | μmol/L | 29.7903 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.897 | 123314.1203 | 267623.3785 | 32.55 | 27.7
121597 | 2021-05-03 12:00 | 15.9956 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.7309 | μmol/L | 29.7965 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.893 | 123282.84 | 267615.8141 | 32.55 | 27.7
121607 | 2021-05-03 12:00 | 16.3291 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.8298 | μmol/L | 29.821 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.879 | 123193.8346 | 267606.2116 | 32.55 | 27.7
121617 | 2021-05-03 12:00 | 16.6628 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.4837 | μmol/L | 29.821 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.899 | 123318.2771 | 267629.6691 | 32.55 | 27.7
121627 | 2021-05-03 12:01 | 16.9959 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.4133 | μmol/L | 29.8272 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.901 | 123364.5514 | 267598.3188 | 32.55 | 27.7
121637 | 2021-05-03 12:01 | 17.3297 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.1876 | μmol/L | 29.8333 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.912 | 123421.7971 | 267598.6901 | 32.55 | 27.7
121647 | 2021-05-03 12:01 | 17.6627 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.1691 | μmol/L | 29.8394 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.911 | 123442.8819 | 267616.6883 | 32.55 | 27.7
121657 | 2021-05-03 12:02 | 17.9957 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.0988 | μmol/L | 29.8456 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.913 | 123447.0367 | 267615.8979 | 32.55 | 27.7
121667 | 2021-05-03 12:02 | 18.3295 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.5242 | μmol/L | 29.8762 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.936 | 123574.0469 | 267594.1029 | 32.55 | 27.7
121677 | 2021-05-03 12:02 | 18.6625 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.4172 | μmol/L | 29.8946 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.936 | 123620.4648 | 267587.8115 | 32.55 | 27.7
121687 | 2021-05-03 12:03 | 18.9955 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.3946 | μmol/L | 29.9192 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.929 | 123579.6148 | 267569.5349 | 32.55 | 27.7
121697 | 2021-05-03 12:03 | 19.3293 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.2876 | μmol/L | 29.9376 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.929 | 123588.7823 | 267566.778 | 32.55 | 27.7
121707 | 2021-05-03 12:03 | 19.6623 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.2533 | μmol/L | 29.9376 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.931 | 123612.0872 | 267560.2225 | 32.55 | 27.7
121717 | 2021-05-03 12:04 | 19.9961 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.9735 | μmol/L | 29.9621 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.939 | 123654.4686 | 267570.8977 | 32.55 | 27.7
121727 | 2021-05-03 12:04 | 20.329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.8693 | μmol/L | 29.9683 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.943 | 123694.5582 | 267559.9031 | 32.55 | 27.7
121737 | 2021-05-03 12:04 | 20.6627 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.5786 | μmol/L | 29.9683 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.96 | 123795.9996 | 267559.8931 | 32.55 | 27.7
121747 | 2021-05-03 12:05 | 20.9956 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.4022 | μmol/L | 29.9928 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.962 | 123832.7439 | 267560.9439 | 32.55 | 27.7
121757 | 2021-05-03 12:05 | 21.3294 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.7084 | μmol/L | 29.999 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.942 | 123725.0861 | 267555.0207 | 32.55 | 27.7
121767 | 2021-05-03 12:05 | 21.6624 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.4136 | μmol/L | 30.0174 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.953 | 123758.8864 | 267554.903 | 32.55 | 27.7
121777 | 2021-05-03 12:06 | 21.9963 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.3084 | μmol/L | 30.0296 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.955 | 123798.509 | 267538.0667 | 32.55 | 27.7
121787 | 2021-05-03 12:06 | 22.3294 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.2017 | μmol/L | 30.048 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.955 | 123797.3172 | 267540.8546 | 32.55 | 27.7
121797 | 2021-05-03 12:06 | 22.6622 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.1136 | μmol/L | 30.0603 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.956 | 123794.4294 | 267536.3811 | 32.55 | 27.7
121807 | 2021-05-03 12:07 | 22.9961 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.1264 | μmol/L | 30.0787 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.949 | 123779.2248 | 267533.7012 | 32.55 | 27.7
121817 | 2021-05-03 12:07 | 23.329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.0226 | μmol/L | 30.0849 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.953 | 123786.0159 | 267519.2161 | 32.55 | 27.7
121827 | 2021-05-03 12:07 | 23.6628 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.0937 | μmol/L | 30.0726 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.953 | 123803.9893 | 267525.2692 | 32.55 | 27.7
121837 | 2021-05-03 12:08 | 23.9958 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.936 | μmol/L | 30.091 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.956 | 123831.0591 | 267516.052 | 32.55 | 27.7
121847 | 2021-05-03 12:08 | 24.3294 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.6467 | μmol/L | 30.091 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.973 | 123930.3966 | 267510.0667 | 32.55 | 27.7
121857 | 2021-05-03 12:08 | 24.6625 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.7459 | μmol/L | 30.1033 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.963 | 123868.041 | 267507.3959 | 32.55 | 27.7
121867 | 2021-05-03 12:09 | 24.9961 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.7599 | μmol/L | 30.1155 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.958 | 123808.1267 | 267499.0846 | 32.55 | 27.7
121877 | 2021-05-03 12:09 | 25.3291 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.4326 | μmol/L | 30.1339 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.971 | 123872.9275 | 267491.2879 | 32.55 | 27.7
121887 | 2021-05-03 12:09 | 25.6629 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.1751 | μmol/L | 30.1462 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.982 | 123954.684 | 267479.953 | 32.55 | 27.7
121897 | 2021-05-03 12:10 | 25.9958 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.9763 | μmol/L | 30.1278 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 21 | 124071.5958 | 267474.3098 | 32.55 | 27.7
121907 | 2021-05-03 12:10 | 26.3295 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.7672 | μmol/L | 30.1524 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 21.004 | 124093.8437 | 267473.9111 | 32.55 | 27.7
121917 | 2021-05-03 12:10 | 26.6626 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.715 | μmol/L | 30.1585 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 21.005 | 124108.5429 | 267473.1918 | 32.55 | 27.7
121927 | 2021-05-03 12:11 | 26.9963 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.609 | μmol/L | 30.1769 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 21.005 | 124098.1197 | 267462.9381 | 32.55 | 27.7
121937 | 2021-05-03 12:11 | 27.3293 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.4586 | μmol/L | 30.1708 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 21.016 | 125377.6669 | 267465.1072 | 32.55 | 27.7