## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-03 12:42

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
121939 | 2021-05-03 12:18 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.9754 | μmol/L | 30.4455 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.546 | 118586.1527 | 292422.3487 | 59.9307 | 38.1
121949 | 2021-05-03 12:19 | 0.3261 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.9764 | μmol/L | 30.4394 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.548 | 118637.8596 | 292383.9096 | 59.9307 | 38.1
121959 | 2021-05-03 12:19 | 0.65997 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.5476 | μmol/L | 30.47 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.562 | 118709.1558 | 292385.15 | 59.9307 | 38.1
121969 | 2021-05-03 12:19 | 0.99324 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.2305 | μmol/L | 30.47 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.58 | 118816.7477 | 292374.0492 | 59.9307 | 38.1
121979 | 2021-05-03 12:20 | 1.3262 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.0753 | μmol/L | 30.4516 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.595 | 118874.921 | 292370.8945 | 59.9307 | 38.1
121989 | 2021-05-03 12:20 | 1.6599 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.7561 | μmol/L | 30.47 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.607 | 118946.5524 | 292355.8076 | 59.9307 | 38.1
121999 | 2021-05-03 12:20 | 1.9929 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.9513 | μmol/L | 30.4578 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.6 | 118920.7811 | 292335.1823 | 59.9307 | 38.1
122009 | 2021-05-03 12:21 | 2.3265 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.7045 | μmol/L | 30.4639 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.612 | 118988.845 | 292352.9824 | 59.9307 | 38.1
122019 | 2021-05-03 12:21 | 2.6595 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.9802 | μmol/L | 30.3904 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.621 | 119053.552 | 292351.5859 | 59.9307 | 38.1
122029 | 2021-05-03 12:21 | 2.9935 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.2328 | μmol/L | 30.4578 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.641 | 119167.9289 | 292323.2618 | 59.9307 | 38.1
122039 | 2021-05-03 12:22 | 3.3265 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.2731 | μmol/L | 30.4271 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.649 | 119222.1526 | 292324.3198 | 59.9307 | 38.1
122049 | 2021-05-03 12:22 | 3.6595 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.2906 | μmol/L | 30.4271 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.648 | 119235.4148 | 292324.0585 | 59.9307 | 38.1
122059 | 2021-05-03 12:22 | 3.9933 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.0068 | μmol/L | 30.4516 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.656 | 119266.978 | 292300.6643 | 59.9307 | 38.1
122069 | 2021-05-03 12:23 | 4.3263 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.0841 | μmol/L | 30.4088 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.666 | 119327.6114 | 292304.5472 | 59.9307 | 38.1
122079 | 2021-05-03 12:23 | 4.6594 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.0032 | μmol/L | 30.372 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.683 | 119445.0034 | 292279.4761 | 59.9307 | 38.1
122089 | 2021-05-03 12:23 | 4.9934 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.9007 | μmol/L | 30.3597 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.693 | 119485.3597 | 292279.825 | 59.9307 | 38.1
122099 | 2021-05-03 12:24 | 5.3266 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.8484 | μmol/L | 30.3597 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.696 | 119526.7581 | 292285.4638 | 59.9307 | 38.1
122109 | 2021-05-03 12:24 | 5.6595 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.87 | μmol/L | 30.3352 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.703 | 119543.2498 | 292258.4935 | 59.9307 | 38.1
122119 | 2021-05-03 12:24 | 5.9934 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.6742 | μmol/L | 30.3597 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.706 | 119584.3697 | 292259.9326 | 59.9307 | 38.1
122129 | 2021-05-03 12:25 | 6.3263 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.0663 | μmol/L | 30.3597 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.741 | 119782.0619 | 292267.0857 | 59.9307 | 38.1
122139 | 2021-05-03 12:25 | 6.6602 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.5035 | μmol/L | 30.3413 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.722 | 119654.2619 | 292271.8074 | 59.9307 | 38.1
122149 | 2021-05-03 12:25 | 6.9931 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.1519 | μmol/L | 30.3659 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.734 | 119726.3013 | 292253.2088 | 59.9307 | 38.1
122159 | 2021-05-03 12:26 | 7.3262 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.0013 | μmol/L | 30.3352 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.753 | 119866.4214 | 292243.7039 | 59.9307 | 38.1
122169 | 2021-05-03 12:26 | 7.6601 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.668 | μmol/L | 30.3597 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.764 | 119935.029 | 292241.8148 | 59.9307 | 38.1
122179 | 2021-05-03 12:26 | 7.9929 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.6831 | μmol/L | 30.372 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.759 | 119888.6587 | 292226.8256 | 59.9307 | 38.1
122189 | 2021-05-03 12:27 | 8.3267 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.3215 | μmol/L | 30.3659 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.782 | 120036.8404 | 292216.3069 | 59.9307 | 38.1
122199 | 2021-05-03 12:27 | 8.6596 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.2708 | μmol/L | 30.3597 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.787 | 120054.8288 | 292204.1001 | 59.9307 | 38.1
122209 | 2021-05-03 12:27 | 8.9933 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.4284 | μmol/L | 30.3475 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.782 | 120036.2132 | 292208.2476 | 59.9307 | 38.1
122219 | 2021-05-03 12:28 | 9.3263 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.2881 | μmol/L | 30.3597 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.786 | 120065.5578 | 292210.5701 | 59.9307 | 38.1
122229 | 2021-05-03 12:28 | 9.6602 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.2547 | μmol/L | 30.3536 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.79 | 120086.0964 | 292189.5965 | 59.9307 | 38.1
122239 | 2021-05-03 12:28 | 9.993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.1386 | μmol/L | 30.3291 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.805 | 120160.5248 | 292193.3631 | 59.9307 | 38.1
122249 | 2021-05-03 12:29 | 10.3263 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.8781 | μmol/L | 30.3413 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.816 | 120216.2984 | 292190.9107 | 59.9307 | 38.1
122259 | 2021-05-03 12:29 | 10.6601 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.8426 | μmol/L | 30.3475 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.816 | 120239.4929 | 292167.7062 | 59.9307 | 38.1
122269 | 2021-05-03 12:29 | 10.9931 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.8609 | μmol/L | 30.3413 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.817 | 120243.4168 | 292186.9477 | 59.9307 | 38.1
122279 | 2021-05-03 12:30 | 11.3261 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.2967 | μmol/L | 30.3291 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.854 | 120405.3302 | 292162.1244 | 59.9307 | 38.1
122289 | 2021-05-03 12:30 | 11.6598 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.4156 | μmol/L | 30.3352 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.845 | 120377.0626 | 292159.7358 | 59.9307 | 38.1
122299 | 2021-05-03 12:30 | 11.9929 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.3458 | μmol/L | 30.3413 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.847 | 120424.5772 | 292166.0151 | 59.9307 | 38.1
122309 | 2021-05-03 12:31 | 12.3268 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.3996 | μmol/L | 30.3291 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.848 | 120433.9902 | 292150.6109 | 59.9307 | 38.1
122319 | 2021-05-03 12:31 | 12.6598 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.2944 | μmol/L | 30.3413 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.85 | 120426.5388 | 292144.7689 | 59.9307 | 38.1
122329 | 2021-05-03 12:31 | 12.9929 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.1084 | μmol/L | 30.3291 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.865 | 120543.8045 | 292142.5407 | 59.9307 | 38.1
122339 | 2021-05-03 12:32 | 13.3268 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.1072 | μmol/L | 30.3352 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.863 | 120514.6053 | 292126.5944 | 59.9307 | 38.1
122349 | 2021-05-03 12:32 | 13.6597 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.8997 | μmol/L | 30.3475 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.871 | 120551.3928 | 292117.2483 | 59.9307 | 38.1
122359 | 2021-05-03 12:32 | 13.993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.8472 | μmol/L | 30.3536 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.872 | 120565.2361 | 292109.9413 | 59.9307 | 38.1
122369 | 2021-05-03 12:33 | 14.3267 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.7094 | μmol/L | 30.3597 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.878 | 120605.9872 | 292079.7409 | 59.9307 | 38.1
122379 | 2021-05-03 12:33 | 14.6599 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.5559 | μmol/L | 30.3597 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.887 | 120652.4698 | 292091.5051 | 59.9307 | 38.1
122389 | 2021-05-03 12:33 | 14.993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.4548 | μmol/L | 30.3536 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.895 | 120680.3295 | 292097.5678 | 59.9307 | 38.1
122399 | 2021-05-03 12:34 | 15.3267 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.3027 | μmol/L | 30.3475 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.906 | 120757.3237 | 292083.2909 | 59.9307 | 38.1
122409 | 2021-05-03 12:34 | 15.6597 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.1617 | μmol/L | 30.372 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.906 | 120753.578 | 292078.8521 | 59.9307 | 38.1
122419 | 2021-05-03 12:34 | 15.9936 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.0609 | μmol/L | 30.3659 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.914 | 120814.0998 | 292085.929 | 59.9307 | 38.1
122429 | 2021-05-03 12:35 | 16.3267 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.9213 | μmol/L | 30.3842 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.916 | 120819.9356 | 292086.6353 | 59.9307 | 38.1
122439 | 2021-05-03 12:35 | 16.6596 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.9043 | μmol/L | 30.3842 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.917 | 120848.7026 | 292074.3322 | 59.9307 | 38.1
122449 | 2021-05-03 12:35 | 16.9931 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.7383 | μmol/L | 30.3659 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.933 | 120933.6729 | 292052.8746 | 59.9307 | 38.1
122459 | 2021-05-03 12:36 | 17.3268 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.7395 | μmol/L | 30.3597 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.935 | 120950.0995 | 292058.6318 | 59.9307 | 38.1
122469 | 2021-05-03 12:36 | 17.6596 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.4113 | μmol/L | 30.3904 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.944 | 120995.8412 | 292058.2301 | 59.9307 | 38.1
122479 | 2021-05-03 12:36 | 17.9929 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.2383 | μmol/L | 30.4088 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.948 | 121009.5745 | 292038.7463 | 59.9307 | 38.1
122489 | 2021-05-03 12:37 | 18.3265 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.1382 | μmol/L | 30.4026 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.956 | 121057.5228 | 292040.7505 | 59.9307 | 38.1
122499 | 2021-05-03 12:37 | 18.6602 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.0588 | μmol/L | 30.3781 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.969 | 121137.1449 | 292040.4462 | 59.9307 | 38.1
122509 | 2021-05-03 12:37 | 18.9933 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.1445 | μmol/L | 30.372 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.966 | 121121.7448 | 292024.4476 | 59.9307 | 38.1
122519 | 2021-05-03 12:38 | 19.3262 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.147 | μmol/L | 30.3597 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.97 | 121150.7018 | 292025.2761 | 59.9307 | 38.1
122529 | 2021-05-03 12:38 | 19.6596 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.7331 | μmol/L | 30.4026 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.98 | 121183.3445 | 292020.9206 | 59.9307 | 38.1
122539 | 2021-05-03 12:38 | 19.9935 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.96 | μmol/L | 30.3659 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.979 | 121181.7236 | 292006.9857 | 59.9307 | 38.1
122549 | 2021-05-03 12:39 | 20.3266 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.5012 | μmol/L | 30.3842 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21 | 121314.7567 | 292002.5769 | 59.9307 | 38.1
122559 | 2021-05-03 12:39 | 20.6602 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.9106 | μmol/L | 30.3597 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.984 | 121210.0316 | 291998.3208 | 59.9307 | 38.1
122569 | 2021-05-03 12:39 | 20.9928 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.742 | μmol/L | 30.3597 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.994 | 121253.8261 | 291999.9056 | 59.9307 | 38.1
122579 | 2021-05-03 12:40 | 21.3267 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.518 | μmol/L | 30.3842 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.999 | 121303.0024 | 291987.5262 | 59.9307 | 38.1
122589 | 2021-05-03 12:40 | 21.6596 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.3589 | μmol/L | 30.421 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.996 | 121294.1733 | 291983.5766 | 59.9307 | 38.1
122599 | 2021-05-03 12:40 | 21.9936 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.28 | μmol/L | 30.3965 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.009 | 121379.2919 | 291986.1007 | 59.9307 | 38.1
122609 | 2021-05-03 12:41 | 22.3263 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.1663 | μmol/L | 30.3781 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.022 | 121438.517 | 291989.0239 | 59.9307 | 38.1