## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-07 12:26

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
127105 | 2021-05-07 12:01 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.9234 | μmol/L | 30.0211 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.902 | 88516.6189 | 291148.7431 | 28.7 | 67.6
127115 | 2021-05-07 12:02 | 0.33236 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.4259 | μmol/L | 30.0088 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.935 | 88671.8619 | 291152.1222 | 28.7 | 67.6
127125 | 2021-05-07 12:02 | 0.66525 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.6922 | μmol/L | 29.9844 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.986 | 88921.8251 | 291154.6242 | 28.7 | 67.6
127135 | 2021-05-07 12:02 | 0.99905 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.1999 | μmol/L | 29.9661 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.021 | 89089.4368 | 291154.8103 | 28.7 | 67.6
127145 | 2021-05-07 12:03 | 1.332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.8413 | μmol/L | 29.9722 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.04 | 89176.5524 | 291159.7165 | 28.7 | 67.6
127155 | 2021-05-07 12:03 | 1.6657 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.0325 | μmol/L | 30.0394 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.065 | 89291.6264 | 291146.2917 | 28.7 | 67.6
127165 | 2021-05-07 12:03 | 1.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.4167 | μmol/L | 30.0821 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.087 | 89392.091 | 291145.2335 | 28.7 | 67.6
127175 | 2021-05-07 12:04 | 2.3328 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.3231 | μmol/L | 30.0394 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.107 | 89476.8042 | 291144.3581 | 28.7 | 67.6
127185 | 2021-05-07 12:04 | 2.6655 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.038 | μmol/L | 30.0333 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.126 | 89586.2629 | 291139.8084 | 28.7 | 67.6
127195 | 2021-05-07 12:04 | 2.9986 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.0677 | μmol/L | 30.1126 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.157 | 89713.2292 | 291142.6705 | 28.7 | 67.6
127205 | 2021-05-07 12:05 | 3.3323 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.2318 | μmol/L | 30.0394 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.172 | 89812.258 | 291128.4917 | 28.7 | 67.6
127215 | 2021-05-07 12:05 | 3.6654 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 187.7895 | μmol/L | 30.0821 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.184 | 89868.3323 | 291128.7903 | 28.7 | 67.6
127225 | 2021-05-07 12:05 | 3.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 187.1521 | μmol/L | 30.1065 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.214 | 89980.8944 | 291120.5251 | 28.7 | 67.6
127235 | 2021-05-07 12:06 | 4.3324 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 187.3919 | μmol/L | 30.0699 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.212 | 89992.6875 | 291121.5564 | 28.7 | 67.6
127245 | 2021-05-07 12:06 | 4.6654 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 187.0548 | μmol/L | 30.0943 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.224 | 90043.6382 | 291110.164 | 28.7 | 67.6
127255 | 2021-05-07 12:06 | 4.9991 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.9185 | μmol/L | 30.1126 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.226 | 90050.2838 | 291112.7339 | 28.7 | 67.6
127265 | 2021-05-07 12:07 | 5.3323 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 187.1437 | μmol/L | 30.0638 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.229 | 90050.6707 | 291099.2957 | 28.7 | 67.6
127275 | 2021-05-07 12:07 | 5.6654 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 187.1947 | μmol/L | 30.0577 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.228 | 90097.2777 | 291103.8207 | 28.7 | 67.6
127285 | 2021-05-07 12:07 | 5.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.7149 | μmol/L | 30.0516 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.259 | 90230.5669 | 291092.211 | 28.7 | 67.6
127295 | 2021-05-07 12:08 | 6.3322 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.2224 | μmol/L | 30.0333 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.295 | 90357.9398 | 291091.0921 | 28.7 | 67.6
127305 | 2021-05-07 12:08 | 6.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.3038 | μmol/L | 30.0394 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.288 | 90314.9353 | 291078.7003 | 28.7 | 67.6
127315 | 2021-05-07 12:08 | 6.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.2506 | μmol/L | 30.0577 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.285 | 90310.5658 | 291066.0084 | 28.7 | 67.6
127325 | 2021-05-07 12:09 | 7.3319 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.1882 | μmol/L | 30.0394 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.295 | 90399.3026 | 291064.9373 | 28.7 | 67.6
127335 | 2021-05-07 12:09 | 7.6658 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.7104 | μmol/L | 30.0394 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.324 | 90511.9361 | 291065.5059 | 28.7 | 67.6
127345 | 2021-05-07 12:09 | 7.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.4779 | μmol/L | 30.0516 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.334 | 90544.7907 | 291051.7 | 28.7 | 67.6
127355 | 2021-05-07 12:10 | 8.3321 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.3719 | μmol/L | 30.0882 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.328 | 90527.5424 | 291058.2384 | 28.7 | 67.6
127365 | 2021-05-07 12:10 | 8.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.9708 | μmol/L | 30.1248 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.34 | 90575.4745 | 291053.863 | 28.7 | 67.6
127375 | 2021-05-07 12:10 | 8.999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.8864 | μmol/L | 30.137 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.341 | 90577.3798 | 291041.1722 | 28.7 | 67.6
127385 | 2021-05-07 12:11 | 9.332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.4237 | μmol/L | 30.076 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.329 | 90524.2067 | 291033.6678 | 28.7 | 67.6
127395 | 2021-05-07 12:11 | 9.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.808 | μmol/L | 30.0455 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.316 | 90467.1002 | 291029.364 | 28.7 | 67.6
127405 | 2021-05-07 12:11 | 9.9988 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.947 | μmol/L | 30.0088 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.32 | 90476.9138 | 291026.463 | 28.7 | 67.6
127415 | 2021-05-07 12:12 | 10.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.2911 | μmol/L | 30.0821 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.335 | 90534.1841 | 291036.5158 | 28.7 | 67.6
127425 | 2021-05-07 12:12 | 10.6658 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.1372 | μmol/L | 30.1126 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.334 | 90527.2952 | 291016.9806 | 28.7 | 67.6
127435 | 2021-05-07 12:12 | 10.9988 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.9885 | μmol/L | 30.1187 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.341 | 90558.3269 | 291005.6327 | 28.7 | 67.6
127445 | 2021-05-07 12:13 | 11.3325 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.5817 | μmol/L | 30.1858 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.343 | 90604.3167 | 290991.7054 | 28.7 | 67.6
127455 | 2021-05-07 12:13 | 11.6654 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.7833 | μmol/L | 30.0821 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.366 | 90716.5954 | 290997.785 | 28.7 | 67.6
127465 | 2021-05-07 12:13 | 11.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.7747 | μmol/L | 30.1492 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.405 | 90841.2838 | 290994.4607 | 28.7 | 67.6
127475 | 2021-05-07 12:14 | 12.3322 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.4592 | μmol/L | 30.0699 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.39 | 90796.5882 | 290986.3196 | 28.7 | 67.6
127485 | 2021-05-07 12:14 | 12.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.7668 | μmol/L | 30.1858 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.393 | 90834.3082 | 290985.9894 | 28.7 | 67.6
127495 | 2021-05-07 12:14 | 12.9988 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.2297 | μmol/L | 30.076 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.402 | 90875.3231 | 290980.5317 | 28.7 | 67.6
127505 | 2021-05-07 12:15 | 13.3325 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.3637 | μmol/L | 30.1736 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.422 | 90954.4027 | 290977.7639 | 28.7 | 67.6
127515 | 2021-05-07 12:15 | 13.6657 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.0044 | μmol/L | 30.0638 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.42 | 90951.4808 | 290970.3213 | 28.7 | 67.6
127525 | 2021-05-07 12:15 | 13.9988 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.3029 | μmol/L | 30.1553 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.432 | 91025.1962 | 290957.8076 | 28.7 | 67.6
127535 | 2021-05-07 12:16 | 14.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.6457 | μmol/L | 30.0699 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.44 | 91042.7117 | 290960.4371 | 28.7 | 67.6
127545 | 2021-05-07 12:16 | 14.6658 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.1841 | μmol/L | 30.1065 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.456 | 91114.0579 | 290971.6172 | 28.7 | 67.6
127555 | 2021-05-07 12:16 | 14.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.1154 | μmol/L | 30.1248 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.454 | 91120.1514 | 290961.557 | 28.7 | 67.6
127565 | 2021-05-07 12:17 | 15.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.1814 | μmol/L | 30.1187 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.452 | 91093.9789 | 290953.4575 | 28.7 | 67.6
127575 | 2021-05-07 12:17 | 15.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.2786 | μmol/L | 30.1187 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.446 | 91076.6664 | 290969.3901 | 28.7 | 67.6
127585 | 2021-05-07 12:17 | 15.999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.9659 | μmol/L | 30.1431 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.457 | 91113.7716 | 290956.2904 | 28.7 | 67.6
127595 | 2021-05-07 12:18 | 16.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.4828 | μmol/L | 30.2103 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.464 | 91157.3447 | 290960.7374 | 28.7 | 67.6
127605 | 2021-05-07 12:18 | 16.6657 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.908 | μmol/L | 30.1126 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.471 | 91195.3875 | 290954.3889 | 28.7 | 67.6
127615 | 2021-05-07 12:18 | 16.9988 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.7641 | μmol/L | 30.1065 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.482 | 91241.6969 | 290944.9752 | 28.7 | 67.6
127625 | 2021-05-07 12:19 | 17.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.2993 | μmol/L | 30.1675 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.49 | 91282.057 | 290948.4301 | 28.7 | 67.6
127635 | 2021-05-07 12:19 | 17.6657 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.9974 | μmol/L | 30.2225 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.49 | 91290.0541 | 290938.1022 | 28.7 | 67.6
127645 | 2021-05-07 12:19 | 17.9994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.2524 | μmol/L | 30.1614 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.495 | 91296.9679 | 290938.5088 | 28.7 | 67.6
127655 | 2021-05-07 12:20 | 18.3324 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.6533 | μmol/L | 30.253 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.501 | 91364.4555 | 290916.7589 | 28.7 | 67.6
127665 | 2021-05-07 12:20 | 18.6655 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.7401 | μmol/L | 30.1553 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.529 | 91453.5199 | 290915.0704 | 28.7 | 67.6
127675 | 2021-05-07 12:20 | 18.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.8913 | μmol/L | 30.1248 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.53 | 91466.2621 | 290902.9876 | 28.7 | 67.6
127685 | 2021-05-07 12:21 | 19.3324 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.5903 | μmol/L | 30.1797 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.53 | 91462.1873 | 290891.2501 | 28.7 | 67.6
127695 | 2021-05-07 12:21 | 19.6654 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.6091 | μmol/L | 30.1675 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.533 | 91487.9782 | 290910.4065 | 28.7 | 67.6
127705 | 2021-05-07 12:21 | 19.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.5187 | μmol/L | 30.1431 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.547 | 91547.1624 | 290898.7163 | 28.7 | 67.6
127715 | 2021-05-07 12:22 | 20.3322 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.0571 | μmol/L | 30.2041 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.555 | 91569.2229 | 290904.2111 | 28.7 | 67.6
127725 | 2021-05-07 12:22 | 20.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.7614 | μmol/L | 30.2408 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.561 | 91601.7481 | 290901.2887 | 28.7 | 67.6
127735 | 2021-05-07 12:22 | 20.9988 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.9193 | μmol/L | 30.1797 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.572 | 91641.9628 | 290879.4541 | 28.7 | 67.6
127745 | 2021-05-07 12:23 | 21.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.1756 | μmol/L | 30.1065 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.581 | 91686.5655 | 290879.5753 | 28.7 | 67.6
127755 | 2021-05-07 12:23 | 21.6656 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.3422 | μmol/L | 30.076 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.581 | 91693.8645 | 290876.2607 | 28.7 | 67.6
127765 | 2021-05-07 12:23 | 21.9987 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.8192 | μmol/L | 30.1309 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.595 | 91765.3384 | 290866.7211 | 28.7 | 67.6
127775 | 2021-05-07 12:24 | 22.3325 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.5141 | μmol/L | 30.1431 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.61 | 91831.7138 | 290868.0558 | 28.7 | 67.6
127785 | 2021-05-07 12:24 | 22.6654 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.185 | μmol/L | 30.1919 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.614 | 91868.2493 | 290866.9492 | 28.7 | 67.6
127795 | 2021-05-07 12:24 | 22.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.0121 | μmol/L | 30.1858 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.627 | 91915.9803 | 290876.8126 | 28.7 | 67.6
127805 | 2021-05-07 12:25 | 23.3321 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.4245 | μmol/L | 30.1187 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.624 | 91913.4562 | 290859.429 | 28.7 | 67.6
127815 | 2021-05-07 12:25 | 23.6654 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.2947 | μmol/L | 30.1309 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.628 | 91910.3034 | 290853.2122 | 28.7 | 67.6