## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-07 12:26

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
127106 | 2021-05-07 12:01 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.5431 | μmol/L | 30.0633 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.207 | 119578.5446 | 267863.6933 | 36.4 | 83.1
127116 | 2021-05-07 12:02 | 0.34174 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.2652 | μmol/L | 30.1248 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.252 | 119931.2202 | 267847.6223 | 36.4 | 83.1
127126 | 2021-05-07 12:02 | 0.67476 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.5931 | μmol/L | 30.1186 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.289 | 119859.9095 | 267856.8862 | 36.4 | 83.1
127136 | 2021-05-07 12:02 | 1.0079 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.4169 | μmol/L | 30.0694 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.315 | 120036.6982 | 267852.5461 | 36.4 | 83.1
127146 | 2021-05-07 12:03 | 1.3417 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.7618 | μmol/L | 30.0817 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.345 | 120232.3335 | 267837.0456 | 36.4 | 83.1
127156 | 2021-05-07 12:03 | 1.6747 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.0133 | μmol/L | 30.0141 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.355 | 120322.2161 | 267836.6543 | 36.4 | 83.1
127166 | 2021-05-07 12:03 | 2.0079 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.2315 | μmol/L | 30.0694 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.377 | 120472.2788 | 267817.1398 | 36.4 | 83.1
127176 | 2021-05-07 12:04 | 2.3417 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.9902 | μmol/L | 30.051 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.396 | 120590.7519 | 267819.783 | 36.4 | 83.1
127186 | 2021-05-07 12:04 | 2.6744 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.4102 | μmol/L | 30.0817 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.416 | 120713.8643 | 267838.9291 | 36.4 | 83.1
127196 | 2021-05-07 12:04 | 3.0082 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.1471 | μmol/L | 30.0756 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.432 | 120824.3076 | 267829.3178 | 36.4 | 83.1
127206 | 2021-05-07 12:05 | 3.3413 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.9979 | μmol/L | 30.0694 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.442 | 120877.6343 | 267827.846 | 36.4 | 83.1
127216 | 2021-05-07 12:05 | 3.6746 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.8278 | μmol/L | 30.0694 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.451 | 120961.4687 | 267810.5982 | 36.4 | 83.1
127226 | 2021-05-07 12:05 | 4.0085 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.7459 | μmol/L | 30.0326 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.468 | 121055.7989 | 267806.2036 | 36.4 | 83.1
127236 | 2021-05-07 12:06 | 4.3414 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.4002 | μmol/L | 30.051 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.48 | 121148.0416 | 267797.8097 | 36.4 | 83.1
127246 | 2021-05-07 12:06 | 4.6744 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.2371 | μmol/L | 30.0326 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.495 | 121211.9383 | 267797.7801 | 36.4 | 83.1
127256 | 2021-05-07 12:06 | 5.0082 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.8464 | μmol/L | 30.0756 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.501 | 121235.1021 | 267791.1897 | 36.4 | 83.1
127266 | 2021-05-07 12:07 | 5.341 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.6147 | μmol/L | 30.094 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.507 | 121299.2696 | 267780.1163 | 36.4 | 83.1
127276 | 2021-05-07 12:07 | 5.6746 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.482 | μmol/L | 30.0449 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.531 | 121440.6598 | 267782.9902 | 36.4 | 83.1
127286 | 2021-05-07 12:07 | 6.0084 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.974 | μmol/L | 30.1063 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.537 | 121492.8024 | 267781.9967 | 36.4 | 83.1
127296 | 2021-05-07 12:08 | 6.3413 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.1157 | μmol/L | 30.0756 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.54 | 121519.5753 | 267800.9114 | 36.4 | 83.1
127306 | 2021-05-07 12:08 | 6.6743 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.2804 | μmol/L | 30.0326 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.546 | 121563.2406 | 267783.365 | 36.4 | 83.1
127316 | 2021-05-07 12:08 | 7.0081 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.5361 | μmol/L | 30.1309 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.552 | 121587.1848 | 267771.7567 | 36.4 | 83.1
127326 | 2021-05-07 12:09 | 7.3411 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.4199 | μmol/L | 30.1432 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.554 | 121601.6068 | 267773.9668 | 36.4 | 83.1
127336 | 2021-05-07 12:09 | 7.6749 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.6842 | μmol/L | 30.0817 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.561 | 121646.3789 | 267773.2465 | 36.4 | 83.1
127346 | 2021-05-07 12:09 | 8.0081 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.3773 | μmol/L | 30.1063 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.569 | 121681.4423 | 267764.6567 | 36.4 | 83.1
127356 | 2021-05-07 12:10 | 8.3417 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.3653 | μmol/L | 30.0879 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.576 | 121716.3879 | 267762.983 | 36.4 | 83.1
127366 | 2021-05-07 12:10 | 8.6748 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.2515 | μmol/L | 30.094 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.58 | 121757.188 | 267764.3001 | 36.4 | 83.1
127376 | 2021-05-07 12:10 | 9.0078 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 208.9245 | μmol/L | 30.1248 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.587 | 121796.0092 | 267751.8719 | 36.4 | 83.1
127386 | 2021-05-07 12:11 | 9.3416 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 208.4616 | μmol/L | 30.1739 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.595 | 121858.5125 | 267759.0446 | 36.4 | 83.1
127396 | 2021-05-07 12:11 | 9.6747 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 208.2904 | μmol/L | 30.1862 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.6 | 121898.3396 | 267749.1339 | 36.4 | 83.1
127406 | 2021-05-07 12:11 | 10.0077 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 208.4151 | μmol/L | 30.1493 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.606 | 121930.6935 | 267733.1716 | 36.4 | 83.1
127416 | 2021-05-07 12:12 | 10.3417 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 208.2855 | μmol/L | 30.1493 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.613 | 121977.6882 | 267730.8936 | 36.4 | 83.1
127426 | 2021-05-07 12:12 | 10.6748 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 208.1976 | μmol/L | 30.137 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.622 | 122036.9178 | 267738.1304 | 36.4 | 83.1
127436 | 2021-05-07 12:12 | 11.0085 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 208.0407 | μmol/L | 30.1616 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.622 | 122051.154 | 267730.6655 | 36.4 | 83.1
127446 | 2021-05-07 12:13 | 11.3415 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 208.1629 | μmol/L | 30.1309 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.626 | 122046.8132 | 267719.3376 | 36.4 | 83.1
127456 | 2021-05-07 12:13 | 11.6747 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 207.9368 | μmol/L | 30.1432 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.634 | 122121.5729 | 267725.7236 | 36.4 | 83.1
127466 | 2021-05-07 12:13 | 12.0079 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 207.8514 | μmol/L | 30.1248 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.645 | 122192.0851 | 267722.3527 | 36.4 | 83.1
127476 | 2021-05-07 12:14 | 12.3416 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 207.3151 | μmol/L | 30.1801 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.655 | 122246.4202 | 267716.1165 | 36.4 | 83.1
127486 | 2021-05-07 12:14 | 12.6747 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 207.2439 | μmol/L | 30.1739 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.661 | 122284.4022 | 267714.1722 | 36.4 | 83.1
127496 | 2021-05-07 12:14 | 13.0079 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 207.113 | μmol/L | 30.1801 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.666 | 122328.8148 | 267704.1389 | 36.4 | 83.1
127506 | 2021-05-07 12:15 | 13.3416 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.9661 | μmol/L | 30.1801 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.674 | 122374.2906 | 267706.4091 | 36.4 | 83.1
127516 | 2021-05-07 12:15 | 13.6747 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 207.26 | μmol/L | 30.1309 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.675 | 122377.6529 | 267706.1389 | 36.4 | 83.1
127526 | 2021-05-07 12:15 | 14.0078 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.9317 | μmol/L | 30.1739 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.678 | 122390.6574 | 267688.7978 | 36.4 | 83.1
127536 | 2021-05-07 12:16 | 14.3418 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.9754 | μmol/L | 30.1555 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.682 | 122394.9957 | 267692.495 | 36.4 | 83.1
127546 | 2021-05-07 12:16 | 14.6748 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.5582 | μmol/L | 30.1924 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.692 | 122463.4351 | 267690.1796 | 36.4 | 83.1
127556 | 2021-05-07 12:16 | 15.0077 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.2951 | μmol/L | 30.2108 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.7 | 122499.8753 | 267681.2435 | 36.4 | 83.1
127566 | 2021-05-07 12:17 | 15.3417 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.2197 | μmol/L | 30.2169 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.702 | 122524.9993 | 267691.9356 | 36.4 | 83.1
127576 | 2021-05-07 12:17 | 15.6746 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.0188 | μmol/L | 30.2169 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.713 | 122576.4728 | 267674.7203 | 36.4 | 83.1
127586 | 2021-05-07 12:17 | 16.0083 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.9157 | μmol/L | 30.2477 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.708 | 122584.7924 | 267686.4284 | 36.4 | 83.1
127596 | 2021-05-07 12:18 | 16.3412 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.1655 | μmol/L | 30.1678 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.722 | 122644.3895 | 267674.0367 | 36.4 | 83.1
127606 | 2021-05-07 12:18 | 16.6751 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.8547 | μmol/L | 30.2169 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.722 | 122646.2629 | 267681.1329 | 36.4 | 83.1
127616 | 2021-05-07 12:18 | 17.0084 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.6629 | μmol/L | 30.2415 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.724 | 122669.4742 | 267673.9909 | 36.4 | 83.1
127626 | 2021-05-07 12:19 | 17.3414 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.9189 | μmol/L | 30.1924 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.727 | 122691.6835 | 267662.5655 | 36.4 | 83.1
127636 | 2021-05-07 12:19 | 17.6743 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.7343 | μmol/L | 30.1985 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.735 | 122715.9348 | 267670.2609 | 36.4 | 83.1
127646 | 2021-05-07 12:19 | 18.0081 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.5427 | μmol/L | 30.2231 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.737 | 122750.2649 | 267659.9132 | 36.4 | 83.1
127656 | 2021-05-07 12:20 | 18.3417 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.4771 | μmol/L | 30.2046 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.747 | 122798.5786 | 267678.6451 | 36.4 | 83.1
127666 | 2021-05-07 12:20 | 18.6748 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.8696 | μmol/L | 30.1309 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.751 | 122833.0915 | 267658.2578 | 36.4 | 83.1
127676 | 2021-05-07 12:20 | 19.0077 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.5096 | μmol/L | 30.1678 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.758 | 122890.8156 | 267654.023 | 36.4 | 83.1
127686 | 2021-05-07 12:21 | 19.3413 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.2385 | μmol/L | 30.2108 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.758 | 122885.2299 | 267645.5987 | 36.4 | 83.1
127696 | 2021-05-07 12:21 | 19.6743 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.1296 | μmol/L | 30.2108 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.764 | 122927.144 | 267649.9678 | 36.4 | 83.1
127706 | 2021-05-07 12:21 | 20.0082 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.5511 | μmol/L | 30.2538 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.781 | 123003.0791 | 267638.5964 | 36.4 | 83.1
127716 | 2021-05-07 12:22 | 20.3417 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.6899 | μmol/L | 30.2231 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.784 | 123017.2118 | 267644.4003 | 36.4 | 83.1
127726 | 2021-05-07 12:22 | 20.6748 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.3259 | μmol/L | 30.2292 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.802 | 123144.4764 | 267651.0315 | 36.4 | 83.1
127736 | 2021-05-07 12:22 | 21.0078 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.3693 | μmol/L | 30.2108 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.806 | 123170.8875 | 267637.0946 | 36.4 | 83.1
127746 | 2021-05-07 12:23 | 21.3415 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.4899 | μmol/L | 30.1801 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.81 | 123212.5426 | 267640.2499 | 36.4 | 83.1
127756 | 2021-05-07 12:23 | 21.6745 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.343 | μmol/L | 30.1862 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.816 | 123247.7212 | 267628.2909 | 36.4 | 83.1
127766 | 2021-05-07 12:23 | 22.0083 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.0569 | μmol/L | 30.1801 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.834 | 123348.9694 | 267624.7079 | 36.4 | 83.1
127776 | 2021-05-07 12:24 | 22.3413 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.8203 | μmol/L | 30.1862 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.845 | 123406.8144 | 267609.4536 | 36.4 | 83.1
127786 | 2021-05-07 12:24 | 22.6751 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.6021 | μmol/L | 30.1924 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.855 | 123481.67 | 267606.1464 | 36.4 | 83.1
127796 | 2021-05-07 12:24 | 23.0082 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.5842 | μmol/L | 30.1924 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.856 | 123518.2645 | 267593.1979 | 36.4 | 83.1
127806 | 2021-05-07 12:25 | 23.3411 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.4275 | μmol/L | 30.1801 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.869 | 123554.6909 | 267597.2641 | 36.4 | 83.1
127816 | 2021-05-07 12:25 | 23.675 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.581 | μmol/L | 30.1555 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.869 | 123548.0367 | 267593.3666 | 36.4 | 83.1