## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-07 12:26

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
127107 | 2021-05-07 12:01 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.3103 | μmol/L | 30.0562 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.871 | 94257.1281 | 294077.9834 | 30.45 | 114.2
127117 | 2021-05-07 12:02 | 0.3333 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.9339 | μmol/L | 30.1364 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.924 | 94559.5271 | 294087.8827 | 30.45 | 114.2
127127 | 2021-05-07 12:02 | 0.66705 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.538 | μmol/L | 30.0686 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.97 | 94788.3266 | 294070.9805 | 30.45 | 114.2
127137 | 2021-05-07 12:02 | 1.0001 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.029 | μmol/L | 30.0562 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.004 | 94985.7007 | 294088.4663 | 30.45 | 114.2
127147 | 2021-05-07 12:03 | 1.3331 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.7847 | μmol/L | 30.0069 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.035 | 95148.4949 | 294072.8803 | 30.45 | 114.2
127157 | 2021-05-07 12:03 | 1.667 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.1024 | μmol/L | 30.0254 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.069 | 95302.8236 | 294065.8054 | 30.45 | 114.2
127167 | 2021-05-07 12:03 | 2 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.6407 | μmol/L | 30.0501 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.088 | 95435.9979 | 294066.8268 | 30.45 | 114.2
127177 | 2021-05-07 12:04 | 2.3338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.1523 | μmol/L | 30.0501 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.117 | 95575.0857 | 294062.2753 | 30.45 | 114.2
127187 | 2021-05-07 12:04 | 2.6665 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.7339 | μmol/L | 30.0439 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.144 | 95705.5374 | 294050.5559 | 30.45 | 114.2
127197 | 2021-05-07 12:04 | 3.0001 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.4687 | μmol/L | 30.0316 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.164 | 95836.2233 | 294064.7837 | 30.45 | 114.2
127207 | 2021-05-07 12:05 | 3.3332 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.8949 | μmol/L | 30.0562 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.19 | 95947.0052 | 294041.6823 | 30.45 | 114.2
127217 | 2021-05-07 12:05 | 3.667 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.5769 | μmol/L | 30.0624 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.207 | 96026.0753 | 294048.8182 | 30.45 | 114.2
127227 | 2021-05-07 12:05 | 4.0001 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.2731 | μmol/L | 30.0809 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.219 | 96108.9861 | 294032.7655 | 30.45 | 114.2
127237 | 2021-05-07 12:06 | 4.333 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.4195 | μmol/L | 30.0254 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.229 | 96158.7362 | 294041.1938 | 30.45 | 114.2
127247 | 2021-05-07 12:06 | 4.6668 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.3228 | μmol/L | 30.0131 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.239 | 96202.8156 | 294022.5874 | 30.45 | 114.2
127257 | 2021-05-07 12:06 | 4.9997 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.2985 | μmol/L | 29.9761 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.253 | 96246.4033 | 294020.8221 | 30.45 | 114.2
127267 | 2021-05-07 12:07 | 5.3336 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.1974 | μmol/L | 29.9823 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.257 | 96288.7384 | 294034.0696 | 30.45 | 114.2
127277 | 2021-05-07 12:07 | 5.6665 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.8766 | μmol/L | 30.0069 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.268 | 96325.5458 | 294014.7577 | 30.45 | 114.2
127287 | 2021-05-07 12:07 | 5.9996 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.4645 | μmol/L | 30.0686 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.272 | 96351.7657 | 294014.694 | 30.45 | 114.2
127297 | 2021-05-07 12:08 | 6.3334 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.5712 | μmol/L | 30.0378 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.276 | 96381.4774 | 294009.1653 | 30.45 | 114.2
127307 | 2021-05-07 12:08 | 6.6664 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.4902 | μmol/L | 30.0316 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.283 | 96406.6315 | 293998.4147 | 30.45 | 114.2
127317 | 2021-05-07 12:08 | 7.0001 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.373 | μmol/L | 30.0378 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.288 | 96431.0547 | 294000.1897 | 30.45 | 114.2
127327 | 2021-05-07 12:09 | 7.3332 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.3205 | μmol/L | 30.0501 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.287 | 96442.4727 | 293987.2137 | 30.45 | 114.2
127337 | 2021-05-07 12:09 | 7.6669 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.4076 | μmol/L | 30.0316 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.288 | 96454.453 | 293988.4441 | 30.45 | 114.2
127347 | 2021-05-07 12:09 | 7.9999 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.2545 | μmol/L | 30.0501 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.291 | 96473.446 | 293989.0789 | 30.45 | 114.2
127357 | 2021-05-07 12:10 | 8.3335 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.118 | μmol/L | 30.0686 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.293 | 96479.0461 | 293990.5093 | 30.45 | 114.2
127367 | 2021-05-07 12:10 | 8.6667 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.187 | μmol/L | 30.0562 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.293 | 96493.489 | 293977.0834 | 30.45 | 114.2
127377 | 2021-05-07 12:10 | 8.9997 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.223 | μmol/L | 30.0439 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.295 | 96498.7384 | 293969.4779 | 30.45 | 114.2
127387 | 2021-05-07 12:11 | 9.3336 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.172 | μmol/L | 30.0501 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.296 | 96514.9051 | 293968.6128 | 30.45 | 114.2
127397 | 2021-05-07 12:11 | 9.6667 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.3807 | μmol/L | 30.0069 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.298 | 96517.3428 | 293975.4145 | 30.45 | 114.2
127407 | 2021-05-07 12:11 | 9.9997 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.3296 | μmol/L | 30.0131 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.299 | 96528.7588 | 293963.0672 | 30.45 | 114.2
127417 | 2021-05-07 12:12 | 10.333 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.0778 | μmol/L | 30.0316 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.308 | 96530.3228 | 293954.2093 | 30.45 | 114.2
127427 | 2021-05-07 12:12 | 10.6669 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.0088 | μmol/L | 30.0439 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.308 | 96545.4598 | 293951.2958 | 30.45 | 114.2
127437 | 2021-05-07 12:12 | 10.9997 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.1107 | μmol/L | 30.0316 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.306 | 96562.4597 | 293949.8929 | 30.45 | 114.2
127447 | 2021-05-07 12:13 | 11.3334 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.925 | μmol/L | 30.0501 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.311 | 96578.0037 | 293956.9396 | 30.45 | 114.2
127457 | 2021-05-07 12:13 | 11.6665 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.8067 | μmol/L | 30.0624 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.314 | 96594.8606 | 293949.2874 | 30.45 | 114.2
127467 | 2021-05-07 12:13 | 12.0003 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.8232 | μmol/L | 30.0624 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.313 | 96619.3722 | 293937.8052 | 30.45 | 114.2
127477 | 2021-05-07 12:14 | 12.3334 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.9101 | μmol/L | 30.0439 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.314 | 96624.8457 | 293932.1265 | 30.45 | 114.2
127487 | 2021-05-07 12:14 | 12.6664 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.5837 | μmol/L | 30.0994 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.315 | 96625.098 | 293929.7483 | 30.45 | 114.2
127497 | 2021-05-07 12:14 | 13.0004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.7081 | μmol/L | 30.0624 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.32 | 96637.6953 | 293916.1445 | 30.45 | 114.2
127507 | 2021-05-07 12:15 | 13.3332 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.5735 | μmol/L | 30.0747 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.324 | 96655.5373 | 293918.4853 | 30.45 | 114.2
127517 | 2021-05-07 12:15 | 13.6663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.4359 | μmol/L | 30.0994 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.324 | 96665.8197 | 293924.5054 | 30.45 | 114.2
127527 | 2021-05-07 12:15 | 14.0003 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.6095 | μmol/L | 30.0624 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.326 | 96673.213 | 293911.7644 | 30.45 | 114.2
127537 | 2021-05-07 12:16 | 14.3333 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.6768 | μmol/L | 30.0562 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.324 | 96698.5197 | 293913.0293 | 30.45 | 114.2
127547 | 2021-05-07 12:16 | 14.6665 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.6259 | μmol/L | 30.0624 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.325 | 96701.4384 | 293908.0126 | 30.45 | 114.2
127557 | 2021-05-07 12:16 | 15.0004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.5274 | μmol/L | 30.0624 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.331 | 96714.2104 | 293911.0993 | 30.45 | 114.2
127567 | 2021-05-07 12:17 | 15.3333 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.393 | μmol/L | 30.0747 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.335 | 96733.9418 | 293919.7697 | 30.45 | 114.2
127577 | 2021-05-07 12:17 | 15.6665 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.1345 | μmol/L | 30.1241 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.334 | 96751.4158 | 293903.8916 | 30.45 | 114.2
127587 | 2021-05-07 12:17 | 16.0004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.2064 | μmol/L | 30.0994 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.338 | 96763.9665 | 293900.6849 | 30.45 | 114.2
127597 | 2021-05-07 12:18 | 16.3332 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.1572 | μmol/L | 30.0994 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.341 | 96772.7678 | 293900.1354 | 30.45 | 114.2
127607 | 2021-05-07 12:18 | 16.6671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.0769 | μmol/L | 30.0932 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.348 | 96790.7499 | 293894.8577 | 30.45 | 114.2
127617 | 2021-05-07 12:18 | 17.0002 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.7223 | μmol/L | 30.1364 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.355 | 96825.0007 | 293891.3942 | 30.45 | 114.2
127627 | 2021-05-07 12:19 | 17.3332 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.6848 | μmol/L | 30.1549 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.351 | 96827.1802 | 293888.7764 | 30.45 | 114.2
127637 | 2021-05-07 12:19 | 17.6669 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.773 | μmol/L | 30.1302 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.354 | 96835.1911 | 293888.406 | 30.45 | 114.2
127647 | 2021-05-07 12:19 | 17.9998 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.5999 | μmol/L | 30.1672 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.352 | 96844.3461 | 293876.0712 | 30.45 | 114.2
127657 | 2021-05-07 12:20 | 18.3336 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.5379 | μmol/L | 30.1549 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.36 | 96836.7629 | 293874.0061 | 30.45 | 114.2
127667 | 2021-05-07 12:20 | 18.6665 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.4416 | μmol/L | 30.1487 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.368 | 96858.8209 | 293866.4245 | 30.45 | 114.2
127677 | 2021-05-07 12:20 | 19.0003 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.9851 | μmol/L | 30.0686 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.362 | 96869.8468 | 293878.6679 | 30.45 | 114.2
127687 | 2021-05-07 12:21 | 19.3332 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.7826 | μmol/L | 30.0932 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.366 | 96874.7194 | 293854.9152 | 30.45 | 114.2
127697 | 2021-05-07 12:21 | 19.6669 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.6324 | μmol/L | 30.1056 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.371 | 96885.023 | 293854.6416 | 30.45 | 114.2
127707 | 2021-05-07 12:21 | 20 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.4596 | μmol/L | 30.1425 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.369 | 96895.8785 | 293841.0182 | 30.45 | 114.2
127717 | 2021-05-07 12:22 | 20.333 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.6161 | μmol/L | 30.1056 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.372 | 96908.8013 | 293841.2254 | 30.45 | 114.2
127727 | 2021-05-07 12:22 | 20.6669 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.6356 | μmol/L | 30.0932 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.375 | 96923.957 | 293845.1448 | 30.45 | 114.2
127737 | 2021-05-07 12:22 | 20.9999 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.4693 | μmol/L | 30.1056 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.381 | 96925.2646 | 293838.7821 | 30.45 | 114.2
127747 | 2021-05-07 12:23 | 21.3336 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.365 | μmol/L | 30.1302 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.379 | 96938.3342 | 293833.0395 | 30.45 | 114.2
127757 | 2021-05-07 12:23 | 21.6669 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.3015 | μmol/L | 30.1241 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.385 | 96951.5182 | 293853.5467 | 30.45 | 114.2
127767 | 2021-05-07 12:23 | 21.9999 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.2673 | μmol/L | 30.1302 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.385 | 96959.3677 | 293833.4519 | 30.45 | 114.2
127777 | 2021-05-07 12:24 | 22.3337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.2705 | μmol/L | 30.1179 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.389 | 96972.61 | 293829.3285 | 30.45 | 114.2
127787 | 2021-05-07 12:24 | 22.6665 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.1891 | μmol/L | 30.1179 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.394 | 96986.7286 | 293834.8346 | 30.45 | 114.2
127797 | 2021-05-07 12:24 | 23.0003 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.3894 | μmol/L | 30.0994 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.388 | 96981.2221 | 293824.8349 | 30.45 | 114.2
127807 | 2021-05-07 12:25 | 23.3333 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.1712 | μmol/L | 30.1241 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.393 | 96986.7032 | 293824.534 | 30.45 | 114.2
127817 | 2021-05-07 12:25 | 23.6666 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.3275 | μmol/L | 30.0871 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.396 | 96991.9998 | 293821.346 | 30.45 | 114.2