## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-07 12:26

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
127109 | 2021-05-07 12:01 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.5891 | μmol/L | 29.97 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.359 | 134143.1337 | 302679.9232 | 33.25 | 68.6
127119 | 2021-05-07 12:02 | 0.32879 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.1784 | μmol/L | 30.0188 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.424 | 134764.2244 | 302686.9489 | 33.25 | 68.6
127129 | 2021-05-07 12:02 | 0.66242 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.5104 | μmol/L | 30.0249 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.52 | 135497.611 | 302683.9166 | 33.25 | 68.6
127139 | 2021-05-07 12:02 | 0.99549 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.3658 | μmol/L | 30.0616 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.575 | 135893.8724 | 302681.9052 | 33.25 | 68.6
127149 | 2021-05-07 12:03 | 1.3292 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.7546 | μmol/L | 30.0799 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.605 | 136143.0678 | 302681.5196 | 33.25 | 68.6
127159 | 2021-05-07 12:03 | 1.6621 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.1874 | μmol/L | 30.0799 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.639 | 136381.4555 | 302673.134 | 33.25 | 68.6
127169 | 2021-05-07 12:03 | 1.9953 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.7854 | μmol/L | 30.086 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.661 | 136534.8151 | 302669.8841 | 33.25 | 68.6
127179 | 2021-05-07 12:04 | 2.3292 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.5252 | μmol/L | 30.1104 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.668 | 136605.7362 | 302669.8408 | 33.25 | 68.6
127189 | 2021-05-07 12:04 | 2.662 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.2213 | μmol/L | 30.1226 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.682 | 136707.2842 | 302664.6974 | 33.25 | 68.6
127199 | 2021-05-07 12:04 | 2.9957 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.9732 | μmol/L | 30.1226 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.697 | 136803.4285 | 302665.2174 | 33.25 | 68.6
127209 | 2021-05-07 12:05 | 3.3287 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.6567 | μmol/L | 30.1287 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.714 | 136876.6707 | 302671.1878 | 33.25 | 68.6
127219 | 2021-05-07 12:05 | 3.6617 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.5686 | μmol/L | 30.1409 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.715 | 136917.8973 | 302656.6145 | 33.25 | 68.6
127229 | 2021-05-07 12:05 | 3.9955 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.759 | μmol/L | 30.086 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.723 | 136961.7366 | 302644.6864 | 33.25 | 68.6
127239 | 2021-05-07 12:06 | 4.3292 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.5254 | μmol/L | 30.0921 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.735 | 137043.4588 | 302639.1287 | 33.25 | 68.6
127249 | 2021-05-07 12:06 | 4.6622 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.3165 | μmol/L | 30.1165 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.739 | 137094.5302 | 302634.0201 | 33.25 | 68.6
127259 | 2021-05-07 12:06 | 4.9959 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.1877 | μmol/L | 30.1104 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.749 | 137164.0975 | 302617.3555 | 33.25 | 68.6
127269 | 2021-05-07 12:07 | 5.3288 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.0756 | μmol/L | 30.1043 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.758 | 137195.1585 | 302614.2301 | 33.25 | 68.6
127279 | 2021-05-07 12:07 | 5.6626 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.0099 | μmol/L | 30.1043 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.762 | 137214.0952 | 302613.2646 | 33.25 | 68.6
127289 | 2021-05-07 12:07 | 5.9955 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.8429 | μmol/L | 30.1104 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.77 | 137264.2329 | 302608.2968 | 33.25 | 68.6
127299 | 2021-05-07 12:08 | 6.3285 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.731 | μmol/L | 30.1043 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.779 | 137307.7202 | 302605.3076 | 33.25 | 68.6
127309 | 2021-05-07 12:08 | 6.6622 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.7609 | μmol/L | 30.1104 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.775 | 137289.9776 | 302596.6916 | 33.25 | 68.6
127319 | 2021-05-07 12:08 | 6.9953 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.7638 | μmol/L | 30.1043 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.777 | 137299.4198 | 302594.0976 | 33.25 | 68.6
127329 | 2021-05-07 12:09 | 7.3286 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.6896 | μmol/L | 30.1226 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.775 | 137280.8832 | 302592.5177 | 33.25 | 68.6
127339 | 2021-05-07 12:09 | 7.6624 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.5259 | μmol/L | 30.1226 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.785 | 137349.1027 | 302580.6897 | 33.25 | 68.6
127349 | 2021-05-07 12:09 | 7.9953 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.2901 | μmol/L | 30.1715 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.782 | 137334.5772 | 302591.2182 | 33.25 | 68.6
127359 | 2021-05-07 12:10 | 8.3292 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.3315 | μmol/L | 30.1531 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.786 | 137343.0049 | 302576.45 | 33.25 | 68.6
127369 | 2021-05-07 12:10 | 8.6623 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.4546 | μmol/L | 30.1348 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.785 | 137356.3966 | 302576.9135 | 33.25 | 68.6
127379 | 2021-05-07 12:10 | 8.9951 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.3757 | μmol/L | 30.1287 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.792 | 137377.7376 | 302580.246 | 33.25 | 68.6
127389 | 2021-05-07 12:11 | 9.329 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.143 | μmol/L | 30.1715 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.791 | 137386.1818 | 302561.1289 | 33.25 | 68.6
127399 | 2021-05-07 12:11 | 9.6618 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.0585 | μmol/L | 30.1776 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.794 | 137415.3345 | 302564.2799 | 33.25 | 68.6
127409 | 2021-05-07 12:11 | 9.9956 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.9 | μmol/L | 30.202 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.795 | 137402.6218 | 302547.3752 | 33.25 | 68.6
127419 | 2021-05-07 12:12 | 10.3286 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.6392 | μmol/L | 30.202 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.811 | 137465.8264 | 302547.6293 | 33.25 | 68.6
127429 | 2021-05-07 12:12 | 10.6623 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.7236 | μmol/L | 30.1959 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.808 | 137474.4998 | 302551.8115 | 33.25 | 68.6
127439 | 2021-05-07 12:12 | 10.9953 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.7265 | μmol/L | 30.1898 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.81 | 137469.1702 | 302539.5562 | 33.25 | 68.6
127449 | 2021-05-07 12:13 | 11.329 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.7352 | μmol/L | 30.1715 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.816 | 137482.6479 | 302534.1736 | 33.25 | 68.6
127459 | 2021-05-07 12:13 | 11.662 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.7841 | μmol/L | 30.1715 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.813 | 137486.1303 | 302531.0671 | 33.25 | 68.6
127469 | 2021-05-07 12:13 | 11.9957 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.8033 | μmol/L | 30.1654 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.814 | 137493.8532 | 302533.6835 | 33.25 | 68.6
127479 | 2021-05-07 12:14 | 12.3285 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.9156 | μmol/L | 30.1348 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.818 | 137518.0172 | 302529.9172 | 33.25 | 68.6
127489 | 2021-05-07 12:14 | 12.6624 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.6213 | μmol/L | 30.1715 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.823 | 137525.3367 | 302522.9685 | 33.25 | 68.6
127499 | 2021-05-07 12:14 | 12.9954 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.6404 | μmol/L | 30.1654 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.824 | 137537.0562 | 302524.882 | 33.25 | 68.6
127509 | 2021-05-07 12:15 | 13.3291 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.562 | μmol/L | 30.1592 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.831 | 137579.3424 | 302518.2947 | 33.25 | 68.6
127519 | 2021-05-07 12:15 | 13.6622 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.2755 | μmol/L | 30.2142 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.829 | 137574.4063 | 302505.955 | 33.25 | 68.6
127529 | 2021-05-07 12:15 | 13.9952 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.4498 | μmol/L | 30.1898 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.827 | 137571.572 | 302506.1553 | 33.25 | 68.6
127539 | 2021-05-07 12:16 | 14.3292 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.3198 | μmol/L | 30.1898 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.835 | 137601.6396 | 302501.9155 | 33.25 | 68.6
127549 | 2021-05-07 12:16 | 14.6623 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.1398 | μmol/L | 30.2264 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.833 | 137626.596 | 302513.5309 | 33.25 | 68.6
127559 | 2021-05-07 12:16 | 14.9954 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.4157 | μmol/L | 30.1592 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.84 | 137675.6837 | 302509.4529 | 33.25 | 68.6
127569 | 2021-05-07 12:17 | 15.3285 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.4361 | μmol/L | 30.1165 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.854 | 137746.3366 | 302489.4753 | 33.25 | 68.6
127579 | 2021-05-07 12:17 | 15.6617 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.122 | μmol/L | 30.1959 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.845 | 137724.8101 | 302491.1258 | 33.25 | 68.6
127589 | 2021-05-07 12:17 | 15.9954 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.6256 | μmol/L | 30.2508 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.856 | 137762.7096 | 302495.4508 | 33.25 | 68.6
127599 | 2021-05-07 12:18 | 16.3292 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.3844 | μmol/L | 30.2814 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.86 | 137770.4548 | 302489.7211 | 33.25 | 68.6
127609 | 2021-05-07 12:18 | 16.6623 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.1625 | μmol/L | 30.3058 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.865 | 137815.4219 | 302492.696 | 33.25 | 68.6
127619 | 2021-05-07 12:18 | 16.9956 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.9982 | μmol/L | 30.3119 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.873 | 137865.7675 | 302478.3368 | 33.25 | 68.6
127629 | 2021-05-07 12:19 | 17.3285 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.7285 | μmol/L | 30.3363 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.881 | 137887.2956 | 302465.1647 | 33.25 | 68.6
127639 | 2021-05-07 12:19 | 17.6624 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.7607 | μmol/L | 30.3363 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.879 | 137875.3809 | 302461.466 | 33.25 | 68.6
127649 | 2021-05-07 12:19 | 17.9952 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.5938 | μmol/L | 30.3485 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.885 | 137907.4134 | 302454.9706 | 33.25 | 68.6
127659 | 2021-05-07 12:20 | 18.3289 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.5998 | μmol/L | 30.3363 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.889 | 137925.2005 | 302461.3395 | 33.25 | 68.6
127669 | 2021-05-07 12:20 | 18.6619 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.5094 | μmol/L | 30.3241 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.899 | 138000.6424 | 302450.1097 | 33.25 | 68.6
127679 | 2021-05-07 12:20 | 18.9958 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.2465 | μmol/L | 30.3363 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.911 | 138084.6795 | 302440.4873 | 33.25 | 68.6
127689 | 2021-05-07 12:21 | 19.3286 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.9009 | μmol/L | 30.3546 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.926 | 138193.4245 | 302445.1443 | 33.25 | 68.6
127699 | 2021-05-07 12:21 | 19.6624 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.725 | μmol/L | 30.3546 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.937 | 138263.9782 | 302441.7747 | 33.25 | 68.6
127709 | 2021-05-07 12:21 | 19.9954 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.6481 | μmol/L | 30.3485 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.944 | 138312.1649 | 302440.1834 | 33.25 | 68.6
127719 | 2021-05-07 12:22 | 20.329 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.5872 | μmol/L | 30.3424 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.95 | 138356.6597 | 302434.1106 | 33.25 | 68.6
127729 | 2021-05-07 12:22 | 20.6619 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.5743 | μmol/L | 30.3363 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.953 | 138391.9518 | 302425.1755 | 33.25 | 68.6
127739 | 2021-05-07 12:22 | 20.9957 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.3927 | μmol/L | 30.3485 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.96 | 138425.009 | 302433.7005 | 33.25 | 68.6
127749 | 2021-05-07 12:23 | 21.3286 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.2112 | μmol/L | 30.3607 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.967 | 138441.8955 | 302419.8097 | 33.25 | 68.6
127759 | 2021-05-07 12:23 | 21.6624 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.1059 | μmol/L | 30.3485 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.978 | 138516.1757 | 302413.851 | 33.25 | 68.6
127769 | 2021-05-07 12:23 | 21.9956 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.1059 | μmol/L | 30.3485 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.978 | 138530.8914 | 302405.5041 | 33.25 | 68.6
127779 | 2021-05-07 12:24 | 22.3287 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 184.8452 | μmol/L | 30.3607 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.99 | 138593.8995 | 302415.5284 | 33.25 | 68.6
127789 | 2021-05-07 12:24 | 22.6624 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 184.585 | μmol/L | 30.3729 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.002 | 138670.3394 | 302405.7101 | 33.25 | 68.6
127799 | 2021-05-07 12:24 | 22.9954 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 184.734 | μmol/L | 30.3607 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.997 | 138662.868 | 302400.4065 | 33.25 | 68.6
127809 | 2021-05-07 12:25 | 23.3292 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 184.6229 | μmol/L | 30.3607 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.004 | 138690.0511 | 302404.8664 | 33.25 | 68.6
127819 | 2021-05-07 12:25 | 23.6624 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 184.474 | μmol/L | 30.3729 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.009 | 138738.3648 | 302390.0389 | 33.25 | 68.6