## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-07 12:26

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
127110 | 2021-05-07 12:01 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.2433 | μmol/L | 29.9941 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.574 | 120080.2662 | 266754.6955 | 26.25 | 74
127120 | 2021-05-07 12:02 | 0.33648 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.2741 | μmol/L | 30.0308 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.671 | 120792.7421 | 266754.538 | 26.25 | 74
127130 | 2021-05-07 12:02 | 0.67032 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.2742 | μmol/L | 30.0736 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.769 | 121448.2194 | 266754.0747 | 26.25 | 74
127140 | 2021-05-07 12:02 | 1.0034 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.9188 | μmol/L | 30.0736 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.846 | 122030.7276 | 266750.5701 | 26.25 | 74
127150 | 2021-05-07 12:03 | 1.3372 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.1602 | μmol/L | 30.0186 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.908 | 122421.1963 | 266740.9516 | 26.25 | 74
127160 | 2021-05-07 12:03 | 1.6701 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.253 | μmol/L | 30.0369 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.954 | 122779.3454 | 266729.591 | 26.25 | 74
127170 | 2021-05-07 12:03 | 2.0039 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.6885 | μmol/L | 30.0063 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.997 | 123053.5577 | 266731.0015 | 26.25 | 74
127180 | 2021-05-07 12:04 | 2.337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.6068 | μmol/L | 30.0797 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.035 | 123327.4891 | 266728.9587 | 26.25 | 74
127190 | 2021-05-07 12:04 | 2.6698 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.1853 | μmol/L | 30.0491 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.07 | 123554.9181 | 266723.7915 | 26.25 | 74
127200 | 2021-05-07 12:04 | 3.0037 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.4597 | μmol/L | 30.0919 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.098 | 123752.3759 | 266719.973 | 26.25 | 74
127210 | 2021-05-07 12:05 | 3.3368 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.3698 | μmol/L | 30.0369 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.122 | 123947.463 | 266709.3841 | 26.25 | 74
127220 | 2021-05-07 12:05 | 3.6704 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.6365 | μmol/L | 30.0552 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.159 | 124168.2802 | 266707.3586 | 26.25 | 74
127230 | 2021-05-07 12:05 | 4.0033 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.8784 | μmol/L | 29.9574 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.178 | 124328.5349 | 266700.2008 | 26.25 | 74
127240 | 2021-05-07 12:06 | 4.3371 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.1158 | μmol/L | 30.043 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.194 | 124411.824 | 266702.5174 | 26.25 | 74
127250 | 2021-05-07 12:06 | 4.67 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.8758 | μmol/L | 30.0613 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.202 | 124499.7787 | 266691.1848 | 26.25 | 74
127260 | 2021-05-07 12:06 | 5.0036 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.4302 | μmol/L | 30.098 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.216 | 124563.8233 | 266688.4348 | 26.25 | 74
127270 | 2021-05-07 12:07 | 5.3366 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.2959 | μmol/L | 30.098 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.224 | 124622.904 | 266695.2262 | 26.25 | 74
127280 | 2021-05-07 12:07 | 5.6703 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.99 | μmol/L | 30.1164 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.236 | 124705.4515 | 266677.0698 | 26.25 | 74
127290 | 2021-05-07 12:07 | 6.0034 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.0853 | μmol/L | 30.0675 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.247 | 124781.0855 | 266682.8132 | 26.25 | 74
127300 | 2021-05-07 12:08 | 6.3364 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.0409 | μmol/L | 30.043 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.258 | 124893.6461 | 266662.1116 | 26.25 | 74
127310 | 2021-05-07 12:08 | 6.6703 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.5097 | μmol/L | 30.098 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.271 | 124960.3518 | 266669.8655 | 26.25 | 74
127320 | 2021-05-07 12:08 | 7.0032 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.293 | μmol/L | 30.098 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.284 | 125039.8513 | 266670.7555 | 26.25 | 74
127330 | 2021-05-07 12:09 | 7.3371 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.1946 | μmol/L | 30.0919 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.292 | 125090.4169 | 266652.2621 | 26.25 | 74
127340 | 2021-05-07 12:09 | 7.6699 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.8469 | μmol/L | 30.153 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.292 | 125108.3262 | 266647.4059 | 26.25 | 74
127350 | 2021-05-07 12:09 | 8.0037 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.6762 | μmol/L | 30.1714 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.296 | 125123.8248 | 266646.147 | 26.25 | 74
127360 | 2021-05-07 12:10 | 8.3367 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.7638 | μmol/L | 30.153 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.297 | 125131.8801 | 266648.3122 | 26.25 | 74
127370 | 2021-05-07 12:10 | 8.6704 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.5632 | μmol/L | 30.1592 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.307 | 125171.6128 | 266648.2367 | 26.25 | 74
127380 | 2021-05-07 12:10 | 9.0033 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.5963 | μmol/L | 30.1592 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.305 | 125169.871 | 266648.7974 | 26.25 | 74
127390 | 2021-05-07 12:11 | 9.3364 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.7276 | μmol/L | 30.1653 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.295 | 125110.722 | 266636.9943 | 26.25 | 74
127400 | 2021-05-07 12:11 | 9.6701 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.4544 | μmol/L | 30.1958 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.301 | 125145.1843 | 266648.3051 | 26.25 | 74
127410 | 2021-05-07 12:11 | 10.0037 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.2375 | μmol/L | 30.2019 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.312 | 125162.3833 | 266634.5546 | 26.25 | 74
127420 | 2021-05-07 12:12 | 10.3368 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.1666 | μmol/L | 30.2203 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.31 | 125176.5164 | 266627.8232 | 26.25 | 74
127430 | 2021-05-07 12:12 | 10.6698 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.0539 | μmol/L | 30.2081 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.321 | 125220.1916 | 266629.3789 | 26.25 | 74
127440 | 2021-05-07 12:12 | 11.0036 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.0437 | μmol/L | 30.1836 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.33 | 125274.1316 | 266624.7317 | 26.25 | 74
127450 | 2021-05-07 12:13 | 11.3365 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.7322 | μmol/L | 30.2386 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.33 | 125294.9617 | 266612.6294 | 26.25 | 74
127460 | 2021-05-07 12:13 | 11.6702 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.7189 | μmol/L | 30.2264 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.335 | 125296.3703 | 266615.2722 | 26.25 | 74
127470 | 2021-05-07 12:13 | 12.0031 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.546 | μmol/L | 30.257 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.335 | 125326.8754 | 266610.1083 | 26.25 | 74
127480 | 2021-05-07 12:14 | 12.3368 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.4966 | μmol/L | 30.257 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.338 | 125331.6313 | 266595.7756 | 26.25 | 74
127490 | 2021-05-07 12:14 | 12.6697 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.3483 | μmol/L | 30.257 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.347 | 125379.1695 | 266597.6346 | 26.25 | 74
127500 | 2021-05-07 12:14 | 13.0033 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.6034 | μmol/L | 30.2264 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.342 | 125395.8154 | 266597.5247 | 26.25 | 74
127510 | 2021-05-07 12:15 | 13.3365 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.2693 | μmol/L | 30.2447 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.356 | 125435.4712 | 266590.6845 | 26.25 | 74
127520 | 2021-05-07 12:15 | 13.6704 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.9898 | μmol/L | 30.2447 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.373 | 125555.3043 | 266598.9069 | 26.25 | 74
127530 | 2021-05-07 12:15 | 14.0033 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.8208 | μmol/L | 30.2631 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.377 | 125605.4503 | 266580.9379 | 26.25 | 74
127540 | 2021-05-07 12:16 | 14.3364 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.7897 | μmol/L | 30.257 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.381 | 125591.8463 | 266587.7126 | 26.25 | 74
127550 | 2021-05-07 12:16 | 14.6702 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.4735 | μmol/L | 30.2753 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.394 | 125652.7566 | 266595.2691 | 26.25 | 74
127560 | 2021-05-07 12:16 | 15.0033 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.7159 | μmol/L | 30.2264 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.396 | 125691.6166 | 266589.5813 | 26.25 | 74
127570 | 2021-05-07 12:17 | 15.337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.3459 | μmol/L | 30.2631 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.406 | 125730.0283 | 266587.4805 | 26.25 | 74
127580 | 2021-05-07 12:17 | 15.67 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.1792 | μmol/L | 30.2753 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.412 | 125774.2385 | 266584.888 | 26.25 | 74
127590 | 2021-05-07 12:17 | 16.0037 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.1465 | μmol/L | 30.2753 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.414 | 125806.6454 | 266577.3616 | 26.25 | 74
127600 | 2021-05-07 12:18 | 16.3366 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.1285 | μmol/L | 30.2814 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.413 | 125835.5127 | 266567.4434 | 26.25 | 74
127610 | 2021-05-07 12:18 | 16.6704 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.0715 | μmol/L | 30.2508 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.427 | 125889.9384 | 266556.794 | 26.25 | 74
127620 | 2021-05-07 12:18 | 17.0034 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.804 | μmol/L | 30.2753 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.435 | 125957.5125 | 266556.1943 | 26.25 | 74
127630 | 2021-05-07 12:19 | 17.337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.6558 | μmol/L | 30.2814 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.442 | 125986.5981 | 266548.3816 | 26.25 | 74
127640 | 2021-05-07 12:19 | 17.6699 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.7046 | μmol/L | 30.2814 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.439 | 125979.4377 | 266544.9563 | 26.25 | 74
127650 | 2021-05-07 12:19 | 18.0036 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.8759 | μmol/L | 30.2508 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.439 | 125974.5714 | 266552.8496 | 26.25 | 74
127660 | 2021-05-07 12:20 | 18.3364 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.6524 | μmol/L | 30.2936 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.438 | 125957.0356 | 266535.1175 | 26.25 | 74
127670 | 2021-05-07 12:20 | 18.6701 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.8416 | μmol/L | 30.257 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.439 | 125955.4554 | 266526.5036 | 26.25 | 74
127680 | 2021-05-07 12:20 | 19.0032 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.5172 | μmol/L | 30.312 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.44 | 125960.6844 | 266518.1084 | 26.25 | 74
127690 | 2021-05-07 12:21 | 19.3368 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.7046 | μmol/L | 30.2814 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.439 | 125978.432 | 266526.6155 | 26.25 | 74
127700 | 2021-05-07 12:21 | 19.6705 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.506 | μmol/L | 30.2936 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.447 | 126013.9071 | 266510.0925 | 26.25 | 74
127710 | 2021-05-07 12:21 | 20.0035 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.5307 | μmol/L | 30.2631 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.456 | 126059.6028 | 266515.3017 | 26.25 | 74
127720 | 2021-05-07 12:22 | 20.3366 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.4511 | μmol/L | 30.257 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.463 | 126085.9342 | 266509.758 | 26.25 | 74
127730 | 2021-05-07 12:22 | 20.6697 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.3811 | μmol/L | 30.2753 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.461 | 126111.2213 | 266518.3977 | 26.25 | 74
127740 | 2021-05-07 12:22 | 21.0035 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.0983 | μmol/L | 30.2997 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.47 | 126168.1906 | 266525.9819 | 26.25 | 74
127750 | 2021-05-07 12:23 | 21.3364 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.1521 | μmol/L | 30.2814 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.473 | 126201.3485 | 266507.7358 | 26.25 | 74
127760 | 2021-05-07 12:23 | 21.6703 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.1717 | μmol/L | 30.2692 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.476 | 126207.6237 | 266505.9739 | 26.25 | 74
127770 | 2021-05-07 12:23 | 22.0034 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.1231 | μmol/L | 30.2692 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.479 | 126223.522 | 266504.4162 | 26.25 | 74
127780 | 2021-05-07 12:24 | 22.3364 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.0924 | μmol/L | 30.2631 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.483 | 126243.5076 | 266498.041 | 26.25 | 74
127790 | 2021-05-07 12:24 | 22.6703 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.9125 | μmol/L | 30.2692 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.492 | 126301.936 | 266496.7524 | 26.25 | 74
127800 | 2021-05-07 12:24 | 23.0034 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.7881 | μmol/L | 30.2508 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.506 | 126400.9942 | 266490.4947 | 26.25 | 74
127810 | 2021-05-07 12:25 | 23.3371 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.3936 | μmol/L | 30.2753 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.522 | 126494.2151 | 266478.1605 | 26.25 | 74
127820 | 2021-05-07 12:25 | 23.6704 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.3072 | μmol/L | 30.2386 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.54 | 126588.0248 | 266489.543 | 26.25 | 74