## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 129211289 | PSt7-10 | 000000-000 | 0000-00 | 2021-04-19 09:39

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-07 13:10

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
127822 | 2021-05-07 12:33 | 0 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.8297 | μmol/L | 32.7561 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.729 | 125193.7965 | 270870.1813 | 33.25 | 75.7
127832 | 2021-05-07 12:34 | 0.32627 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.8092 | μmol/L | 32.7314 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.794 | 125727.6397 | 270878.3999 | 33.25 | 75.7
127842 | 2021-05-07 12:34 | 0.65905 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.7165 | μmol/L | 32.676 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.874 | 126275.115 | 270875.7508 | 33.25 | 75.7
127852 | 2021-05-07 12:34 | 0.99279 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.802 | μmol/L | 32.6452 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.936 | 126743.4872 | 270877.2168 | 33.25 | 75.7
127862 | 2021-05-07 12:35 | 1.3258 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.8077 | μmol/L | 32.6083 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.005 | 127210.894 | 270872.5281 | 33.25 | 75.7
127872 | 2021-05-07 12:35 | 1.659 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.2114 | μmol/L | 32.5529 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.058 | 127616.6701 | 270885.5328 | 33.25 | 75.7
127882 | 2021-05-07 12:35 | 1.9927 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.6005 | μmol/L | 32.4974 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.112 | 127984.6165 | 270893.5186 | 33.25 | 75.7
127892 | 2021-05-07 12:36 | 2.3256 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.902 | μmol/L | 32.4543 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.167 | 128396.3408 | 270907.1661 | 33.25 | 75.7
127902 | 2021-05-07 12:36 | 2.6594 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.1839 | μmol/L | 32.4297 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.217 | 128761.6266 | 270923.2216 | 33.25 | 75.7
127912 | 2021-05-07 12:36 | 2.9923 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 189.5403 | μmol/L | 32.3989 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.265 | 129105.1731 | 270931.6281 | 33.25 | 75.7
127922 | 2021-05-07 12:37 | 3.3261 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 188.9997 | μmol/L | 32.325 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.322 | 129481.1525 | 270936.0041 | 33.25 | 75.7
127932 | 2021-05-07 12:37 | 3.659 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 188.6919 | μmol/L | 32.2758 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.357 | 129766.8812 | 270950.0076 | 33.25 | 75.7
127942 | 2021-05-07 12:37 | 3.9922 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 188.2216 | μmol/L | 32.2573 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.391 | 130000.1691 | 270947.9791 | 33.25 | 75.7
127952 | 2021-05-07 12:38 | 4.3259 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 187.7741 | μmol/L | 32.2265 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.428 | 130246.3052 | 270943.0955 | 33.25 | 75.7
127962 | 2021-05-07 12:38 | 4.6589 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 187.5518 | μmol/L | 32.1834 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.456 | 130460.0088 | 270950.5651 | 33.25 | 75.7
127972 | 2021-05-07 12:38 | 4.9926 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 187.4142 | μmol/L | 32.1403 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.479 | 130641.7218 | 270962.9641 | 33.25 | 75.7
127982 | 2021-05-07 12:39 | 5.3255 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 187.142 | μmol/L | 32.0972 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.51 | 130857.8457 | 270962.0424 | 33.25 | 75.7
127992 | 2021-05-07 12:39 | 5.6593 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.8832 | μmol/L | 32.0664 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.536 | 131020.261 | 270961.0359 | 33.25 | 75.7
128002 | 2021-05-07 12:39 | 5.9921 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 187.0715 | μmol/L | 32.0048 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.546 | 131102.9152 | 270968.9589 | 33.25 | 75.7
128012 | 2021-05-07 12:40 | 6.3258 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.7083 | μmol/L | 31.9864 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.574 | 131293.9545 | 270966.4043 | 33.25 | 75.7
128022 | 2021-05-07 12:40 | 6.6595 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.7244 | μmol/L | 31.9371 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.59 | 131409.8989 | 270954.0712 | 33.25 | 75.7
128032 | 2021-05-07 12:40 | 6.9926 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.6801 | μmol/L | 31.9187 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.599 | 131475.922 | 270955.4272 | 33.25 | 75.7
128042 | 2021-05-07 12:41 | 7.3256 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.391 | μmol/L | 31.8817 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.629 | 131677.1347 | 270951.2542 | 33.25 | 75.7
128052 | 2021-05-07 12:41 | 7.6591 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.2861 | μmol/L | 31.8448 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.648 | 131802.2743 | 270946.417 | 33.25 | 75.7
128062 | 2021-05-07 12:41 | 7.9923 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.0419 | μmol/L | 31.8263 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.669 | 131928.1845 | 270939.1501 | 33.25 | 75.7
128072 | 2021-05-07 12:42 | 8.3261 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.2205 | μmol/L | 31.7894 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.671 | 131963.3355 | 270931.7077 | 33.25 | 75.7
128082 | 2021-05-07 12:42 | 8.6593 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.199 | μmol/L | 31.7524 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.685 | 132076.3662 | 270932.4102 | 33.25 | 75.7
128092 | 2021-05-07 12:42 | 8.9923 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.3557 | μmol/L | 31.6785 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.701 | 132180.6925 | 270916.8516 | 33.25 | 75.7
128102 | 2021-05-07 12:43 | 9.326 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.0021 | μmol/L | 31.6909 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.718 | 132277.2662 | 270924.9821 | 33.25 | 75.7
128112 | 2021-05-07 12:43 | 9.6595 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 185.9747 | μmol/L | 31.6724 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.726 | 132334.2473 | 270921.4112 | 33.25 | 75.7
128122 | 2021-05-07 12:43 | 9.9929 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 185.9384 | μmol/L | 31.6293 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.743 | 132438.6913 | 270920.6937 | 33.25 | 75.7
128132 | 2021-05-07 12:44 | 10.326 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 185.5937 | μmol/L | 31.617 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.768 | 132598.494 | 270919.4716 | 33.25 | 75.7
128142 | 2021-05-07 12:44 | 10.6595 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 185.6686 | μmol/L | 31.537 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.791 | 132755.6856 | 270923.6565 | 33.25 | 75.7
128152 | 2021-05-07 12:44 | 10.9921 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 185.3967 | μmol/L | 31.5062 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.818 | 132931.789 | 270909.9253 | 33.25 | 75.7
128162 | 2021-05-07 12:45 | 11.3257 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 185.3083 | μmol/L | 31.5246 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.817 | 132939.3951 | 270902.8391 | 33.25 | 75.7
128172 | 2021-05-07 12:45 | 11.6596 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 184.6835 | μmol/L | 31.5185 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.857 | 133219.3333 | 270902.7361 | 33.25 | 75.7
128182 | 2021-05-07 12:45 | 11.9923 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 183.4932 | μmol/L | 31.5 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.936 | 133773.6807 | 270897.4114 | 33.25 | 75.7
128192 | 2021-05-07 12:46 | 12.3259 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 183.0126 | μmol/L | 31.4754 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.974 | 134036.5486 | 270896.0416 | 33.25 | 75.7
128202 | 2021-05-07 12:46 | 12.6595 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.9961 | μmol/L | 31.4261 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.992 | 134156.7192 | 270886.6803 | 33.25 | 75.7
128212 | 2021-05-07 12:46 | 12.9921 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.2911 | μmol/L | 31.4015 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.044 | 134488.3551 | 270893.7263 | 33.25 | 75.7
128222 | 2021-05-07 12:47 | 13.3262 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 181.8956 | μmol/L | 31.3769 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.077 | 134747.4079 | 270893.8591 | 33.25 | 75.7
128232 | 2021-05-07 12:47 | 13.6596 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 181.7205 | μmol/L | 31.3707 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.09 | 134839.3417 | 270905.6017 | 33.25 | 75.7
128242 | 2021-05-07 12:47 | 13.9925 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 181.0383 | μmol/L | 31.3461 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.141 | 135184.9319 | 270900.3207 | 33.25 | 75.7
128252 | 2021-05-07 12:48 | 14.326 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 180.6448 | μmol/L | 31.3277 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.172 | 135418.0565 | 270891.5342 | 33.25 | 75.7
128262 | 2021-05-07 12:48 | 14.6595 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 180.6031 | μmol/L | 31.3092 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.181 | 135477.0534 | 270894.2674 | 33.25 | 75.7
128272 | 2021-05-07 12:48 | 14.9926 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 180.4518 | μmol/L | 31.2846 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.199 | 135571.5968 | 270911.3128 | 33.25 | 75.7
128282 | 2021-05-07 12:49 | 15.3262 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 180.6354 | μmol/L | 31.2599 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.196 | 135572.1344 | 270916.6364 | 33.25 | 75.7
128292 | 2021-05-07 12:49 | 15.6589 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 180.7155 | μmol/L | 31.2107 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.208 | 135653.3261 | 270902.1881 | 33.25 | 75.7
128302 | 2021-05-07 12:49 | 15.9922 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 180.4486 | μmol/L | 31.1984 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.229 | 135791.9419 | 270886.4347 | 33.25 | 75.7
128312 | 2021-05-07 12:50 | 16.3256 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 180.391 | μmol/L | 31.1799 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.239 | 135853.8166 | 270894.7626 | 33.25 | 75.7
128322 | 2021-05-07 12:50 | 16.6594 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 180.6041 | μmol/L | 31.1615 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.232 | 135839.2108 | 270892.3096 | 33.25 | 75.7
128332 | 2021-05-07 12:50 | 16.9927 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 180.2302 | μmol/L | 31.1368 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.264 | 136065.586 | 270897.5593 | 33.25 | 75.7
128342 | 2021-05-07 12:51 | 17.3263 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 180.0913 | μmol/L | 31.1245 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.277 | 136151.6961 | 270884.9427 | 33.25 | 75.7
128352 | 2021-05-07 12:51 | 17.6595 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 179.9188 | μmol/L | 31.1184 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.29 | 136219.1075 | 270879.0976 | 33.25 | 75.7
128362 | 2021-05-07 12:51 | 17.9926 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 179.7843 | μmol/L | 31.0937 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.307 | 136338.2676 | 270871.3057 | 33.25 | 75.7
128372 | 2021-05-07 12:52 | 18.3257 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 179.573 | μmol/L | 31.063 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.331 | 136507.5146 | 270869.061 | 33.25 | 75.7
128382 | 2021-05-07 12:52 | 18.659 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 179.3244 | μmol/L | 31.0507 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.351 | 136645.7686 | 270876.1322 | 33.25 | 75.7
128392 | 2021-05-07 12:52 | 18.9921 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 178.9818 | μmol/L | 31.0383 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.377 | 136790.7139 | 270872.1773 | 33.25 | 75.7
128402 | 2021-05-07 12:53 | 19.3259 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 179.1022 | μmol/L | 31.0076 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.38 | 136801.6204 | 270876.4444 | 33.25 | 75.7
128412 | 2021-05-07 12:53 | 19.659 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 179.2993 | μmol/L | 30.983 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.376 | 136779.6544 | 270879.0494 | 33.25 | 75.7
128422 | 2021-05-07 12:53 | 19.9925 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 179.3449 | μmol/L | 30.9399 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.388 | 136889.4235 | 270889.8429 | 33.25 | 75.7
128432 | 2021-05-07 12:54 | 20.3262 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 179.4319 | μmol/L | 30.866 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.408 | 137012.021 | 270910.8544 | 33.25 | 75.7
128442 | 2021-05-07 12:54 | 20.659 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 178.7866 | μmol/L | 30.9152 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.432 | 137175.8998 | 270930.8276 | 33.25 | 75.7
128452 | 2021-05-07 12:54 | 20.9926 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 179.2468 | μmol/L | 30.8537 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.424 | 137104.897 | 270934.4965 | 33.25 | 75.7
128462 | 2021-05-07 12:55 | 21.3257 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 178.734 | μmol/L | 30.8845 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.446 | 137277.8906 | 270945.7099 | 33.25 | 75.7
128472 | 2021-05-07 12:55 | 21.6596 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 178.75 | μmol/L | 30.8352 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.462 | 137375.2414 | 270973.9774 | 33.25 | 75.7
128482 | 2021-05-07 12:55 | 21.9925 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 178.2762 | μmol/L | 30.8475 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.488 | 137567.521 | 270985.6091 | 33.25 | 75.7
128492 | 2021-05-07 12:56 | 22.3255 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 178.4074 | μmol/L | 30.8291 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.486 | 137558.4878 | 271002.9264 | 33.25 | 75.7
128502 | 2021-05-07 12:56 | 22.6594 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 178.4937 | μmol/L | 30.8045 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.489 | 137589.5228 | 271030.117 | 33.25 | 75.7
128512 | 2021-05-07 12:56 | 22.9923 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 178.3685 | μmol/L | 30.8045 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.497 | 137668.003 | 271035.0033 | 33.25 | 75.7
128522 | 2021-05-07 12:57 | 23.326 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 178.531 | μmol/L | 30.786 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.493 | 137652.8866 | 271051.8975 | 33.25 | 75.7
128532 | 2021-05-07 12:57 | 23.6592 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 178.5779 | μmol/L | 30.786 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.49 | 137655.8318 | 271054.6948 | 33.25 | 75.7
128542 | 2021-05-07 12:57 | 23.9923 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 178.4314 | μmol/L | 30.7552 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.51 | 137817.2118 | 271059.0184 | 33.25 | 75.7
128552 | 2021-05-07 12:58 | 24.3256 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 178.2927 | μmol/L | 30.7491 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.521 | 137896.8871 | 271086.5643 | 33.25 | 75.7
128562 | 2021-05-07 12:58 | 24.6596 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 177.9771 | μmol/L | 30.7121 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.554 | 138118.7985 | 271087.6725 | 33.25 | 75.7
128572 | 2021-05-07 12:58 | 24.9927 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 177.9791 | μmol/L | 30.706 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.556 | 138132.559 | 271088.9524 | 33.25 | 75.7
128582 | 2021-05-07 12:59 | 25.3256 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 177.8409 | μmol/L | 30.6998 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.567 | 138211.5189 | 271092.4264 | 33.25 | 75.7
128592 | 2021-05-07 12:59 | 25.6589 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 177.8801 | μmol/L | 30.6752 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.573 | 138238.3362 | 271096.8124 | 33.25 | 75.7
128602 | 2021-05-07 12:59 | 25.9928 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 177.9095 | μmol/L | 30.6321 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.586 | 138390.3115 | 271083.5734 | 33.25 | 75.7
128612 | 2021-05-07 13:00 | 26.3256 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 178.1044 | μmol/L | 30.5583 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.599 | 138453.1785 | 271090.4221 | 33.25 | 75.7
128622 | 2021-05-07 13:00 | 26.6595 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 177.6918 | μmol/L | 30.6321 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.6 | 138479.5228 | 271077.4629 | 33.25 | 75.7
128632 | 2021-05-07 13:00 | 26.9924 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 177.492 | μmol/L | 30.626 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.615 | 138566.608 | 271067.0972 | 33.25 | 75.7
128642 | 2021-05-07 13:01 | 27.3255 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 177.556 | μmol/L | 30.6198 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.613 | 138549.7898 | 271069.1467 | 33.25 | 75.7
128652 | 2021-05-07 13:01 | 27.6593 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 177.4414 | μmol/L | 30.6383 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.614 | 138556.6476 | 271068.805 | 33.25 | 75.7
128662 | 2021-05-07 13:01 | 27.9923 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 177.5735 | μmol/L | 30.6137 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.614 | 138585.6329 | 271067.4963 | 33.25 | 75.7
128672 | 2021-05-07 13:02 | 28.3261 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 177.3604 | μmol/L | 30.6014 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.632 | 138712.9564 | 271070.9652 | 33.25 | 75.7
128682 | 2021-05-07 13:02 | 28.6594 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 177.7876 | μmol/L | 30.4783 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.647 | 138783.2384 | 271048.5739 | 33.25 | 75.7
128692 | 2021-05-07 13:02 | 28.9928 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 177.2274 | μmol/L | 30.5337 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.664 | 138911.7729 | 271058.3007 | 33.25 | 75.7
128702 | 2021-05-07 13:03 | 29.3257 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 177.3107 | μmol/L | 30.5152 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.665 | 138926.4178 | 271054.2399 | 33.25 | 75.7
128712 | 2021-05-07 13:03 | 29.6594 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 177.3882 | μmol/L | 30.5152 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.66 | 138916.6882 | 271057.2101 | 33.25 | 75.7
128722 | 2021-05-07 13:03 | 29.9926 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 177.2159 | μmol/L | 30.5214 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.669 | 138964.3168 | 271042.2859 | 33.25 | 75.7
128732 | 2021-05-07 13:04 | 30.3258 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 176.9472 | μmol/L | 30.5398 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.68 | 139063.3004 | 271041.254 | 33.25 | 75.7
128742 | 2021-05-07 13:04 | 30.659 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 176.6212 | μmol/L | 30.546 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.699 | 139159.5472 | 271033.3821 | 33.25 | 75.7
128752 | 2021-05-07 13:04 | 30.9929 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 176.7874 | μmol/L | 30.509 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.701 | 139195.9453 | 271035.0104 | 33.25 | 75.7
128762 | 2021-05-07 13:05 | 31.3261 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 176.4679 | μmol/L | 30.4967 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.726 | 139358.519 | 271022.5246 | 33.25 | 75.7
128772 | 2021-05-07 13:05 | 31.6594 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 175.8897 | μmol/L | 30.5275 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.753 | 139563.1199 | 271019.2494 | 33.25 | 75.7
128782 | 2021-05-07 13:05 | 31.9926 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 175.7998 | μmol/L | 30.5214 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.761 | 139602.415 | 271017.7973 | 33.25 | 75.7
128792 | 2021-05-07 13:06 | 32.3256 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 175.4786 | μmol/L | 30.5214 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.782 | 139774.8678 | 271007.7676 | 33.25 | 75.7
128802 | 2021-05-07 13:06 | 32.6588 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 175.4145 | μmol/L | 30.4844 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.799 | 139881.0241 | 271011.1034 | 33.25 | 75.7
128812 | 2021-05-07 13:06 | 32.9927 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 175.2528 | μmol/L | 30.466 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.816 | 139980.8087 | 271000.0339 | 33.25 | 75.7
128822 | 2021-05-07 13:07 | 33.3256 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 175.383 | μmol/L | 30.4413 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.816 | 139992.9717 | 270996.9005 | 33.25 | 75.7
128832 | 2021-05-07 13:07 | 33.6594 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 174.9655 | μmol/L | 30.4598 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.837 | 140133.8595 | 270982.6109 | 33.25 | 75.7
128842 | 2021-05-07 13:07 | 33.9924 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 174.8833 | μmol/L | 30.4783 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.836 | 140155.8887 | 270975.9182 | 33.25 | 75.7
128852 | 2021-05-07 13:08 | 34.3262 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 174.5339 | μmol/L | 30.4783 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.859 | 140289.5755 | 270984.2907 | 33.25 | 75.7
128862 | 2021-05-07 13:08 | 34.6592 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 174.2846 | μmol/L | 30.4537 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.884 | 140463.0726 | 270979.9438 | 33.25 | 75.7
128872 | 2021-05-07 13:08 | 34.9925 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 174.3837 | μmol/L | 30.429 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.886 | 140476.0475 | 270974.836 | 33.25 | 75.7
128882 | 2021-05-07 13:09 | 35.3258 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 174.3906 | μmol/L | 30.4537 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.877 | 140443.6526 | 270963.6686 | 33.25 | 75.7