## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-07 13:10

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
127825 | 2021-05-07 12:34 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.8092 | μmol/L | 32.8969 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.576 | 87329.6797 | 290823.9602 | 28.7 | 67.6
127835 | 2021-05-07 12:34 | 0.33515 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.2836 | μmol/L | 32.8602 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.621 | 87548.2861 | 290818.5552 | 28.7 | 67.6
127845 | 2021-05-07 12:34 | 0.66809 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.6463 | μmol/L | 32.8236 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.673 | 87759.0763 | 290831.2896 | 28.7 | 67.6
127855 | 2021-05-07 12:35 | 1.0019 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.4612 | μmol/L | 32.7564 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.708 | 87938.682 | 290845.4675 | 28.7 | 67.6
127865 | 2021-05-07 12:35 | 1.335 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.7678 | μmol/L | 32.7503 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.753 | 88129.9514 | 290842.2653 | 28.7 | 67.6
127875 | 2021-05-07 12:35 | 1.6681 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.5795 | μmol/L | 32.6953 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.784 | 88252.1112 | 290862.6633 | 28.7 | 67.6
127885 | 2021-05-07 12:36 | 2.0017 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.3683 | μmol/L | 32.6586 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.81 | 88364.1819 | 290890.6495 | 28.7 | 67.6
127895 | 2021-05-07 12:36 | 2.3348 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.325 | μmol/L | 32.6037 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.832 | 88465.1938 | 290910.863 | 28.7 | 67.6
127905 | 2021-05-07 12:36 | 2.6679 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.1302 | μmol/L | 32.567 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.857 | 88567.1052 | 290935.0581 | 28.7 | 67.6
127915 | 2021-05-07 12:37 | 3.0014 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.0799 | μmol/L | 32.5304 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.873 | 88657.8797 | 290938.7426 | 28.7 | 67.6
127925 | 2021-05-07 12:37 | 3.3352 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.8214 | μmol/L | 32.4937 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.902 | 88772.8685 | 290928.0347 | 28.7 | 67.6
127935 | 2021-05-07 12:37 | 3.6681 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.9905 | μmol/L | 32.4265 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.915 | 88846.345 | 290935.5266 | 28.7 | 67.6
127945 | 2021-05-07 12:38 | 4.0013 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.7231 | μmol/L | 32.4143 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.936 | 88895.7275 | 290950.842 | 28.7 | 67.6
127955 | 2021-05-07 12:38 | 4.335 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.7571 | μmol/L | 32.3655 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.951 | 88986.8347 | 290960.5183 | 28.7 | 67.6
127965 | 2021-05-07 12:38 | 4.6681 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.9414 | μmol/L | 32.2983 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.963 | 89043.5754 | 290961.4242 | 28.7 | 67.6
127975 | 2021-05-07 12:39 | 5.0019 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.8179 | μmol/L | 32.2861 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.975 | 89104.4983 | 290971.3086 | 28.7 | 67.6
127985 | 2021-05-07 12:39 | 5.335 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.6853 | μmol/L | 32.2555 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.994 | 89171.9591 | 290971.8082 | 28.7 | 67.6
127995 | 2021-05-07 12:39 | 5.6679 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.6028 | μmol/L | 32.2189 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.012 | 89233.9073 | 290961.5139 | 28.7 | 67.6
128005 | 2021-05-07 12:40 | 6.0017 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.5108 | μmol/L | 32.1639 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.037 | 89363.9492 | 290953.6936 | 28.7 | 67.6
128015 | 2021-05-07 12:40 | 6.3345 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.4059 | μmol/L | 32.1456 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.05 | 89449.7827 | 290951.8947 | 28.7 | 67.6
128025 | 2021-05-07 12:40 | 6.6682 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.2599 | μmol/L | 32.109 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.072 | 89518.989 | 290948.2162 | 28.7 | 67.6
128035 | 2021-05-07 12:41 | 7.0019 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.2865 | μmol/L | 32.0784 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.081 | 89556.7245 | 290946.9801 | 28.7 | 67.6
128045 | 2021-05-07 12:41 | 7.3348 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.1839 | μmol/L | 32.054 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.096 | 89603.1297 | 290938.2387 | 28.7 | 67.6
128055 | 2021-05-07 12:41 | 7.6686 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.3935 | μmol/L | 31.999 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.102 | 89648.1971 | 290918.2978 | 28.7 | 67.6
128065 | 2021-05-07 12:42 | 8.0015 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.277 | μmol/L | 31.9685 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.12 | 89698.5712 | 290928.4495 | 28.7 | 67.6
128075 | 2021-05-07 12:42 | 8.3353 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.093 | μmol/L | 31.9502 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.138 | 89790.3262 | 290917.3498 | 28.7 | 67.6
128085 | 2021-05-07 12:42 | 8.6684 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.7711 | μmol/L | 31.9197 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.169 | 89919.0478 | 290912.3368 | 28.7 | 67.6
128095 | 2021-05-07 12:43 | 9.0014 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.5194 | μmol/L | 31.8708 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.202 | 90071.2843 | 290918.8789 | 28.7 | 67.6
128105 | 2021-05-07 12:43 | 9.3351 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.5119 | μmol/L | 31.8464 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.211 | 90110.1303 | 290898.5664 | 28.7 | 67.6
128115 | 2021-05-07 12:43 | 9.6686 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.5024 | μmol/L | 31.8281 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.218 | 90134.4407 | 290894.8109 | 28.7 | 67.6
128125 | 2021-05-07 12:44 | 10.0019 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.4695 | μmol/L | 31.7853 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.235 | 90218.8577 | 290912.5719 | 28.7 | 67.6
128135 | 2021-05-07 12:44 | 10.3351 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.401 | μmol/L | 31.7548 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.25 | 90290.3329 | 290912.5726 | 28.7 | 67.6
128145 | 2021-05-07 12:44 | 10.6685 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.1083 | μmol/L | 31.7365 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.275 | 90394.2957 | 290912.128 | 28.7 | 67.6
128155 | 2021-05-07 12:45 | 11.0011 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.9929 | μmol/L | 31.7059 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.293 | 90475.1629 | 290895.5772 | 28.7 | 67.6
128165 | 2021-05-07 12:45 | 11.3346 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.7168 | μmol/L | 31.6876 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.317 | 90556.5749 | 290892.1585 | 28.7 | 67.6
128175 | 2021-05-07 12:45 | 11.6679 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.678 | μmol/L | 31.6632 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.328 | 90600.2172 | 290900.7087 | 28.7 | 67.6
128185 | 2021-05-07 12:46 | 12.0013 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.561 | μmol/L | 31.6388 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.344 | 90679.611 | 290884.3088 | 28.7 | 67.6
128195 | 2021-05-07 12:46 | 12.3349 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.4773 | μmol/L | 31.6082 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.36 | 90735.7532 | 290890.1697 | 28.7 | 67.6
128205 | 2021-05-07 12:46 | 12.6684 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.4229 | μmol/L | 31.5838 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.372 | 90797.9253 | 290899.06 | 28.7 | 67.6
128215 | 2021-05-07 12:47 | 13.0017 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.2457 | μmol/L | 31.5533 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.394 | 90875.4476 | 290889.9151 | 28.7 | 67.6
128225 | 2021-05-07 12:47 | 13.3353 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.3005 | μmol/L | 31.5289 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.399 | 90923.9076 | 290886.8969 | 28.7 | 67.6
128235 | 2021-05-07 12:47 | 13.668 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.9583 | μmol/L | 31.48 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.438 | 91073.6724 | 290884.3306 | 28.7 | 67.6
128245 | 2021-05-07 12:48 | 14.0016 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.543 | μmol/L | 31.4678 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.469 | 91244.4159 | 290898.3241 | 28.7 | 67.6
128255 | 2021-05-07 12:48 | 14.335 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.2198 | μmol/L | 31.4617 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.492 | 91331.216 | 290892.5881 | 28.7 | 67.6
128265 | 2021-05-07 12:48 | 14.6685 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.9014 | μmol/L | 31.4434 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.519 | 91477.8489 | 290894.5504 | 28.7 | 67.6
128275 | 2021-05-07 12:49 | 15.0012 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.6902 | μmol/L | 31.3823 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.554 | 91645.6807 | 290882.0661 | 28.7 | 67.6
128285 | 2021-05-07 12:49 | 15.3347 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.3465 | μmol/L | 31.3518 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.587 | 91803.2559 | 290874.858 | 28.7 | 67.6
128295 | 2021-05-07 12:49 | 15.6681 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.0202 | μmol/L | 31.364 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.604 | 91868.4677 | 290883.7309 | 28.7 | 67.6
128305 | 2021-05-07 12:50 | 16.0017 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.9956 | μmol/L | 31.3457 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.612 | 91895.8355 | 290875.5364 | 28.7 | 67.6
128315 | 2021-05-07 12:50 | 16.3351 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.971 | μmol/L | 31.3274 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.62 | 91923.9525 | 290871.9395 | 28.7 | 67.6
128325 | 2021-05-07 12:50 | 16.6679 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.9158 | μmol/L | 31.3091 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.63 | 91975.7584 | 290872.0133 | 28.7 | 67.6
128335 | 2021-05-07 12:51 | 17.0015 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.828 | μmol/L | 31.2968 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.64 | 92012.2505 | 290872.4108 | 28.7 | 67.6
128345 | 2021-05-07 12:51 | 17.3349 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.8666 | μmol/L | 31.2724 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.646 | 92014.4462 | 290861.0523 | 28.7 | 67.6
128355 | 2021-05-07 12:51 | 17.668 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.1348 | μmol/L | 31.248 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.637 | 91966.2854 | 290852.4104 | 28.7 | 67.6
128365 | 2021-05-07 12:52 | 18.0019 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.4152 | μmol/L | 31.187 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.64 | 91972.7202 | 290850.5671 | 28.7 | 67.6
128375 | 2021-05-07 12:52 | 18.3347 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.1313 | μmol/L | 31.2114 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.65 | 92043.9896 | 290859.9934 | 28.7 | 67.6
128385 | 2021-05-07 12:52 | 18.6679 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.8252 | μmol/L | 31.2114 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.67 | 92135.7503 | 290850.4783 | 28.7 | 67.6
128395 | 2021-05-07 12:53 | 19.0017 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.7281 | μmol/L | 31.1808 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.687 | 92169.5966 | 290844.9641 | 28.7 | 67.6
128405 | 2021-05-07 12:53 | 19.3347 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.7399 | μmol/L | 31.1686 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.691 | 92186.8712 | 290860.1725 | 28.7 | 67.6
128415 | 2021-05-07 12:53 | 19.6685 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.8315 | μmol/L | 31.1442 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.693 | 92196.1123 | 290860.2402 | 28.7 | 67.6
128425 | 2021-05-07 12:54 | 20.0013 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.7935 | μmol/L | 31.1198 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.704 | 92266.8175 | 290875.3627 | 28.7 | 67.6
128435 | 2021-05-07 12:54 | 20.3345 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.3665 | μmol/L | 31.1198 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.732 | 92374.9137 | 290898.6353 | 28.7 | 67.6
128445 | 2021-05-07 12:54 | 20.6682 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.3902 | μmol/L | 31.0893 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.807 | 92748.2975 | 290931.8803 | 28.7 | 67.6
128455 | 2021-05-07 12:55 | 21.0013 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.3691 | μmol/L | 31.0343 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.894 | 93138.1274 | 290954.6713 | 28.7 | 67.6
128465 | 2021-05-07 12:55 | 21.3352 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.317 | μmol/L | 31.0099 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.906 | 93217.111 | 290985.1673 | 28.7 | 67.6
128475 | 2021-05-07 12:55 | 21.6681 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.9048 | μmol/L | 31.0343 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.925 | 93296.9046 | 290997.1455 | 28.7 | 67.6
128485 | 2021-05-07 12:56 | 22.0019 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.424 | μmol/L | 31.0038 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.901 | 93212.3705 | 291034.528 | 28.7 | 67.6
128495 | 2021-05-07 12:56 | 22.335 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.9357 | μmol/L | 30.955 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.884 | 93123.5754 | 291053.2735 | 28.7 | 67.6
128505 | 2021-05-07 12:56 | 22.668 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.9056 | μmol/L | 30.955 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.886 | 93141.0145 | 291066.1362 | 28.7 | 67.6
128515 | 2021-05-07 12:57 | 23.0019 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.8774 | μmol/L | 30.9489 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.89 | 93182.0093 | 291081.972 | 28.7 | 67.6
128525 | 2021-05-07 12:57 | 23.335 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.9173 | μmol/L | 30.9183 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.898 | 93211.5174 | 291082.4769 | 28.7 | 67.6
128535 | 2021-05-07 12:57 | 23.6682 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.9983 | μmol/L | 30.9 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.899 | 93203.2729 | 291101.5287 | 28.7 | 67.6
128545 | 2021-05-07 12:58 | 24.0013 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.0474 | μmol/L | 30.8878 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.9 | 93228.3365 | 291098.7429 | 28.7 | 67.6
128555 | 2021-05-07 12:58 | 24.3346 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.2868 | μmol/L | 30.8451 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.899 | 93193.8684 | 291124.2224 | 28.7 | 67.6
128565 | 2021-05-07 12:58 | 24.6684 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.3019 | μmol/L | 30.8451 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.898 | 93213.8717 | 291131.3481 | 28.7 | 67.6
128575 | 2021-05-07 12:59 | 25.0014 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.3679 | μmol/L | 30.8268 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.9 | 93217.9938 | 291118.5536 | 28.7 | 67.6
128585 | 2021-05-07 12:59 | 25.3353 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.5283 | μmol/L | 30.7962 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.9 | 93230.4227 | 291126.3905 | 28.7 | 67.6
128595 | 2021-05-07 12:59 | 25.6684 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.6075 | μmol/L | 30.7352 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.916 | 93306.1021 | 291104.118 | 28.7 | 67.6
128605 | 2021-05-07 13:00 | 26.0015 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.1138 | μmol/L | 30.7718 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.936 | 93412.6604 | 291111.3913 | 28.7 | 67.6
128615 | 2021-05-07 13:00 | 26.3345 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.7229 | μmol/L | 30.7962 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.954 | 93504.2737 | 291110.081 | 28.7 | 67.6
128625 | 2021-05-07 13:00 | 26.6685 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.5561 | μmol/L | 30.7779 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.971 | 93558.2467 | 291121.1512 | 28.7 | 67.6
128635 | 2021-05-07 13:01 | 27.0017 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.352 | μmol/L | 30.784 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.983 | 93596.1063 | 291101.6497 | 28.7 | 67.6
128645 | 2021-05-07 13:01 | 27.3351 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.543 | μmol/L | 30.7718 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.974 | 93585.2621 | 291105.2743 | 28.7 | 67.6
128655 | 2021-05-07 13:01 | 27.668 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.7063 | μmol/L | 30.7291 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.978 | 93594.4496 | 291102.3979 | 28.7 | 67.6
128665 | 2021-05-07 13:02 | 28.0019 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.5451 | μmol/L | 30.7169 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.993 | 93647.5729 | 291100.1423 | 28.7 | 67.6
128675 | 2021-05-07 13:02 | 28.335 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.4946 | μmol/L | 30.7108 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.999 | 93672.414 | 291102.0026 | 28.7 | 67.6
128685 | 2021-05-07 13:02 | 28.6683 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.6519 | μmol/L | 30.7108 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.988 | 93650.2499 | 291082.5553 | 28.7 | 67.6
128695 | 2021-05-07 13:03 | 29.0013 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.517 | μmol/L | 30.7108 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.997 | 93669.3073 | 291078.7441 | 28.7 | 67.6
128705 | 2021-05-07 13:03 | 29.3345 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.2757 | μmol/L | 30.7169 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.011 | 93726.5209 | 291071.7904 | 28.7 | 67.6
128715 | 2021-05-07 13:03 | 29.6684 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.9619 | μmol/L | 30.7169 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.032 | 93819.3126 | 291065.6769 | 28.7 | 67.6
128725 | 2021-05-07 13:04 | 30.0015 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.7758 | μmol/L | 30.6925 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.053 | 93935.992 | 291052.2601 | 28.7 | 67.6
128735 | 2021-05-07 13:04 | 30.3347 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.6585 | μmol/L | 30.6864 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.063 | 93961.9751 | 291050.2202 | 28.7 | 67.6
128745 | 2021-05-07 13:04 | 30.6684 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.6921 | μmol/L | 30.6741 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.065 | 93983.2382 | 291034.125 | 28.7 | 67.6
128755 | 2021-05-07 13:05 | 31.0015 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.4785 | μmol/L | 30.6436 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.09 | 94088.8871 | 291049.1919 | 28.7 | 67.6
128765 | 2021-05-07 13:05 | 31.3345 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.89 | μmol/L | 30.5643 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.09 | 94083.4479 | 291030.9222 | 28.7 | 67.6
128775 | 2021-05-07 13:05 | 31.6683 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.7057 | μmol/L | 30.5826 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.096 | 94122.1589 | 291032.2118 | 28.7 | 67.6
128785 | 2021-05-07 13:06 | 32.0013 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.3932 | μmol/L | 30.6314 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.1 | 94126.2113 | 291026.9943 | 28.7 | 67.6
128795 | 2021-05-07 13:06 | 32.3351 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.3525 | μmol/L | 30.6192 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.107 | 94144.5089 | 291026.4667 | 28.7 | 67.6
128805 | 2021-05-07 13:06 | 32.6684 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.7318 | μmol/L | 30.546 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.107 | 94161.0203 | 291035.0771 | 28.7 | 67.6
128815 | 2021-05-07 13:07 | 33.0016 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.4195 | μmol/L | 30.5948 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.111 | 94166.2903 | 291017.6978 | 28.7 | 67.6
128825 | 2021-05-07 13:07 | 33.3347 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.2357 | μmol/L | 30.6131 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.117 | 94193.0774 | 291009.3785 | 28.7 | 67.6
128835 | 2021-05-07 13:07 | 33.6685 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.3749 | μmol/L | 30.5948 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.114 | 94200.5602 | 291011.2223 | 28.7 | 67.6
128845 | 2021-05-07 13:08 | 34.0016 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.4343 | μmol/L | 30.5948 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.11 | 94173.8587 | 291005.3334 | 28.7 | 67.6
128855 | 2021-05-07 13:08 | 34.3353 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.2653 | μmol/L | 30.6131 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.115 | 94188.4189 | 290985.9487 | 28.7 | 67.6
128865 | 2021-05-07 13:08 | 34.6686 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.4583 | μmol/L | 30.6131 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.102 | 94135.4596 | 290991.137 | 28.7 | 67.6
128875 | 2021-05-07 13:09 | 35.0018 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.4545 | μmol/L | 30.6253 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.098 | 94108.9657 | 290983.9831 | 28.7 | 67.6
128885 | 2021-05-07 13:09 | 35.3349 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.4621 | μmol/L | 30.6009 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.106 | 94144.6999 | 290976.829 | 28.7 | 67.6