## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-07 13:10

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
127826 | 2021-05-07 12:34 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 200.8815 | μmol/L | 32.8544 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.07 | 118183.9713 | 267604.265 | 36.4 | 83.1
127836 | 2021-05-07 12:34 | 0.329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 200.2158 | μmol/L | 32.8175 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.12 | 120650.9499 | 267605.647 | 36.4 | 83.1
127846 | 2021-05-07 12:34 | 0.66285 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.8801 | μmol/L | 32.7745 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.154 | 118798.1042 | 267607.9232 | 36.4 | 83.1
127856 | 2021-05-07 12:35 | 0.99577 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.7102 | μmol/L | 32.7253 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.181 | 115535.8815 | 267606.4435 | 36.4 | 83.1
127866 | 2021-05-07 12:35 | 1.3295 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.4406 | μmol/L | 32.6945 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.207 | 115409.8267 | 267615.1705 | 36.4 | 83.1
127876 | 2021-05-07 12:35 | 1.6626 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.411 | μmol/L | 32.6515 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.224 | 115355.1956 | 267627.833 | 36.4 | 83.1
127886 | 2021-05-07 12:36 | 1.9961 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.2348 | μmol/L | 32.6146 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.247 | 115259.6788 | 267641.8641 | 36.4 | 83.1
127896 | 2021-05-07 12:36 | 2.3292 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.3335 | μmol/L | 32.5654 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.259 | 115056.2198 | 267644.2761 | 36.4 | 83.1
127906 | 2021-05-07 12:36 | 2.6623 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.4031 | μmol/L | 32.5039 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.277 | 115031.9955 | 267669.5657 | 36.4 | 83.1
127916 | 2021-05-07 12:37 | 2.9955 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.3094 | μmol/L | 32.4793 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.291 | 114951.1531 | 267668.4061 | 36.4 | 83.1
127926 | 2021-05-07 12:37 | 3.3292 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.3864 | μmol/L | 32.4362 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.302 | 115028.3859 | 267684.6452 | 36.4 | 83.1
127936 | 2021-05-07 12:37 | 3.6622 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.1678 | μmol/L | 32.4116 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.323 | 115090.5372 | 267670.4639 | 36.4 | 83.1
127946 | 2021-05-07 12:38 | 3.996 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.1877 | μmol/L | 32.3747 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.335 | 115149.6901 | 267671.0167 | 36.4 | 83.1
127956 | 2021-05-07 12:38 | 4.3289 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.2109 | μmol/L | 32.3317 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.349 | 115211.1453 | 267683.3348 | 36.4 | 83.1
127966 | 2021-05-07 12:38 | 4.6627 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.3052 | μmol/L | 32.2887 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.359 | 115255.1353 | 267705.6252 | 36.4 | 83.1
127976 | 2021-05-07 12:39 | 4.9957 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.3783 | μmol/L | 32.2518 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.368 | 115303.7808 | 267686.4253 | 36.4 | 83.1
127986 | 2021-05-07 12:39 | 5.3294 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.2634 | μmol/L | 32.2333 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.381 | 115374.601 | 267707.0068 | 36.4 | 83.1
127996 | 2021-05-07 12:39 | 5.6625 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.2327 | μmol/L | 32.1903 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.398 | 115430.8189 | 267689.5104 | 36.4 | 83.1
128006 | 2021-05-07 12:40 | 5.9961 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.2457 | μmol/L | 32.1657 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.406 | 115498.452 | 267687.6777 | 36.4 | 83.1
128016 | 2021-05-07 12:40 | 6.3291 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.1907 | μmol/L | 32.1349 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.42 | 115530.1149 | 267678.7005 | 36.4 | 83.1
128026 | 2021-05-07 12:40 | 6.6629 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.2779 | μmol/L | 32.1042 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.426 | 115572.176 | 267679.3107 | 36.4 | 83.1
128036 | 2021-05-07 12:41 | 6.9958 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.226 | μmol/L | 32.0673 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.442 | 115636.0838 | 267659.9853 | 36.4 | 83.1
128046 | 2021-05-07 12:41 | 7.3289 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.3728 | μmol/L | 32.0242 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.449 | 115690.6861 | 267667.8021 | 36.4 | 83.1
128056 | 2021-05-07 12:41 | 7.6627 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.2965 | μmol/L | 31.9996 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.462 | 115746.4538 | 267656.4745 | 36.4 | 83.1
128066 | 2021-05-07 12:42 | 7.9956 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.3416 | μmol/L | 31.9812 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.466 | 115797.7694 | 267655.5565 | 36.4 | 83.1
128076 | 2021-05-07 12:42 | 8.3296 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.2298 | μmol/L | 31.9566 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.481 | 115852.6667 | 267657.4669 | 36.4 | 83.1
128086 | 2021-05-07 12:42 | 8.6626 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.4148 | μmol/L | 31.9074 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.488 | 115896.0414 | 267650.2406 | 36.4 | 83.1
128096 | 2021-05-07 12:43 | 8.9956 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.3354 | μmol/L | 31.889 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.499 | 115951.9578 | 267650.6711 | 36.4 | 83.1
128106 | 2021-05-07 12:43 | 9.3294 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.3594 | μmol/L | 31.8767 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.502 | 115966.8663 | 267648.3211 | 36.4 | 83.1
128116 | 2021-05-07 12:43 | 9.6622 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.304 | μmol/L | 31.8459 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.516 | 116012.273 | 267636.9465 | 36.4 | 83.1
128126 | 2021-05-07 12:44 | 9.9958 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.3758 | μmol/L | 31.809 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.525 | 116078.1281 | 267652.1858 | 36.4 | 83.1
128136 | 2021-05-07 12:44 | 10.3296 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.3172 | μmol/L | 31.7844 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.537 | 116112.9096 | 267654.0647 | 36.4 | 83.1
128146 | 2021-05-07 12:44 | 10.6622 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.294 | μmol/L | 31.7598 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.547 | 116170.3235 | 267654.5539 | 36.4 | 83.1
128156 | 2021-05-07 12:45 | 10.9956 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.3271 | μmol/L | 31.7291 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.556 | 116232.0255 | 267651.3707 | 36.4 | 83.1
128166 | 2021-05-07 12:45 | 11.3291 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.3247 | μmol/L | 31.6984 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.567 | 116263.6394 | 267640.7636 | 36.4 | 83.1
128176 | 2021-05-07 12:45 | 11.6626 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.3192 | μmol/L | 31.6738 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.576 | 116312.4101 | 267644.9312 | 36.4 | 83.1
128186 | 2021-05-07 12:46 | 11.9954 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.3582 | μmol/L | 31.6307 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.589 | 116364.6839 | 267644.515 | 36.4 | 83.1
128196 | 2021-05-07 12:46 | 12.3288 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.4382 | μmol/L | 31.6123 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.591 | 116401.8784 | 267622.0827 | 36.4 | 83.1
128206 | 2021-05-07 12:46 | 12.6623 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.465 | μmol/L | 31.5938 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.596 | 116418.7973 | 267624.7233 | 36.4 | 83.1
128216 | 2021-05-07 12:47 | 12.9957 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.3677 | μmol/L | 31.5754 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.608 | 116478.1263 | 267637.5075 | 36.4 | 83.1
128226 | 2021-05-07 12:47 | 13.329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.3503 | μmol/L | 31.5385 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.622 | 116532.2494 | 267641.6884 | 36.4 | 83.1
128236 | 2021-05-07 12:47 | 13.6625 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.3446 | μmol/L | 31.5139 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.631 | 116587.24 | 267642.9032 | 36.4 | 83.1
128246 | 2021-05-07 12:48 | 13.9961 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.4067 | μmol/L | 31.4955 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.634 | 116596.2373 | 267653.3203 | 36.4 | 83.1
128256 | 2021-05-07 12:48 | 14.3295 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.3685 | μmol/L | 31.4647 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.647 | 116677.9091 | 267651.9329 | 36.4 | 83.1
128266 | 2021-05-07 12:48 | 14.6621 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.4541 | μmol/L | 31.434 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.653 | 116713.726 | 267649.531 | 36.4 | 83.1
128276 | 2021-05-07 12:49 | 14.9955 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.3686 | μmol/L | 31.4278 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.66 | 116722.7387 | 267652.9804 | 36.4 | 83.1
128286 | 2021-05-07 12:49 | 15.3292 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.4718 | μmol/L | 31.3971 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.665 | 116785.0526 | 267646.9795 | 36.4 | 83.1
128296 | 2021-05-07 12:49 | 15.6623 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.3038 | μmol/L | 31.3787 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.681 | 116858.9848 | 267640.2803 | 36.4 | 83.1
128306 | 2021-05-07 12:50 | 15.9956 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.3097 | μmol/L | 31.3664 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.685 | 116907.3024 | 267635.4548 | 36.4 | 83.1
128316 | 2021-05-07 12:50 | 16.3291 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.4422 | μmol/L | 31.311 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.697 | 116972.6487 | 267637.3735 | 36.4 | 83.1
128326 | 2021-05-07 12:50 | 16.6627 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.2302 | μmol/L | 31.311 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.709 | 117002.5253 | 267634.5273 | 36.4 | 83.1
128336 | 2021-05-07 12:51 | 16.996 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.1272 | μmol/L | 31.3049 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.717 | 117079.2001 | 267632.4409 | 36.4 | 83.1
128346 | 2021-05-07 12:51 | 17.3293 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.7807 | μmol/L | 31.2926 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.741 | 117202.4248 | 267619.3029 | 36.4 | 83.1
128356 | 2021-05-07 12:51 | 17.6624 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.7133 | μmol/L | 31.2496 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.76 | 117318.2397 | 267619.6176 | 36.4 | 83.1
128366 | 2021-05-07 12:52 | 17.9962 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.3008 | μmol/L | 31.2311 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.79 | 117482.5598 | 267630.7483 | 36.4 | 83.1
128376 | 2021-05-07 12:52 | 18.3293 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.1577 | μmol/L | 31.2004 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.809 | 117609.2275 | 267627.7146 | 36.4 | 83.1
128386 | 2021-05-07 12:52 | 18.6623 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.0906 | μmol/L | 31.1942 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.815 | 117647.3393 | 267616.9087 | 36.4 | 83.1
128396 | 2021-05-07 12:53 | 18.9962 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.1344 | μmol/L | 31.1758 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.819 | 117661.2519 | 267614.9283 | 36.4 | 83.1
128406 | 2021-05-07 12:53 | 19.3293 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 197.8664 | μmol/L | 31.1512 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.843 | 117834.2284 | 267625.3946 | 36.4 | 83.1
128416 | 2021-05-07 12:53 | 19.6627 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 197.75 | μmol/L | 31.1389 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.854 | 117899.8562 | 267631.87 | 36.4 | 83.1
128426 | 2021-05-07 12:54 | 19.9962 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 197.7268 | μmol/L | 31.1143 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.864 | 117960.0005 | 267635.1938 | 36.4 | 83.1
128436 | 2021-05-07 12:54 | 20.3295 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 197.6513 | μmol/L | 31.0897 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.877 | 117998.1947 | 267658.9162 | 36.4 | 83.1
128446 | 2021-05-07 12:54 | 20.6621 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 197.6426 | μmol/L | 31.0713 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.884 | 118050.5903 | 267665.9117 | 36.4 | 83.1
128456 | 2021-05-07 12:55 | 20.9961 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 197.7705 | μmol/L | 31.0221 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.894 | 118114.4532 | 267689.3383 | 36.4 | 83.1
128466 | 2021-05-07 12:55 | 21.3293 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 197.6717 | μmol/L | 31.0098 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.904 | 118208.8965 | 267715.3889 | 36.4 | 83.1
128476 | 2021-05-07 12:55 | 21.6621 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 197.4627 | μmol/L | 31.0098 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.916 | 118239.5462 | 267720.2138 | 36.4 | 83.1
128486 | 2021-05-07 12:56 | 21.9959 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 197.2887 | μmol/L | 31.0098 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.926 | 118349.872 | 267745.5042 | 36.4 | 83.1
128496 | 2021-05-07 12:56 | 22.329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 197.3207 | μmol/L | 30.9791 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.935 | 118377.7693 | 267775.2463 | 36.4 | 83.1
128506 | 2021-05-07 12:56 | 22.6629 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 197.3149 | μmol/L | 30.9545 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.944 | 118477.0666 | 267781.2868 | 36.4 | 83.1
128516 | 2021-05-07 12:57 | 22.9959 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 197.0949 | μmol/L | 30.9422 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.961 | 118555.1127 | 267783.1478 | 36.4 | 83.1
128526 | 2021-05-07 12:57 | 23.3288 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.7714 | μmol/L | 30.9299 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.984 | 118686.0811 | 267786.154 | 36.4 | 83.1
128536 | 2021-05-07 12:57 | 23.6624 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.5409 | μmol/L | 30.9053 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.006 | 118836.6575 | 267779.5538 | 36.4 | 83.1
128546 | 2021-05-07 12:58 | 23.9961 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.6533 | μmol/L | 30.8869 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.006 | 118861.6941 | 267805.2077 | 36.4 | 83.1
128556 | 2021-05-07 12:58 | 24.329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.7514 | μmol/L | 30.8623 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.009 | 118847.9811 | 267813.7908 | 36.4 | 83.1
128566 | 2021-05-07 12:58 | 24.6629 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.7139 | μmol/L | 30.8684 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.009 | 118862.4667 | 267813.156 | 36.4 | 83.1
128576 | 2021-05-07 12:59 | 24.9959 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.5814 | μmol/L | 30.8561 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.021 | 118932.2424 | 267815.0571 | 36.4 | 83.1
128586 | 2021-05-07 12:59 | 25.3289 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.5066 | μmol/L | 30.8316 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.034 | 119020.9803 | 267821.9106 | 36.4 | 83.1
128596 | 2021-05-07 12:59 | 25.6627 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.5814 | μmol/L | 30.8193 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.034 | 119044.1466 | 267811.1448 | 36.4 | 83.1
128606 | 2021-05-07 13:00 | 25.9957 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.4059 | μmol/L | 30.8254 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.042 | 119101.899 | 267812.4905 | 36.4 | 83.1
128616 | 2021-05-07 13:00 | 26.3293 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.2421 | μmol/L | 30.807 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.058 | 119164.1095 | 267810.2524 | 36.4 | 83.1
128626 | 2021-05-07 13:00 | 26.6623 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.1647 | μmol/L | 30.7885 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.069 | 119254.5854 | 267804.9613 | 36.4 | 83.1
128636 | 2021-05-07 13:01 | 26.9961 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.0499 | μmol/L | 30.7762 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.08 | 119308.0491 | 267810.7538 | 36.4 | 83.1
128646 | 2021-05-07 13:01 | 27.3289 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.7175 | μmol/L | 30.7885 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.095 | 119412.7202 | 267810.938 | 36.4 | 83.1
128656 | 2021-05-07 13:01 | 27.6628 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.7291 | μmol/L | 30.7639 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.103 | 119452.746 | 267805.0071 | 36.4 | 83.1
128666 | 2021-05-07 13:02 | 27.9958 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.8351 | μmol/L | 30.7578 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.099 | 119446.6939 | 267805.0379 | 36.4 | 83.1
128676 | 2021-05-07 13:02 | 28.3288 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.9584 | μmol/L | 30.7148 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.107 | 119505.5272 | 267791.9313 | 36.4 | 83.1
128686 | 2021-05-07 13:02 | 28.6622 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.8238 | μmol/L | 30.7086 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.117 | 119517.8676 | 267793.6834 | 36.4 | 83.1
128696 | 2021-05-07 13:03 | 28.9954 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.9699 | μmol/L | 30.6902 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.115 | 119500.9454 | 267790.4522 | 36.4 | 83.1
128706 | 2021-05-07 13:03 | 29.3293 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.0472 | μmol/L | 30.6717 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.117 | 119526.2033 | 267792.7063 | 36.4 | 83.1
128716 | 2021-05-07 13:03 | 29.6624 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.7037 | μmol/L | 30.7086 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.124 | 119560.0583 | 267767.6871 | 36.4 | 83.1
128726 | 2021-05-07 13:04 | 29.9962 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.7953 | μmol/L | 30.6595 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.136 | 119645.3286 | 267779.2821 | 36.4 | 83.1
128736 | 2021-05-07 13:04 | 30.3294 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.4665 | μmol/L | 30.7025 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.14 | 119675.9913 | 267759.8685 | 36.4 | 83.1
128746 | 2021-05-07 13:04 | 30.6625 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.2811 | μmol/L | 30.6963 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.153 | 119731.2278 | 267768.244 | 36.4 | 83.1
128756 | 2021-05-07 13:05 | 30.9962 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.4096 | μmol/L | 30.6779 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.152 | 119734.9185 | 267776.4776 | 36.4 | 83.1
128766 | 2021-05-07 13:05 | 31.3291 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.6267 | μmol/L | 30.6533 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.148 | 119711.4022 | 267756.2946 | 36.4 | 83.1
128776 | 2021-05-07 13:05 | 31.6622 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.4525 | μmol/L | 30.6595 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.156 | 119727.1147 | 267757.9416 | 36.4 | 83.1
128786 | 2021-05-07 13:06 | 31.9959 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.4667 | μmol/L | 30.6656 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.153 | 119717.4851 | 267761.3407 | 36.4 | 83.1
128796 | 2021-05-07 13:06 | 32.329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.284 | μmol/L | 30.6902 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.155 | 119732.2608 | 267746.8227 | 36.4 | 83.1
128806 | 2021-05-07 13:06 | 32.6627 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.484 | μmol/L | 30.6287 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.165 | 119775.1962 | 267756.4476 | 36.4 | 83.1
128816 | 2021-05-07 13:07 | 32.9958 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.1417 | μmol/L | 30.6656 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.172 | 119827.8575 | 267761.9716 | 36.4 | 83.1
128826 | 2021-05-07 13:07 | 33.3288 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.0108 | μmol/L | 30.6533 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.184 | 119878.6251 | 267751.5055 | 36.4 | 83.1
128836 | 2021-05-07 13:07 | 33.6627 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 194.9596 | μmol/L | 30.6533 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.187 | 119928.9206 | 267729.7683 | 36.4 | 83.1
128846 | 2021-05-07 13:08 | 33.9958 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 194.957 | μmol/L | 30.6226 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.198 | 119953.5494 | 267741.1105 | 36.4 | 83.1
128856 | 2021-05-07 13:08 | 34.3288 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 194.9171 | μmol/L | 30.6349 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.196 | 119979.3517 | 267739.0053 | 36.4 | 83.1
128866 | 2021-05-07 13:08 | 34.6625 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 194.7325 | μmol/L | 30.6287 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.209 | 120012.0348 | 267727.6703 | 36.4 | 83.1
128876 | 2021-05-07 13:09 | 34.9959 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 194.7752 | μmol/L | 30.6103 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.213 | 120064.874 | 267719.0962 | 36.4 | 83.1
128886 | 2021-05-07 13:09 | 35.3291 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 194.5734 | μmol/L | 30.641 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.214 | 120055.6726 | 267723.2042 | 36.4 | 83.1