## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-07 13:10

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
127827 | 2021-05-07 12:34 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.4945 | μmol/L | 32.5474 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.244 | 92287.4246 | 293797.633 | 30.45 | 114.2
127837 | 2021-05-07 12:34 | 0.33909 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.1927 | μmol/L | 32.6708 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.336 | 92918.4841 | 293807.3753 | 30.45 | 114.2
127847 | 2021-05-07 12:34 | 0.67219 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.7725 | μmol/L | 32.677 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.418 | 93340.1058 | 293814.7875 | 30.45 | 114.2
127857 | 2021-05-07 12:35 | 1.0052 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.5207 | μmol/L | 32.6708 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.495 | 93732.3764 | 293813.0451 | 30.45 | 114.2
127867 | 2021-05-07 12:35 | 1.3391 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.9203 | μmol/L | 32.5536 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.572 | 94059.7604 | 293834.7819 | 30.45 | 114.2
127877 | 2021-05-07 12:35 | 1.672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 182.8195 | μmol/L | 32.5412 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.643 | 94384.1742 | 293834.3293 | 30.45 | 114.2
127887 | 2021-05-07 12:36 | 2.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.8578 | μmol/L | 32.5289 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.706 | 94641.7535 | 293848.9687 | 30.45 | 114.2
127897 | 2021-05-07 12:36 | 2.3388 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.2915 | μmol/L | 32.4796 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.758 | 94884.4434 | 293880.4806 | 30.45 | 114.2
127907 | 2021-05-07 12:36 | 2.6725 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.956 | μmol/L | 32.387 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.811 | 95160.6845 | 293879.9691 | 30.45 | 114.2
127917 | 2021-05-07 12:37 | 3.0057 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 179.9469 | μmol/L | 32.4055 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.867 | 95411.2558 | 293895.2645 | 30.45 | 114.2
127927 | 2021-05-07 12:37 | 3.3392 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 179.6669 | μmol/L | 32.3439 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.906 | 95598.8189 | 293888.2204 | 30.45 | 114.2
127937 | 2021-05-07 12:37 | 3.672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 179.6343 | μmol/L | 32.2267 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.949 | 95811.8388 | 293894.4872 | 30.45 | 114.2
127947 | 2021-05-07 12:38 | 4.0059 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 179.5146 | μmol/L | 32.0848 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.006 | 95966.7864 | 293906.0416 | 30.45 | 114.2
127957 | 2021-05-07 12:38 | 4.3389 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.6381 | μmol/L | 32.1218 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.048 | 96172.4105 | 293903.6221 | 30.45 | 114.2
127967 | 2021-05-07 12:38 | 4.6719 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.9171 | μmol/L | 31.98 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.08 | 96334.8093 | 293921.249 | 30.45 | 114.2
127977 | 2021-05-07 12:39 | 5.0057 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.0962 | μmol/L | 31.9676 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.136 | 96464.4244 | 293904.3135 | 30.45 | 114.2
127987 | 2021-05-07 12:39 | 5.3387 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.9856 | μmol/L | 32.0231 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.187 | 96655.5023 | 293906.6424 | 30.45 | 114.2
127997 | 2021-05-07 12:39 | 5.6725 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.6263 | μmol/L | 31.98 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.225 | 96965.245 | 293917.935 | 30.45 | 114.2
128007 | 2021-05-07 12:40 | 6.0055 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.7539 | μmol/L | 31.9738 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.283 | 97249.8303 | 293913.9104 | 30.45 | 114.2
128017 | 2021-05-07 12:40 | 6.3392 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.4423 | μmol/L | 31.9368 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.316 | 97385.4185 | 293899.5623 | 30.45 | 114.2
128027 | 2021-05-07 12:40 | 6.6721 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.2394 | μmol/L | 31.8628 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.355 | 97495.3953 | 293884.8209 | 30.45 | 114.2
128037 | 2021-05-07 12:41 | 7.0059 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.6488 | μmol/L | 31.7703 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.361 | 97578.0911 | 293908.865 | 30.45 | 114.2
128047 | 2021-05-07 12:41 | 7.3387 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.0993 | μmol/L | 31.8258 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.377 | 97681.964 | 293895.3396 | 30.45 | 114.2
128057 | 2021-05-07 12:41 | 7.6725 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.5301 | μmol/L | 31.8196 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.416 | 97726.2912 | 293877.4292 | 30.45 | 114.2
128067 | 2021-05-07 12:42 | 8.0055 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.4241 | μmol/L | 31.7764 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.438 | 97806.6459 | 293890.8437 | 30.45 | 114.2
128077 | 2021-05-07 12:42 | 8.3392 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.2567 | μmol/L | 31.7333 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.464 | 97901.0042 | 293866.9049 | 30.45 | 114.2
128087 | 2021-05-07 12:42 | 8.6723 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.5396 | μmol/L | 31.6408 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.478 | 97964.545 | 293866.7762 | 30.45 | 114.2
128097 | 2021-05-07 12:43 | 9.0053 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.2246 | μmol/L | 31.6593 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.492 | 98027.7984 | 293872.9075 | 30.45 | 114.2
128107 | 2021-05-07 12:43 | 9.339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.1017 | μmol/L | 31.6593 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.5 | 98079.4072 | 293863.3598 | 30.45 | 114.2
128117 | 2021-05-07 12:43 | 9.6726 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.4637 | μmol/L | 31.6839 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.533 | 98063.9756 | 293871.7975 | 30.45 | 114.2
128127 | 2021-05-07 12:44 | 10.0059 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.9426 | μmol/L | 31.5174 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.56 | 98057.3452 | 293872.9273 | 30.45 | 114.2
128137 | 2021-05-07 12:44 | 10.3388 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.1125 | μmol/L | 31.4743 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.564 | 98126.8458 | 293866.0289 | 30.45 | 114.2
128147 | 2021-05-07 12:44 | 10.6724 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.2432 | μmol/L | 31.6161 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.637 | 98513.9704 | 293870.0837 | 30.45 | 114.2
128157 | 2021-05-07 12:45 | 11.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.3231 | μmol/L | 31.5298 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.662 | 98651.5738 | 293874.2479 | 30.45 | 114.2
128167 | 2021-05-07 12:45 | 11.3385 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.4607 | μmol/L | 31.4496 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.681 | 98733.3597 | 293871.2394 | 30.45 | 114.2
128177 | 2021-05-07 12:45 | 11.6723 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.8088 | μmol/L | 31.4928 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.709 | 98814.2056 | 293861.9749 | 30.45 | 114.2
128187 | 2021-05-07 12:46 | 12.0057 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.9406 | μmol/L | 31.3879 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.737 | 98879.991 | 293852.2284 | 30.45 | 114.2
128197 | 2021-05-07 12:46 | 12.339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.496 | μmol/L | 31.3694 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.773 | 99018.3094 | 293865.4959 | 30.45 | 114.2
128207 | 2021-05-07 12:46 | 12.6724 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.3151 | μmol/L | 31.3324 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.798 | 99155.3443 | 293832.9942 | 30.45 | 114.2
128217 | 2021-05-07 12:47 | 13.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.7013 | μmol/L | 31.2276 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.809 | 99215.0597 | 293857.6387 | 30.45 | 114.2
128227 | 2021-05-07 12:47 | 13.339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.8056 | μmol/L | 31.3324 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.832 | 99301.3234 | 293856.5707 | 30.45 | 114.2
128237 | 2021-05-07 12:47 | 13.6725 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.4919 | μmol/L | 31.3324 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.853 | 99387.2503 | 293864.6595 | 30.45 | 114.2
128247 | 2021-05-07 12:48 | 14.0056 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.2987 | μmol/L | 31.1413 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.866 | 99461.7581 | 293852.5249 | 30.45 | 114.2
128257 | 2021-05-07 12:48 | 14.3393 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.472 | μmol/L | 31.0796 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.876 | 99501.7378 | 293854.3051 | 30.45 | 114.2
128267 | 2021-05-07 12:48 | 14.6721 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.7114 | μmol/L | 31.1906 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.888 | 99580.9324 | 293861.0029 | 30.45 | 114.2
128277 | 2021-05-07 12:49 | 15.0054 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.7499 | μmol/L | 31.1289 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.907 | 99639.9935 | 293856.0446 | 30.45 | 114.2
128287 | 2021-05-07 12:49 | 15.3392 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.1749 | μmol/L | 31.1906 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.924 | 99727.6374 | 293858.7858 | 30.45 | 114.2
128297 | 2021-05-07 12:49 | 15.6726 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.0578 | μmol/L | 31.1474 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.947 | 99817.5223 | 293835.3336 | 30.45 | 114.2
128307 | 2021-05-07 12:50 | 16.0052 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.0174 | μmol/L | 31.0981 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.967 | 99924.8953 | 293848.3405 | 30.45 | 114.2
128317 | 2021-05-07 12:50 | 16.3387 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.2801 | μmol/L | 30.9933 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.986 | 99997.8926 | 293847.2017 | 30.45 | 114.2
128327 | 2021-05-07 12:50 | 16.6721 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.6242 | μmol/L | 31.0796 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22 | 100068.3984 | 293835.8155 | 30.45 | 114.2
128337 | 2021-05-07 12:51 | 17.0055 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.707 | μmol/L | 31.018 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.016 | 100131.9384 | 293833.8029 | 30.45 | 114.2
128347 | 2021-05-07 12:51 | 17.3386 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.2128 | μmol/L | 31.0735 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.03 | 100195.5293 | 293826.3001 | 30.45 | 114.2
128357 | 2021-05-07 12:51 | 17.6718 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.8618 | μmol/L | 31.1043 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.043 | 100229.627 | 293822.8069 | 30.45 | 114.2
128367 | 2021-05-07 12:52 | 18.0056 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.8662 | μmol/L | 31.055 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.06 | 100292.4859 | 293817.1281 | 30.45 | 114.2
128377 | 2021-05-07 12:52 | 18.3386 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.0948 | μmol/L | 30.9193 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.092 | 100370.2826 | 293826.534 | 30.45 | 114.2
128387 | 2021-05-07 12:52 | 18.6725 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.1561 | μmol/L | 30.9131 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.09 | 100409.9449 | 293827.7427 | 30.45 | 114.2
128397 | 2021-05-07 12:53 | 19.0056 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.74 | μmol/L | 30.9625 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.101 | 100447.3117 | 293807.9864 | 30.45 | 114.2
128407 | 2021-05-07 12:53 | 19.3386 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.1419 | μmol/L | 31.0303 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.118 | 100573.6781 | 293815.5093 | 30.45 | 114.2
128417 | 2021-05-07 12:53 | 19.6723 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.8251 | μmol/L | 31.018 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.144 | 100589.9582 | 293831.0013 | 30.45 | 114.2
128427 | 2021-05-07 12:54 | 20.0052 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.1497 | μmol/L | 30.8577 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.178 | 100680.5986 | 293851.8773 | 30.45 | 114.2
128437 | 2021-05-07 12:54 | 20.3385 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.3439 | μmol/L | 30.8083 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.182 | 100692.8802 | 293865.9295 | 30.45 | 114.2
128447 | 2021-05-07 12:54 | 20.672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.1222 | μmol/L | 30.8145 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.195 | 100787.3231 | 293889.7576 | 30.45 | 114.2
128457 | 2021-05-07 12:55 | 21.0059 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.9914 | μmol/L | 30.8515 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.191 | 100799.3709 | 293888.9715 | 30.45 | 114.2
128467 | 2021-05-07 12:55 | 21.3392 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.1631 | μmol/L | 30.7837 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.203 | 100831.5091 | 293918.5153 | 30.45 | 114.2
128477 | 2021-05-07 12:55 | 21.6722 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.0532 | μmol/L | 30.7652 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.217 | 100851.2381 | 293944.3774 | 30.45 | 114.2
128487 | 2021-05-07 12:56 | 22.0053 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.6042 | μmol/L | 30.796 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.237 | 100907.6192 | 293965.8735 | 30.45 | 114.2
128497 | 2021-05-07 12:56 | 22.3393 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.1516 | μmol/L | 30.6974 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.234 | 100928.0518 | 293978.104 | 30.45 | 114.2
128507 | 2021-05-07 12:56 | 22.6722 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.5782 | μmol/L | 30.6111 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.235 | 100975.2507 | 294002.9211 | 30.45 | 114.2
128517 | 2021-05-07 12:57 | 23.0054 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.2237 | μmol/L | 30.6604 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.242 | 101044.4586 | 294024.602 | 30.45 | 114.2
128527 | 2021-05-07 12:57 | 23.3392 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.3442 | μmol/L | 30.6111 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.251 | 101088.801 | 294027.2911 | 30.45 | 114.2
128537 | 2021-05-07 12:57 | 23.6724 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.2318 | μmol/L | 30.5987 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.263 | 101121.6549 | 294012.6611 | 30.45 | 114.2
128547 | 2021-05-07 12:58 | 24.0054 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.9624 | μmol/L | 30.6172 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.275 | 101198.3514 | 294037.2807 | 30.45 | 114.2
128557 | 2021-05-07 12:58 | 24.3385 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.0489 | μmol/L | 30.5802 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.282 | 101254.3006 | 294043.6569 | 30.45 | 114.2
128567 | 2021-05-07 12:58 | 24.6724 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.9997 | μmol/L | 30.5556 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.294 | 101314.1789 | 294042.5546 | 30.45 | 114.2
128577 | 2021-05-07 12:59 | 25.0053 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.1635 | μmol/L | 30.5062 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.3 | 101379.5616 | 294037.6291 | 30.45 | 114.2
128587 | 2021-05-07 12:59 | 25.3392 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.0031 | μmol/L | 30.5062 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.311 | 101450.3516 | 294028.417 | 30.45 | 114.2
128597 | 2021-05-07 12:59 | 25.6725 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.4257 | μmol/L | 30.5741 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.327 | 101522.3489 | 294026.7523 | 30.45 | 114.2
128607 | 2021-05-07 13:00 | 26.0056 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.0062 | μmol/L | 30.6111 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.343 | 101588.4484 | 294026.3095 | 30.45 | 114.2
128617 | 2021-05-07 13:00 | 26.3385 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.4842 | μmol/L | 30.4939 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.351 | 101627.3587 | 294039.3615 | 30.45 | 114.2
128627 | 2021-05-07 13:00 | 26.6723 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.0367 | μmol/L | 30.5679 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.356 | 101685.6587 | 294019.794 | 30.45 | 114.2
128637 | 2021-05-07 13:01 | 27.0053 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.0557 | μmol/L | 30.5556 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.359 | 101723.2261 | 294020.184 | 30.45 | 114.2
128647 | 2021-05-07 13:01 | 27.3386 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.2812 | μmol/L | 30.4939 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.365 | 101758.7225 | 294019.0128 | 30.45 | 114.2
128657 | 2021-05-07 13:01 | 27.6726 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.0907 | μmol/L | 30.5001 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.376 | 101804.3916 | 294018.4918 | 30.45 | 114.2
128667 | 2021-05-07 13:02 | 28.0056 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.0364 | μmol/L | 30.4508 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.397 | 101862.1577 | 294030.7979 | 30.45 | 114.2
128677 | 2021-05-07 13:02 | 28.3386 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.0631 | μmol/L | 30.4569 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.393 | 101879.6799 | 294024.3287 | 30.45 | 114.2
128687 | 2021-05-07 13:02 | 28.6718 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.905 | μmol/L | 30.4939 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.391 | 101871.4566 | 294020.1347 | 30.45 | 114.2
128697 | 2021-05-07 13:03 | 29.0056 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.4948 | μmol/L | 30.5494 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.4 | 101886.8958 | 294008.6575 | 30.45 | 114.2
128707 | 2021-05-07 13:03 | 29.3387 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.1832 | μmol/L | 30.5741 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.413 | 101932.1914 | 293993.5817 | 30.45 | 114.2
128717 | 2021-05-07 13:03 | 29.6718 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.1401 | μmol/L | 30.5741 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.416 | 101950.2389 | 293997.7347 | 30.45 | 114.2
128727 | 2021-05-07 13:04 | 30.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.0302 | μmol/L | 30.5987 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.415 | 101945.3869 | 294001.1309 | 30.45 | 114.2
128737 | 2021-05-07 13:04 | 30.3389 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.3029 | μmol/L | 30.5617 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.409 | 101938.5395 | 294003.6212 | 30.45 | 114.2
128747 | 2021-05-07 13:04 | 30.672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.2287 | μmol/L | 30.5679 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.412 | 101984.091 | 293993.1286 | 30.45 | 114.2
128757 | 2021-05-07 13:05 | 31.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 165.939 | μmol/L | 30.5741 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.43 | 102095.7335 | 293995.263 | 30.45 | 114.2
128767 | 2021-05-07 13:05 | 31.3388 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 165.5402 | μmol/L | 30.6049 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.447 | 102200.2012 | 293985.4703 | 30.45 | 114.2
128777 | 2021-05-07 13:05 | 31.6719 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 165.2303 | μmol/L | 30.5926 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.473 | 102321.2579 | 293980.1823 | 30.45 | 114.2
128787 | 2021-05-07 13:06 | 32.0056 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.2199 | μmol/L | 30.6665 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.518 | 102488.123 | 293980.2269 | 30.45 | 114.2
128797 | 2021-05-07 13:06 | 32.3385 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.1208 | μmol/L | 30.6295 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.538 | 102580.5681 | 293983.4057 | 30.45 | 114.2
128807 | 2021-05-07 13:06 | 32.6719 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.1633 | μmol/L | 30.5926 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.548 | 102637.9267 | 293987.2436 | 30.45 | 114.2
128817 | 2021-05-07 13:07 | 33.0059 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.2177 | μmol/L | 30.5617 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.555 | 102682.8497 | 293985.9914 | 30.45 | 114.2
128827 | 2021-05-07 13:07 | 33.3389 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.6188 | μmol/L | 30.6111 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.58 | 102777.8888 | 293975.0099 | 30.45 | 114.2
128837 | 2021-05-07 13:07 | 33.6719 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.4096 | μmol/L | 30.6049 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.597 | 102858.3797 | 293970.0121 | 30.45 | 114.2
128847 | 2021-05-07 13:08 | 34.0056 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.4543 | μmol/L | 30.5987 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.596 | 102885.0493 | 293971.8654 | 30.45 | 114.2
128857 | 2021-05-07 13:08 | 34.3385 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.4636 | μmol/L | 30.6111 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.591 | 102901.9588 | 293971.8839 | 30.45 | 114.2
128867 | 2021-05-07 13:08 | 34.6723 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.8307 | μmol/L | 30.6111 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.565 | 102805.4011 | 293968.8882 | 30.45 | 114.2
128877 | 2021-05-07 13:09 | 35.0056 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.1869 | μmol/L | 30.6049 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.542 | 102643.9826 | 293963.9051 | 30.45 | 114.2
128887 | 2021-05-07 13:09 | 35.3387 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.4281 | μmol/L | 30.6049 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.525 | 102546.6012 | 293958.5703 | 30.45 | 114.2