## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-07 13:10

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
127828 | 2021-05-07 12:34 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 186.9226 | μmol/L | 32.7127 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.376 | 128255.2461 | 290823.7289 | 59.9307 | 49.4
127838 | 2021-05-07 12:34 | 0.34173 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 186.4534 | μmol/L | 32.7437 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.393 | 128376.6746 | 290822.9436 | 59.9307 | 49.4
127848 | 2021-05-07 12:34 | 0.67574 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 186.0515 | μmol/L | 32.7003 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.432 | 128634.5674 | 290831.6403 | 59.9307 | 49.4
127858 | 2021-05-07 12:35 | 1.0088 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 185.4591 | μmol/L | 32.7127 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.463 | 128832.5712 | 290823.0566 | 59.9307 | 49.4
127868 | 2021-05-07 12:35 | 1.3419 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 185.0269 | μmol/L | 32.6693 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.504 | 129025.6927 | 290820.048 | 59.9307 | 49.4
127878 | 2021-05-07 12:35 | 1.6758 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 184.7346 | μmol/L | 32.6135 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.541 | 129263.2806 | 290829.3129 | 59.9307 | 49.4
127888 | 2021-05-07 12:36 | 2.0092 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 184.4263 | μmol/L | 32.5578 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.579 | 129424.6116 | 290837.4797 | 59.9307 | 49.4
127898 | 2021-05-07 12:36 | 2.3421 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 184.0558 | μmol/L | 32.533 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.61 | 129613.6781 | 290852.3457 | 59.9307 | 49.4
127908 | 2021-05-07 12:36 | 2.6759 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 183.7247 | μmol/L | 32.4958 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.643 | 129789.8248 | 290863.5389 | 59.9307 | 49.4
127918 | 2021-05-07 12:37 | 3.0091 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 183.5645 | μmol/L | 32.4462 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.67 | 129923.5321 | 290857.7082 | 59.9307 | 49.4
127928 | 2021-05-07 12:37 | 3.342 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 183.5355 | μmol/L | 32.3595 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.702 | 130081.8835 | 290867.147 | 59.9307 | 49.4
127938 | 2021-05-07 12:37 | 3.6759 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.9031 | μmol/L | 32.3781 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.734 | 130206.9886 | 290846.4043 | 59.9307 | 49.4
127948 | 2021-05-07 12:38 | 4.0089 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.6895 | μmol/L | 32.3409 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.76 | 130314.7246 | 290853.8439 | 59.9307 | 49.4
127958 | 2021-05-07 12:38 | 4.3417 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.6424 | μmol/L | 32.2975 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.778 | 130437.9577 | 290857.215 | 59.9307 | 49.4
127968 | 2021-05-07 12:38 | 4.6756 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.3777 | μmol/L | 32.2666 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.805 | 130536.0496 | 290880.3571 | 59.9307 | 49.4
127978 | 2021-05-07 12:39 | 5.0085 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.3195 | μmol/L | 32.2108 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.828 | 130615.3845 | 290876.4866 | 59.9307 | 49.4
127988 | 2021-05-07 12:39 | 5.3423 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.2123 | μmol/L | 32.155 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.854 | 130619.7354 | 290877.2261 | 59.9307 | 49.4
127998 | 2021-05-07 12:39 | 5.6754 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.0872 | μmol/L | 32.1427 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.866 | 130719.9324 | 290868.9377 | 59.9307 | 49.4
128008 | 2021-05-07 12:40 | 6.0091 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.0502 | μmol/L | 32.0745 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.892 | 130807.4603 | 290874.4744 | 59.9307 | 49.4
128018 | 2021-05-07 12:40 | 6.3419 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.9603 | μmol/L | 32.0559 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.904 | 130855.5157 | 290863.3592 | 59.9307 | 49.4
128028 | 2021-05-07 12:40 | 6.6758 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.7133 | μmol/L | 32.0249 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.93 | 130899.1307 | 290859.4143 | 59.9307 | 49.4
128038 | 2021-05-07 12:41 | 7.0088 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.8108 | μmol/L | 31.9444 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.952 | 130941.9573 | 290871.351 | 59.9307 | 49.4
128048 | 2021-05-07 12:41 | 7.3418 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.7123 | μmol/L | 31.9072 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.971 | 131005.6839 | 290866.5369 | 59.9307 | 49.4
128058 | 2021-05-07 12:41 | 7.6757 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.4396 | μmol/L | 31.901 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 20.99 | 131070.2117 | 290857.1376 | 59.9307 | 49.4
128068 | 2021-05-07 12:42 | 8.0087 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.5055 | μmol/L | 31.8577 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.001 | 131103.2873 | 290834.4692 | 59.9307 | 49.4
128078 | 2021-05-07 12:42 | 8.3417 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.7178 | μmol/L | 31.771 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.018 | 131101.3321 | 290861.7723 | 59.9307 | 49.4
128088 | 2021-05-07 12:42 | 8.6754 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.4518 | μmol/L | 31.7895 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.028 | 131068.7037 | 290843.1999 | 59.9307 | 49.4
128098 | 2021-05-07 12:43 | 9.0084 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.6037 | μmol/L | 31.6904 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.053 | 131119.4556 | 290830.4605 | 59.9307 | 49.4
128108 | 2021-05-07 12:43 | 9.3422 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.193 | μmol/L | 31.709 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.072 | 131229.6394 | 290847.0385 | 59.9307 | 49.4
128118 | 2021-05-07 12:43 | 9.6758 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.8636 | μmol/L | 31.7276 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.086 | 131251.2659 | 290845.935 | 59.9307 | 49.4
128128 | 2021-05-07 12:44 | 10.009 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.6348 | μmol/L | 31.6966 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.111 | 131323.2539 | 290828.9479 | 59.9307 | 49.4
128138 | 2021-05-07 12:44 | 10.3424 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.6936 | μmol/L | 31.6285 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.131 | 131306.9894 | 290834.3719 | 59.9307 | 49.4
128148 | 2021-05-07 12:44 | 10.6751 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.6599 | μmol/L | 31.5913 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.146 | 131337.3623 | 290831.3163 | 59.9307 | 49.4
128158 | 2021-05-07 12:45 | 11.0086 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.6671 | μmol/L | 31.5727 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.152 | 131365.1146 | 290839.7678 | 59.9307 | 49.4
128168 | 2021-05-07 12:45 | 11.342 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.4979 | μmol/L | 31.5541 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.169 | 131331.0786 | 290815.5044 | 59.9307 | 49.4
128178 | 2021-05-07 12:45 | 11.6758 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.5098 | μmol/L | 31.5232 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.179 | 131296.3593 | 290839.6445 | 59.9307 | 49.4
128188 | 2021-05-07 12:46 | 12.0085 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.7305 | μmol/L | 31.4488 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.191 | 131314.6676 | 290839.001 | 59.9307 | 49.4
128198 | 2021-05-07 12:46 | 12.3421 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.8317 | μmol/L | 31.3931 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.204 | 131283.5955 | 290823.2562 | 59.9307 | 49.4
128208 | 2021-05-07 12:46 | 12.6754 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.4812 | μmol/L | 31.4303 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.213 | 131279.1543 | 290813.4952 | 59.9307 | 49.4
128218 | 2021-05-07 12:47 | 13.0088 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.6189 | μmol/L | 31.3621 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.228 | 131303.5162 | 290814.8606 | 59.9307 | 49.4
128228 | 2021-05-07 12:47 | 13.3424 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.6076 | μmol/L | 31.3497 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.233 | 131289.7307 | 290823.0568 | 59.9307 | 49.4
128238 | 2021-05-07 12:47 | 13.6753 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.9257 | μmol/L | 31.2692 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.241 | 131290.0231 | 290799.5063 | 59.9307 | 49.4
128248 | 2021-05-07 12:48 | 14.0089 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.329 | μmol/L | 31.325 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.259 | 131233.4331 | 290822.2737 | 59.9307 | 49.4
128258 | 2021-05-07 12:48 | 14.3423 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.2242 | μmol/L | 31.3064 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.272 | 131217.7387 | 290816.8827 | 59.9307 | 49.4
128268 | 2021-05-07 12:48 | 14.6757 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.747 | μmol/L | 31.1887 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.28 | 131248.1654 | 290818.3829 | 59.9307 | 49.4
128278 | 2021-05-07 12:49 | 15.009 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.1743 | μmol/L | 31.2259 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.303 | 131136.369 | 290818.4246 | 59.9307 | 49.4
128288 | 2021-05-07 12:49 | 15.3424 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.5182 | μmol/L | 31.1144 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.32 | 130926.3042 | 290811.9398 | 59.9307 | 49.4
128298 | 2021-05-07 12:49 | 15.6751 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 179.9014 | μmol/L | 31.1887 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.333 | 130975.9817 | 290793.3063 | 59.9307 | 49.4
128308 | 2021-05-07 12:50 | 16.0085 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 179.4543 | μmol/L | 31.1949 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.359 | 131220.7718 | 290801.9891 | 59.9307 | 49.4
128318 | 2021-05-07 12:50 | 16.342 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 179.1208 | μmol/L | 31.1763 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.387 | 131252.2814 | 290799.3168 | 59.9307 | 49.4
128328 | 2021-05-07 12:50 | 16.6758 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.7305 | μmol/L | 31.1639 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.416 | 131024.481 | 290795.0033 | 59.9307 | 49.4
128338 | 2021-05-07 12:51 | 17.0085 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.6655 | μmol/L | 31.1268 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.433 | 131164.8416 | 290787.4751 | 59.9307 | 49.4
128348 | 2021-05-07 12:51 | 17.3425 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.3809 | μmol/L | 31.1082 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.457 | 131160.3053 | 290789.529 | 59.9307 | 49.4
128358 | 2021-05-07 12:51 | 17.6756 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.5091 | μmol/L | 31.102 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.451 | 131264.9736 | 290790.3837 | 59.9307 | 49.4
128368 | 2021-05-07 12:52 | 18.0086 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.5205 | μmol/L | 31.071 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.461 | 131248.3351 | 290785.1686 | 59.9307 | 49.4
128378 | 2021-05-07 12:52 | 18.3424 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.4927 | μmol/L | 31.04 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.474 | 131143.2609 | 290789.7402 | 59.9307 | 49.4
128388 | 2021-05-07 12:52 | 18.6755 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.1673 | μmol/L | 31.0277 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.499 | 131201.1131 | 290780.445 | 59.9307 | 49.4
128398 | 2021-05-07 12:53 | 19.0086 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.1607 | μmol/L | 31.0029 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.508 | 131140.1687 | 290769.7973 | 59.9307 | 49.4
128408 | 2021-05-07 12:53 | 19.3418 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.0229 | μmol/L | 30.9719 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.527 | 130710.0657 | 290777.3952 | 59.9307 | 49.4
128418 | 2021-05-07 12:53 | 19.6751 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.1295 | μmol/L | 30.9595 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.525 | 130940.058 | 290775.9326 | 59.9307 | 49.4
128428 | 2021-05-07 12:54 | 20.0087 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.7959 | μmol/L | 30.9719 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.542 | 130923.8166 | 290797.4435 | 59.9307 | 49.4
128438 | 2021-05-07 12:54 | 20.3418 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.1441 | μmol/L | 30.8543 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.56 | 130881.89 | 290817.7631 | 59.9307 | 49.4
128448 | 2021-05-07 12:54 | 20.6758 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.8455 | μmol/L | 30.879 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.571 | 130955.1394 | 290823.2189 | 59.9307 | 49.4
128458 | 2021-05-07 12:55 | 21.0084 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.9371 | μmol/L | 30.7985 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.593 | 130204.7253 | 290843.0664 | 59.9307 | 49.4
128468 | 2021-05-07 12:55 | 21.3423 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.9349 | μmol/L | 30.8047 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.591 | 130653.7073 | 290865.1223 | 59.9307 | 49.4
128478 | 2021-05-07 12:55 | 21.6753 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.8321 | μmol/L | 30.8295 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.589 | 130804.9934 | 290873.1899 | 59.9307 | 49.4
128488 | 2021-05-07 12:56 | 22.0092 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.6602 | μmol/L | 30.8295 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.6 | 130718.9549 | 290862.0241 | 59.9307 | 49.4
128498 | 2021-05-07 12:56 | 22.3423 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.5443 | μmol/L | 30.8047 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.616 | 130452.817 | 290914.7313 | 59.9307 | 49.4
128508 | 2021-05-07 12:56 | 22.6751 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.6914 | μmol/L | 30.7861 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.613 | 130866.7971 | 290938.7675 | 59.9307 | 49.4
128518 | 2021-05-07 12:57 | 23.0092 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.4128 | μmol/L | 30.7799 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.633 | 130541.0583 | 290929.3668 | 59.9307 | 49.4
128528 | 2021-05-07 12:57 | 23.3422 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.3705 | μmol/L | 30.7242 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.655 | 130514.1422 | 290929.9398 | 59.9307 | 49.4
128538 | 2021-05-07 12:57 | 23.6754 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.5018 | μmol/L | 30.7056 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.653 | 130762.5285 | 290946.9328 | 59.9307 | 49.4
128548 | 2021-05-07 12:58 | 24.0091 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.3348 | μmol/L | 30.6932 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.668 | 130802.6771 | 290946.4146 | 59.9307 | 49.4
128558 | 2021-05-07 12:58 | 24.3421 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.359 | μmol/L | 30.6251 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.69 | 130298.0562 | 290959.99 | 59.9307 | 49.4
128568 | 2021-05-07 12:58 | 24.6751 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.2302 | μmol/L | 30.6375 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.694 | 130530.9838 | 290963.4285 | 59.9307 | 49.4
128578 | 2021-05-07 12:59 | 25.0091 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.2722 | μmol/L | 30.6065 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.702 | 130330.9843 | 290952.6703 | 59.9307 | 49.4
128588 | 2021-05-07 12:59 | 25.3421 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.935 | μmol/L | 30.6375 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.713 | 130188.5489 | 290939.5249 | 59.9307 | 49.4
128598 | 2021-05-07 12:59 | 25.6752 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.0879 | μmol/L | 30.6003 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.716 | 130363.0208 | 290959.6367 | 59.9307 | 49.4
128608 | 2021-05-07 13:00 | 26.0084 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.8951 | μmol/L | 30.6189 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.722 | 130431.8374 | 290959.1351 | 59.9307 | 49.4
128618 | 2021-05-07 13:00 | 26.3424 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.5963 | μmol/L | 30.6313 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.737 | 130559.8585 | 290961.3557 | 59.9307 | 49.4
128628 | 2021-05-07 13:00 | 26.6757 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.7378 | μmol/L | 30.5818 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.745 | 130408.5362 | 290954.757 | 59.9307 | 49.4
128638 | 2021-05-07 13:01 | 27.0089 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.6802 | μmol/L | 30.5694 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.753 | 130306.7713 | 290937.3488 | 59.9307 | 49.4
128648 | 2021-05-07 13:01 | 27.3421 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.583 | μmol/L | 30.5818 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.755 | 130251.9302 | 290947.7133 | 59.9307 | 49.4
128658 | 2021-05-07 13:01 | 27.6751 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.5562 | μmol/L | 30.526 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.776 | 130083.3551 | 290945.6522 | 59.9307 | 49.4
128668 | 2021-05-07 13:02 | 28.0089 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.9008 | μmol/L | 30.4703 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.773 | 130084.4918 | 290951.2754 | 59.9307 | 49.4
128678 | 2021-05-07 13:02 | 28.3419 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.5408 | μmol/L | 30.526 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.777 | 130256.0878 | 290927.7774 | 59.9307 | 49.4
128688 | 2021-05-07 13:02 | 28.6751 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.3574 | μmol/L | 30.4765 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.806 | 129735.4821 | 290926.2053 | 59.9307 | 49.4
128698 | 2021-05-07 13:03 | 29.0091 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.5495 | μmol/L | 30.5013 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.785 | 129877.3405 | 290925.3646 | 59.9307 | 49.4
128708 | 2021-05-07 13:03 | 29.3423 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.1548 | μmol/L | 30.526 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.802 | 129931.7833 | 290926.0225 | 59.9307 | 49.4
128718 | 2021-05-07 13:03 | 29.6754 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.0667 | μmol/L | 30.5136 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.812 | 130071.0395 | 290906.1744 | 59.9307 | 49.4
128728 | 2021-05-07 13:04 | 30.0091 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.0534 | μmol/L | 30.4641 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.83 | 129936.2397 | 290904.6532 | 59.9307 | 49.4
128738 | 2021-05-07 13:04 | 30.3422 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.3903 | μmol/L | 30.5136 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.856 | 130274.8351 | 290909.1217 | 59.9307 | 49.4
128748 | 2021-05-07 13:04 | 30.6753 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.4561 | μmol/L | 30.5013 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.856 | 130130.7081 | 290896.568 | 59.9307 | 49.4
128758 | 2021-05-07 13:05 | 31.0092 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.6371 | μmol/L | 30.4455 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.863 | 130159.9408 | 290916.4709 | 59.9307 | 49.4
128768 | 2021-05-07 13:05 | 31.3424 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.919 | μmol/L | 30.4084 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.858 | 130173.0287 | 290913.7158 | 59.9307 | 49.4
128778 | 2021-05-07 13:05 | 31.6753 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.5877 | μmol/L | 30.4331 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.871 | 130196.1767 | 290903.4278 | 59.9307 | 49.4
128788 | 2021-05-07 13:06 | 32.0092 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.2723 | μmol/L | 30.4579 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.883 | 130472.8688 | 290889.169 | 59.9307 | 49.4
128798 | 2021-05-07 13:06 | 32.3421 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.3479 | μmol/L | 30.4393 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.884 | 130324.1148 | 290906.58 | 59.9307 | 49.4
128808 | 2021-05-07 13:06 | 32.6755 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.0186 | μmol/L | 30.4827 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.891 | 130329.4693 | 290886.3367 | 59.9307 | 49.4
128818 | 2021-05-07 13:07 | 33.0085 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.951 | μmol/L | 30.4579 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.904 | 130536.1487 | 290889.8178 | 59.9307 | 49.4
128828 | 2021-05-07 13:07 | 33.3424 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.2298 | μmol/L | 30.3836 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.911 | 130746.7707 | 290897.0044 | 59.9307 | 49.4
128838 | 2021-05-07 13:07 | 33.6754 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.0406 | μmol/L | 30.4208 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.911 | 130487.1864 | 290880.8629 | 59.9307 | 49.4
128848 | 2021-05-07 13:08 | 34.0085 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.0582 | μmol/L | 30.3712 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.927 | 130854.6151 | 290884.4871 | 59.9307 | 49.4
128858 | 2021-05-07 13:08 | 34.3423 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.8684 | μmol/L | 30.3465 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.948 | 131515.2709 | 290884.781 | 59.9307 | 49.4
128868 | 2021-05-07 13:08 | 34.6752 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.0581 | μmol/L | 30.3279 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.942 | 130866.9193 | 290884.4543 | 59.9307 | 49.4
128878 | 2021-05-07 13:09 | 35.0086 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.4252 | μmol/L | 30.4146 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.953 | 131285.8053 | 290875.7499 | 59.9307 | 49.4
128888 | 2021-05-07 13:09 | 35.342 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.4883 | μmol/L | 30.4084 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.951 | 131072.2302 | 290879.9075 | 59.9307 | 49.4