## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-07 13:10

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
127830 | 2021-05-07 12:34 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.3479 | μmol/L | 32.8804 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.379 | 120132.244 | 266491.4267 | 26.25 | 74
127840 | 2021-05-07 12:34 | 0.33468 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.2621 | μmol/L | 32.8682 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.507 | 120972.2904 | 266478.2662 | 26.25 | 74
127850 | 2021-05-07 12:34 | 0.66857 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.2317 | μmol/L | 32.8193 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.586 | 121504.1102 | 266475.7983 | 26.25 | 74
127860 | 2021-05-07 12:35 | 1.0017 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.8117 | μmol/L | 32.752 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.635 | 121804.9161 | 266490.5415 | 26.25 | 74
127870 | 2021-05-07 12:35 | 1.3348 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.2652 | μmol/L | 32.7153 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.681 | 122115.1768 | 266497.739 | 26.25 | 74
127880 | 2021-05-07 12:35 | 1.6687 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.6694 | μmol/L | 32.6847 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.728 | 122424.1982 | 266509.8422 | 26.25 | 74
127890 | 2021-05-07 12:36 | 2.0015 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.0386 | μmol/L | 32.6663 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.773 | 122717.3516 | 266513.4999 | 26.25 | 74
127900 | 2021-05-07 12:36 | 2.3353 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 182.5058 | μmol/L | 32.6541 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.81 | 123006.3691 | 266525.5285 | 26.25 | 74
127910 | 2021-05-07 12:36 | 2.6681 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 182.2125 | μmol/L | 32.6174 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.841 | 123201.5379 | 266541.0127 | 26.25 | 74
127920 | 2021-05-07 12:37 | 3.0019 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 182.0919 | μmol/L | 32.5562 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.87 | 123390.5312 | 266550.1796 | 26.25 | 74
127930 | 2021-05-07 12:37 | 3.3349 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.6814 | μmol/L | 32.5317 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.904 | 123611.6794 | 266559.2619 | 26.25 | 74
127940 | 2021-05-07 12:37 | 3.6687 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.4843 | μmol/L | 32.5012 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.927 | 123749.5801 | 266553.6965 | 26.25 | 74
127950 | 2021-05-07 12:38 | 4.0017 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.2603 | μmol/L | 32.4583 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.956 | 123917.0054 | 266550.3837 | 26.25 | 74
127960 | 2021-05-07 12:38 | 4.3348 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.1493 | μmol/L | 32.4155 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.978 | 124079.8704 | 266567.8962 | 26.25 | 74
127970 | 2021-05-07 12:38 | 4.6687 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.0333 | μmol/L | 32.3849 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.996 | 124198.5479 | 266566.828 | 26.25 | 74
127980 | 2021-05-07 12:39 | 5.0018 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.0878 | μmol/L | 32.3299 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.012 | 124280.3054 | 266573.3576 | 26.25 | 74
127990 | 2021-05-07 12:39 | 5.3354 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.0891 | μmol/L | 32.2871 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.027 | 124407.0015 | 266570.2498 | 26.25 | 74
128000 | 2021-05-07 12:39 | 5.6683 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.9484 | μmol/L | 32.2381 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.053 | 124563.5044 | 266576.9248 | 26.25 | 74
128010 | 2021-05-07 12:40 | 6.002 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.8781 | μmol/L | 32.2137 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.066 | 124667.0163 | 266567.308 | 26.25 | 74
128020 | 2021-05-07 12:40 | 6.3349 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.868 | μmol/L | 32.1586 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.086 | 124775.1095 | 266558.1648 | 26.25 | 74
128030 | 2021-05-07 12:40 | 6.6687 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.7473 | μmol/L | 32.1403 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.1 | 124855.9903 | 266551.8128 | 26.25 | 74
128040 | 2021-05-07 12:41 | 7.0019 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.5149 | μmol/L | 32.1219 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.121 | 124971.9378 | 266551.0137 | 26.25 | 74
128050 | 2021-05-07 12:41 | 7.3347 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.5294 | μmol/L | 32.0852 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.133 | 125046.2341 | 266542.4207 | 26.25 | 74
128060 | 2021-05-07 12:41 | 7.6686 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.5463 | μmol/L | 32.0424 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.147 | 125126.9569 | 266539.0557 | 26.25 | 74
128070 | 2021-05-07 12:42 | 8.0016 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.4554 | μmol/L | 32.0302 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.157 | 125224.616 | 266550.6669 | 26.25 | 74
128080 | 2021-05-07 12:42 | 8.3353 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.4561 | μmol/L | 31.9874 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.172 | 125282.9915 | 266544.7071 | 26.25 | 74
128090 | 2021-05-07 12:42 | 8.6682 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.5158 | μmol/L | 31.9568 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.179 | 125330.6546 | 266523.3106 | 26.25 | 74
128100 | 2021-05-07 12:43 | 9.002 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.5117 | μmol/L | 31.9262 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.19 | 125398.2021 | 266510.5185 | 26.25 | 74
128110 | 2021-05-07 12:43 | 9.3347 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.5145 | μmol/L | 31.8773 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.207 | 125469.7225 | 266516.0485 | 26.25 | 74
128120 | 2021-05-07 12:43 | 9.6685 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.7654 | μmol/L | 31.8039 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.217 | 125553.2599 | 266518.0563 | 26.25 | 74
128130 | 2021-05-07 12:44 | 10.0013 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.5242 | μmol/L | 31.81 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.23 | 125651.7086 | 266507.3349 | 26.25 | 74
128140 | 2021-05-07 12:44 | 10.3349 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.2857 | μmol/L | 31.81 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.245 | 125737.0163 | 266518.4032 | 26.25 | 74
128150 | 2021-05-07 12:44 | 10.6684 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.3019 | μmol/L | 31.7672 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.259 | 125798.2785 | 266525.9546 | 26.25 | 74
128160 | 2021-05-07 12:45 | 11.0019 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.2975 | μmol/L | 31.7366 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.27 | 125868.7479 | 266520.633 | 26.25 | 74
128170 | 2021-05-07 12:45 | 11.3347 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.2591 | μmol/L | 31.7122 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.281 | 125949.5388 | 266512.0088 | 26.25 | 74
128180 | 2021-05-07 12:45 | 11.6686 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.0915 | μmol/L | 31.6938 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.298 | 126034.2874 | 266514.8501 | 26.25 | 74
128190 | 2021-05-07 12:46 | 12.0013 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.1369 | μmol/L | 31.6571 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.308 | 126101.3849 | 266494.6116 | 26.25 | 74
128200 | 2021-05-07 12:46 | 12.3347 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.1483 | μmol/L | 31.6265 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.318 | 126160.3308 | 266497.2075 | 26.25 | 74
128210 | 2021-05-07 12:46 | 12.6681 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.4153 | μmol/L | 31.547 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.329 | 126195.0552 | 266506.2613 | 26.25 | 74
128220 | 2021-05-07 12:47 | 13.0015 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.4309 | μmol/L | 31.5042 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.343 | 126308.2779 | 266513.3919 | 26.25 | 74
128230 | 2021-05-07 12:47 | 13.335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 179.816 | μmol/L | 31.5409 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.369 | 126456.0038 | 266506.0742 | 26.25 | 74
128240 | 2021-05-07 12:47 | 13.6682 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 179.7122 | μmol/L | 31.5226 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.382 | 126519.6971 | 266508.1932 | 26.25 | 74
128250 | 2021-05-07 12:48 | 14.0015 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 179.6536 | μmol/L | 31.5103 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.39 | 126570.4359 | 266494.2501 | 26.25 | 74
128260 | 2021-05-07 12:48 | 14.3349 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 179.4915 | μmol/L | 31.4798 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.411 | 126707.4787 | 266509.7487 | 26.25 | 74
128270 | 2021-05-07 12:48 | 14.6684 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 179.4689 | μmol/L | 31.4553 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.421 | 126777.9189 | 266501.9364 | 26.25 | 74
128280 | 2021-05-07 12:49 | 15.002 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 179.2756 | μmol/L | 31.4247 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.444 | 126881.6996 | 266497.4767 | 26.25 | 74
128290 | 2021-05-07 12:49 | 15.3353 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 179.2666 | μmol/L | 31.4064 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.451 | 126945.0294 | 266500.6486 | 26.25 | 74
128300 | 2021-05-07 12:49 | 15.6679 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 179.4123 | μmol/L | 31.3514 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.461 | 127000.317 | 266492.1435 | 26.25 | 74
128310 | 2021-05-07 12:50 | 16.0021 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 179.2888 | μmol/L | 31.3452 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.471 | 127061.2442 | 266495.1168 | 26.25 | 74
128320 | 2021-05-07 12:50 | 16.3348 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 179.2819 | μmol/L | 31.3208 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.48 | 127113.7191 | 266477.0446 | 26.25 | 74
128330 | 2021-05-07 12:50 | 16.6682 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 179.3244 | μmol/L | 31.2902 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.488 | 127158.7884 | 266475.0653 | 26.25 | 74
128340 | 2021-05-07 12:51 | 17.0017 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 179.3309 | μmol/L | 31.2719 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.494 | 127204.9667 | 266484.5392 | 26.25 | 74
128350 | 2021-05-07 12:51 | 17.3349 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.8584 | μmol/L | 31.278 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.522 | 127346.0781 | 266480.1452 | 26.25 | 74
128360 | 2021-05-07 12:51 | 17.6681 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.8312 | μmol/L | 31.2229 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.543 | 127503.436 | 266478.0871 | 26.25 | 74
128370 | 2021-05-07 12:52 | 18.0019 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.6749 | μmol/L | 31.2229 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.553 | 127566.3948 | 266471.6598 | 26.25 | 74
128380 | 2021-05-07 12:52 | 18.3349 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.4763 | μmol/L | 31.2107 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.57 | 127667.3233 | 266468.9502 | 26.25 | 74
128390 | 2021-05-07 12:52 | 18.6688 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.5007 | μmol/L | 31.1863 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.577 | 127721.9874 | 266468.1094 | 26.25 | 74
128400 | 2021-05-07 12:53 | 19.0019 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.4961 | μmol/L | 31.1557 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.588 | 127764.0939 | 266458.5578 | 26.25 | 74
128410 | 2021-05-07 12:53 | 19.3352 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.3733 | μmol/L | 31.1068 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.613 | 127903.9032 | 266461.732 | 26.25 | 74
128420 | 2021-05-07 12:53 | 19.6681 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.184 | μmol/L | 31.0701 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.638 | 128018.3349 | 266477.0437 | 26.25 | 74
128430 | 2021-05-07 12:54 | 20.0017 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.417 | μmol/L | 31.0273 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.638 | 128059.1252 | 266484.5071 | 26.25 | 74
128440 | 2021-05-07 12:54 | 20.3348 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 177.9932 | μmol/L | 31.0823 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.646 | 128122.9066 | 266510.51 | 26.25 | 74
128450 | 2021-05-07 12:54 | 20.6684 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 177.8091 | μmol/L | 31.0762 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.66 | 128193.926 | 266531.8771 | 26.25 | 74
128460 | 2021-05-07 12:55 | 21.0019 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 177.8091 | μmol/L | 31.0762 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.66 | 128235.747 | 266547.7231 | 26.25 | 74
128470 | 2021-05-07 12:55 | 21.3349 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 177.6496 | μmol/L | 31.0456 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.681 | 128362.3109 | 266555.3788 | 26.25 | 74
128480 | 2021-05-07 12:55 | 21.6687 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 177.5323 | μmol/L | 31.0273 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.695 | 128438.8756 | 266577.6111 | 26.25 | 74
128490 | 2021-05-07 12:56 | 22.0017 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 177.4195 | μmol/L | 30.9967 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.713 | 128579.8696 | 266597.6434 | 26.25 | 74
128500 | 2021-05-07 12:56 | 22.335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 177.3797 | μmol/L | 30.9784 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.722 | 128632.1849 | 266615.1533 | 26.25 | 74
128510 | 2021-05-07 12:56 | 22.668 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 177.4171 | μmol/L | 30.96 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.726 | 128683.0363 | 266618.6016 | 26.25 | 74
128520 | 2021-05-07 12:57 | 23.002 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 177.3066 | μmol/L | 30.9233 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.746 | 128809.7783 | 266639.5869 | 26.25 | 74
128530 | 2021-05-07 12:57 | 23.335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 177.3131 | μmol/L | 30.905 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.752 | 128873.3845 | 266648.1748 | 26.25 | 74
128540 | 2021-05-07 12:57 | 23.6681 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 177.4821 | μmol/L | 30.8194 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.771 | 128970.5257 | 266644.0781 | 26.25 | 74
128550 | 2021-05-07 12:58 | 24.0021 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 177.3916 | μmol/L | 30.8133 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.779 | 129027.1778 | 266640.4365 | 26.25 | 74
128560 | 2021-05-07 12:58 | 24.335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 176.9935 | μmol/L | 30.85 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.792 | 129105.9423 | 266646.3736 | 26.25 | 74
128570 | 2021-05-07 12:58 | 24.6687 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 176.8529 | μmol/L | 30.8561 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.799 | 129183.0765 | 266654.2641 | 26.25 | 74
128580 | 2021-05-07 12:59 | 25.0019 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 176.9581 | μmol/L | 30.8194 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.805 | 129216.9999 | 266638.9124 | 26.25 | 74
128590 | 2021-05-07 12:59 | 25.335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 176.8198 | μmol/L | 30.8194 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.814 | 129276.9179 | 266645.5401 | 26.25 | 74
128600 | 2021-05-07 12:59 | 25.6681 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 177.1573 | μmol/L | 30.7338 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.822 | 129326.6655 | 266648.2088 | 26.25 | 74
128610 | 2021-05-07 13:00 | 26.0018 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 176.7295 | μmol/L | 30.7705 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.837 | 129427.8106 | 266645.4246 | 26.25 | 74
128620 | 2021-05-07 13:00 | 26.3346 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 176.539 | μmol/L | 30.7888 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.843 | 129467.8416 | 266647.4101 | 26.25 | 74
128630 | 2021-05-07 13:00 | 26.6685 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 176.447 | μmol/L | 30.7888 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.849 | 129518.6022 | 266639.7339 | 26.25 | 74
128640 | 2021-05-07 13:01 | 27.0014 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 176.6153 | μmol/L | 30.746 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.853 | 129556.4359 | 266641.1816 | 26.25 | 74
128650 | 2021-05-07 13:01 | 27.3354 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 176.7747 | μmol/L | 30.6849 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.864 | 129614.3964 | 266637.3579 | 26.25 | 74
128660 | 2021-05-07 13:01 | 27.6684 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 176.3155 | μmol/L | 30.7277 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.879 | 129700.1739 | 266643.126 | 26.25 | 74
128670 | 2021-05-07 13:02 | 28.0015 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 176.3133 | μmol/L | 30.7338 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.877 | 129693.5253 | 266649.9795 | 26.25 | 74
128680 | 2021-05-07 13:02 | 28.3354 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 176.3632 | μmol/L | 30.6788 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.893 | 129771.2413 | 266655.7866 | 26.25 | 74
128690 | 2021-05-07 13:02 | 28.6687 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 176.2256 | μmol/L | 30.6788 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.902 | 129842.0152 | 266640.3465 | 26.25 | 74
128700 | 2021-05-07 13:03 | 29.0019 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 175.9095 | μmol/L | 30.7093 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.912 | 129898.5446 | 266637.7942 | 26.25 | 74
128710 | 2021-05-07 13:03 | 29.3349 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 175.7093 | μmol/L | 30.7155 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.923 | 129980.8577 | 266644.3841 | 26.25 | 74
128720 | 2021-05-07 13:03 | 29.6681 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 175.6049 | μmol/L | 30.7093 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.932 | 130048.0557 | 266632.1516 | 26.25 | 74
128730 | 2021-05-07 13:04 | 30.0013 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 175.5961 | μmol/L | 30.691 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.939 | 130092.9701 | 266631.6845 | 26.25 | 74
128740 | 2021-05-07 13:04 | 30.335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 175.4007 | μmol/L | 30.6849 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.954 | 130181.094 | 266631.293 | 26.25 | 74
128750 | 2021-05-07 13:04 | 30.6681 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 175.2879 | μmol/L | 30.6604 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.97 | 130279.594 | 266637.5287 | 26.25 | 74
128760 | 2021-05-07 13:05 | 31.002 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 175.4441 | μmol/L | 30.6482 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.964 | 130277.8473 | 266638.9774 | 26.25 | 74
128770 | 2021-05-07 13:05 | 31.3351 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 175.2575 | μmol/L | 30.6604 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.972 | 130313.6497 | 266620.1886 | 26.25 | 74
128780 | 2021-05-07 13:05 | 31.6682 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 175.1795 | μmol/L | 30.581 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.005 | 130468.5465 | 266627.4041 | 26.25 | 74
128790 | 2021-05-07 13:06 | 32.0021 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 175.0237 | μmol/L | 30.636 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.996 | 130446.7042 | 266629.0156 | 26.25 | 74
128800 | 2021-05-07 13:06 | 32.3352 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 175.2055 | μmol/L | 30.5932 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.999 | 130460.5965 | 266622.3651 | 26.25 | 74
128810 | 2021-05-07 13:06 | 32.6682 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 175.067 | μmol/L | 30.5993 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.006 | 130535.3832 | 266610.933 | 26.25 | 74
128820 | 2021-05-07 13:07 | 33.0013 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 175.1644 | μmol/L | 30.581 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.006 | 130521.7899 | 266605.1271 | 26.25 | 74
128830 | 2021-05-07 13:07 | 33.3353 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 174.7255 | μmol/L | 30.6238 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.02 | 130604.8782 | 266611.9369 | 26.25 | 74
128840 | 2021-05-07 13:07 | 33.6682 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 175.0086 | μmol/L | 30.5932 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.012 | 130569.7823 | 266608.2267 | 26.25 | 74
128850 | 2021-05-07 13:08 | 34.0019 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 174.9005 | μmol/L | 30.5993 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.017 | 130591.6476 | 266604.6801 | 26.25 | 74
128860 | 2021-05-07 13:08 | 34.335 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 174.9048 | μmol/L | 30.5871 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.021 | 130629.5627 | 266602.8174 | 26.25 | 74
128870 | 2021-05-07 13:08 | 34.6684 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 174.5594 | μmol/L | 30.6238 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.031 | 130666.4362 | 266595.952 | 26.25 | 74
128880 | 2021-05-07 13:09 | 35.0015 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 174.417 | μmol/L | 30.6421 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.034 | 130699.9817 | 266593.9403 | 26.25 | 74
128890 | 2021-05-07 13:09 | 35.3347 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 174.5163 | μmol/L | 30.6176 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.036 | 130733.2387 | 266590.8619 | 26.25 | 74