## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-07 13:10

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
127831 | 2021-05-07 12:34 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 184.726 | μmol/L | 32.7981 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.451 | 122655.3381 | 268362.3804 | 32.55 | 27.7
127841 | 2021-05-07 12:34 | 0.34132 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 184.2776 | μmol/L | 32.7612 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.491 | 122857.916 | 268351.5248 | 32.55 | 27.7
127851 | 2021-05-07 12:34 | 0.67531 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 184.0701 | μmol/L | 32.706 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.523 | 123049.112 | 268331.6311 | 32.55 | 27.7
127861 | 2021-05-07 12:35 | 1.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.9864 | μmol/L | 32.6323 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.554 | 123121.074 | 268320.1788 | 32.55 | 27.7
127871 | 2021-05-07 12:35 | 1.3414 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.7305 | μmol/L | 32.6139 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.576 | 123242.2503 | 268318.3263 | 32.55 | 27.7
127881 | 2021-05-07 12:35 | 1.6753 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.5573 | μmol/L | 32.5954 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.593 | 123334.6381 | 268305.735 | 32.55 | 27.7
127891 | 2021-05-07 12:36 | 2.008 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.4856 | μmol/L | 32.5709 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.606 | 123341.7306 | 268313.6781 | 32.55 | 27.7
127901 | 2021-05-07 12:36 | 2.3417 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.127 | μmol/L | 32.5647 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.63 | 123472.6302 | 268323.5159 | 32.55 | 27.7
127911 | 2021-05-07 12:36 | 2.6754 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.9166 | μmol/L | 32.5586 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.645 | 123561.4065 | 268319.8925 | 32.55 | 27.7
127921 | 2021-05-07 12:37 | 3.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.063 | μmol/L | 32.4849 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.662 | 123663.0354 | 268330.5116 | 32.55 | 27.7
127931 | 2021-05-07 12:37 | 3.3414 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.8744 | μmol/L | 32.4665 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.68 | 123751.8781 | 268334.9707 | 32.55 | 27.7
127941 | 2021-05-07 12:37 | 3.6752 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.8384 | μmol/L | 32.4358 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.693 | 123814.525 | 268323.7196 | 32.55 | 27.7
127951 | 2021-05-07 12:38 | 4.0081 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.7371 | μmol/L | 32.4051 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.71 | 123876.3765 | 268306.063 | 32.55 | 27.7
127961 | 2021-05-07 12:38 | 4.3419 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.7363 | μmol/L | 32.3682 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.723 | 123973.8723 | 268331.3341 | 32.55 | 27.7
127971 | 2021-05-07 12:38 | 4.6748 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.7406 | μmol/L | 32.3191 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.74 | 124066.4354 | 268335.1832 | 32.55 | 27.7
127981 | 2021-05-07 12:39 | 5.0088 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.7773 | μmol/L | 32.27 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.755 | 124155.2372 | 268320.328 | 32.55 | 27.7
127991 | 2021-05-07 12:39 | 5.3415 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.6621 | μmol/L | 32.2332 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.775 | 124247.4524 | 268329.4302 | 32.55 | 27.7
128001 | 2021-05-07 12:39 | 5.6753 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.364 | μmol/L | 32.2454 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.789 | 124325.9699 | 268334.4197 | 32.55 | 27.7
128011 | 2021-05-07 12:40 | 6.0083 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.7674 | μmol/L | 32.1349 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.803 | 124399.4603 | 268326.497 | 32.55 | 27.7
128021 | 2021-05-07 12:40 | 6.342 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.4782 | μmol/L | 32.1656 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.81 | 124445.0676 | 268326.62 | 32.55 | 27.7
128031 | 2021-05-07 12:40 | 6.675 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.3882 | μmol/L | 32.1472 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.822 | 124499.4847 | 268331.1581 | 32.55 | 27.7
128041 | 2021-05-07 12:41 | 7.0081 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.4494 | μmol/L | 32.1165 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.829 | 124546.5813 | 268324.7525 | 32.55 | 27.7
128051 | 2021-05-07 12:41 | 7.3416 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.6628 | μmol/L | 32.0305 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.846 | 124628.4231 | 268327.2936 | 32.55 | 27.7
128061 | 2021-05-07 12:41 | 7.6755 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.5141 | μmol/L | 32.0367 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.853 | 124631.133 | 268298.3916 | 32.55 | 27.7
128071 | 2021-05-07 12:42 | 8.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.8059 | μmol/L | 31.9569 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.863 | 124681.1007 | 268296.9314 | 32.55 | 27.7
128081 | 2021-05-07 12:42 | 8.3415 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.5904 | μmol/L | 31.9262 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.887 | 124783.2417 | 268292.0898 | 32.55 | 27.7
128091 | 2021-05-07 12:42 | 8.6755 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.7209 | μmol/L | 31.8832 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.894 | 124812.705 | 268289.8049 | 32.55 | 27.7
128101 | 2021-05-07 12:43 | 9.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.3915 | μmol/L | 31.8955 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.91 | 124878.3509 | 268282.5229 | 32.55 | 27.7
128111 | 2021-05-07 12:43 | 9.3415 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.2805 | μmol/L | 31.8893 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.919 | 124977.5245 | 268275.503 | 32.55 | 27.7
128121 | 2021-05-07 12:43 | 9.6749 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.3992 | μmol/L | 31.8341 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.931 | 125016.6876 | 268286.6886 | 32.55 | 27.7
128131 | 2021-05-07 12:44 | 10.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.1773 | μmol/L | 31.8218 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.949 | 125102.8358 | 268290.3642 | 32.55 | 27.7
128141 | 2021-05-07 12:44 | 10.342 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.2216 | μmol/L | 31.7911 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.957 | 125154.9794 | 268290.9388 | 32.55 | 27.7
128151 | 2021-05-07 12:44 | 10.6747 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.3143 | μmol/L | 31.7604 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.962 | 125183.8801 | 268295.9662 | 32.55 | 27.7
128161 | 2021-05-07 12:45 | 11.0081 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.5829 | μmol/L | 31.6929 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.969 | 125227.0426 | 268281.7892 | 32.55 | 27.7
128171 | 2021-05-07 12:45 | 11.3415 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.2524 | μmol/L | 31.6683 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.998 | 125379.0764 | 268285.6444 | 32.55 | 27.7
128181 | 2021-05-07 12:45 | 11.6749 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.1832 | μmol/L | 31.6376 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.013 | 125482.6297 | 268279.1087 | 32.55 | 27.7
128191 | 2021-05-07 12:46 | 12.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.1164 | μmol/L | 31.6008 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.03 | 125550.523 | 268262.0753 | 32.55 | 27.7
128201 | 2021-05-07 12:46 | 12.3419 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.992 | μmol/L | 31.5885 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.042 | 125614.7878 | 268276.5336 | 32.55 | 27.7
128211 | 2021-05-07 12:46 | 12.6748 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.1486 | μmol/L | 31.5578 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.043 | 125610.2426 | 268252.4626 | 32.55 | 27.7
128221 | 2021-05-07 12:47 | 13.0082 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.0288 | μmol/L | 31.5333 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.059 | 125670.7754 | 268260.1716 | 32.55 | 27.7
128231 | 2021-05-07 12:47 | 13.3415 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.1462 | μmol/L | 31.521 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.056 | 125638.9261 | 268261.5312 | 32.55 | 27.7
128241 | 2021-05-07 12:47 | 13.6753 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.0102 | μmol/L | 31.4964 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.073 | 125737.0706 | 268260.7707 | 32.55 | 27.7
128251 | 2021-05-07 12:48 | 14.0088 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.7091 | μmol/L | 31.4842 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.096 | 125893.0973 | 268266.9363 | 32.55 | 27.7
128261 | 2021-05-07 12:48 | 14.3421 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.1934 | μmol/L | 31.4903 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.126 | 126069.5464 | 268265.5567 | 32.55 | 27.7
128271 | 2021-05-07 12:48 | 14.675 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.2186 | μmol/L | 31.4658 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.133 | 126124.4553 | 268264.7675 | 32.55 | 27.7
128281 | 2021-05-07 12:49 | 15.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.3535 | μmol/L | 31.4044 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.146 | 126178.8586 | 268263.8025 | 32.55 | 27.7
128291 | 2021-05-07 12:49 | 15.342 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.5319 | μmol/L | 31.3553 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.152 | 126187.5468 | 268254.4039 | 32.55 | 27.7
128301 | 2021-05-07 12:49 | 15.6747 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.2253 | μmol/L | 31.3614 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.169 | 126280.5528 | 268241.2225 | 32.55 | 27.7
128311 | 2021-05-07 12:50 | 16.0081 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.9695 | μmol/L | 31.3614 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.185 | 126383.8284 | 268243.6582 | 32.55 | 27.7
128321 | 2021-05-07 12:50 | 16.3418 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.9467 | μmol/L | 31.3368 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.195 | 126428.1227 | 268232.5123 | 32.55 | 27.7
128331 | 2021-05-07 12:50 | 16.6752 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.6414 | μmol/L | 31.343 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.212 | 126520.3274 | 268224.6952 | 32.55 | 27.7
128341 | 2021-05-07 12:51 | 17.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.4708 | μmol/L | 31.3307 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.227 | 126579.9962 | 268224.7524 | 32.55 | 27.7
128351 | 2021-05-07 12:51 | 17.3418 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.3891 | μmol/L | 31.2939 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.245 | 126687.8351 | 268208.0859 | 32.55 | 27.7
128361 | 2021-05-07 12:51 | 17.6751 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.6343 | μmol/L | 31.2325 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.251 | 126717.398 | 268221.8078 | 32.55 | 27.7
128371 | 2021-05-07 12:52 | 18.008 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.2574 | μmol/L | 31.2632 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.264 | 126766.0286 | 268211.3725 | 32.55 | 27.7
128381 | 2021-05-07 12:52 | 18.342 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.972 | μmol/L | 31.2632 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.282 | 126893.5265 | 268220.0011 | 32.55 | 27.7
128391 | 2021-05-07 12:52 | 18.675 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.9743 | μmol/L | 31.2141 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.299 | 126981.5347 | 268202.4406 | 32.55 | 27.7
128401 | 2021-05-07 12:53 | 19.008 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.0239 | μmol/L | 31.165 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.313 | 126967.103 | 268199.6252 | 32.55 | 27.7
128411 | 2021-05-07 12:53 | 19.3414 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.8137 | μmol/L | 31.1773 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.322 | 126990.8517 | 268221.5998 | 32.55 | 27.7
128421 | 2021-05-07 12:53 | 19.675 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.5767 | μmol/L | 31.1773 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.337 | 127064.8388 | 268224.5818 | 32.55 | 27.7
128431 | 2021-05-07 12:54 | 20.0085 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.5609 | μmol/L | 31.1343 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.353 | 127168.1312 | 268221.988 | 32.55 | 27.7
128441 | 2021-05-07 12:54 | 20.342 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.5541 | μmol/L | 31.1097 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.362 | 127203.7697 | 268243.3887 | 32.55 | 27.7
128451 | 2021-05-07 12:54 | 20.6755 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.4167 | μmol/L | 31.0975 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.375 | 127308.8758 | 268249.2116 | 32.55 | 27.7
128461 | 2021-05-07 12:55 | 21.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.356 | μmol/L | 31.0913 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.381 | 127280.5875 | 268249.4811 | 32.55 | 27.7
128471 | 2021-05-07 12:55 | 21.3416 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.2862 | μmol/L | 31.0668 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.394 | 127408.627 | 268269.6293 | 32.55 | 27.7
128481 | 2021-05-07 12:55 | 21.6754 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.1334 | μmol/L | 31.0545 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.408 | 127476.2084 | 268277.7912 | 32.55 | 27.7
128491 | 2021-05-07 12:56 | 22.0085 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.0009 | μmol/L | 31.0299 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.425 | 127609.2967 | 268302.2644 | 32.55 | 27.7
128501 | 2021-05-07 12:56 | 22.3414 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.0188 | μmol/L | 30.9808 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.441 | 127703.7167 | 268308.5177 | 32.55 | 27.7
128511 | 2021-05-07 12:56 | 22.6753 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.9448 | μmol/L | 30.9686 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.45 | 127755.3448 | 268311.8626 | 32.55 | 27.7
128521 | 2021-05-07 12:57 | 23.0083 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.012 | μmol/L | 30.9563 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.45 | 127790.2941 | 268327.0917 | 32.55 | 27.7
128531 | 2021-05-07 12:57 | 23.3421 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.0679 | μmol/L | 30.9317 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.455 | 127842.5059 | 268326.5585 | 32.55 | 27.7
128541 | 2021-05-07 12:57 | 23.6753 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.9512 | μmol/L | 30.9072 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.471 | 127883.7736 | 268322.1687 | 32.55 | 27.7
128551 | 2021-05-07 12:58 | 24.0083 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.7297 | μmol/L | 30.9133 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.483 | 127959.5886 | 268332.6139 | 32.55 | 27.7
128561 | 2021-05-07 12:58 | 24.3422 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.6893 | μmol/L | 30.8949 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.492 | 128013.3924 | 268327.1631 | 32.55 | 27.7
128571 | 2021-05-07 12:58 | 24.6752 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.7939 | μmol/L | 30.8213 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.511 | 128143.0897 | 268333.7497 | 32.55 | 27.7
128581 | 2021-05-07 12:59 | 25.0081 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.5259 | μmol/L | 30.8274 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.526 | 128263.1761 | 268344.3817 | 32.55 | 27.7
128591 | 2021-05-07 12:59 | 25.342 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.2584 | μmol/L | 30.8335 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.541 | 128382.6576 | 268344.8666 | 32.55 | 27.7
128601 | 2021-05-07 12:59 | 25.6748 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.7315 | μmol/L | 30.8704 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.562 | 128479.111 | 268322.3721 | 32.55 | 27.7
128611 | 2021-05-07 13:00 | 26.0088 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.6472 | μmol/L | 30.8458 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.576 | 128554.9857 | 268340.4821 | 32.55 | 27.7
128621 | 2021-05-07 13:00 | 26.3421 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.9401 | μmol/L | 30.766 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.585 | 128599.2075 | 268339.2186 | 32.55 | 27.7
128631 | 2021-05-07 13:00 | 26.6749 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.0157 | μmol/L | 30.7722 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.578 | 128595.1985 | 268341.7712 | 32.55 | 27.7
128641 | 2021-05-07 13:01 | 27.0085 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.7205 | μmol/L | 30.8151 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.582 | 128666.7011 | 268344.9814 | 32.55 | 27.7
128651 | 2021-05-07 13:01 | 27.3416 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.7735 | μmol/L | 30.7108 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.615 | 128830.6855 | 268335.144 | 32.55 | 27.7
128661 | 2021-05-07 13:01 | 27.6753 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.5697 | μmol/L | 30.7169 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.626 | 128941.2851 | 268336.8984 | 32.55 | 27.7
128671 | 2021-05-07 13:02 | 28.0084 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.123 | μmol/L | 30.7538 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.642 | 129026.8463 | 268329.444 | 32.55 | 27.7
128681 | 2021-05-07 13:02 | 28.3422 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.0679 | μmol/L | 30.7353 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.652 | 129094.0625 | 268335.8171 | 32.55 | 27.7
128691 | 2021-05-07 13:02 | 28.6754 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.6845 | μmol/L | 30.7292 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.679 | 129216.6841 | 268318.7117 | 32.55 | 27.7
128701 | 2021-05-07 13:03 | 29.0088 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.4578 | μmol/L | 30.7599 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.683 | 129301.1996 | 268327.5477 | 32.55 | 27.7
128711 | 2021-05-07 13:03 | 29.3417 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.2621 | μmol/L | 30.7906 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.685 | 129304.5965 | 268319.9732 | 32.55 | 27.7
128721 | 2021-05-07 13:03 | 29.6747 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.1239 | μmol/L | 30.7906 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.694 | 129353.0305 | 268304.5081 | 32.55 | 27.7
128731 | 2021-05-07 13:04 | 30.0085 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.0557 | μmol/L | 30.809 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.692 | 129333.9659 | 268307.4198 | 32.55 | 27.7
128741 | 2021-05-07 13:04 | 30.3417 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.1261 | μmol/L | 30.7844 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.696 | 129358.3366 | 268303.7346 | 32.55 | 27.7
128751 | 2021-05-07 13:04 | 30.6747 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.9881 | μmol/L | 30.7844 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.705 | 129425.793 | 268299.243 | 32.55 | 27.7
128761 | 2021-05-07 13:05 | 31.0087 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.8234 | μmol/L | 30.8151 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.705 | 129409.547 | 268302.1396 | 32.55 | 27.7
128771 | 2021-05-07 13:05 | 31.3416 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.0148 | μmol/L | 30.7538 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.714 | 129459.1505 | 268301.1218 | 32.55 | 27.7
128781 | 2021-05-07 13:05 | 31.6753 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.2584 | μmol/L | 30.7169 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.711 | 129469.4699 | 268291.2026 | 32.55 | 27.7
128791 | 2021-05-07 13:06 | 32.0082 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.6527 | μmol/L | 30.8213 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.714 | 129469.8872 | 268292.5539 | 32.55 | 27.7
128801 | 2021-05-07 13:06 | 32.3417 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.603 | μmol/L | 30.7906 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.728 | 129557.7374 | 268299.1641 | 32.55 | 27.7
128811 | 2021-05-07 13:06 | 32.6748 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.5595 | μmol/L | 30.7844 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.733 | 129587.5135 | 268287.5493 | 32.55 | 27.7
128821 | 2021-05-07 13:07 | 33.0086 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.9733 | μmol/L | 30.7415 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.721 | 129516.1358 | 268295.1565 | 32.55 | 27.7
128831 | 2021-05-07 13:07 | 33.3415 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.3266 | μmol/L | 30.6985 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.713 | 129451.7082 | 268281.9691 | 32.55 | 27.7
128841 | 2021-05-07 13:07 | 33.6752 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.6717 | μmol/L | 30.6371 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.712 | 129429.9739 | 268282.0467 | 32.55 | 27.7
128851 | 2021-05-07 13:08 | 34.0081 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.4608 | μmol/L | 30.6249 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.73 | 129534.4961 | 268277.1324 | 32.55 | 27.7
128861 | 2021-05-07 13:08 | 34.342 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 176.4236 | μmol/L | 30.6003 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.741 | 129628.4008 | 268275.6387 | 32.55 | 27.7
128871 | 2021-05-07 13:08 | 34.675 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.768 | μmol/L | 30.7169 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.743 | 129656.6754 | 268269.043 | 32.55 | 27.7
128881 | 2021-05-07 13:09 | 35.0082 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.777 | μmol/L | 30.6924 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.751 | 129697.9398 | 268272.1054 | 32.55 | 27.7
128891 | 2021-05-07 13:09 | 35.3414 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 175.5528 | μmol/L | 30.6371 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.785 | 129827.2944 | 268271.0806 | 32.55 | 27.7