## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 129211289 | PSt7-10 | 000000-000 | 0000-00 | 2021-04-19 09:39

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-07 13:47

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
128892 | 2021-05-07 13:17 | 0 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.6416 | μmol/L | 30.8414 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.444 | 130274.8703 | 271057.8044 | 33.25 | 75.7
128902 | 2021-05-07 13:18 | 0.3377 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.5464 | μmol/L | 30.8722 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.496 | 130678.2327 | 271063.2406 | 33.25 | 75.7
128912 | 2021-05-07 13:18 | 0.67153 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.0719 | μmol/L | 30.8045 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.546 | 131082.6675 | 271074.1473 | 33.25 | 75.7
128922 | 2021-05-07 13:18 | 1.0045 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.0933 | μmol/L | 30.8291 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.594 | 131401.1301 | 271053.2735 | 33.25 | 75.7
128932 | 2021-05-07 13:19 | 1.3384 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.402 | μmol/L | 30.8291 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.634 | 131741.1365 | 271064.9222 | 33.25 | 75.7
128942 | 2021-05-07 13:19 | 1.6714 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.5624 | μmol/L | 30.8168 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.687 | 132095.7074 | 271069.1755 | 33.25 | 75.7
128952 | 2021-05-07 13:19 | 2.0044 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.9695 | μmol/L | 30.7921 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.73 | 132409.3811 | 271075.9326 | 33.25 | 75.7
128962 | 2021-05-07 13:20 | 2.3383 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.7804 | μmol/L | 30.7983 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.739 | 132518.7279 | 271064.1103 | 33.25 | 75.7
128972 | 2021-05-07 13:20 | 2.6715 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.5167 | μmol/L | 30.7614 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.767 | 132707.3882 | 271070.1635 | 33.25 | 75.7
128982 | 2021-05-07 13:20 | 3.0046 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.4886 | μmol/L | 30.7368 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.777 | 132814.7354 | 271080.9445 | 33.25 | 75.7
128992 | 2021-05-07 13:21 | 3.3384 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.2781 | μmol/L | 30.6937 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.804 | 133007.7811 | 271084.707 | 33.25 | 75.7
129002 | 2021-05-07 13:21 | 3.6715 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 189.8617 | μmol/L | 30.6629 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.839 | 133268.2949 | 271075.6267 | 33.25 | 75.7
129012 | 2021-05-07 13:21 | 4.0044 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 189.6956 | μmol/L | 30.6506 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.853 | 133396.2129 | 271086.596 | 33.25 | 75.7
129022 | 2021-05-07 13:22 | 4.3382 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 188.9951 | μmol/L | 30.6875 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.882 | 133558.3205 | 271075.991 | 33.25 | 75.7
129032 | 2021-05-07 13:22 | 4.671 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 189.1374 | μmol/L | 30.6567 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.884 | 133590.1105 | 271072.3432 | 33.25 | 75.7
129042 | 2021-05-07 13:22 | 5.005 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 189.4666 | μmol/L | 30.6198 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.877 | 133559.7984 | 271073.9448 | 33.25 | 75.7
129052 | 2021-05-07 13:23 | 5.3381 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 189.0731 | μmol/L | 30.6444 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.892 | 133649.5169 | 271075.1955 | 33.25 | 75.7
129062 | 2021-05-07 13:23 | 5.6718 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 189.0302 | μmol/L | 30.6137 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.905 | 133738.2412 | 271069.7332 | 33.25 | 75.7
129072 | 2021-05-07 13:23 | 6.0047 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 188.8117 | μmol/L | 30.6137 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.918 | 133827.9455 | 271077.1009 | 33.25 | 75.7
129082 | 2021-05-07 13:24 | 6.3378 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 188.7781 | μmol/L | 30.6137 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.92 | 133876.0583 | 271052.0289 | 33.25 | 75.7
129092 | 2021-05-07 13:24 | 6.6716 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 188.6164 | μmol/L | 30.589 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.938 | 133997.4915 | 271051.8073 | 33.25 | 75.7
129102 | 2021-05-07 13:24 | 7.0049 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 188.787 | μmol/L | 30.509 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.955 | 134112.41 | 271050.9053 | 33.25 | 75.7
129112 | 2021-05-07 13:25 | 7.3379 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 188.3773 | μmol/L | 30.5398 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.969 | 134196.6282 | 271055.2253 | 33.25 | 75.7
129122 | 2021-05-07 13:25 | 7.6717 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 188.4976 | μmol/L | 30.5275 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.966 | 134204 | 271054.1676 | 33.25 | 75.7
129132 | 2021-05-07 13:25 | 8.0046 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 188.6864 | μmol/L | 30.509 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.961 | 134184.6414 | 271042.6054 | 33.25 | 75.7
129142 | 2021-05-07 13:26 | 8.3383 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 188.0644 | μmol/L | 30.5214 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.994 | 134367.492 | 271043.0436 | 33.25 | 75.7
129152 | 2021-05-07 13:26 | 8.6713 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 188.7605 | μmol/L | 30.4106 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.99 | 134356.1381 | 271048.0986 | 33.25 | 75.7
129162 | 2021-05-07 13:26 | 9.0043 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 188.6846 | μmol/L | 30.4475 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.982 | 134320.9047 | 271034.4124 | 33.25 | 75.7
129172 | 2021-05-07 13:27 | 9.338 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 188.5201 | μmol/L | 30.4352 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.996 | 134386.3496 | 271040.7308 | 33.25 | 75.7
129182 | 2021-05-07 13:27 | 9.6716 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 188.5019 | μmol/L | 30.4413 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.995 | 134412.5795 | 271021.3652 | 33.25 | 75.7
129192 | 2021-05-07 13:27 | 10.0048 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 188.3453 | μmol/L | 30.466 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.996 | 134430.0431 | 271026.9347 | 33.25 | 75.7
129202 | 2021-05-07 13:28 | 10.3379 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 188.0948 | μmol/L | 30.466 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.011 | 134499.2544 | 271015.3444 | 33.25 | 75.7
129212 | 2021-05-07 13:28 | 10.6716 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 188.409 | μmol/L | 30.4106 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.011 | 134518.0775 | 271021.2197 | 33.25 | 75.7
129222 | 2021-05-07 13:28 | 11.0046 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 187.8219 | μmol/L | 30.4906 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.019 | 134564.0391 | 271022.5517 | 33.25 | 75.7
129232 | 2021-05-07 13:29 | 11.3384 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 187.9523 | μmol/L | 30.4352 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.03 | 134634.3933 | 271018.9836 | 33.25 | 75.7
129242 | 2021-05-07 13:29 | 11.6712 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 187.7265 | μmol/L | 30.4721 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.031 | 134651.5931 | 271002.772 | 33.25 | 75.7
129252 | 2021-05-07 13:29 | 12.0045 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 187.7962 | μmol/L | 30.4598 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.031 | 134665.2961 | 271000.212 | 33.25 | 75.7
129262 | 2021-05-07 13:30 | 12.3383 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 187.5346 | μmol/L | 30.4413 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.053 | 134793.232 | 271003.3977 | 33.25 | 75.7
129272 | 2021-05-07 13:30 | 12.6713 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 187.4638 | μmol/L | 30.3921 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.074 | 134929.3503 | 270991.0948 | 33.25 | 75.7
129282 | 2021-05-07 13:30 | 13.0044 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 187.7373 | μmol/L | 30.3613 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.068 | 134943.1056 | 270983.5781 | 33.25 | 75.7
129292 | 2021-05-07 13:31 | 13.3377 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 187.5877 | μmol/L | 30.3613 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.077 | 134993.5304 | 270977.6714 | 33.25 | 75.7
129302 | 2021-05-07 13:31 | 13.6717 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 187.3371 | μmol/L | 30.3675 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.09 | 135065.9232 | 270974.7904 | 33.25 | 75.7
129312 | 2021-05-07 13:31 | 14.0047 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 187.0327 | μmol/L | 30.3921 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.1 | 135131.0784 | 270967.3372 | 33.25 | 75.7
129322 | 2021-05-07 13:32 | 14.3378 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.9168 | μmol/L | 30.3921 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.107 | 135172.101 | 270952.1133 | 33.25 | 75.7
129332 | 2021-05-07 13:32 | 14.6717 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.7711 | μmol/L | 30.3798 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.12 | 135256.3437 | 270947.8807 | 33.25 | 75.7
129342 | 2021-05-07 13:32 | 15.0045 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.86 | μmol/L | 30.3552 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.123 | 135311.3822 | 270943.4406 | 33.25 | 75.7
129352 | 2021-05-07 13:33 | 15.3376 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.7262 | μmol/L | 30.3613 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.129 | 135332.1678 | 270948.3505 | 33.25 | 75.7
129362 | 2021-05-07 13:33 | 15.6717 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.6648 | μmol/L | 30.3429 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.139 | 135399.7769 | 270941.6921 | 33.25 | 75.7
129372 | 2021-05-07 13:33 | 16.0047 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.9069 | μmol/L | 30.2998 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.139 | 135389.1388 | 270939.8229 | 33.25 | 75.7
129382 | 2021-05-07 13:34 | 16.3377 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.2565 | μmol/L | 30.3921 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.147 | 135459.9522 | 270929.4651 | 33.25 | 75.7
129392 | 2021-05-07 13:34 | 16.6716 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.0824 | μmol/L | 30.429 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.145 | 135466.5662 | 270913.4761 | 33.25 | 75.7
129402 | 2021-05-07 13:34 | 17.0046 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.0755 | μmol/L | 30.3921 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.158 | 135544.5395 | 270924.9141 | 33.25 | 75.7
129412 | 2021-05-07 13:35 | 17.3378 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 185.4961 | μmol/L | 30.4106 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.187 | 135704.3185 | 270925.4431 | 33.25 | 75.7
129422 | 2021-05-07 13:35 | 17.6714 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 185.4306 | μmol/L | 30.4106 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.191 | 135748.7005 | 270912.0563 | 33.25 | 75.7
129432 | 2021-05-07 13:35 | 18.0046 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 185.5501 | μmol/L | 30.3921 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.19 | 135744.1468 | 270893.5373 | 33.25 | 75.7
129442 | 2021-05-07 13:36 | 18.3383 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 185.4977 | μmol/L | 30.4044 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.189 | 135752.7841 | 270900.5116 | 33.25 | 75.7
129452 | 2021-05-07 13:36 | 18.6715 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 185.2734 | μmol/L | 30.386 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.209 | 135864.5511 | 270911.9913 | 33.25 | 75.7
129462 | 2021-05-07 13:36 | 19.0044 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 185.1442 | μmol/L | 30.3798 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.219 | 135927.5058 | 270904.3402 | 33.25 | 75.7
129472 | 2021-05-07 13:37 | 19.3381 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 185.2946 | μmol/L | 30.3675 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.214 | 135933.7059 | 270897.8265 | 33.25 | 75.7
129482 | 2021-05-07 13:37 | 19.6717 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 184.8471 | μmol/L | 30.3921 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.233 | 136052.0891 | 270893.3273 | 33.25 | 75.7
129492 | 2021-05-07 13:37 | 20.0046 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 184.5017 | μmol/L | 30.4044 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.25 | 136146.9851 | 270895.2802 | 33.25 | 75.7
129502 | 2021-05-07 13:38 | 20.3377 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 184.2645 | μmol/L | 30.3798 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.273 | 136297.397 | 270886.8084 | 33.25 | 75.7
129512 | 2021-05-07 13:38 | 20.6715 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 184.6158 | μmol/L | 30.3429 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.264 | 136270.8775 | 270890.071 | 33.25 | 75.7
129522 | 2021-05-07 13:38 | 21.0045 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 184.2532 | μmol/L | 30.3613 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.28 | 136357.8002 | 270890.8006 | 33.25 | 75.7
129532 | 2021-05-07 13:39 | 21.3382 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 184.0993 | μmol/L | 30.3306 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.3 | 136495.8881 | 270875.9023 | 33.25 | 75.7
129542 | 2021-05-07 13:39 | 21.6711 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 183.9194 | μmol/L | 30.3367 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.309 | 136554.0592 | 270876.4755 | 33.25 | 75.7
129552 | 2021-05-07 13:39 | 22.0043 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 184.0282 | μmol/L | 30.2937 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.317 | 136622.07 | 270868.1702 | 33.25 | 75.7
129562 | 2021-05-07 13:40 | 22.3382 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 183.5652 | μmol/L | 30.3306 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.333 | 136728.4485 | 270877.6268 | 33.25 | 75.7
129572 | 2021-05-07 13:40 | 22.6712 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 183.4928 | μmol/L | 30.2998 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.348 | 136824.1262 | 270864.4121 | 33.25 | 75.7
129582 | 2021-05-07 13:40 | 23.0044 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 183.4605 | μmol/L | 30.2998 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.35 | 136856.997 | 270866.1394 | 33.25 | 75.7
129592 | 2021-05-07 13:41 | 23.3383 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 183.4733 | μmol/L | 30.3121 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.345 | 136831.6864 | 270860.8045 | 33.25 | 75.7
129602 | 2021-05-07 13:41 | 23.6714 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 183.4239 | μmol/L | 30.2567 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.367 | 136963.775 | 270866.2895 | 33.25 | 75.7
129612 | 2021-05-07 13:41 | 24.0045 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 183.0398 | μmol/L | 30.306 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.374 | 137038.6395 | 270866.5567 | 33.25 | 75.7
129622 | 2021-05-07 13:42 | 24.3384 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.8663 | μmol/L | 30.2937 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.389 | 137105.5195 | 270856.9903 | 33.25 | 75.7
129632 | 2021-05-07 13:42 | 24.6715 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 183.0915 | μmol/L | 30.2937 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.375 | 137056.7193 | 270858.8063 | 33.25 | 75.7
129642 | 2021-05-07 13:42 | 25.0044 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 183.2727 | μmol/L | 30.2198 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.389 | 137149.2533 | 270856.1704 | 33.25 | 75.7
129652 | 2021-05-07 13:43 | 25.3382 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.7378 | μmol/L | 30.2937 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.397 | 137183.7073 | 270855.9327 | 33.25 | 75.7
129662 | 2021-05-07 13:43 | 25.6712 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.9721 | μmol/L | 30.2013 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.414 | 137286.8644 | 270854.6913 | 33.25 | 75.7
129672 | 2021-05-07 13:43 | 26.005 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 183.0042 | μmol/L | 30.2013 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.412 | 137309.7816 | 270843.4643 | 33.25 | 75.7
129682 | 2021-05-07 13:44 | 26.3381 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 183.0397 | μmol/L | 30.189 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.414 | 137310.1079 | 270843.5018 | 33.25 | 75.7
129692 | 2021-05-07 13:44 | 26.6712 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.6804 | μmol/L | 30.269 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.409 | 137286.2289 | 270828.6384 | 33.25 | 75.7
129702 | 2021-05-07 13:44 | 27.0051 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.9061 | μmol/L | 30.2075 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.416 | 137334.464 | 270842.1091 | 33.25 | 75.7
129712 | 2021-05-07 13:45 | 27.338 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.8207 | μmol/L | 30.226 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.415 | 137325.7822 | 270819.4907 | 33.25 | 75.7
129722 | 2021-05-07 13:45 | 27.671 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 181.898 | μmol/L | 30.2629 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.46 | 137590.4973 | 270810.0408 | 33.25 | 75.7
129732 | 2021-05-07 13:45 | 28.0048 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.0715 | μmol/L | 30.2137 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.466 | 137624.2472 | 270824.2993 | 33.25 | 75.7
129742 | 2021-05-07 13:46 | 28.3378 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.1599 | μmol/L | 30.1829 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.471 | 137663.4186 | 270816.8123 | 33.25 | 75.7
129752 | 2021-05-07 13:46 | 28.6717 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 181.5914 | μmol/L | 30.2198 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.494 | 137805.2238 | 270807.3212 | 33.25 | 75.7