## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-07 13:47

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
128894 | 2021-05-07 13:18 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.3847 | μmol/L | 30.8034 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.936 | 93892.4062 | 213054.1197 | 27.3 | 43.4
128904 | 2021-05-07 13:18 | 0.33999 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.6867 | μmol/L | 30.7421 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 19.993 | 94172.5078 | 213063.3317 | 27.3 | 43.4
128914 | 2021-05-07 13:18 | 0.67287 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.6279 | μmol/L | 30.6133 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.04 | 94426.9179 | 213069.4332 | 27.3 | 43.4
128924 | 2021-05-07 13:19 | 1.0066 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.4893 | μmol/L | 30.6317 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.093 | 94679.4646 | 213067.2071 | 27.3 | 43.4
128934 | 2021-05-07 13:19 | 1.3402 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.3886 | μmol/L | 30.6746 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.136 | 94935.5705 | 213076.7081 | 27.3 | 43.4
128944 | 2021-05-07 13:19 | 1.6732 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 210.4912 | μmol/L | 30.693 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.177 | 95143.9409 | 213080.7908 | 27.3 | 43.4
128954 | 2021-05-07 13:20 | 2.0065 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 210.1464 | μmol/L | 30.5888 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.231 | 95420.6141 | 213065.4911 | 27.3 | 43.4
128964 | 2021-05-07 13:20 | 2.3401 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 208.8075 | μmol/L | 30.6624 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.277 | 95618.9104 | 213071.1512 | 27.3 | 43.4
128974 | 2021-05-07 13:20 | 2.673 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 208.4109 | μmol/L | 30.6746 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.294 | 95721.0538 | 213070.3247 | 27.3 | 43.4
128984 | 2021-05-07 13:21 | 3.0063 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 208.1101 | μmol/L | 30.6256 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.327 | 95901.6716 | 213079.0871 | 27.3 | 43.4
128994 | 2021-05-07 13:21 | 3.3401 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 207.1072 | μmol/L | 30.6256 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.381 | 96177.4049 | 213077.8031 | 27.3 | 43.4
129004 | 2021-05-07 13:21 | 3.6731 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 206.7231 | μmol/L | 30.6133 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.406 | 96313.1407 | 213077.4929 | 27.3 | 43.4
129014 | 2021-05-07 13:22 | 4.007 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 206.1885 | μmol/L | 30.6133 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.435 | 96444.3824 | 213078.697 | 27.3 | 43.4
129024 | 2021-05-07 13:22 | 4.3399 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.796 | μmol/L | 30.6317 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.45 | 96550.5673 | 213074.8646 | 27.3 | 43.4
129034 | 2021-05-07 13:22 | 4.6736 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.6458 | μmol/L | 30.5888 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.473 | 96642.7708 | 213071.8397 | 27.3 | 43.4
129044 | 2021-05-07 13:23 | 5.0066 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.3774 | μmol/L | 30.5704 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.494 | 96739.4028 | 213072.4622 | 27.3 | 43.4
129054 | 2021-05-07 13:23 | 5.3399 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.4945 | μmol/L | 30.4968 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.513 | 96820.1084 | 213069.5233 | 27.3 | 43.4
129064 | 2021-05-07 13:23 | 5.673 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.824 | μmol/L | 30.5336 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.537 | 96946.7971 | 213070.7138 | 27.3 | 43.4
129074 | 2021-05-07 13:24 | 6.0069 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.4917 | μmol/L | 30.5459 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.551 | 97054.2752 | 213058.4221 | 27.3 | 43.4
129084 | 2021-05-07 13:24 | 6.3399 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.0237 | μmol/L | 30.5336 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.581 | 97177.6939 | 213057.1277 | 27.3 | 43.4
129094 | 2021-05-07 13:24 | 6.6728 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.641 | μmol/L | 30.5397 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.6 | 97282.1245 | 213067.9057 | 27.3 | 43.4
129104 | 2021-05-07 13:25 | 7.0067 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.1508 | μmol/L | 30.5459 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.625 | 97411.4568 | 213062.5563 | 27.3 | 43.4
129114 | 2021-05-07 13:25 | 7.3396 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.9051 | μmol/L | 30.5275 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.645 | 97499.2297 | 213060.2307 | 27.3 | 43.4
129124 | 2021-05-07 13:25 | 7.6732 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.5632 | μmol/L | 30.5275 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.664 | 97608.0089 | 213061.0057 | 27.3 | 43.4
129134 | 2021-05-07 13:26 | 8.0069 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.3365 | μmol/L | 30.5091 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.683 | 97701.1082 | 213066.7036 | 27.3 | 43.4
129144 | 2021-05-07 13:26 | 8.3398 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.0519 | μmol/L | 30.503 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.701 | 97811.1821 | 213060.9003 | 27.3 | 43.4
129154 | 2021-05-07 13:26 | 8.6729 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.949 | μmol/L | 30.4907 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.711 | 97850.5143 | 213053.5319 | 27.3 | 43.4
129164 | 2021-05-07 13:27 | 9.0062 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.5512 | μmol/L | 30.503 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.729 | 97923.4162 | 213057.4886 | 27.3 | 43.4
129174 | 2021-05-07 13:27 | 9.34 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.148 | μmol/L | 30.4846 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.758 | 98047.5638 | 213044.2995 | 27.3 | 43.4
129184 | 2021-05-07 13:27 | 9.673 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.1658 | μmol/L | 30.4846 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.757 | 98069.1777 | 213052.367 | 27.3 | 43.4
129194 | 2021-05-07 13:28 | 10.0069 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.0435 | μmol/L | 30.4784 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.766 | 98109.3748 | 213044.6209 | 27.3 | 43.4
129204 | 2021-05-07 13:28 | 10.3401 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.3736 | μmol/L | 30.4049 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.773 | 98124.0006 | 213039.0144 | 27.3 | 43.4
129214 | 2021-05-07 13:28 | 10.6732 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.0997 | μmol/L | 30.4233 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.782 | 98164.1469 | 213035.8118 | 27.3 | 43.4
129224 | 2021-05-07 13:29 | 11.0069 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.4028 | μmol/L | 30.3742 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.782 | 98193.0881 | 213034.5901 | 27.3 | 43.4
129234 | 2021-05-07 13:29 | 11.3399 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.6551 | μmol/L | 30.4478 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.799 | 98237.0217 | 213026.9843 | 27.3 | 43.4
129244 | 2021-05-07 13:29 | 11.6728 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.5623 | μmol/L | 30.4355 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.808 | 98315.3174 | 213037.5414 | 27.3 | 43.4
129254 | 2021-05-07 13:30 | 12.0068 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.5561 | μmol/L | 30.4049 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.819 | 98369.6576 | 213031.6464 | 27.3 | 43.4
129264 | 2021-05-07 13:30 | 12.3397 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.4744 | μmol/L | 30.3865 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.83 | 98422.9593 | 213023.9712 | 27.3 | 43.4
129274 | 2021-05-07 13:30 | 12.6735 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.0852 | μmol/L | 30.3865 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.852 | 98524.8814 | 213028.8359 | 27.3 | 43.4
129284 | 2021-05-07 13:31 | 13.0065 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 199.9686 | μmol/L | 30.3681 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.865 | 98627.6001 | 213020.3326 | 27.3 | 43.4
129294 | 2021-05-07 13:31 | 13.3399 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 199.6066 | μmol/L | 30.3926 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.877 | 98651.0454 | 213019.8304 | 27.3 | 43.4
129304 | 2021-05-07 13:31 | 13.6732 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 199.5209 | μmol/L | 30.3865 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.884 | 98688.8773 | 213008.8479 | 27.3 | 43.4
129314 | 2021-05-07 13:32 | 14.0062 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.9396 | μmol/L | 30.4355 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.9 | 98784.4123 | 213014.3198 | 27.3 | 43.4
129324 | 2021-05-07 13:32 | 14.3402 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.4141 | μmol/L | 30.4355 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.93 | 98916.261 | 213016.4329 | 27.3 | 43.4
129334 | 2021-05-07 13:32 | 14.6734 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.0274 | μmol/L | 30.4417 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.95 | 99016.4529 | 213004.089 | 27.3 | 43.4
129344 | 2021-05-07 13:33 | 15.0064 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 197.8356 | μmol/L | 30.4417 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.961 | 99061.0153 | 213001.9497 | 27.3 | 43.4
129354 | 2021-05-07 13:33 | 15.3397 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 197.8753 | μmol/L | 30.4294 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.963 | 99110.1039 | 213002.2028 | 27.3 | 43.4
129364 | 2021-05-07 13:33 | 15.6729 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 197.3857 | μmol/L | 30.4355 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.989 | 99212.4087 | 212984.3229 | 27.3 | 43.4
129374 | 2021-05-07 13:34 | 16.0066 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 197.7247 | μmol/L | 30.3252 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.008 | 99299.6773 | 212983.9134 | 27.3 | 43.4
129384 | 2021-05-07 13:34 | 16.3397 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 197.1151 | μmol/L | 30.3742 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.026 | 99397.5485 | 212979.5659 | 27.3 | 43.4
129394 | 2021-05-07 13:34 | 16.6728 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.8332 | μmol/L | 30.3865 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.038 | 99445.9783 | 212982.2734 | 27.3 | 43.4
129404 | 2021-05-07 13:35 | 17.0066 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.606 | μmol/L | 30.3926 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.049 | 99537.5974 | 212993.9775 | 27.3 | 43.4
129414 | 2021-05-07 13:35 | 17.3403 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.4628 | μmol/L | 30.362 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.068 | 99597.6343 | 212970.6285 | 27.3 | 43.4
129424 | 2021-05-07 13:35 | 17.6733 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.2067 | μmol/L | 30.3558 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.085 | 99662.1074 | 212982.9893 | 27.3 | 43.4
129434 | 2021-05-07 13:36 | 18.0063 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.9657 | μmol/L | 30.3558 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.099 | 99742.5331 | 212985.5661 | 27.3 | 43.4
129444 | 2021-05-07 13:36 | 18.3395 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.5903 | μmol/L | 30.3497 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.123 | 99884.3654 | 212976.5395 | 27.3 | 43.4
129454 | 2021-05-07 13:36 | 18.6732 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.2877 | μmol/L | 30.3558 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.139 | 99957.791 | 212973.0261 | 27.3 | 43.4
129464 | 2021-05-07 13:37 | 19.0062 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.0051 | μmol/L | 30.3987 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.14 | 99956.5265 | 212982.4043 | 27.3 | 43.4
129474 | 2021-05-07 13:37 | 19.3399 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.1499 | μmol/L | 30.3374 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.153 | 100009.0009 | 212977.231 | 27.3 | 43.4
129484 | 2021-05-07 13:37 | 19.6735 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 194.7544 | μmol/L | 30.3436 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.174 | 100089.3141 | 212973.6694 | 27.3 | 43.4
129494 | 2021-05-07 13:38 | 20.0065 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 194.4968 | μmol/L | 30.3068 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.202 | 100247.9891 | 212966.0956 | 27.3 | 43.4
129504 | 2021-05-07 13:38 | 20.3396 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 194.3986 | μmol/L | 30.2761 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.219 | 100365.262 | 212961.7005 | 27.3 | 43.4
129514 | 2021-05-07 13:38 | 20.6733 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 194.058 | μmol/L | 30.2577 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.245 | 100447.8126 | 212954.2511 | 27.3 | 43.4
129524 | 2021-05-07 13:39 | 21.0064 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.6688 | μmol/L | 30.2761 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.262 | 100548.7701 | 212963.7066 | 27.3 | 43.4
129534 | 2021-05-07 13:39 | 21.3402 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.2445 | μmol/L | 30.3006 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.278 | 100633.2121 | 212951.5137 | 27.3 | 43.4
129544 | 2021-05-07 13:39 | 21.673 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.9708 | μmol/L | 30.3497 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.277 | 100644.4822 | 212961.3392 | 27.3 | 43.4
129554 | 2021-05-07 13:40 | 22.0068 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.9151 | μmol/L | 30.362 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.276 | 100626.7028 | 212934.1029 | 27.3 | 43.4
129564 | 2021-05-07 13:40 | 22.3396 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.7484 | μmol/L | 30.3374 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.295 | 100713.2142 | 212935.5401 | 27.3 | 43.4
129574 | 2021-05-07 13:40 | 22.6735 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.674 | μmol/L | 30.2945 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.314 | 100813.8198 | 212945.7091 | 27.3 | 43.4
129584 | 2021-05-07 13:41 | 23.0064 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.1263 | μmol/L | 30.319 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.338 | 100931.003 | 212938.1558 | 27.3 | 43.4
129594 | 2021-05-07 13:41 | 23.3401 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 191.7448 | μmol/L | 30.3497 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.35 | 101019.7041 | 212941.8629 | 27.3 | 43.4
129604 | 2021-05-07 13:41 | 23.6735 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 191.5301 | μmol/L | 30.3436 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.365 | 101066.363 | 212943.1613 | 27.3 | 43.4
129614 | 2021-05-07 13:42 | 24.0062 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 191.9873 | μmol/L | 30.2516 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.37 | 101106.6958 | 212943.4965 | 27.3 | 43.4
129624 | 2021-05-07 13:42 | 24.3401 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 191.8334 | μmol/L | 30.2393 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.384 | 101148.728 | 212946.7617 | 27.3 | 43.4
129634 | 2021-05-07 13:42 | 24.6732 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.0548 | μmol/L | 30.1903 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.388 | 101199.0035 | 212933.5636 | 27.3 | 43.4
129644 | 2021-05-07 13:43 | 25.0062 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 191.585 | μmol/L | 30.2148 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.407 | 101275.341 | 212938.9139 | 27.3 | 43.4
129654 | 2021-05-07 13:43 | 25.3403 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 191.1027 | μmol/L | 30.2516 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.423 | 101356.7611 | 212933.7393 | 27.3 | 43.4
129664 | 2021-05-07 13:43 | 25.6734 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 191.3364 | μmol/L | 30.1719 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.437 | 101428.6678 | 212929.6924 | 27.3 | 43.4
129674 | 2021-05-07 13:44 | 26.0064 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.7913 | μmol/L | 30.2026 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.459 | 101518.4247 | 212929.2852 | 27.3 | 43.4
129684 | 2021-05-07 13:44 | 26.34 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.4047 | μmol/L | 30.2148 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.478 | 101607.4719 | 212931.3987 | 27.3 | 43.4
129694 | 2021-05-07 13:44 | 26.6733 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.2715 | μmol/L | 30.178 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.499 | 101722.2588 | 212927.9852 | 27.3 | 43.4
129704 | 2021-05-07 13:45 | 27.0066 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 189.9688 | μmol/L | 30.1903 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.513 | 101823.1808 | 212930.8995 | 27.3 | 43.4
129714 | 2021-05-07 13:45 | 27.3398 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 189.3734 | μmol/L | 30.2332 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.534 | 101911.2135 | 212919.2937 | 27.3 | 43.4
129724 | 2021-05-07 13:45 | 27.6736 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 188.9192 | μmol/L | 30.2577 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.553 | 102023.037 | 212919.9182 | 27.3 | 43.4
129734 | 2021-05-07 13:46 | 28.0066 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 189.0362 | μmol/L | 30.178 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.574 | 102115.125 | 212924.1212 | 27.3 | 43.4
129744 | 2021-05-07 13:46 | 28.3403 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 188.7248 | μmol/L | 30.178 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.593 | 102203.3102 | 212925.3624 | 27.3 | 43.4
129754 | 2021-05-07 13:46 | 28.6733 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 188.6591 | μmol/L | 30.1413 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.61 | 102283.7412 | 212912.4196 | 27.3 | 43.4