## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-07 13:47

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
128895 | 2021-05-07 13:18 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.2645 | μmol/L | 30.784 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.858 | 88500.5783 | 291073.7942 | 28.7 | 67.6
128905 | 2021-05-07 13:18 | 0.33381 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.1309 | μmol/L | 30.7962 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.921 | 88808.3505 | 291088.5633 | 28.7 | 67.6
128915 | 2021-05-07 13:18 | 0.66683 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 187.3747 | μmol/L | 30.8023 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.964 | 89001.5241 | 291095.6309 | 28.7 | 67.6
128925 | 2021-05-07 13:19 | 1.0005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.7249 | μmol/L | 30.7962 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.005 | 89195.2627 | 291099.7619 | 28.7 | 67.6
128935 | 2021-05-07 13:19 | 1.3334 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.0448 | μmol/L | 30.7901 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.048 | 89397.6353 | 291110.0616 | 28.7 | 67.6
128945 | 2021-05-07 13:19 | 1.6673 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.3227 | μmol/L | 30.7657 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.1 | 89622.4974 | 291120.1674 | 28.7 | 67.6
128955 | 2021-05-07 13:20 | 2.0001 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.3133 | μmol/L | 30.7352 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.111 | 89704.1676 | 291120.9413 | 28.7 | 67.6
128965 | 2021-05-07 13:20 | 2.3337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.2628 | μmol/L | 30.668 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.137 | 89801.7479 | 291124.0433 | 28.7 | 67.6
128975 | 2021-05-07 13:20 | 2.6669 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.3344 | μmol/L | 30.6436 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.141 | 89870.8109 | 291132.6984 | 28.7 | 67.6
128985 | 2021-05-07 13:21 | 3.0002 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.8486 | μmol/L | 30.6803 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.158 | 89946.5197 | 291138.6828 | 28.7 | 67.6
128995 | 2021-05-07 13:21 | 3.334 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.4739 | μmol/L | 30.668 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.185 | 90026.2451 | 291127.9894 | 28.7 | 67.6
129005 | 2021-05-07 13:21 | 3.6669 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.4703 | μmol/L | 30.6131 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.204 | 90109.3498 | 291120.1008 | 28.7 | 67.6
129015 | 2021-05-07 13:22 | 4.0001 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.2368 | μmol/L | 30.6314 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.212 | 90140.0438 | 291123.9453 | 28.7 | 67.6
129025 | 2021-05-07 13:22 | 4.3339 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.1536 | μmol/L | 30.6375 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.215 | 90171.0282 | 291101.8296 | 28.7 | 67.6
129035 | 2021-05-07 13:22 | 4.6667 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.9724 | μmol/L | 30.6436 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.224 | 90218.9158 | 291099.956 | 28.7 | 67.6
129045 | 2021-05-07 13:23 | 5.0005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.7943 | μmol/L | 30.6375 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.237 | 90267.9837 | 291107.1271 | 28.7 | 67.6
129055 | 2021-05-07 13:23 | 5.3335 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.8456 | μmol/L | 30.5582 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.261 | 90371.8586 | 291108.9245 | 28.7 | 67.6
129065 | 2021-05-07 13:23 | 5.6665 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.5437 | μmol/L | 30.5948 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.267 | 90386.0296 | 291109.8064 | 28.7 | 67.6
129075 | 2021-05-07 13:24 | 6.0004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.5289 | μmol/L | 30.5887 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.27 | 90402.5353 | 291104.9006 | 28.7 | 67.6
129085 | 2021-05-07 13:24 | 6.3335 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.6472 | μmol/L | 30.5704 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.269 | 90410.6384 | 291105.9001 | 28.7 | 67.6
129095 | 2021-05-07 13:24 | 6.6673 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.6826 | μmol/L | 30.5582 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.271 | 90409.3377 | 291095.6124 | 28.7 | 67.6
129105 | 2021-05-07 13:25 | 7.0005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.6649 | μmol/L | 30.5643 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.27 | 90418.7062 | 291109.9816 | 28.7 | 67.6
129115 | 2021-05-07 13:25 | 7.3334 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.3691 | μmol/L | 30.5765 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.284 | 90493.8199 | 291107.9284 | 28.7 | 67.6
129125 | 2021-05-07 13:25 | 7.6672 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.329 | μmol/L | 30.5399 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.299 | 90514.7518 | 291093.4602 | 28.7 | 67.6
129135 | 2021-05-07 13:26 | 8.0003 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.4337 | μmol/L | 30.5093 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.303 | 90561.5348 | 291091.7203 | 28.7 | 67.6
129145 | 2021-05-07 13:26 | 8.3333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.556 | μmol/L | 30.4727 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.308 | 90558.6291 | 291069.9707 | 28.7 | 67.6
129155 | 2021-05-07 13:26 | 8.6671 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.4719 | μmol/L | 30.4849 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.309 | 90577.922 | 291085.944 | 28.7 | 67.6
129165 | 2021-05-07 13:27 | 9.0001 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.6713 | μmol/L | 30.4666 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.303 | 90579.1465 | 291066.3876 | 28.7 | 67.6
129175 | 2021-05-07 13:27 | 9.3339 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.0235 | μmol/L | 30.5276 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.322 | 90615.1579 | 291057.2955 | 28.7 | 67.6
129185 | 2021-05-07 13:27 | 9.6668 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.941 | μmol/L | 30.5338 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.325 | 90642.9208 | 291055.5272 | 28.7 | 67.6
129195 | 2021-05-07 13:28 | 10.0006 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.0674 | μmol/L | 30.4788 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.336 | 90669.2943 | 291047.8898 | 28.7 | 67.6
129205 | 2021-05-07 13:28 | 10.334 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.7672 | μmol/L | 30.5154 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.342 | 90709.6308 | 291058.7572 | 28.7 | 67.6
129215 | 2021-05-07 13:28 | 10.6668 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.0048 | μmol/L | 30.5032 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.332 | 90672.6795 | 291058.4625 | 28.7 | 67.6
129225 | 2021-05-07 13:29 | 11.0007 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.8805 | μmol/L | 30.5154 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.335 | 90679.4007 | 291030.0856 | 28.7 | 67.6
129235 | 2021-05-07 13:29 | 11.3336 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.9144 | μmol/L | 30.5093 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.335 | 90692.8106 | 291032.8528 | 28.7 | 67.6
129245 | 2021-05-07 13:29 | 11.6671 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.0379 | μmol/L | 30.4666 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.342 | 90721.7922 | 291039.068 | 28.7 | 67.6
129255 | 2021-05-07 13:30 | 12.0001 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.6788 | μmol/L | 30.4788 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.36 | 90788.1035 | 291025.1434 | 28.7 | 67.6
129265 | 2021-05-07 13:30 | 12.3339 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.8744 | μmol/L | 30.4727 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.35 | 90749.761 | 291026.0965 | 28.7 | 67.6
129275 | 2021-05-07 13:30 | 12.667 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.7597 | μmol/L | 30.4788 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.355 | 90772.2662 | 291024.7125 | 28.7 | 67.6
129285 | 2021-05-07 13:31 | 13 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.8492 | μmol/L | 30.4422 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.362 | 90795.2234 | 291017.5752 | 28.7 | 67.6
129295 | 2021-05-07 13:31 | 13.3337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.8845 | μmol/L | 30.43 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.364 | 90812.7616 | 290988.4326 | 28.7 | 67.6
129305 | 2021-05-07 13:31 | 13.667 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.2517 | μmol/L | 30.5093 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.376 | 90847.8563 | 291009.366 | 28.7 | 67.6
129315 | 2021-05-07 13:32 | 14 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.2693 | μmol/L | 30.5032 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.377 | 90870.7189 | 290996.8531 | 28.7 | 67.6
129325 | 2021-05-07 13:32 | 14.3332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.5363 | μmol/L | 30.4666 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.373 | 90860.9223 | 290990.3971 | 28.7 | 67.6
129335 | 2021-05-07 13:32 | 14.6671 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.7545 | μmol/L | 30.3628 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.395 | 90922.4399 | 290970.7377 | 28.7 | 67.6
129345 | 2021-05-07 13:33 | 15.0002 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.2194 | μmol/L | 30.4422 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.401 | 90957.8819 | 290981.3302 | 28.7 | 67.6
129355 | 2021-05-07 13:33 | 15.334 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.1916 | μmol/L | 30.4239 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.409 | 90998.0083 | 290972.1437 | 28.7 | 67.6
129365 | 2021-05-07 13:33 | 15.6671 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.1184 | μmol/L | 30.4605 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.401 | 90976.006 | 290971.6623 | 28.7 | 67.6
129375 | 2021-05-07 13:34 | 16 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.8389 | μmol/L | 30.4849 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.41 | 91019.7512 | 290981.0308 | 28.7 | 67.6
129385 | 2021-05-07 13:34 | 16.3338 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.5883 | μmol/L | 30.491 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.424 | 91062.1984 | 290948.4245 | 28.7 | 67.6
129395 | 2021-05-07 13:34 | 16.6668 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.6827 | μmol/L | 30.4666 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.426 | 91086.1406 | 290942.0166 | 28.7 | 67.6
129405 | 2021-05-07 13:35 | 17 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.5602 | μmol/L | 30.4422 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.442 | 91135.3383 | 290927.5552 | 28.7 | 67.6
129415 | 2021-05-07 13:35 | 17.3339 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.4305 | μmol/L | 30.4483 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.448 | 91167.8965 | 290925.8114 | 28.7 | 67.6
129425 | 2021-05-07 13:35 | 17.667 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.4253 | μmol/L | 30.4361 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.453 | 91204.5761 | 290930.4853 | 28.7 | 67.6
129435 | 2021-05-07 13:36 | 18.0001 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.4277 | μmol/L | 30.3934 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.467 | 91253.1309 | 290919.8233 | 28.7 | 67.6
129445 | 2021-05-07 13:36 | 18.3333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.7877 | μmol/L | 30.4605 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.484 | 91331.0433 | 290926.8565 | 28.7 | 67.6
129455 | 2021-05-07 13:36 | 18.6671 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.7477 | μmol/L | 30.4605 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.487 | 91355.3508 | 290924.313 | 28.7 | 67.6
129465 | 2021-05-07 13:37 | 19 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.5007 | μmol/L | 30.4605 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.502 | 91422.0148 | 290914.0762 | 28.7 | 67.6
129475 | 2021-05-07 13:37 | 19.3337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.9936 | μmol/L | 30.4849 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.526 | 91501.2674 | 290912.1279 | 28.7 | 67.6
129485 | 2021-05-07 13:37 | 19.6673 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.8165 | μmol/L | 30.3751 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.512 | 91478.299 | 290927.2526 | 28.7 | 67.6
129495 | 2021-05-07 13:38 | 20.0002 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.5062 | μmol/L | 30.4056 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.521 | 91509.3921 | 290907.736 | 28.7 | 67.6
129505 | 2021-05-07 13:38 | 20.3333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.3804 | μmol/L | 30.3995 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.531 | 91527.4133 | 290910.9931 | 28.7 | 67.6
129515 | 2021-05-07 13:38 | 20.6672 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.1229 | μmol/L | 30.3812 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.553 | 91625.4199 | 290892.7935 | 28.7 | 67.6
129525 | 2021-05-07 13:39 | 21.0003 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.7093 | μmol/L | 30.4178 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.567 | 91688.8895 | 290881.1125 | 28.7 | 67.6
129535 | 2021-05-07 13:39 | 21.3333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.7173 | μmol/L | 30.4178 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.566 | 91693.2061 | 290877.1464 | 28.7 | 67.6
129545 | 2021-05-07 13:39 | 21.667 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.5745 | μmol/L | 30.3873 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.586 | 91758.8498 | 290881.9062 | 28.7 | 67.6
129555 | 2021-05-07 13:40 | 22 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.401 | μmol/L | 30.4178 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.586 | 91795.9257 | 290883.4984 | 28.7 | 67.6
129565 | 2021-05-07 13:40 | 22.3339 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.1326 | μmol/L | 30.4178 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.603 | 91844.5501 | 290888.4508 | 28.7 | 67.6
129575 | 2021-05-07 13:40 | 22.6667 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.1957 | μmol/L | 30.4178 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.599 | 91861.3495 | 290868.1351 | 28.7 | 67.6
129585 | 2021-05-07 13:41 | 22.9999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.0584 | μmol/L | 30.3995 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.614 | 91904.7039 | 290865.1394 | 28.7 | 67.6
129595 | 2021-05-07 13:41 | 23.3339 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.0111 | μmol/L | 30.3995 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.617 | 91905.3514 | 290869.6422 | 28.7 | 67.6
129605 | 2021-05-07 13:41 | 23.6673 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.123 | μmol/L | 30.3934 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.612 | 91900.3785 | 290868.7696 | 28.7 | 67.6
129615 | 2021-05-07 13:42 | 24.0002 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.9497 | μmol/L | 30.3934 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.623 | 91927.9048 | 290839.6701 | 28.7 | 67.6
129625 | 2021-05-07 13:42 | 24.3333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.8709 | μmol/L | 30.3934 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.628 | 91961.1744 | 290853.0007 | 28.7 | 67.6
129635 | 2021-05-07 13:42 | 24.6672 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.8253 | μmol/L | 30.3873 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.633 | 91973.0554 | 290872.1049 | 28.7 | 67.6
129645 | 2021-05-07 13:43 | 25.0001 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.9244 | μmol/L | 30.3689 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.633 | 91981.8316 | 290860.2002 | 28.7 | 67.6
129655 | 2021-05-07 13:43 | 25.3332 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.6727 | μmol/L | 30.3689 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.649 | 92059.4104 | 290847.3351 | 28.7 | 67.6
129665 | 2021-05-07 13:43 | 25.6668 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.5015 | μmol/L | 30.3628 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.662 | 92100.6554 | 290842.8861 | 28.7 | 67.6
129675 | 2021-05-07 13:44 | 26.0006 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.5659 | μmol/L | 30.3567 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.66 | 92094.4543 | 290846.9112 | 28.7 | 67.6
129685 | 2021-05-07 13:44 | 26.3337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.1361 | μmol/L | 30.3506 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.69 | 92213.3591 | 290835.3525 | 28.7 | 67.6
129695 | 2021-05-07 13:44 | 26.6669 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.0939 | μmol/L | 30.3628 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.688 | 92236.7073 | 290833.3891 | 28.7 | 67.6
129705 | 2021-05-07 13:45 | 26.9999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.2255 | μmol/L | 30.3384 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.688 | 92244.9131 | 290834.2976 | 28.7 | 67.6
129715 | 2021-05-07 13:45 | 27.3337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.2036 | μmol/L | 30.3018 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.702 | 92300.0639 | 290828.8577 | 28.7 | 67.6
129725 | 2021-05-07 13:45 | 27.6668 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.7079 | μmol/L | 30.3445 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.719 | 92363.9361 | 290818.467 | 28.7 | 67.6
129735 | 2021-05-07 13:46 | 28.0005 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.4584 | μmol/L | 30.3445 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.735 | 92436.2557 | 290830.2524 | 28.7 | 67.6
129745 | 2021-05-07 13:46 | 28.3336 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.3198 | μmol/L | 30.3384 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.746 | 92472.3758 | 290819.6859 | 28.7 | 67.6
129755 | 2021-05-07 13:46 | 28.6667 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.0228 | μmol/L | 30.3445 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.763 | 92548.7481 | 290809.668 | 28.7 | 67.6