## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-07 13:47

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
128896 | 2021-05-07 13:18 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.2846 | μmol/L | 30.7148 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.205 | 117099.2161 | 267809.3311 | 36.4 | 83.1
128906 | 2021-05-07 13:18 | 0.32738 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.5889 | μmol/L | 30.6779 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.522 | 119176.5968 | 267805.3824 | 36.4 | 83.1
128916 | 2021-05-07 13:18 | 0.66032 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 201.8272 | μmol/L | 30.6717 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.787 | 120908.33 | 267825.6609 | 36.4 | 83.1
128926 | 2021-05-07 13:19 | 0.9934 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 201.771 | μmol/L | 30.6779 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.788 | 120871.2747 | 267816.9313 | 36.4 | 83.1
128936 | 2021-05-07 13:19 | 1.3274 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.4485 | μmol/L | 30.598 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.778 | 120768.569 | 267832.0086 | 36.4 | 83.1
128946 | 2021-05-07 13:19 | 1.6605 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.2973 | μmol/L | 30.6287 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.72 | 120475.3877 | 267830.3718 | 36.4 | 83.1
128956 | 2021-05-07 13:20 | 1.9934 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.161 | μmol/L | 30.6533 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.719 | 120435.5253 | 267830.5492 | 36.4 | 83.1
128966 | 2021-05-07 13:20 | 2.3273 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.2562 | μmol/L | 30.641 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.718 | 120421.4174 | 267827.9907 | 36.4 | 83.1
128976 | 2021-05-07 13:20 | 2.6602 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.4105 | μmol/L | 30.5734 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.733 | 120513.1319 | 267827.713 | 36.4 | 83.1
128986 | 2021-05-07 13:21 | 2.9941 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.6908 | μmol/L | 30.5058 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.741 | 120553.1856 | 267828.4691 | 36.4 | 83.1
128996 | 2021-05-07 13:21 | 3.3271 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.7037 | μmol/L | 30.5181 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.736 | 120540.8906 | 267819.2486 | 36.4 | 83.1
129006 | 2021-05-07 13:21 | 3.6602 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.0815 | μmol/L | 30.5427 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.762 | 120712.3268 | 267800.4461 | 36.4 | 83.1
129016 | 2021-05-07 13:22 | 3.9934 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.5409 | μmol/L | 30.5488 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.79 | 120849.4999 | 267805.3827 | 36.4 | 83.1
129026 | 2021-05-07 13:22 | 4.327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.1832 | μmol/L | 30.5488 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.81 | 120987.3014 | 267806.6834 | 36.4 | 83.1
129036 | 2021-05-07 13:22 | 4.66 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.3467 | μmol/L | 30.5427 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.803 | 120951.6887 | 267793.8183 | 36.4 | 83.1
129046 | 2021-05-07 13:23 | 4.9939 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.5308 | μmol/L | 30.5304 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.797 | 120901.5983 | 267801.226 | 36.4 | 83.1
129056 | 2021-05-07 13:23 | 5.327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.0939 | μmol/L | 30.5488 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.815 | 121011.0165 | 267800.0878 | 36.4 | 83.1
129066 | 2021-05-07 13:23 | 5.66 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.3366 | μmol/L | 30.5242 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.81 | 120946.2294 | 267800.672 | 36.4 | 83.1
129076 | 2021-05-07 13:24 | 5.9939 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.6075 | μmol/L | 30.5181 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.797 | 120891.1076 | 267798.6327 | 36.4 | 83.1
129086 | 2021-05-07 13:24 | 6.3272 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.0993 | μmol/L | 30.4566 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.791 | 120837.983 | 267793.2851 | 36.4 | 83.1
129096 | 2021-05-07 13:24 | 6.66 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.42 | μmol/L | 30.4197 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.786 | 120813.985 | 267801.7035 | 36.4 | 83.1
129106 | 2021-05-07 13:25 | 6.9937 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.2251 | μmol/L | 30.4566 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.784 | 120804.5378 | 267788.9061 | 36.4 | 83.1
129116 | 2021-05-07 13:25 | 7.3268 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.8098 | μmol/L | 30.5058 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.79 | 120833.4049 | 267784.479 | 36.4 | 83.1
129126 | 2021-05-07 13:25 | 7.6606 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.8123 | μmol/L | 30.4566 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.807 | 120939.6177 | 267770.0133 | 36.4 | 83.1
129136 | 2021-05-07 13:26 | 7.9937 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.6255 | μmol/L | 30.4751 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.811 | 120960.9906 | 267775.9024 | 36.4 | 83.1
129146 | 2021-05-07 13:26 | 8.3266 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 201.8446 | μmol/L | 30.5058 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.844 | 121161.9288 | 267773.9231 | 36.4 | 83.1
129156 | 2021-05-07 13:26 | 8.6605 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 201.5273 | μmol/L | 30.4566 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.879 | 121378.2136 | 267776.2811 | 36.4 | 83.1
129166 | 2021-05-07 13:27 | 8.9936 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 201.6062 | μmol/L | 30.4382 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.881 | 121370.1825 | 267775.0048 | 36.4 | 83.1
129176 | 2021-05-07 13:27 | 9.3274 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 201.3319 | μmol/L | 30.4566 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.89 | 121412.5493 | 267764.1554 | 36.4 | 83.1
129186 | 2021-05-07 13:27 | 9.6605 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 201.6314 | μmol/L | 30.4628 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.871 | 121322.0484 | 267757.0581 | 36.4 | 83.1
129196 | 2021-05-07 13:28 | 9.9936 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 201.5017 | μmol/L | 30.4751 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.874 | 121348.8794 | 267754.7624 | 36.4 | 83.1
129206 | 2021-05-07 13:28 | 10.3268 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 201.2859 | μmol/L | 30.4812 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.884 | 121369.3482 | 267760.4525 | 36.4 | 83.1
129216 | 2021-05-07 13:28 | 10.6606 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 201.1945 | μmol/L | 30.4874 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.887 | 121400.0412 | 267750.7992 | 36.4 | 83.1
129226 | 2021-05-07 13:29 | 10.9937 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 201.0835 | μmol/L | 30.4566 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.904 | 121489.2733 | 267739.9125 | 36.4 | 83.1
129236 | 2021-05-07 13:29 | 11.3274 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 200.6587 | μmol/L | 30.4566 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.928 | 121669.9807 | 267743.4857 | 36.4 | 83.1
129246 | 2021-05-07 13:29 | 11.6602 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 200.0209 | μmol/L | 30.4628 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.962 | 121874.2807 | 267727.8881 | 36.4 | 83.1
129256 | 2021-05-07 13:30 | 11.9941 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.5436 | μmol/L | 30.4689 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.987 | 122031.8479 | 267740.8872 | 36.4 | 83.1
129266 | 2021-05-07 13:30 | 12.327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.1606 | μmol/L | 30.4628 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.011 | 122187.7253 | 267716.0646 | 36.4 | 83.1
129276 | 2021-05-07 13:30 | 12.66 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.7289 | μmol/L | 30.4505 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.04 | 122345.8114 | 267715.5554 | 36.4 | 83.1
129286 | 2021-05-07 13:31 | 12.9939 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.6859 | μmol/L | 30.4689 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.036 | 122362.7695 | 267728.54 | 36.4 | 83.1
129296 | 2021-05-07 13:31 | 13.3273 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.1832 | μmol/L | 30.4628 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.067 | 122529.8171 | 267701.7702 | 36.4 | 83.1
129306 | 2021-05-07 13:31 | 13.6606 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.4847 | μmol/L | 30.4505 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.054 | 122462.4423 | 267706.8946 | 36.4 | 83.1
129316 | 2021-05-07 13:32 | 13.9936 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.8096 | μmol/L | 30.4259 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.044 | 122381.5504 | 267697.1294 | 36.4 | 83.1
129326 | 2021-05-07 13:32 | 14.3268 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.8216 | μmol/L | 30.4382 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.039 | 122336.9041 | 267693.1019 | 36.4 | 83.1
129336 | 2021-05-07 13:32 | 14.6608 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.94 | μmol/L | 30.4075 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.043 | 122378.4525 | 267690.3205 | 36.4 | 83.1
129346 | 2021-05-07 13:33 | 14.9938 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.4487 | μmol/L | 30.4136 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.069 | 122496.8247 | 267693.9591 | 36.4 | 83.1
129356 | 2021-05-07 13:33 | 15.3268 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.9614 | μmol/L | 30.3583 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.059 | 122432.2448 | 267686.6344 | 36.4 | 83.1
129366 | 2021-05-07 13:33 | 15.6601 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.8472 | μmol/L | 30.4197 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.044 | 122350.5051 | 267687.9248 | 36.4 | 83.1
129376 | 2021-05-07 13:34 | 15.9939 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.8069 | μmol/L | 30.432 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.042 | 122335.0024 | 267677.2088 | 36.4 | 83.1
129386 | 2021-05-07 13:34 | 16.3269 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.9897 | μmol/L | 30.4136 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.038 | 122311.3783 | 267678.282 | 36.4 | 83.1
129396 | 2021-05-07 13:34 | 16.6607 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.8741 | μmol/L | 30.4382 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.036 | 122321.3446 | 267664.1086 | 36.4 | 83.1
129406 | 2021-05-07 13:35 | 16.9936 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.5975 | μmol/L | 30.432 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.054 | 122388.6991 | 267669.4174 | 36.4 | 83.1
129416 | 2021-05-07 13:35 | 17.3266 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.4378 | μmol/L | 30.4382 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.061 | 122436.4754 | 267654.6592 | 36.4 | 83.1
129426 | 2021-05-07 13:35 | 17.6605 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.1794 | μmol/L | 30.432 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.078 | 122540.2672 | 267661.1983 | 36.4 | 83.1
129436 | 2021-05-07 13:36 | 17.9937 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.1501 | μmol/L | 30.4197 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.084 | 122579.4141 | 267654.3633 | 36.4 | 83.1
129446 | 2021-05-07 13:36 | 18.3274 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 197.9763 | μmol/L | 30.4197 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.094 | 122641.3684 | 267657.2212 | 36.4 | 83.1
129456 | 2021-05-07 13:36 | 18.6605 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 197.9215 | μmol/L | 30.4259 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.095 | 122656.868 | 267654.1275 | 36.4 | 83.1
129466 | 2021-05-07 13:37 | 18.9935 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 197.7826 | μmol/L | 30.4259 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.103 | 122699.6456 | 267652.1802 | 36.4 | 83.1
129476 | 2021-05-07 13:37 | 19.3273 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 197.6758 | μmol/L | 30.432 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.107 | 122722.9739 | 267642.2775 | 36.4 | 83.1
129486 | 2021-05-07 13:37 | 19.6601 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 197.7561 | μmol/L | 30.4075 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.111 | 122716.0929 | 267625.714 | 36.4 | 83.1
129496 | 2021-05-07 13:38 | 19.994 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 197.5427 | μmol/L | 30.4197 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.119 | 122759.766 | 267632.247 | 36.4 | 83.1
129506 | 2021-05-07 13:38 | 20.327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 197.5399 | μmol/L | 30.4259 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.117 | 122783.9788 | 267640.7912 | 36.4 | 83.1
129516 | 2021-05-07 13:38 | 20.66 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 197.2858 | μmol/L | 30.4136 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.136 | 122870.4138 | 267623.4075 | 36.4 | 83.1
129526 | 2021-05-07 13:39 | 20.9939 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 197.3086 | μmol/L | 30.4013 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.139 | 122903.2853 | 267619.3759 | 36.4 | 83.1
129536 | 2021-05-07 13:39 | 21.3268 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 197.1731 | μmol/L | 30.3952 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.149 | 122966.4894 | 267606.0124 | 36.4 | 83.1
129546 | 2021-05-07 13:39 | 21.6604 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 197.0695 | μmol/L | 30.3952 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.155 | 123005.6686 | 267604.1963 | 36.4 | 83.1
129556 | 2021-05-07 13:40 | 21.9934 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.986 | μmol/L | 30.389 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.162 | 123033.6803 | 267604.9464 | 36.4 | 83.1
129566 | 2021-05-07 13:40 | 22.3266 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.7791 | μmol/L | 30.389 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.174 | 123088.1453 | 267615.3614 | 36.4 | 83.1
129576 | 2021-05-07 13:40 | 22.6603 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.7818 | μmol/L | 30.3829 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.176 | 123113.6196 | 267597.6531 | 36.4 | 83.1
129586 | 2021-05-07 13:41 | 22.9935 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.7674 | μmol/L | 30.3767 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.179 | 123131.2354 | 267594.4121 | 36.4 | 83.1
129596 | 2021-05-07 13:41 | 23.3267 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.7874 | μmol/L | 30.3706 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.18 | 123108.8489 | 267599.8739 | 36.4 | 83.1
129606 | 2021-05-07 13:41 | 23.6607 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.9308 | μmol/L | 30.3583 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.176 | 123122.0973 | 267587.0203 | 36.4 | 83.1
129616 | 2021-05-07 13:42 | 23.9937 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.6806 | μmol/L | 30.3399 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.197 | 123221.5982 | 267581.9605 | 36.4 | 83.1
129626 | 2021-05-07 13:42 | 24.3274 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.5718 | μmol/L | 30.3521 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.199 | 123223.2309 | 267567.488 | 36.4 | 83.1
129636 | 2021-05-07 13:42 | 24.6605 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.5946 | μmol/L | 30.3399 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.202 | 123265.7977 | 267585.3478 | 36.4 | 83.1
129646 | 2021-05-07 13:43 | 24.9934 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.1225 | μmol/L | 30.3583 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.223 | 123374.2698 | 267572.9516 | 36.4 | 83.1
129656 | 2021-05-07 13:43 | 25.3269 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.8112 | μmol/L | 30.3644 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.239 | 123477.6208 | 267595.7067 | 36.4 | 83.1
129666 | 2021-05-07 13:43 | 25.6606 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.814 | μmol/L | 30.3583 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.241 | 123486.247 | 267587.4552 | 36.4 | 83.1
129676 | 2021-05-07 13:44 | 25.9935 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.5802 | μmol/L | 30.346 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.259 | 123605.1988 | 267572.7562 | 36.4 | 83.1
129686 | 2021-05-07 13:44 | 26.3274 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.1904 | μmol/L | 30.3399 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.284 | 123786.0392 | 267564.1748 | 36.4 | 83.1
129696 | 2021-05-07 13:44 | 26.6606 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 194.4931 | μmol/L | 30.3399 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.325 | 124016.0164 | 267567.2285 | 36.4 | 83.1
129706 | 2021-05-07 13:45 | 26.9933 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 193.2763 | μmol/L | 30.3399 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.397 | 124434.9625 | 267562.1521 | 36.4 | 83.1
129716 | 2021-05-07 13:45 | 27.3273 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.7663 | μmol/L | 30.3521 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.423 | 124635.1217 | 267559.3586 | 36.4 | 83.1
129726 | 2021-05-07 13:45 | 27.6603 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.6212 | μmol/L | 30.3399 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.436 | 124725.4457 | 267559.1261 | 36.4 | 83.1
129736 | 2021-05-07 13:46 | 27.9933 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 193.0326 | μmol/L | 30.3214 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.418 | 124605.6537 | 267559.8928 | 36.4 | 83.1
129746 | 2021-05-07 13:46 | 28.3271 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 193.3719 | μmol/L | 30.3153 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.4 | 124484.1137 | 267553.5157 | 36.4 | 83.1
129756 | 2021-05-07 13:46 | 28.6602 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 193.5547 | μmol/L | 30.2845 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.4 | 124460.1811 | 267558.1305 | 36.4 | 83.1