## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-07 13:47

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
128897 | 2021-05-07 13:18 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.2072 | μmol/L | 30.6789 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.96 | 95809.0406 | 294062.6435 | 30.45 | 114.2
128907 | 2021-05-07 13:18 | 0.33665 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.1729 | μmol/L | 30.6665 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.026 | 96200.7147 | 294055.8003 | 30.45 | 114.2
128917 | 2021-05-07 13:18 | 0.66957 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.3695 | μmol/L | 30.685 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.068 | 96412.1014 | 294060.4186 | 30.45 | 114.2
128927 | 2021-05-07 13:19 | 1.0034 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.4122 | μmol/L | 30.6789 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.128 | 96693.3034 | 294062.6742 | 30.45 | 114.2
128937 | 2021-05-07 13:19 | 1.3364 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.84 | μmol/L | 30.6665 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.167 | 96901.4422 | 294071.4456 | 30.45 | 114.2
128947 | 2021-05-07 13:19 | 1.6697 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.8312 | μmol/L | 30.7035 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.216 | 97135.9643 | 294075.0109 | 30.45 | 114.2
128957 | 2021-05-07 13:20 | 2.0029 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.0505 | μmol/L | 30.7035 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.264 | 97396.8833 | 294083.0515 | 30.45 | 114.2
128967 | 2021-05-07 13:20 | 2.3367 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 182.6617 | μmol/L | 30.7035 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.288 | 97502.0095 | 294087.6869 | 30.45 | 114.2
128977 | 2021-05-07 13:20 | 2.6699 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 182.1448 | μmol/L | 30.7035 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.32 | 97668.2879 | 294074.5846 | 30.45 | 114.2
128987 | 2021-05-07 13:21 | 3.0036 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.6392 | μmol/L | 30.6727 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.362 | 97862.9389 | 294081.4889 | 30.45 | 114.2
128997 | 2021-05-07 13:21 | 3.3365 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.3381 | μmol/L | 30.6604 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.385 | 98001.5576 | 294072.6738 | 30.45 | 114.2
129007 | 2021-05-07 13:21 | 3.6697 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.079 | μmol/L | 30.6172 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.416 | 98137.8422 | 294070.9105 | 30.45 | 114.2
129017 | 2021-05-07 13:22 | 4.0028 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.8795 | μmol/L | 30.5371 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.456 | 98369.2019 | 294073.0994 | 30.45 | 114.2
129027 | 2021-05-07 13:22 | 4.3366 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.3658 | μmol/L | 30.5494 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.484 | 98504.4797 | 294062.4098 | 30.45 | 114.2
129037 | 2021-05-07 13:22 | 4.6696 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 179.9827 | μmol/L | 30.5556 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.506 | 98612.3469 | 294060.9057 | 30.45 | 114.2
129047 | 2021-05-07 13:23 | 5.0032 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.3815 | μmol/L | 30.4446 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.519 | 98686.6484 | 294056.3513 | 30.45 | 114.2
129057 | 2021-05-07 13:23 | 5.3363 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 179.4063 | μmol/L | 30.5247 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.553 | 98817.9907 | 294055.6014 | 30.45 | 114.2
129067 | 2021-05-07 13:23 | 5.67 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 179.7964 | μmol/L | 30.4384 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.558 | 98871.0676 | 294063.286 | 30.45 | 114.2
129077 | 2021-05-07 13:24 | 6.0029 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 179.1469 | μmol/L | 30.4446 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.597 | 99096.5308 | 294065.6909 | 30.45 | 114.2
129087 | 2021-05-07 13:24 | 6.3369 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.6044 | μmol/L | 30.4693 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.623 | 99227.4879 | 294073.1532 | 30.45 | 114.2
129097 | 2021-05-07 13:24 | 6.6698 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.1556 | μmol/L | 30.5001 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.641 | 99331.139 | 294057.2574 | 30.45 | 114.2
129107 | 2021-05-07 13:25 | 7.0035 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.6134 | μmol/L | 30.3891 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.65 | 99394.7825 | 294041.7013 | 30.45 | 114.2
129117 | 2021-05-07 13:25 | 7.3366 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.2097 | μmol/L | 30.3768 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.68 | 99515.7063 | 294054.0101 | 30.45 | 114.2
129127 | 2021-05-07 13:25 | 7.6702 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.4585 | μmol/L | 30.4323 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.709 | 99688.4249 | 294037.2548 | 30.45 | 114.2
129137 | 2021-05-07 13:26 | 8.0031 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.2251 | μmol/L | 30.4323 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.724 | 99751.9446 | 294040.1974 | 30.45 | 114.2
129147 | 2021-05-07 13:26 | 8.3361 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.3204 | μmol/L | 30.4261 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.72 | 99753.789 | 294036.14 | 30.45 | 114.2
129157 | 2021-05-07 13:26 | 8.67 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.6356 | μmol/L | 30.3645 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.721 | 99730.7873 | 294022.3033 | 30.45 | 114.2
129167 | 2021-05-07 13:27 | 9.0029 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.8673 | μmol/L | 30.3213 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.721 | 99717.0623 | 294012.0638 | 30.45 | 114.2
129177 | 2021-05-07 13:27 | 9.3361 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.5051 | μmol/L | 30.383 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.723 | 99706.3471 | 294016.9926 | 30.45 | 114.2
129187 | 2021-05-07 13:27 | 9.6701 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.2503 | μmol/L | 30.4508 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.716 | 99698.5854 | 294002.1912 | 30.45 | 114.2
129197 | 2021-05-07 13:28 | 10.0031 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.8048 | μmol/L | 30.3213 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.725 | 99736.8123 | 294000.2053 | 30.45 | 114.2
129207 | 2021-05-07 13:28 | 10.3364 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.3301 | μmol/L | 30.3953 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.73 | 99781.8395 | 294008.7379 | 30.45 | 114.2
129217 | 2021-05-07 13:28 | 10.6702 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.1804 | μmol/L | 30.3768 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.746 | 99855.1869 | 294015.8396 | 30.45 | 114.2
129227 | 2021-05-07 13:29 | 11.0033 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.0328 | μmol/L | 30.3521 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.764 | 99939.6505 | 294005.5378 | 30.45 | 114.2
129237 | 2021-05-07 13:29 | 11.3362 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.4575 | μmol/L | 30.4076 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.782 | 100018.503 | 293996.1695 | 30.45 | 114.2
129247 | 2021-05-07 13:29 | 11.67 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.3766 | μmol/L | 30.3706 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.8 | 100105.0112 | 293997.9016 | 30.45 | 114.2
129257 | 2021-05-07 13:30 | 12.0031 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.5544 | μmol/L | 30.346 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.797 | 100110.8285 | 293993.491 | 30.45 | 114.2
129267 | 2021-05-07 13:30 | 12.3369 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.1795 | μmol/L | 30.4076 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.8 | 100122.225 | 293980.4825 | 30.45 | 114.2
129277 | 2021-05-07 13:30 | 12.6698 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.0774 | μmol/L | 30.3891 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.813 | 100173.2543 | 293984.5342 | 30.45 | 114.2
129287 | 2021-05-07 13:31 | 13.0029 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.0794 | μmol/L | 30.383 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.815 | 100177.744 | 293981.9809 | 30.45 | 114.2
129297 | 2021-05-07 13:31 | 13.3363 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.6998 | μmol/L | 30.4138 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.829 | 100232.7414 | 293988.681 | 30.45 | 114.2
129307 | 2021-05-07 13:31 | 13.6695 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.6403 | μmol/L | 30.4076 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.835 | 100273.4345 | 293964.813 | 30.45 | 114.2
129317 | 2021-05-07 13:32 | 14.0034 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.6348 | μmol/L | 30.3768 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.846 | 100326.1294 | 293969.3295 | 30.45 | 114.2
129327 | 2021-05-07 13:32 | 14.3366 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.1398 | μmol/L | 30.3891 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.874 | 100447.1715 | 293966.1676 | 30.45 | 114.2
129337 | 2021-05-07 13:32 | 14.6697 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.9641 | μmol/L | 30.3645 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.894 | 100597.8131 | 293950.2741 | 30.45 | 114.2
129347 | 2021-05-07 13:33 | 15.0034 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.7481 | μmol/L | 30.3706 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.906 | 100648.4386 | 293945.7357 | 30.45 | 114.2
129357 | 2021-05-07 13:33 | 15.3366 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.7043 | μmol/L | 30.3645 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.911 | 100672.6641 | 293944.3785 | 30.45 | 114.2
129367 | 2021-05-07 13:33 | 15.6697 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.8172 | μmol/L | 30.346 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.91 | 100650.576 | 293933.771 | 30.45 | 114.2
129377 | 2021-05-07 13:34 | 16.0034 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.1351 | μmol/L | 30.309 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.902 | 100631.1891 | 293938.3066 | 30.45 | 114.2
129387 | 2021-05-07 13:34 | 16.3366 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.2828 | μmol/L | 30.2782 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.903 | 100627.8976 | 293919.89 | 30.45 | 114.2
129397 | 2021-05-07 13:34 | 16.6696 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.9129 | μmol/L | 30.3336 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.908 | 100652.9632 | 293925.1486 | 30.45 | 114.2
129407 | 2021-05-07 13:35 | 17.0035 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.0472 | μmol/L | 30.2967 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.912 | 100682.4654 | 293922.0995 | 30.45 | 114.2
129417 | 2021-05-07 13:35 | 17.3365 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.516 | μmol/L | 30.3336 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.934 | 100759.4267 | 293924.9113 | 30.45 | 114.2
129427 | 2021-05-07 13:35 | 17.6696 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.186 | μmol/L | 30.3645 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.945 | 100800.421 | 293910.7242 | 30.45 | 114.2
129437 | 2021-05-07 13:36 | 18.0035 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.6951 | μmol/L | 30.3336 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.988 | 101052.2378 | 293916.0334 | 30.45 | 114.2
129447 | 2021-05-07 13:36 | 18.3366 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.371 | μmol/L | 30.3521 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.003 | 101141.917 | 293901.2904 | 30.45 | 114.2
129457 | 2021-05-07 13:36 | 18.6695 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.2672 | μmol/L | 30.346 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.012 | 101173.0592 | 293898.8023 | 30.45 | 114.2
129467 | 2021-05-07 13:37 | 19.0033 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.3015 | μmol/L | 30.3336 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.014 | 101199.1435 | 293883.9588 | 30.45 | 114.2
129477 | 2021-05-07 13:37 | 19.3362 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.0537 | μmol/L | 30.3521 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.024 | 101223.076 | 293881.3576 | 30.45 | 114.2
129487 | 2021-05-07 13:37 | 19.6699 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.8988 | μmol/L | 30.3645 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.03 | 101232.0017 | 293872.7192 | 30.45 | 114.2
129497 | 2021-05-07 13:38 | 20.003 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.9673 | μmol/L | 30.3398 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.034 | 101256.3027 | 293893.8391 | 30.45 | 114.2
129507 | 2021-05-07 13:38 | 20.3367 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.7563 | μmol/L | 30.3398 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.048 | 101301.2162 | 293880.3355 | 30.45 | 114.2
129517 | 2021-05-07 13:38 | 20.6697 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.7906 | μmol/L | 30.3275 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.05 | 101327.1199 | 293874.0338 | 30.45 | 114.2
129527 | 2021-05-07 13:39 | 21.0035 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.8118 | μmol/L | 30.309 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.055 | 101357.6346 | 293873.6411 | 30.45 | 114.2
129537 | 2021-05-07 13:39 | 21.3364 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.6162 | μmol/L | 30.309 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.068 | 101389.5351 | 293857.2907 | 30.45 | 114.2
129547 | 2021-05-07 13:39 | 21.6702 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.3757 | μmol/L | 30.309 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.084 | 101430.4284 | 293862.8321 | 30.45 | 114.2
129557 | 2021-05-07 13:40 | 22.0031 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.1424 | μmol/L | 30.3336 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.091 | 101508.2623 | 293850.2542 | 30.45 | 114.2
129567 | 2021-05-07 13:40 | 22.3364 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.8471 | μmol/L | 30.3213 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.115 | 101597.0345 | 293848.8982 | 30.45 | 114.2
129577 | 2021-05-07 13:40 | 22.6695 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.8234 | μmol/L | 30.3028 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.123 | 101648.7224 | 293851.0595 | 30.45 | 114.2
129587 | 2021-05-07 13:41 | 23.0033 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.1884 | μmol/L | 30.3275 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.157 | 101799.4652 | 293841.7021 | 30.45 | 114.2
129597 | 2021-05-07 13:41 | 23.3365 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.5327 | μmol/L | 30.3336 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.199 | 101993.5245 | 293841.4632 | 30.45 | 114.2
129607 | 2021-05-07 13:41 | 23.67 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.2261 | μmol/L | 30.3213 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.224 | 102205.0535 | 293832.5367 | 30.45 | 114.2
129617 | 2021-05-07 13:42 | 24.003 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.3466 | μmol/L | 30.3151 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.218 | 102144.1047 | 293817.3216 | 30.45 | 114.2
129627 | 2021-05-07 13:42 | 24.3368 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.6576 | μmol/L | 30.272 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.212 | 102113.9158 | 293819.263 | 30.45 | 114.2
129637 | 2021-05-07 13:42 | 24.6698 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.7274 | μmol/L | 30.2412 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.218 | 102139.397 | 293825.7466 | 30.45 | 114.2
129647 | 2021-05-07 13:43 | 25.0029 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.3382 | μmol/L | 30.2967 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.225 | 102172.2209 | 293818.048 | 30.45 | 114.2
129657 | 2021-05-07 13:43 | 25.3367 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.465 | μmol/L | 30.272 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.225 | 102193.8009 | 293832.6187 | 30.45 | 114.2
129667 | 2021-05-07 13:43 | 25.6697 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.6322 | μmol/L | 30.2597 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.218 | 102149.4527 | 293835.3579 | 30.45 | 114.2
129677 | 2021-05-07 13:44 | 26.0035 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.7444 | μmol/L | 30.235 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.219 | 102141.0359 | 293816.8944 | 30.45 | 114.2
129687 | 2021-05-07 13:44 | 26.3366 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.5433 | μmol/L | 30.2597 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.224 | 102166.357 | 293814.5342 | 30.45 | 114.2
129697 | 2021-05-07 13:44 | 26.6696 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.4269 | μmol/L | 30.2535 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.234 | 102223.575 | 293818.9605 | 30.45 | 114.2
129707 | 2021-05-07 13:45 | 27.0035 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.5601 | μmol/L | 30.2104 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.24 | 102254.1857 | 293813.3961 | 30.45 | 114.2
129717 | 2021-05-07 13:45 | 27.3366 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.505 | μmol/L | 30.198 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.248 | 102286.5722 | 293798.3867 | 30.45 | 114.2
129727 | 2021-05-07 13:45 | 27.6699 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.106 | μmol/L | 30.2412 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.26 | 102338.5759 | 293798.6723 | 30.45 | 114.2
129737 | 2021-05-07 13:46 | 28.0034 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.0512 | μmol/L | 30.2288 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.268 | 102347.624 | 293802.5513 | 30.45 | 114.2
129747 | 2021-05-07 13:46 | 28.3364 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.9605 | μmol/L | 30.235 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.272 | 102386.1135 | 293794.7208 | 30.45 | 114.2
129757 | 2021-05-07 13:46 | 28.6703 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.87 | μmol/L | 30.2412 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.276 | 102415.7883 | 293782.2103 | 30.45 | 114.2