## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-07 13:47

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
128899 | 2021-05-07 13:18 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.7076 | μmol/L | 30.7637 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.425 | 132590.0634 | 302615.3814 | 33.25 | 68.6
128909 | 2021-05-07 13:18 | 0.32711 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.0311 | μmol/L | 30.6477 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.507 | 133263.9466 | 302620.4174 | 33.25 | 68.6
128919 | 2021-05-07 13:18 | 0.66013 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.5722 | μmol/L | 30.6905 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.58 | 133802.6485 | 302624.5321 | 33.25 | 68.6
128929 | 2021-05-07 13:19 | 0.99397 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.9348 | μmol/L | 30.7576 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.656 | 134333.2545 | 302640.3349 | 33.25 | 68.6
128939 | 2021-05-07 13:19 | 1.3268 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.7136 | μmol/L | 30.6477 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.709 | 134746.7099 | 302644.2818 | 33.25 | 68.6
128949 | 2021-05-07 13:19 | 1.6601 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.7131 | μmol/L | 30.6477 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.833 | 135632.6265 | 302651.1034 | 33.25 | 68.6
128959 | 2021-05-07 13:20 | 1.994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.6383 | μmol/L | 30.7149 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.261 | 138725.3179 | 302657.1255 | 33.25 | 68.6
128969 | 2021-05-07 13:20 | 2.327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.7386 | μmol/L | 30.7454 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.309 | 139082.1082 | 302628.5096 | 33.25 | 68.6
128979 | 2021-05-07 13:20 | 2.6601 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.3446 | μmol/L | 30.666 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.298 | 139007.9362 | 302639.3843 | 33.25 | 68.6
128989 | 2021-05-07 13:21 | 2.994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.8243 | μmol/L | 30.6538 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.271 | 138831.0115 | 302636.3655 | 33.25 | 68.6
128999 | 2021-05-07 13:21 | 3.3272 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.6025 | μmol/L | 30.6966 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.27 | 138780.3702 | 302612.148 | 33.25 | 68.6
129009 | 2021-05-07 13:21 | 3.6601 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 179.2321 | μmol/L | 30.55 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.282 | 138856.097 | 302628.6384 | 33.25 | 68.6
129019 | 2021-05-07 13:22 | 3.9939 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.7479 | μmol/L | 30.6538 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.276 | 138832.8861 | 302607.9054 | 33.25 | 68.6
129029 | 2021-05-07 13:22 | 4.3269 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.9313 | μmol/L | 30.6538 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.264 | 138742.6898 | 302609.713 | 33.25 | 68.6
129039 | 2021-05-07 13:22 | 4.6608 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 179.1401 | μmol/L | 30.6355 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.257 | 138731.0103 | 302609.4715 | 33.25 | 68.6
129049 | 2021-05-07 13:23 | 4.9937 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.9097 | μmol/L | 30.5805 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.292 | 138983.5254 | 302605.0173 | 33.25 | 68.6
129059 | 2021-05-07 13:23 | 5.3274 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 179.7076 | μmol/L | 30.55 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.251 | 138699.266 | 302604.4366 | 33.25 | 68.6
129069 | 2021-05-07 13:23 | 5.6606 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 179.8417 | μmol/L | 30.5867 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.229 | 138509.3914 | 302617.339 | 33.25 | 68.6
129079 | 2021-05-07 13:24 | 5.9936 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 179.9861 | μmol/L | 30.489 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.255 | 138708.7879 | 302618.5414 | 33.25 | 68.6
129089 | 2021-05-07 13:24 | 6.3274 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 179.0604 | μmol/L | 30.5561 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.291 | 138937.6303 | 302618.018 | 33.25 | 68.6
129099 | 2021-05-07 13:24 | 6.6604 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 179.0746 | μmol/L | 30.5867 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.279 | 138891.6974 | 302604.8954 | 33.25 | 68.6
129109 | 2021-05-07 13:25 | 6.994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 179.0495 | μmol/L | 30.605 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.274 | 138841.2069 | 302595.4904 | 33.25 | 68.6
129119 | 2021-05-07 13:25 | 7.3271 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 179.7401 | μmol/L | 30.489 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.271 | 138836.4912 | 302607.3227 | 33.25 | 68.6
129129 | 2021-05-07 13:25 | 7.66 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 179.5099 | μmol/L | 30.489 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.286 | 138907.0018 | 302595.8656 | 33.25 | 68.6
129139 | 2021-05-07 13:26 | 7.9938 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.912 | μmol/L | 30.5195 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.314 | 139118.5134 | 302599.2151 | 33.25 | 68.6
129149 | 2021-05-07 13:26 | 8.3272 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.2368 | μmol/L | 30.5561 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.345 | 139316.6424 | 302586.0936 | 33.25 | 68.6
129159 | 2021-05-07 13:26 | 8.6603 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.2031 | μmol/L | 30.5622 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.345 | 139291.8703 | 302571.9098 | 33.25 | 68.6
129169 | 2021-05-07 13:27 | 8.9933 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 179.055 | μmol/L | 30.5378 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.298 | 139012.1431 | 302578.213 | 33.25 | 68.6
129179 | 2021-05-07 13:27 | 9.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.889 | μmol/L | 30.5622 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.3 | 139002.8383 | 302564.5469 | 33.25 | 68.6
129189 | 2021-05-07 13:27 | 9.6604 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.6122 | μmol/L | 30.5378 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.327 | 139192.4823 | 302544.2532 | 33.25 | 68.6
129199 | 2021-05-07 13:28 | 9.9934 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.3479 | μmol/L | 30.5195 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.351 | 139362.5942 | 302556.1301 | 33.25 | 68.6
129209 | 2021-05-07 13:28 | 10.3274 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.0624 | μmol/L | 30.5134 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.372 | 139518.0747 | 302550.9659 | 33.25 | 68.6
129219 | 2021-05-07 13:28 | 10.6603 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.8196 | μmol/L | 30.5134 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.388 | 139621.6159 | 302537.1309 | 33.25 | 68.6
129229 | 2021-05-07 13:29 | 10.9934 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.4524 | μmol/L | 30.4645 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.43 | 139892.7515 | 302544.8894 | 33.25 | 68.6
129239 | 2021-05-07 13:29 | 11.3271 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.283 | μmol/L | 30.4706 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.439 | 139919.1467 | 302540.7957 | 33.25 | 68.6
129249 | 2021-05-07 13:29 | 11.6601 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.2013 | μmol/L | 30.5378 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.42 | 139777.6388 | 302530.5533 | 33.25 | 68.6
129259 | 2021-05-07 13:30 | 11.9939 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.539 | μmol/L | 30.5561 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.391 | 139570.2275 | 302539.5346 | 33.25 | 68.6
129269 | 2021-05-07 13:30 | 12.3268 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.7477 | μmol/L | 30.5622 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.375 | 139454.7818 | 302518.0224 | 33.25 | 68.6
129279 | 2021-05-07 13:30 | 12.6608 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.4227 | μmol/L | 30.5195 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.412 | 139636.8395 | 302509.6606 | 33.25 | 68.6
129289 | 2021-05-07 13:31 | 12.9938 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.4596 | μmol/L | 30.5073 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.414 | 139680.2169 | 302519.247 | 33.25 | 68.6
129299 | 2021-05-07 13:31 | 13.3274 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.2834 | μmol/L | 30.5256 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.419 | 139703.6885 | 302505.3839 | 33.25 | 68.6
129309 | 2021-05-07 13:31 | 13.6604 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 176.9717 | μmol/L | 30.5439 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.433 | 139837.014 | 302504.5106 | 33.25 | 68.6
129319 | 2021-05-07 13:32 | 13.9941 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 176.8312 | μmol/L | 30.5805 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.429 | 139794.6073 | 302493.75 | 33.25 | 68.6
129329 | 2021-05-07 13:32 | 14.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.0857 | μmol/L | 30.5561 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.421 | 139742.9028 | 302476.1094 | 33.25 | 68.6
129339 | 2021-05-07 13:32 | 14.6602 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.3774 | μmol/L | 30.5195 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.415 | 139698.4583 | 302473.3511 | 33.25 | 68.6
129349 | 2021-05-07 13:33 | 14.9934 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.0905 | μmol/L | 30.5195 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.434 | 139781.1306 | 302476.4616 | 33.25 | 68.6
129359 | 2021-05-07 13:33 | 15.3273 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 176.9717 | μmol/L | 30.5439 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.433 | 139811.3197 | 302484.4661 | 33.25 | 68.6
129369 | 2021-05-07 13:33 | 15.6605 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 176.9985 | μmol/L | 30.55 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.429 | 139787.7501 | 302472.6055 | 33.25 | 68.6
129379 | 2021-05-07 13:34 | 15.9935 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.3387 | μmol/L | 30.5073 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.422 | 139730.0583 | 302471.5983 | 33.25 | 68.6
129389 | 2021-05-07 13:34 | 16.3274 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.0085 | μmol/L | 30.5317 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.435 | 139807.2353 | 302471.2724 | 33.25 | 68.6
129399 | 2021-05-07 13:34 | 16.6604 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 176.7642 | μmol/L | 30.5378 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.449 | 139909.5063 | 302450.9721 | 33.25 | 68.6
129409 | 2021-05-07 13:35 | 16.9941 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 176.7941 | μmol/L | 30.4828 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.467 | 139997.8247 | 302453.8893 | 33.25 | 68.6
129419 | 2021-05-07 13:35 | 17.3271 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 176.7724 | μmol/L | 30.4951 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.464 | 139995.0212 | 302449.3805 | 33.25 | 68.6
129429 | 2021-05-07 13:35 | 17.6601 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 176.7255 | μmol/L | 30.4706 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.476 | 140076.3525 | 302442.7731 | 33.25 | 68.6
129439 | 2021-05-07 13:36 | 17.9938 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 176.6419 | μmol/L | 30.4584 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.486 | 140157.0747 | 302446.2262 | 33.25 | 68.6
129449 | 2021-05-07 13:36 | 18.3269 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 176.3551 | μmol/L | 30.489 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.494 | 140194.8242 | 302434.3663 | 33.25 | 68.6
129459 | 2021-05-07 13:36 | 18.6607 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 176.1019 | μmol/L | 30.5134 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.502 | 140244.7004 | 302444.2852 | 33.25 | 68.6
129469 | 2021-05-07 13:37 | 18.9938 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 175.6101 | μmol/L | 30.5378 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.526 | 140387.6494 | 302431.5016 | 33.25 | 68.6
129479 | 2021-05-07 13:37 | 19.3267 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 175.5574 | μmol/L | 30.4706 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.554 | 140584.8097 | 302420.756 | 33.25 | 68.6
129489 | 2021-05-07 13:37 | 19.6605 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 175.3238 | μmol/L | 30.489 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.563 | 140652.3473 | 302424.4485 | 33.25 | 68.6
129499 | 2021-05-07 13:38 | 19.9935 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 175.2676 | μmol/L | 30.4828 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.569 | 140673.5132 | 302394.2191 | 33.25 | 68.6
129509 | 2021-05-07 13:38 | 20.3274 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 174.8778 | μmol/L | 30.489 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.593 | 140860.9481 | 302404.593 | 33.25 | 68.6
129519 | 2021-05-07 13:38 | 20.6604 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 174.8878 | μmol/L | 30.4706 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.599 | 140891.397 | 302396.7756 | 33.25 | 68.6
129529 | 2021-05-07 13:39 | 20.9941 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 174.817 | μmol/L | 30.4645 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.606 | 140921.5776 | 302410.0641 | 33.25 | 68.6
129539 | 2021-05-07 13:39 | 21.3269 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 174.6768 | μmol/L | 30.4767 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.611 | 140958.1605 | 302396.0625 | 33.25 | 68.6
129549 | 2021-05-07 13:39 | 21.6606 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 174.4014 | μmol/L | 30.5195 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.614 | 140994.8929 | 302391.3448 | 33.25 | 68.6
129559 | 2021-05-07 13:40 | 21.9939 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.3841 | μmol/L | 30.5195 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.683 | 141417.3909 | 302380.8432 | 33.25 | 68.6
129569 | 2021-05-07 13:40 | 22.327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.1335 | μmol/L | 30.4951 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.709 | 141601.6211 | 302377.3248 | 33.25 | 68.6
129579 | 2021-05-07 13:40 | 22.6607 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.3378 | μmol/L | 30.4706 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.704 | 141604.567 | 302370.3537 | 33.25 | 68.6
129589 | 2021-05-07 13:41 | 22.9937 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.5718 | μmol/L | 30.4462 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.697 | 141585.9774 | 302384.1243 | 33.25 | 68.6
129599 | 2021-05-07 13:41 | 23.3271 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.4847 | μmol/L | 30.4706 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.694 | 141530.5633 | 302375.21 | 33.25 | 68.6
129609 | 2021-05-07 13:41 | 23.6601 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.1516 | μmol/L | 30.489 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.71 | 141607.4381 | 302360.095 | 33.25 | 68.6
129619 | 2021-05-07 13:42 | 23.9938 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.1212 | μmol/L | 30.4645 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.721 | 141724.4111 | 302363.5142 | 33.25 | 68.6
129629 | 2021-05-07 13:42 | 24.3268 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.7484 | μmol/L | 30.4767 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.742 | 141842.3234 | 302362.6208 | 33.25 | 68.6
129639 | 2021-05-07 13:42 | 24.6601 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.3366 | μmol/L | 30.3668 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.742 | 141847.6403 | 302358.581 | 33.25 | 68.6
129649 | 2021-05-07 13:43 | 24.9939 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.9062 | μmol/L | 30.4035 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.758 | 141948.1717 | 302348.4774 | 33.25 | 68.6
129659 | 2021-05-07 13:43 | 25.327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.9602 | μmol/L | 30.3852 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.761 | 141965.7914 | 302351.3399 | 33.25 | 68.6
129669 | 2021-05-07 13:43 | 25.6607 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.6003 | μmol/L | 30.4279 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.77 | 142028.5061 | 302339.048 | 33.25 | 68.6
129679 | 2021-05-07 13:44 | 25.9936 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.8578 | μmol/L | 30.3852 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.768 | 141996.9953 | 302347.2557 | 33.25 | 68.6
129689 | 2021-05-07 13:44 | 26.3267 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.6713 | μmol/L | 30.379 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.783 | 142058.2873 | 302332.0364 | 33.25 | 68.6
129699 | 2021-05-07 13:44 | 26.6606 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.2262 | μmol/L | 30.3668 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.818 | 142262.7531 | 302338.9337 | 33.25 | 68.6
129709 | 2021-05-07 13:45 | 26.9936 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.1005 | μmol/L | 30.4096 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.811 | 142212.9042 | 302325.5722 | 33.25 | 68.6
129719 | 2021-05-07 13:45 | 27.3267 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.4917 | μmol/L | 30.3607 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.802 | 142175.3951 | 302331.402 | 33.25 | 68.6
129729 | 2021-05-07 13:45 | 27.6606 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.6736 | μmol/L | 30.3485 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.794 | 142152.0536 | 302319.2616 | 33.25 | 68.6
129739 | 2021-05-07 13:46 | 27.9936 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.3572 | μmol/L | 30.3668 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.809 | 142267.3794 | 302317.707 | 33.25 | 68.6
129749 | 2021-05-07 13:46 | 28.3266 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.0817 | μmol/L | 30.3913 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.819 | 142306.4638 | 302330.4352 | 33.25 | 68.6
129759 | 2021-05-07 13:46 | 28.6606 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.214 | μmol/L | 30.3363 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.83 | 142375.7233 | 302301.1292 | 33.25 | 68.6