## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-07 13:47

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
128900 | 2021-05-07 13:18 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.3119 | μmol/L | 30.6604 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.457 | 120361.3287 | 266683.5661 | 26.25 | 74
128910 | 2021-05-07 13:18 | 0.33297 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.261 | μmol/L | 30.7155 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.553 | 121090.611 | 266689.3609 | 26.25 | 74
128920 | 2021-05-07 13:18 | 0.66595 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.5769 | μmol/L | 30.7338 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.642 | 121693.7545 | 266682.5306 | 26.25 | 74
128930 | 2021-05-07 13:19 | 0.99967 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.6703 | μmol/L | 30.7093 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.702 | 122163.3687 | 266696.4592 | 26.25 | 74
128940 | 2021-05-07 13:19 | 1.3327 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.1629 | μmol/L | 30.636 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.756 | 122536.5892 | 266699.3743 | 26.25 | 74
128950 | 2021-05-07 13:19 | 1.6661 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.5922 | μmol/L | 30.6238 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.793 | 122798.7232 | 266681.5101 | 26.25 | 74
128960 | 2021-05-07 13:20 | 1.999 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.7233 | μmol/L | 30.6421 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.837 | 123120.4805 | 266691.8336 | 26.25 | 74
128970 | 2021-05-07 13:20 | 2.333 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.0036 | μmol/L | 30.6299 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.883 | 123466.2919 | 266695.4014 | 26.25 | 74
128980 | 2021-05-07 13:20 | 2.6659 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.7979 | μmol/L | 30.5565 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.92 | 123691.0911 | 266686.4543 | 26.25 | 74
128990 | 2021-05-07 13:21 | 2.9989 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.4103 | μmol/L | 30.5321 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.951 | 123900.9933 | 266676.5227 | 26.25 | 74
129000 | 2021-05-07 13:21 | 3.3328 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.6274 | μmol/L | 30.5993 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.974 | 124063.9777 | 266684.1722 | 26.25 | 74
129010 | 2021-05-07 13:21 | 3.6661 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.2584 | μmol/L | 30.581 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.002 | 124252.2221 | 266685.209 | 26.25 | 74
129020 | 2021-05-07 13:22 | 3.999 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.7292 | μmol/L | 30.5993 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.027 | 124432.743 | 266683.2935 | 26.25 | 74
129030 | 2021-05-07 13:22 | 4.3327 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.4254 | μmol/L | 30.5993 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.045 | 124568.1409 | 266676.8226 | 26.25 | 74
129040 | 2021-05-07 13:22 | 4.6656 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.1911 | μmol/L | 30.5932 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.061 | 124634.4671 | 266670.4175 | 26.25 | 74
129050 | 2021-05-07 13:23 | 4.9995 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.8747 | μmol/L | 30.581 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.084 | 124788.9437 | 266667.5033 | 26.25 | 74
129060 | 2021-05-07 13:23 | 5.3325 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.667 | μmol/L | 30.6054 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.088 | 124813.6548 | 266673.4446 | 26.25 | 74
129070 | 2021-05-07 13:23 | 5.6656 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.9161 | μmol/L | 30.5504 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.092 | 124856.0479 | 266677.8845 | 26.25 | 74
129080 | 2021-05-07 13:24 | 5.9993 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.8903 | μmol/L | 30.5198 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.104 | 124941.499 | 266677.3298 | 26.25 | 74
129090 | 2021-05-07 13:24 | 6.3323 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.3995 | μmol/L | 30.5382 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.127 | 125095.7107 | 266677.629 | 26.25 | 74
129100 | 2021-05-07 13:24 | 6.6662 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.9532 | μmol/L | 30.5198 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.16 | 125349.7277 | 266674.7033 | 26.25 | 74
129110 | 2021-05-07 13:25 | 6.9993 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.319 | μmol/L | 30.5259 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.196 | 125575.152 | 266669.3299 | 26.25 | 74
129120 | 2021-05-07 13:25 | 7.3323 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.6726 | μmol/L | 30.5259 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.235 | 125869.32 | 266656.4353 | 26.25 | 74
129130 | 2021-05-07 13:25 | 7.6663 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.0768 | μmol/L | 30.5321 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.269 | 126112.6043 | 266661.5956 | 26.25 | 74
129140 | 2021-05-07 13:26 | 7.9991 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.9286 | μmol/L | 30.5321 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.278 | 126133.4631 | 266653.2938 | 26.25 | 74
129150 | 2021-05-07 13:26 | 8.3322 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.3357 | μmol/L | 30.4893 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.268 | 126088.5791 | 266654.4474 | 26.25 | 74
129160 | 2021-05-07 13:26 | 8.6662 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.0556 | μmol/L | 30.4893 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.285 | 126203.4911 | 266648.9479 | 26.25 | 74
129170 | 2021-05-07 13:27 | 8.9993 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.6757 | μmol/L | 30.4954 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.306 | 126341.6217 | 266641.9929 | 26.25 | 74
129180 | 2021-05-07 13:27 | 9.3323 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.5048 | μmol/L | 30.5198 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.308 | 126354.8055 | 266639.4791 | 26.25 | 74
129190 | 2021-05-07 13:27 | 9.6663 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.8913 | μmol/L | 30.4281 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.316 | 126385.8892 | 266623.3481 | 26.25 | 74
129200 | 2021-05-07 13:28 | 9.9991 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.9966 | μmol/L | 30.4037 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.318 | 126377.578 | 266620.1543 | 26.25 | 74
129210 | 2021-05-07 13:28 | 10.333 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.8336 | μmol/L | 30.4587 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.309 | 126303.7919 | 266623.6329 | 26.25 | 74
129220 | 2021-05-07 13:28 | 10.666 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.597 | μmol/L | 30.4831 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.315 | 126352.8987 | 266606.0632 | 26.25 | 74
129230 | 2021-05-07 13:29 | 10.999 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.5444 | μmol/L | 30.4954 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.314 | 126375.3451 | 266610.1233 | 26.25 | 74
129240 | 2021-05-07 13:29 | 11.3328 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.5444 | μmol/L | 30.4954 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.314 | 126364.1446 | 266603.2894 | 26.25 | 74
129250 | 2021-05-07 13:29 | 11.6658 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.5512 | μmol/L | 30.4709 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.322 | 126386.8022 | 266601.7151 | 26.25 | 74
129260 | 2021-05-07 13:30 | 11.9996 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.4709 | μmol/L | 30.4648 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.329 | 126448.6915 | 266609.3658 | 26.25 | 74
129270 | 2021-05-07 13:30 | 12.3325 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.6088 | μmol/L | 30.4404 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.329 | 126466.4867 | 266593.4755 | 26.25 | 74
129280 | 2021-05-07 13:30 | 12.6663 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.4663 | μmol/L | 30.422 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.344 | 126544.2039 | 266592.3398 | 26.25 | 74
129290 | 2021-05-07 13:31 | 12.9996 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.1829 | μmol/L | 30.4404 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.355 | 126589.3659 | 266580.5364 | 26.25 | 74
129300 | 2021-05-07 13:31 | 13.3324 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.0684 | μmol/L | 30.4404 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.362 | 126642.45 | 266572.3563 | 26.25 | 74
129310 | 2021-05-07 13:31 | 13.666 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.8604 | μmol/L | 30.4831 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.36 | 126630.3995 | 266579.0715 | 26.25 | 74
129320 | 2021-05-07 13:32 | 13.999 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.9567 | μmol/L | 30.4893 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.352 | 126630.6534 | 266574.2862 | 26.25 | 74
129330 | 2021-05-07 13:32 | 14.3329 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.9231 | μmol/L | 30.4342 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.373 | 126754.3691 | 266582.4743 | 26.25 | 74
129340 | 2021-05-07 13:32 | 14.6659 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.7539 | μmol/L | 30.3976 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.396 | 126889.6526 | 266570.7878 | 26.25 | 74
129350 | 2021-05-07 13:33 | 14.9989 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.5155 | μmol/L | 30.4342 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.398 | 126897.8783 | 266568.1821 | 26.25 | 74
129360 | 2021-05-07 13:33 | 15.3322 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.5464 | μmol/L | 30.4404 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.394 | 126898.9357 | 266556.8548 | 26.25 | 74
129370 | 2021-05-07 13:33 | 15.666 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.501 | μmol/L | 30.4281 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.401 | 126935.2198 | 266553.989 | 26.25 | 74
129380 | 2021-05-07 13:34 | 15.9991 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.8823 | μmol/L | 30.4893 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.418 | 127031.6712 | 266557.0538 | 26.25 | 74
129390 | 2021-05-07 13:34 | 16.3327 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.8591 | μmol/L | 30.312 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.419 | 127059.4736 | 266555.47 | 26.25 | 74
129400 | 2021-05-07 13:34 | 16.6659 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.34 | μmol/L | 30.422 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.413 | 127000.9604 | 266549.3312 | 26.25 | 74
129410 | 2021-05-07 13:35 | 16.9996 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.1433 | μmol/L | 30.4281 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.423 | 127076.603 | 266542.4332 | 26.25 | 74
129420 | 2021-05-07 13:35 | 17.3328 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.9503 | μmol/L | 30.422 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.437 | 127152.2564 | 266534.1475 | 26.25 | 74
129430 | 2021-05-07 13:35 | 17.666 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.0957 | μmol/L | 30.367 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.447 | 127224.9973 | 266526.4233 | 26.25 | 74
129440 | 2021-05-07 13:36 | 17.9997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.6189 | μmol/L | 30.3914 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.468 | 127356.7981 | 266525.8407 | 26.25 | 74
129450 | 2021-05-07 13:36 | 18.3328 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.7987 | μmol/L | 30.3853 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.459 | 127290.2356 | 266527.8323 | 26.25 | 74
129460 | 2021-05-07 13:36 | 18.6658 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.7501 | μmol/L | 30.3853 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.462 | 127312.744 | 266517.1419 | 26.25 | 74
129470 | 2021-05-07 13:37 | 18.9997 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.6727 | μmol/L | 30.3731 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.471 | 127362.5856 | 266513.4866 | 26.25 | 74
129480 | 2021-05-07 13:37 | 19.3328 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.2332 | μmol/L | 30.4404 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.475 | 127381.2209 | 266508.0115 | 26.25 | 74
129490 | 2021-05-07 13:37 | 19.6656 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.8804 | μmol/L | 30.4342 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.499 | 127507.7317 | 266489.5135 | 26.25 | 74
129500 | 2021-05-07 13:38 | 19.9993 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.8446 | μmol/L | 30.4465 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.497 | 127533.8524 | 266498.4728 | 26.25 | 74
129510 | 2021-05-07 13:38 | 20.3323 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.7141 | μmol/L | 30.4526 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.503 | 127565.1867 | 266483.0636 | 26.25 | 74
129520 | 2021-05-07 13:38 | 20.666 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.5998 | μmol/L | 30.4587 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.508 | 127604.6959 | 266488.7589 | 26.25 | 74
129530 | 2021-05-07 13:39 | 20.999 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.3268 | μmol/L | 30.4587 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.525 | 127689.15 | 266492.1687 | 26.25 | 74
129540 | 2021-05-07 13:39 | 21.3328 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.3126 | μmol/L | 30.4526 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.528 | 127727.6243 | 266493.6459 | 26.25 | 74
129550 | 2021-05-07 13:39 | 21.6658 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.0956 | μmol/L | 30.4281 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.55 | 127867.577 | 266475.3556 | 26.25 | 74
129560 | 2021-05-07 13:40 | 21.9996 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.069 | μmol/L | 30.4098 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.558 | 127933.5218 | 266484.1994 | 26.25 | 74
129570 | 2021-05-07 13:40 | 22.3326 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 182.8383 | μmol/L | 30.3792 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.583 | 128109.1951 | 266482.8561 | 26.25 | 74
129580 | 2021-05-07 13:40 | 22.6656 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 182.5719 | μmol/L | 30.4159 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.587 | 128082.5349 | 266468.3276 | 26.25 | 74
129590 | 2021-05-07 13:41 | 22.9995 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 182.7904 | μmol/L | 30.3792 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.586 | 128103.4303 | 266456.232 | 26.25 | 74
129600 | 2021-05-07 13:41 | 23.3326 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 182.5455 | μmol/L | 30.3976 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.595 | 128172.995 | 266470.3415 | 26.25 | 74
129610 | 2021-05-07 13:41 | 23.6656 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 182.4021 | μmol/L | 30.3976 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.604 | 128207.2529 | 266462.3919 | 26.25 | 74
129620 | 2021-05-07 13:42 | 23.9995 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 182.2962 | μmol/L | 30.3792 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.617 | 128290.0709 | 266456.7357 | 26.25 | 74
129630 | 2021-05-07 13:42 | 24.3324 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 182.0632 | μmol/L | 30.3609 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.638 | 128430.7571 | 266454.0295 | 26.25 | 74
129640 | 2021-05-07 13:42 | 24.6662 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.8307 | μmol/L | 30.3425 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.659 | 128591.3699 | 266454.9383 | 26.25 | 74
129650 | 2021-05-07 13:43 | 24.9992 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.5046 | μmol/L | 30.3731 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.669 | 128660.251 | 266460.5307 | 26.25 | 74
129660 | 2021-05-07 13:43 | 25.3323 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.2516 | μmol/L | 30.3731 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.685 | 128726.8228 | 266469.7515 | 26.25 | 74
129670 | 2021-05-07 13:43 | 25.666 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.2926 | μmol/L | 30.3425 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.693 | 128786.3084 | 266443.6836 | 26.25 | 74
129680 | 2021-05-07 13:44 | 25.999 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.0874 | μmol/L | 30.3425 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.706 | 128890.7331 | 266437.7133 | 26.25 | 74
129690 | 2021-05-07 13:44 | 26.333 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.2248 | μmol/L | 30.3059 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.71 | 128886.5375 | 266434.0445 | 26.25 | 74
129700 | 2021-05-07 13:44 | 26.6662 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.3057 | μmol/L | 30.2997 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.707 | 128913.4324 | 266428.8979 | 26.25 | 74
129710 | 2021-05-07 13:45 | 26.9992 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.6421 | μmol/L | 30.2325 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.709 | 128913.5661 | 266426.0494 | 26.25 | 74
129720 | 2021-05-07 13:45 | 27.3324 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.2388 | μmol/L | 30.312 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.707 | 128897.5859 | 266427.048 | 26.25 | 74
129730 | 2021-05-07 13:45 | 27.6662 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.5399 | μmol/L | 30.257 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.707 | 128869.0132 | 266420.7283 | 26.25 | 74
129740 | 2021-05-07 13:46 | 27.9991 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.9082 | μmol/L | 30.1897 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.707 | 128889.4663 | 266422.0776 | 26.25 | 74
129750 | 2021-05-07 13:46 | 28.3329 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.8625 | μmol/L | 30.1836 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.712 | 128926.0986 | 266413.9923 | 26.25 | 74
129760 | 2021-05-07 13:46 | 28.6659 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.7395 | μmol/L | 30.1714 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.724 | 128976.2979 | 266407.5784 | 26.25 | 74