## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-07 13:47

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
128901 | 2021-05-07 13:18 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.9673 | μmol/L | 30.4162 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.614 | 126052.3905 | 268453.2431 | 32.55 | 27.7
128911 | 2021-05-07 13:18 | 0.3389 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.8972 | μmol/L | 30.5083 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.644 | 126470.0896 | 268441.8228 | 32.55 | 27.7
128921 | 2021-05-07 13:18 | 0.67209 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.8196 | μmol/L | 30.5819 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.681 | 126763.4715 | 268421.6102 | 32.55 | 27.7
128931 | 2021-05-07 13:19 | 1.0057 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.3367 | μmol/L | 30.5758 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.711 | 127023.0033 | 268415.3753 | 32.55 | 27.7
128941 | 2021-05-07 13:19 | 1.3386 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.3401 | μmol/L | 30.6371 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.748 | 127263.3042 | 268401.9531 | 32.55 | 27.7
128951 | 2021-05-07 13:19 | 1.6725 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.4439 | μmol/L | 30.6617 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.792 | 127584.8433 | 268399.0234 | 32.55 | 27.7
128961 | 2021-05-07 13:20 | 2.0055 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.9766 | μmol/L | 30.6249 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.832 | 127902.9163 | 268398.6527 | 32.55 | 27.7
128971 | 2021-05-07 13:20 | 2.3392 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.0629 | μmol/L | 30.6187 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.888 | 128236.7058 | 268389.1795 | 32.55 | 27.7
128981 | 2021-05-07 13:20 | 2.6722 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 189.2541 | μmol/L | 30.6187 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.936 | 128555.6577 | 268370.563 | 32.55 | 27.7
128991 | 2021-05-07 13:21 | 3.0058 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.4981 | μmol/L | 30.6249 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.979 | 128840.6536 | 268363.0881 | 32.55 | 27.7
129001 | 2021-05-07 13:21 | 3.3388 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 187.8439 | μmol/L | 30.6371 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.014 | 129101.4604 | 268380.8387 | 32.55 | 27.7
129011 | 2021-05-07 13:21 | 3.6719 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 187.6768 | μmol/L | 30.5819 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.043 | 129314.3813 | 268372.7428 | 32.55 | 27.7
129021 | 2021-05-07 13:22 | 4.0058 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 187.6742 | μmol/L | 30.5328 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.06 | 129443.7823 | 268349.2066 | 32.55 | 27.7
129031 | 2021-05-07 13:22 | 4.3388 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 187.688 | μmol/L | 30.4837 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.076 | 129580.2779 | 268347.1653 | 32.55 | 27.7
129041 | 2021-05-07 13:22 | 4.6726 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 187.0088 | μmol/L | 30.4837 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.117 | 129788.5872 | 268351.453 | 32.55 | 27.7
129051 | 2021-05-07 13:23 | 5.0057 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 186.4938 | μmol/L | 30.496 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.144 | 130009.7085 | 268345.6087 | 32.55 | 27.7
129061 | 2021-05-07 13:23 | 5.3387 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 186.5791 | μmol/L | 30.4285 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.162 | 130164.733 | 268340.2309 | 32.55 | 27.7
129071 | 2021-05-07 13:23 | 5.6724 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 186.1919 | μmol/L | 30.4592 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.175 | 130269.9769 | 268339.8001 | 32.55 | 27.7
129081 | 2021-05-07 13:24 | 6.0054 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.4852 | μmol/L | 30.5205 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.197 | 130444.9485 | 268349.4265 | 32.55 | 27.7
129091 | 2021-05-07 13:24 | 6.3384 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.2054 | μmol/L | 30.5267 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.212 | 130541.0014 | 268332.6976 | 32.55 | 27.7
129101 | 2021-05-07 13:24 | 6.6723 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.2981 | μmol/L | 30.4899 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.219 | 130572.3269 | 268328.7503 | 32.55 | 27.7
129111 | 2021-05-07 13:25 | 7.0053 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.3526 | μmol/L | 30.4715 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.222 | 130603.7073 | 268324.2334 | 32.55 | 27.7
129121 | 2021-05-07 13:25 | 7.339 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.4325 | μmol/L | 30.4224 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.234 | 130675.8789 | 268328.4647 | 32.55 | 27.7
129131 | 2021-05-07 13:25 | 7.672 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 184.9248 | μmol/L | 30.4837 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.244 | 130747.5176 | 268312.0475 | 32.55 | 27.7
129141 | 2021-05-07 13:26 | 8.0058 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.0336 | μmol/L | 30.4469 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.25 | 130804.8086 | 268309.147 | 32.55 | 27.7
129151 | 2021-05-07 13:26 | 8.3388 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 184.8924 | μmol/L | 30.4285 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.265 | 130877.1533 | 268323.4659 | 32.55 | 27.7
129161 | 2021-05-07 13:26 | 8.6719 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 184.7442 | μmol/L | 30.4346 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.272 | 130955.6273 | 268312.4216 | 32.55 | 27.7
129171 | 2021-05-07 13:27 | 9.0057 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.2708 | μmol/L | 30.3058 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.284 | 131042.1853 | 268299.9216 | 32.55 | 27.7
129181 | 2021-05-07 13:27 | 9.3385 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 184.3288 | μmol/L | 30.4653 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.287 | 131085.0193 | 268287.6177 | 32.55 | 27.7
129191 | 2021-05-07 13:27 | 9.6724 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 184.0988 | μmol/L | 30.4224 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.316 | 131229.5802 | 268285.0029 | 32.55 | 27.7
129201 | 2021-05-07 13:28 | 10.0055 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.595 | μmol/L | 30.4837 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.326 | 131315.1491 | 268292.0021 | 32.55 | 27.7
129211 | 2021-05-07 13:28 | 10.3385 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.595 | μmol/L | 30.4837 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.326 | 131341.694 | 268282.9697 | 32.55 | 27.7
129221 | 2021-05-07 13:28 | 10.6725 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.7468 | μmol/L | 30.4101 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.342 | 131470.438 | 268279.5149 | 32.55 | 27.7
129231 | 2021-05-07 13:29 | 11.0054 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.2878 | μmol/L | 30.4346 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.362 | 131575.747 | 268277.8256 | 32.55 | 27.7
129241 | 2021-05-07 13:29 | 11.339 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.3579 | μmol/L | 30.4162 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.364 | 131603.3061 | 268277.7804 | 32.55 | 27.7
129251 | 2021-05-07 13:29 | 11.6719 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.2736 | μmol/L | 30.4285 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.365 | 131612.594 | 268280.9236 | 32.55 | 27.7
129261 | 2021-05-07 13:30 | 12.0056 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.0247 | μmol/L | 30.453 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.372 | 131650.6141 | 268279.2932 | 32.55 | 27.7
129271 | 2021-05-07 13:30 | 12.3386 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.7299 | μmol/L | 30.4715 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.384 | 131715.7618 | 268264.939 | 32.55 | 27.7
129281 | 2021-05-07 13:30 | 12.6725 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.9294 | μmol/L | 30.3978 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.397 | 131798.2365 | 268275.1524 | 32.55 | 27.7
129291 | 2021-05-07 13:31 | 13.0058 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 184.2718 | μmol/L | 30.3487 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.406 | 131858.8006 | 268274.0537 | 32.55 | 27.7
129301 | 2021-05-07 13:31 | 13.339 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.6287 | μmol/L | 30.453 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.41 | 131849.761 | 268258.7143 | 32.55 | 27.7
129311 | 2021-05-07 13:31 | 13.6719 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.831 | μmol/L | 30.4224 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.408 | 131869.9893 | 268244.4801 | 32.55 | 27.7
129321 | 2021-05-07 13:32 | 14.0058 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.5857 | μmol/L | 30.4346 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.419 | 131930.4658 | 268255.9095 | 32.55 | 27.7
129331 | 2021-05-07 13:32 | 14.3389 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.2818 | μmol/L | 30.4837 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.421 | 131971.7426 | 268238.29 | 32.55 | 27.7
129341 | 2021-05-07 13:32 | 14.6719 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.2604 | μmol/L | 30.4469 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.435 | 132046.8039 | 268261.367 | 32.55 | 27.7
129351 | 2021-05-07 13:33 | 15.0057 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.6809 | μmol/L | 30.5083 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.45 | 132149.9011 | 268249.9425 | 32.55 | 27.7
129361 | 2021-05-07 13:33 | 15.3388 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.4944 | μmol/L | 30.4899 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.468 | 132272.8227 | 268240.9431 | 32.55 | 27.7
129371 | 2021-05-07 13:33 | 15.6718 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.6583 | μmol/L | 30.4224 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.481 | 132365.5503 | 268245.6512 | 32.55 | 27.7
129381 | 2021-05-07 13:34 | 16.0056 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.3547 | μmol/L | 30.4224 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.5 | 132487.234 | 268240.0469 | 32.55 | 27.7
129391 | 2021-05-07 13:34 | 16.3386 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.4135 | μmol/L | 30.3855 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.509 | 132562.9164 | 268231.544 | 32.55 | 27.7
129401 | 2021-05-07 13:34 | 16.672 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.3975 | μmol/L | 30.3855 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.51 | 132543.6179 | 268221.4101 | 32.55 | 27.7
129411 | 2021-05-07 13:35 | 17.0058 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.4792 | μmol/L | 30.3794 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.507 | 132514.3812 | 268226.0693 | 32.55 | 27.7
129421 | 2021-05-07 13:35 | 17.3389 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.4864 | μmol/L | 30.3549 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.515 | 132544.3986 | 268229.8713 | 32.55 | 27.7
129431 | 2021-05-07 13:35 | 17.672 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.3746 | μmol/L | 30.3549 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.522 | 132585.7297 | 268215.5962 | 32.55 | 27.7
129441 | 2021-05-07 13:36 | 18.0056 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.9653 | μmol/L | 30.3917 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.535 | 132678.9729 | 268214.0622 | 32.55 | 27.7
129451 | 2021-05-07 13:36 | 18.3385 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.8221 | μmol/L | 30.3917 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.544 | 132741.7352 | 268194.9667 | 32.55 | 27.7
129461 | 2021-05-07 13:36 | 18.6723 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.8454 | μmol/L | 30.3671 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.551 | 132819.355 | 268216.0472 | 32.55 | 27.7
129471 | 2021-05-07 13:37 | 19.0053 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.4336 | μmol/L | 30.4162 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.56 | 132883.5281 | 268213.0631 | 32.55 | 27.7
129481 | 2021-05-07 13:37 | 19.3384 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.1447 | μmol/L | 30.4285 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.574 | 132948.0042 | 268195.4605 | 32.55 | 27.7
129491 | 2021-05-07 13:37 | 19.6723 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.2947 | μmol/L | 30.4039 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.573 | 132939.2779 | 268200.7341 | 32.55 | 27.7
129501 | 2021-05-07 13:38 | 20.0054 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.1503 | μmol/L | 30.4101 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.58 | 132959.9494 | 268179.9665 | 32.55 | 27.7
129511 | 2021-05-07 13:38 | 20.3392 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.9056 | μmol/L | 30.4346 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.587 | 133010.1289 | 268206.7017 | 32.55 | 27.7
129521 | 2021-05-07 13:38 | 20.6721 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.8721 | μmol/L | 30.4408 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.587 | 133045.2052 | 268182.6959 | 32.55 | 27.7
129531 | 2021-05-07 13:39 | 21.0053 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.0489 | μmol/L | 30.3794 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.597 | 133090.0307 | 268178.8317 | 32.55 | 27.7
129541 | 2021-05-07 13:39 | 21.3391 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.8611 | μmol/L | 30.3733 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.611 | 133176.2377 | 268182.8305 | 32.55 | 27.7
129551 | 2021-05-07 13:39 | 21.672 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.4298 | μmol/L | 30.3917 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.632 | 133315.3454 | 268176.6738 | 32.55 | 27.7
129561 | 2021-05-07 13:40 | 22.0059 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.1542 | μmol/L | 30.3671 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.658 | 133467.519 | 268183.2947 | 32.55 | 27.7
129571 | 2021-05-07 13:40 | 22.3388 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.1951 | μmol/L | 30.3364 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.666 | 133556.2331 | 268181.3066 | 32.55 | 27.7
129581 | 2021-05-07 13:40 | 22.6718 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.8461 | μmol/L | 30.3487 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.684 | 133677.7697 | 268183.3619 | 32.55 | 27.7
129591 | 2021-05-07 13:41 | 23.0055 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.0646 | μmol/L | 30.4469 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.7 | 133783.6448 | 268169.2633 | 32.55 | 27.7
129601 | 2021-05-07 13:41 | 23.3387 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.1075 | μmol/L | 30.4101 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.71 | 133851.5362 | 268178.7948 | 32.55 | 27.7
129611 | 2021-05-07 13:41 | 23.6724 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.8075 | μmol/L | 30.4224 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.725 | 133940.4899 | 268174.2275 | 32.55 | 27.7
129621 | 2021-05-07 13:42 | 24.0053 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 179.0275 | μmol/L | 30.3671 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.73 | 133988.6984 | 268165.6555 | 32.55 | 27.7
129631 | 2021-05-07 13:42 | 24.3392 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.4072 | μmol/L | 30.4101 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.755 | 134142.3811 | 268176.3354 | 32.55 | 27.7
129641 | 2021-05-07 13:42 | 24.6723 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.5666 | μmol/L | 30.3487 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.766 | 134203.86 | 268175.5777 | 32.55 | 27.7
129651 | 2021-05-07 13:43 | 25.0055 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.6268 | μmol/L | 30.3549 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.76 | 134182.2662 | 268159.5564 | 32.55 | 27.7
129661 | 2021-05-07 13:43 | 25.3386 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.79 | μmol/L | 30.3303 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.758 | 134157.6945 | 268150.0735 | 32.55 | 27.7
129671 | 2021-05-07 13:43 | 25.6724 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.8056 | μmol/L | 30.3303 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.757 | 134144.5948 | 268154.4343 | 32.55 | 27.7
129681 | 2021-05-07 13:44 | 26.0053 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.52 | μmol/L | 30.3487 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.769 | 134214.8366 | 268160.8716 | 32.55 | 27.7
129691 | 2021-05-07 13:44 | 26.3392 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.5123 | μmol/L | 30.3242 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.778 | 134282.834 | 268122.0423 | 32.55 | 27.7
129701 | 2021-05-07 13:44 | 26.6723 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.2312 | μmol/L | 30.3303 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.794 | 134374.0315 | 268130.0742 | 32.55 | 27.7
129711 | 2021-05-07 13:45 | 27.0053 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 178.0842 | μmol/L | 30.3058 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.812 | 134467.491 | 268136.756 | 32.55 | 27.7
129721 | 2021-05-07 13:45 | 27.3386 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.8289 | μmol/L | 30.3303 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.82 | 134514.2223 | 268124.9098 | 32.55 | 27.7
129731 | 2021-05-07 13:45 | 27.6725 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.798 | μmol/L | 30.3303 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.822 | 134558.1934 | 268112.9221 | 32.55 | 27.7
129741 | 2021-05-07 13:46 | 28.0056 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.8736 | μmol/L | 30.2874 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.832 | 134623.0839 | 268133.8161 | 32.55 | 27.7
129751 | 2021-05-07 13:46 | 28.3386 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.6516 | μmol/L | 30.3058 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.84 | 134650.103 | 268125.595 | 32.55 | 27.7
129761 | 2021-05-07 13:46 | 28.6726 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 177.7038 | μmol/L | 30.2874 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.843 | 134708.2703 | 268129.8093 | 32.55 | 27.7