## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 129211289 | PSt7-10 | 000000-000 | 0000-00 | 2021-04-19 09:39

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-07 14:32

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
129762 | 2021-05-07 13:54 | 0 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.9966 | μmol/L | 29.8752 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.921 | 139276.9785 | 270780.7058 | 33.25 | 75.7
129772 | 2021-05-07 13:54 | 0.3352 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.4512 | μmol/L | 29.9183 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.997 | 139900.9003 | 270787.813 | 33.25 | 75.7
129782 | 2021-05-07 13:55 | 0.66813 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.4898 | μmol/L | 29.8998 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.06 | 140421.4524 | 270789.2563 | 33.25 | 75.7
129792 | 2021-05-07 13:55 | 1.0018 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.3262 | μmol/L | 29.7952 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.105 | 140820.037 | 270796.7566 | 33.25 | 75.7
129802 | 2021-05-07 13:55 | 1.3349 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 189.0607 | μmol/L | 29.906 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.143 | 141132.6488 | 270777.6629 | 33.25 | 75.7
129812 | 2021-05-07 13:56 | 1.6686 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 187.8032 | μmol/L | 30.0167 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.181 | 141383.3013 | 270769.7851 | 33.25 | 75.7
129822 | 2021-05-07 13:56 | 2.0017 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 187.4711 | μmol/L | 29.9491 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.224 | 141679.9983 | 270777.0706 | 33.25 | 75.7
129832 | 2021-05-07 13:56 | 2.3348 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.9397 | μmol/L | 29.9614 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.252 | 141912.8176 | 270775.3134 | 33.25 | 75.7
129842 | 2021-05-07 13:57 | 2.6681 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.3878 | μmol/L | 29.9983 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.273 | 142119.1097 | 270779.6559 | 33.25 | 75.7
129852 | 2021-05-07 13:57 | 3.0015 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 185.7159 | μmol/L | 29.9983 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.314 | 142398.5504 | 270787.8094 | 33.25 | 75.7
129862 | 2021-05-07 13:57 | 3.3353 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 185.0051 | μmol/L | 30.0352 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.345 | 142650.1332 | 270781.2041 | 33.25 | 75.7
129872 | 2021-05-07 13:58 | 3.6684 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 184.3686 | μmol/L | 30.0475 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.38 | 142917.8995 | 270782.2873 | 33.25 | 75.7
129882 | 2021-05-07 13:58 | 4.0013 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 184.339 | μmol/L | 29.9737 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.407 | 143111.8958 | 270783.9156 | 33.25 | 75.7
129892 | 2021-05-07 13:58 | 4.3351 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 184.3338 | μmol/L | 29.9306 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.422 | 143241.6907 | 270777.1262 | 33.25 | 75.7
129902 | 2021-05-07 13:59 | 4.668 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 183.6396 | μmol/L | 29.9921 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.444 | 143411.5824 | 270759.302 | 33.25 | 75.7
129912 | 2021-05-07 13:59 | 5.0018 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 183.3514 | μmol/L | 29.986 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.464 | 143556.7538 | 270773.2326 | 33.25 | 75.7
129922 | 2021-05-07 13:59 | 5.3349 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.8758 | μmol/L | 30.0229 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.481 | 143665.736 | 270767.6028 | 33.25 | 75.7
129932 | 2021-05-07 14:00 | 5.6688 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.5825 | μmol/L | 30.0414 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.493 | 143744.7183 | 270761.8499 | 33.25 | 75.7
129942 | 2021-05-07 14:00 | 6.0018 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.3393 | μmol/L | 30.0537 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.504 | 143846.3135 | 270762.2478 | 33.25 | 75.7
129952 | 2021-05-07 14:00 | 6.3354 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 181.8539 | μmol/L | 30.0783 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.526 | 143992.3023 | 270744.4401 | 33.25 | 75.7
129962 | 2021-05-07 14:01 | 6.6685 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 181.8289 | μmol/L | 30.0537 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.536 | 144090.7786 | 270757.5996 | 33.25 | 75.7
129972 | 2021-05-07 14:01 | 7.0014 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 181.5249 | μmol/L | 30.0598 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.553 | 144213.7757 | 270739.8917 | 33.25 | 75.7
129982 | 2021-05-07 14:01 | 7.3354 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 181.1654 | μmol/L | 30.0967 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.563 | 144317.0597 | 270738.7342 | 33.25 | 75.7
129992 | 2021-05-07 14:02 | 7.6683 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 180.7854 | μmol/L | 30.0967 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.587 | 144465.6946 | 270725.6605 | 33.25 | 75.7
130002 | 2021-05-07 14:02 | 8.0015 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 180.4731 | μmol/L | 30.0844 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.611 | 144641.5097 | 270735.1163 | 33.25 | 75.7
130012 | 2021-05-07 14:02 | 8.3348 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 180.1684 | μmol/L | 30.1029 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.624 | 144783.2706 | 270722.4969 | 33.25 | 75.7
130022 | 2021-05-07 14:03 | 8.6686 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 179.8678 | μmol/L | 30.109 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.641 | 144892.9341 | 270716.4559 | 33.25 | 75.7
130032 | 2021-05-07 14:03 | 9.0017 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 179.587 | μmol/L | 30.1029 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.661 | 145025.1793 | 270725.7431 | 33.25 | 75.7
130042 | 2021-05-07 14:03 | 9.3353 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 179.2582 | μmol/L | 30.1029 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.682 | 145173.9409 | 270737.6819 | 33.25 | 75.7
130052 | 2021-05-07 14:04 | 9.6683 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 178.7512 | μmol/L | 30.1275 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.706 | 145355.8221 | 270723.4729 | 33.25 | 75.7
130062 | 2021-05-07 14:04 | 10.0014 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 178.6925 | μmol/L | 30.1152 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.714 | 145441.902 | 270705.0884 | 33.25 | 75.7
130072 | 2021-05-07 14:04 | 10.3351 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 178.7658 | μmol/L | 30.0783 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.722 | 145525.1582 | 270723.5971 | 33.25 | 75.7
130082 | 2021-05-07 14:05 | 10.6681 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 178.2687 | μmol/L | 30.1275 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.737 | 145598.3091 | 270708.2776 | 33.25 | 75.7
130092 | 2021-05-07 14:05 | 11.002 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 178.1563 | μmol/L | 30.1398 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.74 | 145624.1917 | 270702.7808 | 33.25 | 75.7
130102 | 2021-05-07 14:05 | 11.3349 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 178.2029 | μmol/L | 30.1398 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.737 | 145634.8692 | 270710.0626 | 33.25 | 75.7
130112 | 2021-05-07 14:06 | 11.6687 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 178.1563 | μmol/L | 30.1398 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.74 | 145635.5529 | 270703.2101 | 33.25 | 75.7
130122 | 2021-05-07 14:06 | 12.0016 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 178.1618 | μmol/L | 30.1214 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.746 | 145677.4682 | 270694.7734 | 33.25 | 75.7
130132 | 2021-05-07 14:06 | 12.3354 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 177.91 | μmol/L | 30.1337 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.758 | 145765.3192 | 270694.1869 | 33.25 | 75.7
130142 | 2021-05-07 14:07 | 12.6683 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 177.7607 | μmol/L | 30.1152 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.774 | 145874.5658 | 270695.7044 | 33.25 | 75.7
130152 | 2021-05-07 14:07 | 13.002 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 177.5694 | μmol/L | 30.1337 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.78 | 145955.8912 | 270707.6895 | 33.25 | 75.7
130162 | 2021-05-07 14:07 | 13.3352 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 177.4187 | μmol/L | 30.1214 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.794 | 146033.817 | 270701.5504 | 33.25 | 75.7
130172 | 2021-05-07 14:08 | 13.6681 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 177.1816 | μmol/L | 30.1398 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.803 | 146109.6824 | 270702.3156 | 33.25 | 75.7
130182 | 2021-05-07 14:08 | 14.0019 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 177.0083 | μmol/L | 30.1521 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.81 | 146166.9161 | 270695.1506 | 33.25 | 75.7
130192 | 2021-05-07 14:08 | 14.3351 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 176.7602 | μmol/L | 30.1583 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.824 | 146237.5783 | 270686.6068 | 33.25 | 75.7
130202 | 2021-05-07 14:09 | 14.6681 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 177.158 | μmol/L | 30.066 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.83 | 146306.237 | 270689.1408 | 33.25 | 75.7
130212 | 2021-05-07 14:09 | 15.0019 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 176.9619 | μmol/L | 30.1029 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.83 | 146349.0987 | 270678.513 | 33.25 | 75.7
130222 | 2021-05-07 14:09 | 15.3349 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 176.4608 | μmol/L | 30.1337 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.852 | 146471.0021 | 270680.8584 | 33.25 | 75.7
130232 | 2021-05-07 14:10 | 15.6687 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 176.1391 | μmol/L | 30.1337 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.873 | 146645.8441 | 270675.9719 | 33.25 | 75.7
130242 | 2021-05-07 14:10 | 16.0017 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 175.8467 | μmol/L | 30.1398 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.89 | 146764.9539 | 270674.7376 | 33.25 | 75.7
130252 | 2021-05-07 14:10 | 16.3349 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 175.9328 | μmol/L | 30.109 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.895 | 146784.8392 | 270661.8039 | 33.25 | 75.7
130262 | 2021-05-07 14:11 | 16.6687 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 175.9003 | μmol/L | 30.1152 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.895 | 146792.2605 | 270657.9234 | 33.25 | 75.7
130272 | 2021-05-07 14:11 | 17.0018 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 175.9136 | μmol/L | 30.1214 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.892 | 146787.3205 | 270646.999 | 33.25 | 75.7
130282 | 2021-05-07 14:11 | 17.3348 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 175.6233 | μmol/L | 30.1706 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.894 | 146801.7601 | 270648.581 | 33.25 | 75.7
130292 | 2021-05-07 14:12 | 17.6687 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 175.5298 | μmol/L | 30.1767 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.898 | 146818.3953 | 270643.4144 | 33.25 | 75.7
130302 | 2021-05-07 14:12 | 18.0016 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 175.5146 | μmol/L | 30.1767 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.899 | 146827.08 | 270640.0886 | 33.25 | 75.7
130312 | 2021-05-07 14:12 | 18.3352 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 175.408 | μmol/L | 30.1767 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.906 | 146891.145 | 270641.2071 | 33.25 | 75.7
130322 | 2021-05-07 14:13 | 18.668 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 175.3265 | μmol/L | 30.146 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.922 | 147015.7915 | 270631.551 | 33.25 | 75.7
130332 | 2021-05-07 14:13 | 19.0019 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 175.0985 | μmol/L | 30.146 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.937 | 147102.142 | 270633.6689 | 33.25 | 75.7
130342 | 2021-05-07 14:13 | 19.3349 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 174.8457 | μmol/L | 30.1767 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.943 | 147184.8164 | 270629.4069 | 33.25 | 75.7
130352 | 2021-05-07 14:14 | 19.6687 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 174.5165 | μmol/L | 30.1644 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.969 | 147369.0936 | 270625.4915 | 33.25 | 75.7
130362 | 2021-05-07 14:14 | 20.0017 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 173.9951 | μmol/L | 30.189 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.995 | 147555.5756 | 270614.865 | 33.25 | 75.7
130372 | 2021-05-07 14:14 | 20.3354 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 173.8696 | μmol/L | 30.1583 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.014 | 147689.0605 | 270617.6463 | 33.25 | 75.7
130382 | 2021-05-07 14:15 | 20.6684 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 173.302 | μmol/L | 30.2383 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.024 | 147767.7641 | 270611.1585 | 33.25 | 75.7
130392 | 2021-05-07 14:15 | 21.0016 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 173.212 | μmol/L | 30.2383 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.03 | 147835.5832 | 270605.9499 | 33.25 | 75.7
130402 | 2021-05-07 14:15 | 21.3346 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 173.2502 | μmol/L | 30.2137 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.036 | 147882.7544 | 270606.4072 | 33.25 | 75.7
130412 | 2021-05-07 14:16 | 21.6684 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 173.1262 | μmol/L | 30.226 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.04 | 147903.1716 | 270607.9497 | 33.25 | 75.7
130422 | 2021-05-07 14:16 | 22.002 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 172.8273 | μmol/L | 30.269 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.045 | 147917.7612 | 270606.2948 | 33.25 | 75.7
130432 | 2021-05-07 14:16 | 22.3353 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 172.8016 | μmol/L | 30.2567 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.051 | 147947.855 | 270591.6266 | 33.25 | 75.7
130442 | 2021-05-07 14:17 | 22.6683 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 172.8805 | μmol/L | 30.2444 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.05 | 147983.1732 | 270591.5961 | 33.25 | 75.7
130452 | 2021-05-07 14:17 | 23.0014 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 172.6459 | μmol/L | 30.2752 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.055 | 148014.6642 | 270586.0602 | 33.25 | 75.7
130462 | 2021-05-07 14:17 | 23.3352 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 172.6372 | μmol/L | 30.2567 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.062 | 148047.873 | 270602.5688 | 33.25 | 75.7
130472 | 2021-05-07 14:18 | 23.6682 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 172.3838 | μmol/L | 30.2998 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.064 | 148075.9468 | 270586.6073 | 33.25 | 75.7
130482 | 2021-05-07 14:18 | 24.002 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 172.1965 | μmol/L | 30.3244 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.068 | 148092.5833 | 270586.9989 | 33.25 | 75.7
130492 | 2021-05-07 14:18 | 24.3351 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 172.3071 | μmol/L | 30.306 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.067 | 148100.6408 | 270580.4948 | 33.25 | 75.7
130502 | 2021-05-07 14:19 | 24.668 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 172.2518 | μmol/L | 30.2937 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.075 | 148157.0687 | 270586.0586 | 33.25 | 75.7
130512 | 2021-05-07 14:19 | 25.0019 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 171.9839 | μmol/L | 30.3367 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.078 | 148178.5716 | 270573.6263 | 33.25 | 75.7
130522 | 2021-05-07 14:19 | 25.3349 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 171.9096 | μmol/L | 30.3367 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.083 | 148207.4441 | 270564.0309 | 33.25 | 75.7
130532 | 2021-05-07 14:20 | 25.6682 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 171.8629 | μmol/L | 30.3429 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.084 | 148234.3854 | 270569.7666 | 33.25 | 75.7
130542 | 2021-05-07 14:20 | 26.0013 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 171.8183 | μmol/L | 30.3429 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.087 | 148247.9228 | 270567.4817 | 33.25 | 75.7
130552 | 2021-05-07 14:20 | 26.3353 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 171.8077 | μmol/L | 30.3306 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.092 | 148277.735 | 270561.2651 | 33.25 | 75.7
130562 | 2021-05-07 14:21 | 26.6686 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 171.5914 | μmol/L | 30.3552 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.098 | 148326.6574 | 270563.1831 | 33.25 | 75.7
130572 | 2021-05-07 14:21 | 27.0015 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 171.5024 | μmol/L | 30.3552 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.104 | 148379.4069 | 270557.4753 | 33.25 | 75.7
130582 | 2021-05-07 14:21 | 27.3347 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 171.4135 | μmol/L | 30.3552 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.11 | 148433.1533 | 270551.5992 | 33.25 | 75.7
130592 | 2021-05-07 14:22 | 27.6688 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 171.1703 | μmol/L | 30.3737 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.12 | 148485.4009 | 270549.1034 | 33.25 | 75.7
130602 | 2021-05-07 14:22 | 28.002 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 171.0498 | μmol/L | 30.3798 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.126 | 148537.0159 | 270550.5117 | 33.25 | 75.7
130612 | 2021-05-07 14:22 | 28.3349 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 171.052 | μmol/L | 30.3737 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.128 | 148586.7238 | 270551.2659 | 33.25 | 75.7
130622 | 2021-05-07 14:23 | 28.6687 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 170.5484 | μmol/L | 30.3798 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.16 | 148778.7197 | 270555.8333 | 33.25 | 75.7
130632 | 2021-05-07 14:23 | 29.002 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 170.3153 | μmol/L | 30.3737 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.178 | 148947.8868 | 270547.8358 | 33.25 | 75.7
130642 | 2021-05-07 14:23 | 29.3348 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 169.9565 | μmol/L | 30.3921 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.196 | 149091.4053 | 270540.5606 | 33.25 | 75.7
130652 | 2021-05-07 14:24 | 29.6686 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 169.873 | μmol/L | 30.3798 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.206 | 149164.9147 | 270546.0456 | 33.25 | 75.7
130662 | 2021-05-07 14:24 | 30.0018 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 169.7559 | μmol/L | 30.3798 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.214 | 149218.9906 | 270551.7917 | 33.25 | 75.7
130672 | 2021-05-07 14:24 | 30.3348 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 169.6118 | μmol/L | 30.3737 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.226 | 149291.5383 | 270555.7697 | 33.25 | 75.7
130682 | 2021-05-07 14:25 | 30.668 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 169.4803 | μmol/L | 30.3737 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.235 | 149378.0263 | 270538.4295 | 33.25 | 75.7
130692 | 2021-05-07 14:25 | 31.0016 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 169.2279 | μmol/L | 30.386 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.248 | 149468.6341 | 270535.3701 | 33.25 | 75.7
130702 | 2021-05-07 14:25 | 31.3347 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 169.1864 | μmol/L | 30.3798 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.253 | 149533.9142 | 270533.6917 | 33.25 | 75.7
130712 | 2021-05-07 14:26 | 31.6684 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 168.8471 | μmol/L | 30.3921 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.272 | 149604.4736 | 270535.5587 | 33.25 | 75.7
130722 | 2021-05-07 14:26 | 32.0014 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 168.7722 | μmol/L | 30.3983 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.275 | 149687.6704 | 270530.6832 | 33.25 | 75.7
130732 | 2021-05-07 14:26 | 32.3353 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 168.6851 | μmol/L | 30.3983 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.281 | 149737.706 | 270535.1568 | 33.25 | 75.7
130742 | 2021-05-07 14:27 | 32.6682 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 168.5567 | μmol/L | 30.3921 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.292 | 149805.9201 | 270538.8018 | 33.25 | 75.7
130752 | 2021-05-07 14:27 | 33.0019 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 168.3728 | μmol/L | 30.3798 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.309 | 149905.013 | 270520.5767 | 33.25 | 75.7
130762 | 2021-05-07 14:27 | 33.335 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 168.1869 | μmol/L | 30.3737 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.324 | 150031.3305 | 270519.4872 | 33.25 | 75.7
130772 | 2021-05-07 14:28 | 33.6687 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 167.9489 | μmol/L | 30.3921 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.334 | 150105.4421 | 270525.8514 | 33.25 | 75.7
130782 | 2021-05-07 14:28 | 34.0018 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 167.6778 | μmol/L | 30.4229 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.342 | 150151.9367 | 270520.0883 | 33.25 | 75.7
130792 | 2021-05-07 14:28 | 34.3348 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 167.5599 | μmol/L | 30.4106 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.355 | 150265.221 | 270524.6204 | 33.25 | 75.7
130802 | 2021-05-07 14:29 | 34.6685 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 167.4137 | μmol/L | 30.4167 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.363 | 150331.0358 | 270514.3285 | 33.25 | 75.7
130812 | 2021-05-07 14:29 | 35.0016 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 167.504 | μmol/L | 30.3675 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.374 | 150404.9909 | 270521.4551 | 33.25 | 75.7
130822 | 2021-05-07 14:29 | 35.3353 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 167.3125 | μmol/L | 30.3798 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.383 | 150478.2511 | 270517.7069 | 33.25 | 75.7
130832 | 2021-05-07 14:30 | 35.6683 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 167.3787 | μmol/L | 30.3367 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.393 | 150550.408 | 270516.0822 | 33.25 | 75.7
130842 | 2021-05-07 14:30 | 36.0014 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 167.1662 | μmol/L | 30.3675 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.397 | 150600.991 | 270526.2738 | 33.25 | 75.7
130852 | 2021-05-07 14:30 | 36.3352 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 166.7177 | μmol/L | 30.3983 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.418 | 150731.4759 | 270517.2065 | 33.25 | 75.7
130862 | 2021-05-07 14:31 | 36.6682 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 166.7458 | μmol/L | 30.3613 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.429 | 150830.6923 | 270517.612 | 33.25 | 75.7