## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 129211289 | PSt7-10 | 000000-000 | 0000-00 | 2021-04-19 09:39

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-07 10:38

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
124468 | 2021-05-07 10:07 | 0 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.9567 | μmol/L | 31.0014 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.985 | 136068.9477 | 275733.4866 | 33.25 | 75.7
124478 | 2021-05-07 10:08 | 0.34022 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.4982 | μmol/L | 30.9768 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.018 | 136300.9126 | 275701.5244 | 33.25 | 75.7
124488 | 2021-05-07 10:08 | 0.67386 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.8516 | μmol/L | 30.9891 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.049 | 136474.1912 | 275666.3362 | 33.25 | 75.7
124498 | 2021-05-07 10:08 | 1.0072 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.4863 | μmol/L | 30.9768 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.073 | 136644.6764 | 275621.4478 | 33.25 | 75.7
124508 | 2021-05-07 10:09 | 1.3403 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.9555 | μmol/L | 30.9768 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.102 | 136819.8009 | 275584.3882 | 33.25 | 75.7
124518 | 2021-05-07 10:09 | 1.6739 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.6847 | μmol/L | 30.9583 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.123 | 136922.4825 | 275544.3709 | 33.25 | 75.7
124528 | 2021-05-07 10:09 | 2.0073 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.9908 | μmol/L | 30.8722 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.135 | 137003.7825 | 275508.3377 | 33.25 | 75.7
124538 | 2021-05-07 10:10 | 2.3407 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.5117 | μmol/L | 30.9029 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.151 | 137093.4443 | 275459.5371 | 33.25 | 75.7
124548 | 2021-05-07 10:10 | 2.6739 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.2035 | μmol/L | 30.8968 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.17 | 137185.7525 | 275432.3574 | 33.25 | 75.7
124558 | 2021-05-07 10:10 | 3.007 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.0261 | μmol/L | 30.8722 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.188 | 137275.7579 | 275378.2121 | 33.25 | 75.7
124568 | 2021-05-07 10:11 | 3.3402 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.8095 | μmol/L | 30.866 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.202 | 137366.1609 | 275344.7718 | 33.25 | 75.7
124578 | 2021-05-07 10:11 | 3.6736 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.1258 | μmol/L | 30.8475 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.246 | 137652.567 | 275298.2554 | 33.25 | 75.7
124588 | 2021-05-07 10:11 | 4.0073 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.6588 | μmol/L | 30.8414 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.274 | 137852.1447 | 275266.1692 | 33.25 | 75.7
124598 | 2021-05-07 10:12 | 4.3403 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.3747 | μmol/L | 30.8229 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.296 | 137992.6563 | 275222.7539 | 33.25 | 75.7
124608 | 2021-05-07 10:12 | 4.6741 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.0521 | μmol/L | 30.8229 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.314 | 138099.1491 | 275188.4892 | 33.25 | 75.7
124618 | 2021-05-07 10:12 | 5.007 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.8755 | μmol/L | 30.8106 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.328 | 138172.9865 | 275147.7787 | 33.25 | 75.7
124628 | 2021-05-07 10:13 | 5.3408 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.5039 | μmol/L | 30.7921 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.355 | 138350.1187 | 275123.7372 | 33.25 | 75.7
124638 | 2021-05-07 10:13 | 5.6736 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.4527 | μmol/L | 30.7798 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.362 | 138379.26 | 275082.1625 | 33.25 | 75.7
124648 | 2021-05-07 10:13 | 6.0076 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.4027 | μmol/L | 30.7614 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.371 | 138401.4418 | 275031.8731 | 33.25 | 75.7
124658 | 2021-05-07 10:14 | 6.3406 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.5119 | μmol/L | 30.7491 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.369 | 138361.1134 | 275002.9659 | 33.25 | 75.7
124668 | 2021-05-07 10:14 | 6.6735 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.0339 | μmol/L | 30.626 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.381 | 138427.3806 | 274981.9341 | 33.25 | 75.7
124678 | 2021-05-07 10:14 | 7.0075 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.852 | μmol/L | 30.6444 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.385 | 138407.9055 | 274933.9481 | 33.25 | 75.7
124688 | 2021-05-07 10:15 | 7.3405 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.8119 | μmol/L | 30.6691 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.379 | 138349.3091 | 274902.7401 | 33.25 | 75.7
124698 | 2021-05-07 10:15 | 7.6735 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.9223 | μmol/L | 30.6506 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.379 | 138301.6191 | 274864.4702 | 33.25 | 75.7
124708 | 2021-05-07 10:15 | 8.0073 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.8375 | μmol/L | 30.626 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.392 | 138380.1851 | 274831.8216 | 33.25 | 75.7
124718 | 2021-05-07 10:16 | 8.3406 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.0499 | μmol/L | 30.5337 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.411 | 138480.0322 | 274789.284 | 33.25 | 75.7
124728 | 2021-05-07 10:16 | 8.6738 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.7726 | μmol/L | 30.589 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.408 | 138421.3407 | 274759.0472 | 33.25 | 75.7
124738 | 2021-05-07 10:16 | 9.0071 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.5355 | μmol/L | 30.6198 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.411 | 138430.2478 | 274718.4111 | 33.25 | 75.7
124748 | 2021-05-07 10:17 | 9.3401 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.5399 | μmol/L | 30.5952 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.419 | 138448.7319 | 274697.688 | 33.25 | 75.7
124758 | 2021-05-07 10:17 | 9.674 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.2042 | μmol/L | 30.5829 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.442 | 138605.623 | 274655.5454 | 33.25 | 75.7
124768 | 2021-05-07 10:17 | 10.0074 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.9946 | μmol/L | 30.5644 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.46 | 138736.0217 | 274624.2318 | 33.25 | 75.7
124778 | 2021-05-07 10:18 | 10.3404 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.7619 | μmol/L | 30.5767 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.469 | 138771.2151 | 274586.3161 | 33.25 | 75.7
124788 | 2021-05-07 10:18 | 10.6738 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.8539 | μmol/L | 30.5583 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.47 | 138727.5009 | 274551.6403 | 33.25 | 75.7
124798 | 2021-05-07 10:18 | 11.0071 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.1299 | μmol/L | 30.5029 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.473 | 138707.8141 | 274523.3225 | 33.25 | 75.7
124808 | 2021-05-07 10:19 | 11.3403 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.2385 | μmol/L | 30.4906 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.471 | 138693.8593 | 274492.8432 | 33.25 | 75.7
124818 | 2021-05-07 10:19 | 11.6736 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.0246 | μmol/L | 30.4967 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.481 | 138752.8459 | 274463.1081 | 33.25 | 75.7
124828 | 2021-05-07 10:19 | 12.0075 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.1607 | μmol/L | 30.429 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.496 | 138837.8709 | 274433.6749 | 33.25 | 75.7
124838 | 2021-05-07 10:20 | 12.3408 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.728 | μmol/L | 30.4721 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.506 | 138849.0628 | 274393.7202 | 33.25 | 75.7
124848 | 2021-05-07 10:20 | 12.6741 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.0721 | μmol/L | 30.429 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.501 | 138823.5267 | 274362.6688 | 33.25 | 75.7
124858 | 2021-05-07 10:20 | 13.0073 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.854 | μmol/L | 30.4598 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.503 | 138799.3738 | 274333.2098 | 33.25 | 75.7
124868 | 2021-05-07 10:21 | 13.3405 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.0232 | μmol/L | 30.4044 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.512 | 138815.2881 | 274294.0123 | 33.25 | 75.7
124878 | 2021-05-07 10:21 | 13.6737 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.1704 | μmol/L | 30.3737 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.514 | 138843.4961 | 274272.4576 | 33.25 | 75.7
124888 | 2021-05-07 10:21 | 14.0075 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.1548 | μmol/L | 30.3613 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.519 | 138844.988 | 274229.9678 | 33.25 | 75.7
124898 | 2021-05-07 10:22 | 14.3408 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.4752 | μmol/L | 30.4044 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.543 | 139002.6551 | 274197.2576 | 33.25 | 75.7
124908 | 2021-05-07 10:22 | 14.6737 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.334 | μmol/L | 30.4044 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.551 | 139002.693 | 274177.2881 | 33.25 | 75.7
124918 | 2021-05-07 10:22 | 15.0069 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.3186 | μmol/L | 30.3921 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.556 | 139035.1488 | 274138.3446 | 33.25 | 75.7
124928 | 2021-05-07 10:23 | 15.3403 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.9053 | μmol/L | 30.269 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.564 | 139067.9566 | 274113.8097 | 33.25 | 75.7
124938 | 2021-05-07 10:23 | 15.6742 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.3088 | μmol/L | 30.349 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.571 | 139104.2399 | 274091.9626 | 33.25 | 75.7
124948 | 2021-05-07 10:23 | 16.0073 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.4013 | μmol/L | 30.3244 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.574 | 139094.666 | 274060.1239 | 33.25 | 75.7
124958 | 2021-05-07 10:24 | 16.3404 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.4762 | μmol/L | 30.2998 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.578 | 139097.149 | 274032.3707 | 33.25 | 75.7
124968 | 2021-05-07 10:24 | 16.6736 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.1481 | μmol/L | 30.3613 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.576 | 139065.2065 | 273993.4716 | 33.25 | 75.7
124978 | 2021-05-07 10:24 | 17.0075 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.0062 | μmol/L | 30.3675 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.582 | 139105.2465 | 273975.1557 | 33.25 | 75.7
124988 | 2021-05-07 10:25 | 17.3407 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.8723 | μmol/L | 30.3306 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.602 | 139245.5074 | 273944.846 | 33.25 | 75.7
124998 | 2021-05-07 10:25 | 17.6737 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.6583 | μmol/L | 30.349 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.608 | 139238.5228 | 273910.7043 | 33.25 | 75.7
125008 | 2021-05-07 10:25 | 18.0076 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.6651 | μmol/L | 30.3121 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.62 | 139305.951 | 273892.1792 | 33.25 | 75.7
125018 | 2021-05-07 10:26 | 18.3407 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.8506 | μmol/L | 30.2567 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.628 | 139349.8436 | 273871.7025 | 33.25 | 75.7
125028 | 2021-05-07 10:26 | 18.6739 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.6356 | μmol/L | 30.2813 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.632 | 139320.7071 | 273845.4076 | 33.25 | 75.7
125038 | 2021-05-07 10:26 | 19.0069 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.3299 | μmol/L | 30.3244 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.635 | 139312.9295 | 273807.6676 | 33.25 | 75.7
125048 | 2021-05-07 10:27 | 19.3407 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.3094 | μmol/L | 30.146 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.639 | 139333.5858 | 273778.4453 | 33.25 | 75.7
125058 | 2021-05-07 10:27 | 19.6738 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.9483 | μmol/L | 30.2013 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.641 | 139353.1855 | 273757.3368 | 33.25 | 75.7
125068 | 2021-05-07 10:27 | 20.0068 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.3368 | μmol/L | 30.2875 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.647 | 139374.5619 | 273731.2803 | 33.25 | 75.7
125078 | 2021-05-07 10:28 | 20.3408 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.4989 | μmol/L | 30.2629 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.646 | 139344.6206 | 273696.5741 | 33.25 | 75.7
125088 | 2021-05-07 10:28 | 20.674 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.8617 | μmol/L | 30.1952 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.648 | 139327.3801 | 273669.0351 | 33.25 | 75.7
125098 | 2021-05-07 10:28 | 21.0072 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.282 | μmol/L | 30.2998 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.646 | 139314.4473 | 273640.2375 | 33.25 | 75.7
125108 | 2021-05-07 10:29 | 21.3404 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.7542 | μmol/L | 30.2075 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.65 | 139308.8704 | 273612.2831 | 33.25 | 75.7
125118 | 2021-05-07 10:29 | 21.6735 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.592 | μmol/L | 30.2321 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.651 | 139299.2413 | 273587.3757 | 33.25 | 75.7
125128 | 2021-05-07 10:29 | 22.0075 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.9605 | μmol/L | 30.3367 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.652 | 139282.0737 | 273558.4985 | 33.25 | 75.7
125138 | 2021-05-07 10:30 | 22.3406 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.3029 | μmol/L | 30.2813 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.651 | 139281.3298 | 273534.4617 | 33.25 | 75.7
125148 | 2021-05-07 10:30 | 22.6738 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.1223 | μmol/L | 30.3121 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.651 | 139249.4613 | 273520.0438 | 33.25 | 75.7
125158 | 2021-05-07 10:30 | 23.007 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.8546 | μmol/L | 30.3429 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.656 | 139264.3794 | 273493.8022 | 33.25 | 75.7
125168 | 2021-05-07 10:31 | 23.3404 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.4356 | μmol/L | 30.226 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.662 | 139271.2356 | 273477.2604 | 33.25 | 75.7
125178 | 2021-05-07 10:31 | 23.6738 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.7511 | μmol/L | 30.3367 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.664 | 139260.3246 | 273447.0754 | 33.25 | 75.7
125188 | 2021-05-07 10:31 | 24.0069 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.5186 | μmol/L | 30.3675 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.667 | 139295.7216 | 273422.8255 | 33.25 | 75.7
125198 | 2021-05-07 10:32 | 24.3409 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.4201 | μmol/L | 30.3367 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.683 | 139379.9764 | 273395.4387 | 33.25 | 75.7
125208 | 2021-05-07 10:32 | 24.6741 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.347 | μmol/L | 30.3552 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.681 | 139370.4644 | 273381.166 | 33.25 | 75.7
125218 | 2021-05-07 10:32 | 25.0073 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.8917 | μmol/L | 30.3737 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.701 | 139494.3689 | 273353.4436 | 33.25 | 75.7
125228 | 2021-05-07 10:33 | 25.3404 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.0217 | μmol/L | 30.3306 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.708 | 139515.767 | 273326.6939 | 33.25 | 75.7
125238 | 2021-05-07 10:33 | 25.6735 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.1642 | μmol/L | 30.3121 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.706 | 139480.223 | 273306.117 | 33.25 | 75.7
125248 | 2021-05-07 10:33 | 26.0074 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.7543 | μmol/L | 30.3675 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.711 | 139515.2925 | 273288.6174 | 33.25 | 75.7
125258 | 2021-05-07 10:34 | 26.3403 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.5934 | μmol/L | 30.3921 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.712 | 139520.879 | 273265.4565 | 33.25 | 75.7
125268 | 2021-05-07 10:34 | 26.6735 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.302 | μmol/L | 30.3798 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.733 | 139625.3209 | 273237.4817 | 33.25 | 75.7
125278 | 2021-05-07 10:34 | 27.0069 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.5861 | μmol/L | 30.3429 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.729 | 139589.6065 | 273219.2368 | 33.25 | 75.7
125288 | 2021-05-07 10:35 | 27.3409 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.3428 | μmol/L | 30.349 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.741 | 139650.8574 | 273199.4049 | 33.25 | 75.7
125298 | 2021-05-07 10:35 | 27.674 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.0603 | μmol/L | 30.3798 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.747 | 139700.2472 | 273180.2749 | 33.25 | 75.7
125308 | 2021-05-07 10:35 | 28.0073 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.0073 | μmol/L | 30.386 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.748 | 139687.2714 | 273154.2448 | 33.25 | 75.7
125318 | 2021-05-07 10:36 | 28.3404 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.2059 | μmol/L | 30.3429 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.751 | 139698.5515 | 273141.2442 | 33.25 | 75.7
125328 | 2021-05-07 10:36 | 28.6735 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.872 | μmol/L | 30.3737 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.76 | 139744.7934 | 273121.042 | 33.25 | 75.7
125338 | 2021-05-07 10:36 | 29.0076 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.4896 | μmol/L | 30.3921 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.776 | 139836.6961 | 273097.0094 | 33.25 | 75.7