## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-07 10:38

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
124469 | 2021-05-07 10:07 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.8073 | μmol/L | 31.1135 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.618 | 124629.0993 | 299295.4922 | 59.9307 | 38.1
124479 | 2021-05-07 10:08 | 0.32998 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.451 | μmol/L | 31.0951 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.645 | 124758.5861 | 299266.8431 | 59.9307 | 38.1
124489 | 2021-05-07 10:08 | 0.66354 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.1812 | μmol/L | 31.0767 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.667 | 124841.3756 | 299214.7791 | 59.9307 | 38.1
124499 | 2021-05-07 10:08 | 0.99611 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.1299 | μmol/L | 31.0767 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.67 | 124850.1397 | 299160.8903 | 59.9307 | 38.1
124509 | 2021-05-07 10:09 | 1.33 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.2794 | μmol/L | 31.0216 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.68 | 124855.7345 | 299126.1295 | 59.9307 | 38.1
124519 | 2021-05-07 10:09 | 1.6635 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.0372 | μmol/L | 31.0338 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.69 | 124885.6553 | 299079.0955 | 59.9307 | 38.1
124529 | 2021-05-07 10:09 | 1.9968 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.0059 | μmol/L | 31.0216 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.696 | 124890.7727 | 299060.4536 | 59.9307 | 38.1
124539 | 2021-05-07 10:10 | 2.3295 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.9205 | μmol/L | 31.0216 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.701 | 124913.143 | 299010.5803 | 59.9307 | 38.1
124549 | 2021-05-07 10:10 | 2.6628 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.8209 | μmol/L | 31.0093 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.711 | 124919.8937 | 298957.7318 | 59.9307 | 38.1
124559 | 2021-05-07 10:10 | 2.9966 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.0697 | μmol/L | 30.9664 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.711 | 124865.8437 | 298913.0075 | 59.9307 | 38.1
124569 | 2021-05-07 10:11 | 3.3295 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.0383 | μmol/L | 30.9542 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.717 | 124867.0896 | 298873.2317 | 59.9307 | 38.1
124579 | 2021-05-07 10:11 | 3.6633 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.0595 | μmol/L | 30.9358 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.722 | 124846.2139 | 298833.186 | 59.9307 | 38.1
124589 | 2021-05-07 10:11 | 3.9965 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.1476 | μmol/L | 30.9235 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.721 | 124828.9537 | 298801.2708 | 59.9307 | 38.1
124599 | 2021-05-07 10:12 | 4.3296 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.0349 | μmol/L | 30.8929 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.738 | 124842.135 | 298754.3451 | 59.9307 | 38.1
124609 | 2021-05-07 10:12 | 4.6636 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.1203 | μmol/L | 30.8929 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.733 | 124791.7545 | 298724.3124 | 59.9307 | 38.1
124619 | 2021-05-07 10:12 | 4.9966 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.3518 | μmol/L | 30.85 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.734 | 124765.3359 | 298654.9979 | 59.9307 | 38.1
124629 | 2021-05-07 10:13 | 5.3303 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.39 | μmol/L | 30.8316 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.738 | 124742.9906 | 298617.795 | 59.9307 | 38.1
124639 | 2021-05-07 10:13 | 5.6633 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.252 | μmol/L | 30.8377 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.744 | 124749.0923 | 298586.5407 | 59.9307 | 38.1
124649 | 2021-05-07 10:13 | 5.9965 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.3427 | μmol/L | 30.8132 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.747 | 124717.5195 | 298539.2375 | 59.9307 | 38.1
124659 | 2021-05-07 10:14 | 6.3295 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.3756 | μmol/L | 30.8193 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.743 | 124666.9627 | 298506.6344 | 59.9307 | 38.1
124669 | 2021-05-07 10:14 | 6.6635 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.2573 | μmol/L | 30.8132 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.752 | 124680.3698 | 298474.3859 | 59.9307 | 38.1
124679 | 2021-05-07 10:14 | 6.9966 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.5374 | μmol/L | 30.7826 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.746 | 124640.4015 | 298441.4537 | 59.9307 | 38.1
124689 | 2021-05-07 10:15 | 7.3298 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.5414 | μmol/L | 30.7642 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.752 | 124616.2051 | 298397.1794 | 59.9307 | 38.1
124699 | 2021-05-07 10:15 | 7.6628 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.5966 | μmol/L | 30.7458 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.755 | 124614.6583 | 298349.7812 | 59.9307 | 38.1
124709 | 2021-05-07 10:15 | 7.9968 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.5979 | μmol/L | 30.7397 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.757 | 124592.9327 | 298313.2658 | 59.9307 | 38.1
124719 | 2021-05-07 10:16 | 8.33 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.4927 | μmol/L | 30.7519 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.759 | 124573.4355 | 298265.9614 | 59.9307 | 38.1
124729 | 2021-05-07 10:16 | 8.6631 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.3611 | μmol/L | 30.7274 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.775 | 124669.5378 | 298235.968 | 59.9307 | 38.1
124739 | 2021-05-07 10:16 | 8.9963 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.6792 | μmol/L | 30.6784 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.773 | 124604.6058 | 298191.8955 | 59.9307 | 38.1
124749 | 2021-05-07 10:17 | 9.3296 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.624 | μmol/L | 30.6968 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.77 | 124542.1693 | 298156.5549 | 59.9307 | 38.1
124759 | 2021-05-07 10:17 | 9.6628 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.6449 | μmol/L | 30.6784 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.775 | 124525.7091 | 298131.7375 | 59.9307 | 38.1
124769 | 2021-05-07 10:17 | 9.9963 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.7318 | μmol/L | 30.6723 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.772 | 124495.1331 | 298087.6082 | 59.9307 | 38.1
124779 | 2021-05-07 10:18 | 10.3301 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.7185 | μmol/L | 30.6539 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.779 | 124512.3734 | 298053.5907 | 59.9307 | 38.1
124789 | 2021-05-07 10:18 | 10.6633 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.7907 | μmol/L | 30.6355 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.781 | 124492.4173 | 298020.4741 | 59.9307 | 38.1
124799 | 2021-05-07 10:18 | 10.9963 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.6601 | μmol/L | 30.6048 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.799 | 124525.4883 | 297975.2254 | 59.9307 | 38.1
124809 | 2021-05-07 10:19 | 11.3295 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.918 | μmol/L | 30.5987 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.786 | 124462.514 | 297948.2372 | 59.9307 | 38.1
124819 | 2021-05-07 10:19 | 11.663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.9083 | μmol/L | 30.562 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.799 | 124482.4565 | 297919.8765 | 59.9307 | 38.1
124829 | 2021-05-07 10:19 | 11.9962 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.9401 | μmol/L | 30.5742 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.793 | 124441.6868 | 297874.8979 | 59.9307 | 38.1
124839 | 2021-05-07 10:20 | 12.3301 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.0478 | μmol/L | 30.5497 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.795 | 124411.0544 | 297860.4109 | 59.9307 | 38.1
124849 | 2021-05-07 10:20 | 12.6633 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.857 | μmol/L | 30.562 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.802 | 124408.3729 | 297815.0248 | 59.9307 | 38.1
124859 | 2021-05-07 10:20 | 12.9964 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.1261 | μmol/L | 30.5007 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.807 | 124387.1454 | 297774.7159 | 59.9307 | 38.1
124869 | 2021-05-07 10:21 | 13.3296 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.9475 | μmol/L | 30.5374 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.805 | 124365.7962 | 297726.7686 | 59.9307 | 38.1
124879 | 2021-05-07 10:21 | 13.6628 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.3893 | μmol/L | 30.47 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.802 | 124349.0247 | 297715.4576 | 59.9307 | 38.1
124889 | 2021-05-07 10:21 | 13.9967 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.9401 | μmol/L | 30.4884 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.822 | 124384.0628 | 297687.0541 | 59.9307 | 38.1
124899 | 2021-05-07 10:22 | 14.3302 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.2409 | μmol/L | 30.4394 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.821 | 124344.6829 | 297661.5737 | 59.9307 | 38.1
124909 | 2021-05-07 10:22 | 14.663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.3289 | μmol/L | 30.4271 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.82 | 124307.2481 | 297636.4125 | 59.9307 | 38.1
124919 | 2021-05-07 10:22 | 14.9964 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.0978 | μmol/L | 30.47 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.819 | 124283.2521 | 297605.7937 | 59.9307 | 38.1
124929 | 2021-05-07 10:23 | 15.3297 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.9755 | μmol/L | 30.4823 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.822 | 124265.3039 | 297565.3629 | 59.9307 | 38.1
124939 | 2021-05-07 10:23 | 15.6628 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.9572 | μmol/L | 30.4884 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.821 | 124243.6787 | 297519.7096 | 59.9307 | 38.1
124949 | 2021-05-07 10:23 | 15.9968 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.3508 | μmol/L | 30.4026 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.827 | 124247.9636 | 297497.5301 | 59.9307 | 38.1
124959 | 2021-05-07 10:24 | 16.3299 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.2503 | μmol/L | 30.3904 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.837 | 124290.4184 | 297472.3157 | 59.9307 | 38.1
124969 | 2021-05-07 10:24 | 16.6631 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.2343 | μmol/L | 30.3842 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.84 | 124284.0163 | 297431.0952 | 59.9307 | 38.1
124979 | 2021-05-07 10:24 | 16.9969 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.7104 | μmol/L | 30.4394 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.852 | 124342.2048 | 297387.8118 | 59.9307 | 38.1
124989 | 2021-05-07 10:25 | 17.3303 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.0253 | μmol/L | 30.4026 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.846 | 124296.8937 | 297352.6531 | 59.9307 | 38.1
124999 | 2021-05-07 10:25 | 17.6634 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.4138 | μmol/L | 30.3413 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.844 | 124258.6849 | 297334.833 | 59.9307 | 38.1
125009 | 2021-05-07 10:25 | 17.9965 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.3075 | μmol/L | 30.3597 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.844 | 124226.5562 | 297300.2481 | 59.9307 | 38.1
125019 | 2021-05-07 10:26 | 18.3297 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.8873 | μmol/L | 30.4088 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.852 | 124219.1075 | 297277.2394 | 59.9307 | 38.1
125029 | 2021-05-07 10:26 | 18.6636 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.8018 | μmol/L | 30.4088 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.857 | 124219.4008 | 297229.2907 | 59.9307 | 38.1
125039 | 2021-05-07 10:26 | 18.9965 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.6212 | μmol/L | 30.372 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.88 | 124353.6171 | 297203.5568 | 59.9307 | 38.1
125049 | 2021-05-07 10:27 | 19.3297 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.1409 | μmol/L | 30.3352 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.862 | 124227.1617 | 297181.5165 | 59.9307 | 38.1
125059 | 2021-05-07 10:27 | 19.6628 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.1763 | μmol/L | 30.3291 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.862 | 124189.7552 | 297152.4316 | 59.9307 | 38.1
125069 | 2021-05-07 10:27 | 19.9969 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.77 | μmol/L | 30.3965 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.863 | 124172.488 | 297115.3267 | 59.9307 | 38.1
125079 | 2021-05-07 10:28 | 20.33 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.72 | μmol/L | 30.3904 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.868 | 124200.3847 | 297091.8344 | 59.9307 | 38.1
125089 | 2021-05-07 10:28 | 20.6634 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.9321 | μmol/L | 30.3536 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.868 | 124181.5551 | 297066.6966 | 59.9307 | 38.1
125099 | 2021-05-07 10:28 | 20.9965 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.0965 | μmol/L | 30.2985 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.877 | 124197.7296 | 297030.7666 | 59.9307 | 38.1
125109 | 2021-05-07 10:29 | 21.3302 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.9916 | μmol/L | 30.3107 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.879 | 124178.7514 | 297011.3308 | 59.9307 | 38.1
125119 | 2021-05-07 10:29 | 21.6633 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.7065 | μmol/L | 30.372 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.875 | 124147.2303 | 296972.2887 | 59.9307 | 38.1
125129 | 2021-05-07 10:29 | 21.9964 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.6541 | μmol/L | 30.3781 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.876 | 124138.4146 | 296947.0591 | 59.9307 | 38.1
125139 | 2021-05-07 10:30 | 22.3295 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.905 | μmol/L | 30.3168 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.882 | 124152.187 | 296931.9675 | 59.9307 | 38.1
125149 | 2021-05-07 10:30 | 22.6628 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.5176 | μmol/L | 30.3781 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.884 | 124120.684 | 296909.1033 | 59.9307 | 38.1
125159 | 2021-05-07 10:30 | 22.9967 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.4105 | μmol/L | 30.4026 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.882 | 124120.9445 | 296878.0198 | 59.9307 | 38.1
125169 | 2021-05-07 10:31 | 23.3299 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.4665 | μmol/L | 30.3781 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.887 | 124128.1197 | 296879.3732 | 59.9307 | 38.1
125179 | 2021-05-07 10:31 | 23.663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.3777 | μmol/L | 30.3965 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.886 | 124099.6595 | 296842.153 | 59.9307 | 38.1
125189 | 2021-05-07 10:31 | 23.9969 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.1721 | μmol/L | 30.4026 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.896 | 124109.8601 | 296811.1403 | 59.9307 | 38.1
125199 | 2021-05-07 10:32 | 24.3299 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.4506 | μmol/L | 30.372 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.89 | 124086.0771 | 296778.7591 | 59.9307 | 38.1
125209 | 2021-05-07 10:32 | 24.663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.4043 | μmol/L | 30.3475 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.901 | 124115.0923 | 296754.4621 | 59.9307 | 38.1
125219 | 2021-05-07 10:32 | 24.9969 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.2767 | μmol/L | 30.3904 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.894 | 124065.7166 | 296744.3973 | 59.9307 | 38.1
125229 | 2021-05-07 10:33 | 25.3299 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.9154 | μmol/L | 30.2617 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.9 | 124077.8931 | 296707.9055 | 59.9307 | 38.1
125239 | 2021-05-07 10:33 | 25.6631 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.4067 | μmol/L | 30.3352 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.905 | 124071.2641 | 296686.0436 | 59.9307 | 38.1
125249 | 2021-05-07 10:33 | 25.9962 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.1782 | μmol/L | 30.372 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.906 | 124068.2958 | 296675.5286 | 59.9307 | 38.1
125259 | 2021-05-07 10:34 | 26.3302 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.4725 | μmol/L | 30.3475 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.897 | 124024.6609 | 296629.7859 | 59.9307 | 38.1
125269 | 2021-05-07 10:34 | 26.6634 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.3992 | μmol/L | 30.2862 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.922 | 124132.5454 | 296627.8434 | 59.9307 | 38.1
125279 | 2021-05-07 10:34 | 26.9969 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.2365 | μmol/L | 30.3352 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.915 | 124060.6158 | 296611.32 | 59.9307 | 38.1
125289 | 2021-05-07 10:35 | 27.3299 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.3968 | μmol/L | 30.2985 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.918 | 124070.3846 | 296583.4516 | 59.9307 | 38.1
125299 | 2021-05-07 10:35 | 27.6629 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.9414 | μmol/L | 30.3659 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.922 | 124052.5621 | 296552.3043 | 59.9307 | 38.1
125309 | 2021-05-07 10:35 | 27.9968 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.2048 | μmol/L | 30.323 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.921 | 124083.91 | 296518.0467 | 59.9307 | 38.1
125319 | 2021-05-07 10:36 | 28.33 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.55 | μmol/L | 30.372 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.943 | 124172.0884 | 296495.252 | 59.9307 | 38.1
125329 | 2021-05-07 10:36 | 28.6631 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.979 | μmol/L | 30.3475 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.926 | 124067.7963 | 296495.9295 | 59.9307 | 38.1
125339 | 2021-05-07 10:36 | 28.9964 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.8456 | μmol/L | 30.3352 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.938 | 124102.8303 | 296464.053 | 59.9307 | 38.1