## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-07 10:38

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
124470 | 2021-05-07 10:07 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.4266 | μmol/L | 31.2142 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.793 | 96302.6031 | 216162.5295 | 27.3 | 43.4
124480 | 2021-05-07 10:08 | 0.33459 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.2766 | μmol/L | 31.1958 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.807 | 96331.4117 | 216151.2484 | 27.3 | 43.4
124490 | 2021-05-07 10:08 | 0.66815 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.148 | μmol/L | 31.1713 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.822 | 96347.0637 | 216120.3665 | 27.3 | 43.4
124500 | 2021-05-07 10:08 | 1.0016 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.0334 | μmol/L | 31.1652 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.83 | 96324.7639 | 216098.3477 | 27.3 | 43.4
124510 | 2021-05-07 10:09 | 1.3346 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.0779 | μmol/L | 31.1468 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.834 | 96308.2443 | 216070.8509 | 27.3 | 43.4
124520 | 2021-05-07 10:09 | 1.6683 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.0817 | μmol/L | 31.1345 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.838 | 96306.1031 | 216046.0591 | 27.3 | 43.4
124530 | 2021-05-07 10:09 | 2.0012 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.9245 | μmol/L | 31.1406 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.844 | 96284.1758 | 216007.6759 | 27.3 | 43.4
124540 | 2021-05-07 10:10 | 2.3347 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.1513 | μmol/L | 31.0977 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.847 | 96267.6114 | 215989.3107 | 27.3 | 43.4
124550 | 2021-05-07 10:10 | 2.6685 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.1569 | μmol/L | 31.0793 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.853 | 96249.564 | 215968.9033 | 27.3 | 43.4
124560 | 2021-05-07 10:10 | 3.0015 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.2791 | μmol/L | 31.0609 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.853 | 96229.3909 | 215933.5791 | 27.3 | 43.4
124570 | 2021-05-07 10:11 | 3.335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.2615 | μmol/L | 31.0548 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.856 | 96208.3833 | 215909.3948 | 27.3 | 43.4
124580 | 2021-05-07 10:11 | 3.668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.3236 | μmol/L | 31.0425 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.857 | 96192.3081 | 215879.7011 | 27.3 | 43.4
124590 | 2021-05-07 10:11 | 4.0012 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.331 | μmol/L | 31.018 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.865 | 96184.1184 | 215852.111 | 27.3 | 43.4
124600 | 2021-05-07 10:12 | 4.3351 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.3541 | μmol/L | 31.0057 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.868 | 96180.4836 | 215829.7049 | 27.3 | 43.4
124610 | 2021-05-07 10:12 | 4.6681 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.3985 | μmol/L | 30.9873 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.872 | 96148.3968 | 215795.2768 | 27.3 | 43.4
124620 | 2021-05-07 10:12 | 5.0013 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.3864 | μmol/L | 30.9628 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.881 | 96149.3417 | 215775.274 | 27.3 | 43.4
124630 | 2021-05-07 10:13 | 5.3351 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.4696 | μmol/L | 30.9444 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.883 | 96146.3664 | 215750.7035 | 27.3 | 43.4
124640 | 2021-05-07 10:13 | 5.668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.452 | μmol/L | 30.9383 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.886 | 96139.8238 | 215724.2053 | 27.3 | 43.4
124650 | 2021-05-07 10:13 | 6.0018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.4732 | μmol/L | 30.9321 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.887 | 96115.2323 | 215700.8715 | 27.3 | 43.4
124660 | 2021-05-07 10:14 | 6.3349 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.5989 | μmol/L | 30.9015 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.891 | 96103.7479 | 215681.3974 | 27.3 | 43.4
124670 | 2021-05-07 10:14 | 6.668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.5636 | μmol/L | 30.8892 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.897 | 96089.1689 | 215647.8526 | 27.3 | 43.4
124680 | 2021-05-07 10:14 | 7.0011 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.6893 | μmol/L | 30.8586 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.901 | 96083.4136 | 215617.0888 | 27.3 | 43.4
124690 | 2021-05-07 10:15 | 7.3349 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.6327 | μmol/L | 30.8524 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.906 | 96063.6179 | 215603.1476 | 27.3 | 43.4
124700 | 2021-05-07 10:15 | 7.6678 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.7529 | μmol/L | 30.8402 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.904 | 96052.2686 | 215572.7999 | 27.3 | 43.4
124710 | 2021-05-07 10:15 | 8.0011 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.7406 | μmol/L | 30.8156 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.913 | 96051.9558 | 215543.1637 | 27.3 | 43.4
124720 | 2021-05-07 10:16 | 8.3344 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.806 | μmol/L | 30.7911 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.918 | 96045.2549 | 215515.0929 | 27.3 | 43.4
124730 | 2021-05-07 10:16 | 8.6684 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.7495 | μmol/L | 30.785 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.923 | 96034.0686 | 215493.3603 | 27.3 | 43.4
124740 | 2021-05-07 10:16 | 9.0017 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.8308 | μmol/L | 30.7727 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.923 | 96021.3783 | 215479.4409 | 27.3 | 43.4
124750 | 2021-05-07 10:17 | 9.3349 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.1967 | μmol/L | 30.7175 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.923 | 96020.5753 | 215459.8314 | 27.3 | 43.4
124760 | 2021-05-07 10:17 | 9.6678 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.9597 | μmol/L | 30.7298 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.931 | 96016.943 | 215438.7077 | 27.3 | 43.4
124770 | 2021-05-07 10:17 | 10.0019 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.8253 | μmol/L | 30.7237 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.94 | 96017.1388 | 215414.2185 | 27.3 | 43.4
124780 | 2021-05-07 10:18 | 10.3349 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.5694 | μmol/L | 30.7359 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.949 | 96025.4224 | 215386.0233 | 27.3 | 43.4
124790 | 2021-05-07 10:18 | 10.6683 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.6911 | μmol/L | 30.7175 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.949 | 96007.3739 | 215362.9247 | 27.3 | 43.4
124800 | 2021-05-07 10:18 | 11.0014 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.8517 | μmol/L | 30.6992 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.947 | 95986.5522 | 215335.8996 | 27.3 | 43.4
124810 | 2021-05-07 10:19 | 11.3347 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.8587 | μmol/L | 30.6746 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.955 | 95986.2059 | 215320.6462 | 27.3 | 43.4
124820 | 2021-05-07 10:19 | 11.6681 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.9805 | μmol/L | 30.6562 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.955 | 95983.779 | 215295.0221 | 27.3 | 43.4
124830 | 2021-05-07 10:19 | 12.0013 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.9874 | μmol/L | 30.6317 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.963 | 95973.9919 | 215258.0203 | 27.3 | 43.4
124840 | 2021-05-07 10:20 | 12.3346 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.0685 | μmol/L | 30.6194 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.963 | 95973.7135 | 215258.2373 | 27.3 | 43.4
124850 | 2021-05-07 10:20 | 12.6678 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.072 | μmol/L | 30.6072 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.967 | 95973.2316 | 215227.2993 | 27.3 | 43.4
124860 | 2021-05-07 10:20 | 13.0011 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.0331 | μmol/L | 30.6072 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.969 | 95964.068 | 215207.5958 | 27.3 | 43.4
124870 | 2021-05-07 10:21 | 13.335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.1194 | μmol/L | 30.5765 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.975 | 95970.4066 | 215176.034 | 27.3 | 43.4
124880 | 2021-05-07 10:21 | 13.6681 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.0627 | μmol/L | 30.5704 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.98 | 95967.1414 | 215169.5227 | 27.3 | 43.4
124890 | 2021-05-07 10:21 | 14.0012 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.0062 | μmol/L | 30.5643 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.985 | 95977.462 | 215147.7097 | 27.3 | 43.4
124900 | 2021-05-07 10:22 | 14.3348 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.2157 | μmol/L | 30.5091 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.993 | 95974.7402 | 215122.2661 | 27.3 | 43.4
124910 | 2021-05-07 10:22 | 14.6683 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.1168 | μmol/L | 30.5152 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.996 | 95968.7099 | 215100.2896 | 27.3 | 43.4
124920 | 2021-05-07 10:22 | 15.0017 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.8753 | μmol/L | 30.5459 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.998 | 95970.4347 | 215075.8272 | 27.3 | 43.4
124930 | 2021-05-07 10:23 | 15.3349 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.7994 | μmol/L | 30.5397 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.004 | 95979.7072 | 215064.1988 | 27.3 | 43.4
124940 | 2021-05-07 10:23 | 15.6678 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.8821 | μmol/L | 30.5214 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.006 | 95966.8197 | 215035.5491 | 27.3 | 43.4
124950 | 2021-05-07 10:23 | 16.0018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.9648 | μmol/L | 30.503 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.008 | 95971.9198 | 215016.8434 | 27.3 | 43.4
124960 | 2021-05-07 10:24 | 16.3349 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.375 | μmol/L | 30.4233 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.014 | 95973.2679 | 214999.3968 | 27.3 | 43.4
124970 | 2021-05-07 10:24 | 16.6679 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.8957 | μmol/L | 30.4723 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.022 | 95985.1194 | 214982.8071 | 27.3 | 43.4
124980 | 2021-05-07 10:24 | 17.0019 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.6209 | μmol/L | 30.4846 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.032 | 96001.0558 | 214973.3963 | 27.3 | 43.4
124990 | 2021-05-07 10:25 | 17.335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.5771 | μmol/L | 30.503 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.028 | 95980.0779 | 214943.213 | 27.3 | 43.4
125000 | 2021-05-07 10:25 | 17.6681 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.9234 | μmol/L | 30.4417 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.031 | 95973.6481 | 214916.9351 | 27.3 | 43.4
125010 | 2021-05-07 10:25 | 18.0012 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.9673 | μmol/L | 30.4233 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.035 | 95957.4427 | 214898.7593 | 27.3 | 43.4
125020 | 2021-05-07 10:26 | 18.3351 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.9234 | μmol/L | 30.4417 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.031 | 95949.3925 | 214874.9726 | 27.3 | 43.4
125030 | 2021-05-07 10:26 | 18.6683 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.5873 | μmol/L | 30.4662 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.04 | 95948.1253 | 214852.4936 | 27.3 | 43.4
125040 | 2021-05-07 10:26 | 19.0016 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.6294 | μmol/L | 30.4539 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.042 | 95942.1368 | 214837.1938 | 27.3 | 43.4
125050 | 2021-05-07 10:27 | 19.3346 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.4957 | μmol/L | 30.4478 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.051 | 95961.1854 | 214833.0949 | 27.3 | 43.4
125060 | 2021-05-07 10:27 | 19.6679 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.8787 | μmol/L | 30.3926 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.05 | 95953.8486 | 214809.3451 | 27.3 | 43.4
125070 | 2021-05-07 10:27 | 20.0011 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.6202 | μmol/L | 30.4171 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.055 | 95948.2213 | 214793.1484 | 27.3 | 43.4
125080 | 2021-05-07 10:28 | 20.3345 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.3427 | μmol/L | 30.4417 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.061 | 95948.4925 | 214770.4848 | 27.3 | 43.4
125090 | 2021-05-07 10:28 | 20.6685 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.4007 | μmol/L | 30.4417 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.058 | 95949.678 | 214748.357 | 27.3 | 43.4
125100 | 2021-05-07 10:28 | 21.0017 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.3637 | μmol/L | 30.4355 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.062 | 95936.581 | 214744.9205 | 27.3 | 43.4
125110 | 2021-05-07 10:29 | 21.3347 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.4041 | μmol/L | 30.4294 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.062 | 95922.5111 | 214712.397 | 27.3 | 43.4
125120 | 2021-05-07 10:29 | 21.6686 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.2126 | μmol/L | 30.4233 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.074 | 95961.1818 | 214700.3126 | 27.3 | 43.4
125130 | 2021-05-07 10:29 | 22.0016 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.0531 | μmol/L | 30.4417 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.076 | 95938.2045 | 214676.6689 | 27.3 | 43.4
125140 | 2021-05-07 10:30 | 22.3347 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.0951 | μmol/L | 30.4294 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.078 | 95940.9729 | 214663.7456 | 27.3 | 43.4
125150 | 2021-05-07 10:30 | 22.6678 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.1371 | μmol/L | 30.4171 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.08 | 95937.6863 | 214660.0521 | 27.3 | 43.4
125160 | 2021-05-07 10:30 | 23.0018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.0196 | μmol/L | 30.4233 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.084 | 95938.6335 | 214636.284 | 27.3 | 43.4
125170 | 2021-05-07 10:31 | 23.3352 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.0248 | μmol/L | 30.4049 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.09 | 95949.435 | 214619.564 | 27.3 | 43.4
125180 | 2021-05-07 10:31 | 23.6685 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.0702 | μmol/L | 30.3803 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.096 | 95956.7443 | 214597.6961 | 27.3 | 43.4
125190 | 2021-05-07 10:31 | 24.0014 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.8479 | μmol/L | 30.4171 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.095 | 95953.1505 | 214579.8409 | 27.3 | 43.4
125200 | 2021-05-07 10:32 | 24.3352 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.8899 | μmol/L | 30.4049 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.097 | 95956.5013 | 214575.6752 | 27.3 | 43.4
125210 | 2021-05-07 10:32 | 24.6683 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.8338 | μmol/L | 30.3987 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.102 | 95948.4339 | 214557.9374 | 27.3 | 43.4
125220 | 2021-05-07 10:32 | 25.0015 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.6781 | μmol/L | 30.4049 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.108 | 95965.2529 | 214545.4201 | 27.3 | 43.4
125230 | 2021-05-07 10:33 | 25.3347 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.8565 | μmol/L | 30.3865 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.105 | 95965.2106 | 214520.8732 | 27.3 | 43.4
125240 | 2021-05-07 10:33 | 25.668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.6658 | μmol/L | 30.3803 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.117 | 95962.1035 | 214498.3638 | 27.3 | 43.4
125250 | 2021-05-07 10:33 | 26.0018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.8056 | μmol/L | 30.362 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.116 | 95953.534 | 214491.5146 | 27.3 | 43.4
125260 | 2021-05-07 10:34 | 26.3349 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.7479 | μmol/L | 30.362 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.119 | 95950.9858 | 214472.2767 | 27.3 | 43.4
125270 | 2021-05-07 10:34 | 26.6684 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.6692 | μmol/L | 30.3681 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.121 | 95946.7512 | 214459.9846 | 27.3 | 43.4
125280 | 2021-05-07 10:34 | 27.0016 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.83 | μmol/L | 30.3436 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.121 | 95936.0417 | 214458.1604 | 27.3 | 43.4
125290 | 2021-05-07 10:35 | 27.3347 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.4578 | μmol/L | 30.3681 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.132 | 95954.281 | 214448.3035 | 27.3 | 43.4
125300 | 2021-05-07 10:35 | 27.6685 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.4368 | μmol/L | 30.3742 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.131 | 95954.7895 | 214431.4762 | 27.3 | 43.4
125310 | 2021-05-07 10:35 | 28.0018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.3792 | μmol/L | 30.3742 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.134 | 95950.5289 | 214414.6803 | 27.3 | 43.4
125320 | 2021-05-07 10:36 | 28.3347 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.3583 | μmol/L | 30.3803 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.133 | 95942.1637 | 214388.3474 | 27.3 | 43.4
125330 | 2021-05-07 10:36 | 28.668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.3077 | μmol/L | 30.3558 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.144 | 95951.384 | 214372.8272 | 27.3 | 43.4
125340 | 2021-05-07 10:36 | 29.0014 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.2885 | μmol/L | 30.3558 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.145 | 95951.682 | 214362.9952 | 27.3 | 43.4