## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-07 10:38

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
124471 | 2021-05-07 10:07 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.0011 | μmol/L | 31.3213 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.573 | 90470.4256 | 296486.716 | 28.7 | 67.6
124481 | 2021-05-07 10:08 | 0.34123 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.6758 | μmol/L | 31.3152 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.594 | 90550.7821 | 296463.3088 | 28.7 | 67.6
124491 | 2021-05-07 10:08 | 0.67475 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.3525 | μmol/L | 31.303 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.617 | 90596.6704 | 296407.9717 | 28.7 | 67.6
124501 | 2021-05-07 10:08 | 1.0082 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.3636 | μmol/L | 31.2541 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.633 | 90635.2875 | 296379.898 | 28.7 | 67.6
124511 | 2021-05-07 10:09 | 1.3418 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.2479 | μmol/L | 31.2358 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.646 | 90654.9193 | 296318.348 | 28.7 | 67.6
124521 | 2021-05-07 10:09 | 1.6747 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.4684 | μmol/L | 31.1686 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.656 | 90648.406 | 296288.1301 | 28.7 | 67.6
124531 | 2021-05-07 10:09 | 2.0083 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.5396 | μmol/L | 31.1564 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.656 | 90614.0767 | 296246.7081 | 28.7 | 67.6
124541 | 2021-05-07 10:10 | 2.3414 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.3629 | μmol/L | 31.1808 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.658 | 90585.9451 | 296209.2511 | 28.7 | 67.6
124551 | 2021-05-07 10:10 | 2.6746 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.2958 | μmol/L | 31.1747 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.664 | 90559.8034 | 296156.4559 | 28.7 | 67.6
124561 | 2021-05-07 10:10 | 3.0078 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.367 | μmol/L | 31.1625 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.664 | 90536.1875 | 296116.2517 | 28.7 | 67.6
124571 | 2021-05-07 10:11 | 3.3414 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.3381 | μmol/L | 31.1381 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.674 | 90524.1399 | 296064.4919 | 28.7 | 67.6
124581 | 2021-05-07 10:11 | 3.6746 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.4962 | μmol/L | 31.1198 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.671 | 90503.0694 | 296028.307 | 28.7 | 67.6
124591 | 2021-05-07 10:11 | 4.0078 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.4975 | μmol/L | 31.1137 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.673 | 90478.5875 | 295983.4069 | 28.7 | 67.6
124601 | 2021-05-07 10:12 | 4.3417 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.4515 | μmol/L | 31.0893 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.684 | 90453.9751 | 295935.996 | 28.7 | 67.6
124611 | 2021-05-07 10:12 | 4.6751 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.5239 | μmol/L | 31.071 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.686 | 90432.4456 | 295883.5473 | 28.7 | 67.6
124621 | 2021-05-07 10:12 | 5.0081 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.7901 | μmol/L | 31.0282 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.685 | 90394.2662 | 295836.7846 | 28.7 | 67.6
124631 | 2021-05-07 10:13 | 5.3411 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.5463 | μmol/L | 31.0465 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.693 | 90411.6007 | 295802.9864 | 28.7 | 67.6
124641 | 2021-05-07 10:13 | 5.6749 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.512 | μmol/L | 31.0465 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.695 | 90362.4779 | 295765.5347 | 28.7 | 67.6
124651 | 2021-05-07 10:13 | 6.0081 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.7044 | μmol/L | 31.0282 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.69 | 90335.6055 | 295723.3965 | 28.7 | 67.6
124661 | 2021-05-07 10:14 | 6.3411 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.956 | μmol/L | 30.9733 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.694 | 90302.5894 | 295665.4462 | 28.7 | 67.6
124671 | 2021-05-07 10:14 | 6.6749 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.0284 | μmol/L | 30.955 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.696 | 90289.9176 | 295633.7059 | 28.7 | 67.6
124681 | 2021-05-07 10:14 | 7.0083 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.9941 | μmol/L | 30.955 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.698 | 90269.1299 | 295589.7227 | 28.7 | 67.6
124691 | 2021-05-07 10:15 | 7.3413 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.5442 | μmol/L | 30.8695 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.695 | 90228.815 | 295556.7357 | 28.7 | 67.6
124701 | 2021-05-07 10:15 | 7.6743 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.4041 | μmol/L | 30.8817 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.699 | 90202.3682 | 295511.2393 | 28.7 | 67.6
124711 | 2021-05-07 10:15 | 8.0083 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.2801 | μmol/L | 30.9 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.7 | 90184.2671 | 295447.5769 | 28.7 | 67.6
124721 | 2021-05-07 10:16 | 8.3414 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.1304 | μmol/L | 30.8756 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.717 | 90201.8056 | 295415.6067 | 28.7 | 67.6
124731 | 2021-05-07 10:16 | 8.6747 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.2506 | μmol/L | 30.8756 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.71 | 90157.2849 | 295371.2084 | 28.7 | 67.6
124741 | 2021-05-07 10:16 | 9.008 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.9588 | μmol/L | 30.8756 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.727 | 90201.5738 | 295342.0598 | 28.7 | 67.6
124751 | 2021-05-07 10:17 | 9.3412 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.1206 | μmol/L | 30.839 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.73 | 90184.0197 | 295295.6931 | 28.7 | 67.6
124761 | 2021-05-07 10:17 | 9.6747 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.1377 | μmol/L | 30.839 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.729 | 90157.237 | 295256.9237 | 28.7 | 67.6
124771 | 2021-05-07 10:17 | 10.0079 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.453 | μmol/L | 30.8084 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.721 | 90109.2043 | 295223.1908 | 28.7 | 67.6
124781 | 2021-05-07 10:18 | 10.3411 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.4198 | μmol/L | 30.8023 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.725 | 90102.1368 | 295193.4688 | 28.7 | 67.6
124791 | 2021-05-07 10:18 | 10.6744 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.4933 | μmol/L | 30.7779 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.729 | 90084.0863 | 295156.4277 | 28.7 | 67.6
124801 | 2021-05-07 10:18 | 11.0083 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.6688 | μmol/L | 30.7596 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.725 | 90059.2994 | 295116.3154 | 28.7 | 67.6
124811 | 2021-05-07 10:19 | 11.3415 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.9192 | μmol/L | 30.7108 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.727 | 90043.4825 | 295076.1692 | 28.7 | 67.6
124821 | 2021-05-07 10:19 | 11.6748 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.5644 | μmol/L | 30.7657 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.729 | 90033.0585 | 295046.1828 | 28.7 | 67.6
124831 | 2021-05-07 10:19 | 12.0083 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.5039 | μmol/L | 30.723 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.747 | 90060.8178 | 295000.9184 | 28.7 | 67.6
124841 | 2021-05-07 10:20 | 12.3414 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.7149 | μmol/L | 30.6986 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.743 | 90024.8771 | 294968.9895 | 28.7 | 67.6
124851 | 2021-05-07 10:20 | 12.6745 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.4179 | μmol/L | 30.723 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.752 | 90035.2047 | 294923.8496 | 28.7 | 67.6
124861 | 2021-05-07 10:20 | 13.0078 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.6701 | μmol/L | 30.6619 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.758 | 90020.5899 | 294886.7024 | 28.7 | 67.6
124871 | 2021-05-07 10:21 | 13.3418 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.9501 | μmol/L | 30.6375 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.75 | 89970.6634 | 294846.1616 | 28.7 | 67.6
124881 | 2021-05-07 10:21 | 13.6743 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.6358 | μmol/L | 30.6619 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.76 | 89979.1521 | 294806.7861 | 28.7 | 67.6
124891 | 2021-05-07 10:21 | 14.0084 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.4513 | μmol/L | 30.6375 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.779 | 90030.7001 | 294792.8595 | 28.7 | 67.6
124901 | 2021-05-07 10:22 | 14.3418 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.6403 | μmol/L | 30.6375 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.768 | 89975.1289 | 294744.6977 | 28.7 | 67.6
124911 | 2021-05-07 10:22 | 14.6745 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.5944 | μmol/L | 30.607 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.781 | 90012.2532 | 294724.5468 | 28.7 | 67.6
124921 | 2021-05-07 10:22 | 15.0083 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.5567 | μmol/L | 30.6253 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.777 | 89970.242 | 294679.3885 | 28.7 | 67.6
124931 | 2021-05-07 10:23 | 15.3415 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.6964 | μmol/L | 30.6131 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.773 | 89951.3096 | 294646.9188 | 28.7 | 67.6
124941 | 2021-05-07 10:23 | 15.6747 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.7375 | μmol/L | 30.5765 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.783 | 89947.8724 | 294613.5943 | 28.7 | 67.6
124951 | 2021-05-07 10:23 | 16.0079 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.6677 | μmol/L | 30.5826 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.785 | 89967.0404 | 294568.5456 | 28.7 | 67.6
124961 | 2021-05-07 10:24 | 16.3412 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.64 | μmol/L | 30.546 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.799 | 90001.0202 | 294549.8465 | 28.7 | 67.6
124971 | 2021-05-07 10:24 | 16.6743 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.4467 | μmol/L | 30.5704 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.802 | 90002.5446 | 294509.0615 | 28.7 | 67.6
124981 | 2021-05-07 10:24 | 17.0083 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.5746 | μmol/L | 30.5276 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.809 | 89991.2188 | 294474.7919 | 28.7 | 67.6
124991 | 2021-05-07 10:25 | 17.3416 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.6788 | μmol/L | 30.5215 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.805 | 89968.1752 | 294431.3489 | 28.7 | 67.6
125001 | 2021-05-07 10:25 | 17.6746 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.5679 | μmol/L | 30.5643 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.797 | 89922.4562 | 294402.2225 | 28.7 | 67.6
125011 | 2021-05-07 10:25 | 18.0078 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.9421 | μmol/L | 30.491 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.8 | 89926.9748 | 294376.7429 | 28.7 | 67.6
125021 | 2021-05-07 10:26 | 18.3411 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.753 | μmol/L | 30.491 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.811 | 89946.4119 | 294341.0276 | 28.7 | 67.6
125031 | 2021-05-07 10:26 | 18.675 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.5619 | μmol/L | 30.5032 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.818 | 89943.5881 | 294318.7097 | 28.7 | 67.6
125041 | 2021-05-07 10:26 | 19.0082 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.0066 | μmol/L | 30.4178 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.821 | 89942.1133 | 294283.2227 | 28.7 | 67.6
125051 | 2021-05-07 10:27 | 19.3412 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.8293 | μmol/L | 30.4483 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.821 | 89919.4899 | 294230.5068 | 28.7 | 67.6
125061 | 2021-05-07 10:27 | 19.6744 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.6843 | μmol/L | 30.491 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.815 | 89893.7455 | 294192.6643 | 28.7 | 67.6
125071 | 2021-05-07 10:27 | 20.0078 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.7477 | μmol/L | 30.4239 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.834 | 89914.5603 | 294178.5418 | 28.7 | 67.6
125081 | 2021-05-07 10:28 | 20.3416 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.4816 | μmol/L | 30.4727 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.833 | 89900.5775 | 294148.5616 | 28.7 | 67.6
125091 | 2021-05-07 10:28 | 20.6749 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.5148 | μmol/L | 30.4788 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.829 | 89885.0358 | 294105.2378 | 28.7 | 67.6
125101 | 2021-05-07 10:28 | 21.0078 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.219 | μmol/L | 30.5032 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.838 | 89902.0097 | 294067.2818 | 28.7 | 67.6
125111 | 2021-05-07 10:29 | 21.3417 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.8336 | μmol/L | 30.5521 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.844 | 89905.9034 | 294058.2464 | 28.7 | 67.6
125121 | 2021-05-07 10:29 | 21.6747 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.1208 | μmol/L | 30.4788 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.852 | 89936.1783 | 294018.1844 | 28.7 | 67.6
125131 | 2021-05-07 10:29 | 22.0078 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.9486 | μmol/L | 30.4849 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.86 | 89955.0057 | 293991.2435 | 28.7 | 67.6
125141 | 2021-05-07 10:30 | 22.3418 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.1252 | μmol/L | 30.4544 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.86 | 89955.5724 | 293969.7118 | 28.7 | 67.6
125151 | 2021-05-07 10:30 | 22.675 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.6902 | μmol/L | 30.4971 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.871 | 89968.726 | 293927.5724 | 28.7 | 67.6
125161 | 2021-05-07 10:30 | 23.0084 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.8358 | μmol/L | 30.4483 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.879 | 89974.6503 | 293895.7963 | 28.7 | 67.6
125171 | 2021-05-07 10:31 | 23.3416 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.6765 | μmol/L | 30.4788 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.878 | 89961.1156 | 293888.8757 | 28.7 | 67.6
125181 | 2021-05-07 10:31 | 23.6748 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.7289 | μmol/L | 30.4727 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.877 | 89944.9495 | 293856.2933 | 28.7 | 67.6
125191 | 2021-05-07 10:31 | 24.008 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.5719 | μmol/L | 30.491 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.88 | 89946.9885 | 293830.3437 | 28.7 | 67.6
125201 | 2021-05-07 10:32 | 24.3411 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.3629 | μmol/L | 30.5154 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.884 | 89943.2164 | 293794.7888 | 28.7 | 67.6
125211 | 2021-05-07 10:32 | 24.675 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.6822 | μmol/L | 30.4483 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.888 | 89949.7477 | 293767.2639 | 28.7 | 67.6
125221 | 2021-05-07 10:32 | 25.0083 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.5447 | μmol/L | 30.4544 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.894 | 89957.4028 | 293755.5987 | 28.7 | 67.6
125231 | 2021-05-07 10:33 | 25.3416 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.5606 | μmol/L | 30.4605 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.891 | 89943.0147 | 293719.4087 | 28.7 | 67.6
125241 | 2021-05-07 10:33 | 25.6747 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.3573 | μmol/L | 30.4544 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.905 | 89983.5904 | 293683.0185 | 28.7 | 67.6
125251 | 2021-05-07 10:33 | 26.0078 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.2688 | μmol/L | 30.4727 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.904 | 89972.2916 | 293674.2528 | 28.7 | 67.6
125261 | 2021-05-07 10:34 | 26.3418 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.2394 | μmol/L | 30.4483 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.914 | 89991.2802 | 293640.9412 | 28.7 | 67.6
125271 | 2021-05-07 10:34 | 26.6745 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.1362 | μmol/L | 30.4544 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.918 | 89973.9407 | 293621.9502 | 28.7 | 67.6
125281 | 2021-05-07 10:34 | 27.0077 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.2938 | μmol/L | 30.43 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.917 | 89962.2316 | 293589.7665 | 28.7 | 67.6
125291 | 2021-05-07 10:35 | 27.3416 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.1204 | μmol/L | 30.4483 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.921 | 89960.801 | 293577.7801 | 28.7 | 67.6
125301 | 2021-05-07 10:35 | 27.6748 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.5104 | μmol/L | 30.3628 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.927 | 89979.8998 | 293558.1965 | 28.7 | 67.6
125311 | 2021-05-07 10:35 | 28.0081 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.2315 | μmol/L | 30.3995 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.931 | 89990.4568 | 293527.1678 | 28.7 | 67.6
125321 | 2021-05-07 10:36 | 28.3412 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.2859 | μmol/L | 30.3812 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.934 | 89987.5416 | 293507.1753 | 28.7 | 67.6
125331 | 2021-05-07 10:36 | 28.6744 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.2643 | μmol/L | 30.4056 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.927 | 89951.0289 | 293480.6654 | 28.7 | 67.6
125341 | 2021-05-07 10:36 | 29.0077 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.0751 | μmol/L | 30.4178 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.934 | 89974.2469 | 293443.2731 | 28.7 | 67.6