## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-07 10:38

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
124472 | 2021-05-07 10:07 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.7743 | μmol/L | 31.3848 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.896 | 125497.1409 | 272348.284 | 36.4 | 83.1
124482 | 2021-05-07 10:08 | 0.33118 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.1631 | μmol/L | 31.3664 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.934 | 125514.8685 | 272313.184 | 36.4 | 83.1
124492 | 2021-05-07 10:08 | 0.66458 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.6962 | μmol/L | 31.3295 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.971 | 125454.8815 | 272279.2187 | 36.4 | 83.1
124502 | 2021-05-07 10:08 | 0.99774 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.1829 | μmol/L | 31.3172 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.002 | 125414.7413 | 272240.1671 | 36.4 | 83.1
124512 | 2021-05-07 10:09 | 1.3308 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.9006 | μmol/L | 31.3049 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.021 | 126040.3402 | 272202.659 | 36.4 | 83.1
124522 | 2021-05-07 10:09 | 1.6647 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.6022 | μmol/L | 31.2864 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.043 | 126092.1737 | 272157.1164 | 36.4 | 83.1
124532 | 2021-05-07 10:09 | 1.9974 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.081 | μmol/L | 31.2557 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.081 | 125234.2061 | 272127.0223 | 36.4 | 83.1
124542 | 2021-05-07 10:10 | 2.3313 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.0907 | μmol/L | 31.2311 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.089 | 126008.1457 | 272095.3385 | 36.4 | 83.1
124552 | 2021-05-07 10:10 | 2.6643 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.8106 | μmol/L | 31.2188 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.108 | 121688.7516 | 272044.7622 | 36.4 | 83.1
124562 | 2021-05-07 10:10 | 2.9977 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.3961 | μmol/L | 31.2127 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.132 | 120051.2186 | 271989.7702 | 36.4 | 83.1
124572 | 2021-05-07 10:11 | 3.3309 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.8293 | μmol/L | 31.2127 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.162 | 118704.2013 | 271949.2321 | 36.4 | 83.1
124582 | 2021-05-07 10:11 | 3.6649 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.5264 | μmol/L | 31.1696 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.193 | 118735.7712 | 271912.544 | 36.4 | 83.1
124592 | 2021-05-07 10:11 | 3.998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 208.9916 | μmol/L | 31.1451 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.23 | 118875.6843 | 271865.5636 | 36.4 | 83.1
124602 | 2021-05-07 10:12 | 4.331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 208.6856 | μmol/L | 31.1143 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.257 | 119008.8447 | 271835.8269 | 36.4 | 83.1
124612 | 2021-05-07 10:12 | 4.6641 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 207.763 | μmol/L | 31.0897 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.315 | 119092.3241 | 271778.8303 | 36.4 | 83.1
124622 | 2021-05-07 10:12 | 4.9979 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 207.5551 | μmol/L | 31.0528 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.339 | 118996.5689 | 271770.2155 | 36.4 | 83.1
124632 | 2021-05-07 10:13 | 5.3309 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 207.0891 | μmol/L | 31.059 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.362 | 118742.2184 | 271724.5576 | 36.4 | 83.1
124642 | 2021-05-07 10:13 | 5.6647 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 207.0462 | μmol/L | 31.0283 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.375 | 118915.2171 | 271695.8159 | 36.4 | 83.1
124652 | 2021-05-07 10:13 | 5.9977 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.811 | μmol/L | 31.016 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.392 | 118901.6913 | 271641.943 | 36.4 | 83.1
124662 | 2021-05-07 10:14 | 6.3308 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.5315 | μmol/L | 31.0221 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.405 | 118938.1661 | 271606.519 | 36.4 | 83.1
124672 | 2021-05-07 10:14 | 6.6645 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.1075 | μmol/L | 30.9791 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.443 | 119109.0071 | 271569.7658 | 36.4 | 83.1
124682 | 2021-05-07 10:14 | 6.9974 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.1699 | μmol/L | 30.9852 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.492 | 119332.898 | 271537.2553 | 36.4 | 83.1
124692 | 2021-05-07 10:15 | 7.3314 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.9794 | μmol/L | 30.9606 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.511 | 119403.8951 | 271496.4416 | 36.4 | 83.1
124702 | 2021-05-07 10:15 | 7.6644 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.9142 | μmol/L | 30.9422 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.521 | 119409.1357 | 271465.696 | 36.4 | 83.1
124712 | 2021-05-07 10:15 | 7.9976 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.0107 | μmol/L | 30.9299 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.52 | 119331.2771 | 271416.988 | 36.4 | 83.1
124722 | 2021-05-07 10:16 | 8.3308 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.2715 | μmol/L | 30.9176 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.51 | 119232.7179 | 271401.2045 | 36.4 | 83.1
124732 | 2021-05-07 10:16 | 8.6646 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.4596 | μmol/L | 30.9053 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.504 | 119117.3435 | 271351.6614 | 36.4 | 83.1
124742 | 2021-05-07 10:16 | 8.9977 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.6921 | μmol/L | 30.8746 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.502 | 119056.8133 | 271323.6452 | 36.4 | 83.1
124752 | 2021-05-07 10:17 | 9.3307 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.8571 | μmol/L | 30.8746 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.493 | 118871.2976 | 271295.3861 | 36.4 | 83.1
124762 | 2021-05-07 10:17 | 9.6648 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.8413 | μmol/L | 30.8684 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.496 | 118862.9541 | 271257.7828 | 36.4 | 83.1
124772 | 2021-05-07 10:17 | 9.998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.7598 | μmol/L | 30.8438 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.509 | 118878.8542 | 271219.8746 | 36.4 | 83.1
124782 | 2021-05-07 10:18 | 10.3312 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.7465 | μmol/L | 30.8316 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.514 | 118886.9984 | 271183.2392 | 36.4 | 83.1
124792 | 2021-05-07 10:18 | 10.6645 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.6026 | μmol/L | 30.8254 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.524 | 118909.5285 | 271159.0457 | 36.4 | 83.1
124802 | 2021-05-07 10:18 | 10.9976 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.4456 | μmol/L | 30.807 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.539 | 118938.3654 | 271131.7994 | 36.4 | 83.1
124812 | 2021-05-07 10:19 | 11.3314 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.2705 | μmol/L | 30.7885 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.555 | 118992.2921 | 271089.339 | 36.4 | 83.1
124822 | 2021-05-07 10:19 | 11.6648 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.786 | μmol/L | 30.7701 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.588 | 119162.8952 | 271065.361 | 36.4 | 83.1
124832 | 2021-05-07 10:19 | 11.9981 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.9003 | μmol/L | 30.7578 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.586 | 119141.0183 | 271014.7372 | 36.4 | 83.1
124842 | 2021-05-07 10:20 | 12.3312 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.8352 | μmol/L | 30.7394 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.596 | 119144.7878 | 270995.6568 | 36.4 | 83.1
124852 | 2021-05-07 10:20 | 12.6642 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.077 | μmol/L | 30.7271 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.587 | 119062.8232 | 270961.9169 | 36.4 | 83.1
124862 | 2021-05-07 10:20 | 12.9977 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.4652 | μmol/L | 30.7148 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.57 | 118918.3508 | 270922.5778 | 36.4 | 83.1
124872 | 2021-05-07 10:21 | 13.331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.1468 | μmol/L | 30.6902 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.596 | 119019.503 | 270902.5639 | 36.4 | 83.1
124882 | 2021-05-07 10:21 | 13.6642 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.1337 | μmol/L | 30.6779 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.601 | 119020.2173 | 270869.3928 | 36.4 | 83.1
124892 | 2021-05-07 10:21 | 13.9974 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.3725 | μmol/L | 30.6287 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.605 | 118997.7911 | 270838.5829 | 36.4 | 83.1
124902 | 2021-05-07 10:22 | 14.3311 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.6682 | μmol/L | 30.6595 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.633 | 119150.0716 | 270818.2458 | 36.4 | 83.1
124912 | 2021-05-07 10:22 | 14.6643 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.0181 | μmol/L | 30.6533 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.671 | 119372.9889 | 270797.6169 | 36.4 | 83.1
124922 | 2021-05-07 10:22 | 14.9974 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.6463 | μmol/L | 30.6349 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.698 | 119489.7647 | 270757.9403 | 36.4 | 83.1
124932 | 2021-05-07 10:23 | 15.3313 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.3193 | μmol/L | 30.598 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.729 | 119640.7245 | 270739.3937 | 36.4 | 83.1
124942 | 2021-05-07 10:23 | 15.6645 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.5869 | μmol/L | 30.5611 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.727 | 119601.077 | 270699.4808 | 36.4 | 83.1
124952 | 2021-05-07 10:23 | 15.9977 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.1112 | μmol/L | 30.5795 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.747 | 119703.0928 | 270666.7215 | 36.4 | 83.1
124962 | 2021-05-07 10:24 | 16.3312 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.7032 | μmol/L | 30.6103 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.759 | 119729.9546 | 270648.5065 | 36.4 | 83.1
124972 | 2021-05-07 10:24 | 16.6644 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.77 | μmol/L | 30.5795 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.766 | 119736.8138 | 270612.6494 | 36.4 | 83.1
124982 | 2021-05-07 10:24 | 16.9974 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.8059 | μmol/L | 30.5795 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.764 | 119690.6389 | 270587.2915 | 36.4 | 83.1
124992 | 2021-05-07 10:25 | 17.3315 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.6624 | μmol/L | 30.5795 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.772 | 119686.8434 | 270563.0756 | 36.4 | 83.1
125002 | 2021-05-07 10:25 | 17.6645 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.6086 | μmol/L | 30.5795 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.775 | 119680.7036 | 270539.7253 | 36.4 | 83.1
125012 | 2021-05-07 10:25 | 17.9975 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.706 | μmol/L | 30.5611 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.776 | 119626.5798 | 270509.5739 | 36.4 | 83.1
125022 | 2021-05-07 10:26 | 18.3312 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.4784 | μmol/L | 30.4751 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.763 | 119559.6245 | 270476.5058 | 36.4 | 83.1
125032 | 2021-05-07 10:26 | 18.6643 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.1368 | μmol/L | 30.5181 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.767 | 119515.913 | 270459.526 | 36.4 | 83.1
125042 | 2021-05-07 10:26 | 18.9974 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.7112 | μmol/L | 30.5488 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.78 | 119548.017 | 270437.8705 | 36.4 | 83.1
125052 | 2021-05-07 10:27 | 19.3313 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.6242 | μmol/L | 30.5427 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.787 | 119574.0835 | 270391.2972 | 36.4 | 83.1
125062 | 2021-05-07 10:27 | 19.6645 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.5987 | μmol/L | 30.5181 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.797 | 119579.066 | 270380.9491 | 36.4 | 83.1
125072 | 2021-05-07 10:27 | 19.9979 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.9931 | μmol/L | 30.4751 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.79 | 119514.13 | 270355.408 | 36.4 | 83.1
125082 | 2021-05-07 10:28 | 20.3313 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.0496 | μmol/L | 30.5119 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.774 | 119387.7641 | 270325.3449 | 36.4 | 83.1
125092 | 2021-05-07 10:28 | 20.6648 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.3139 | μmol/L | 30.4812 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.77 | 119314.7292 | 270308.6632 | 36.4 | 83.1
125102 | 2021-05-07 10:28 | 20.9978 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.0521 | μmol/L | 30.4628 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.791 | 119413.0713 | 270279.5722 | 36.4 | 83.1
125112 | 2021-05-07 10:29 | 21.331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.8266 | μmol/L | 30.4874 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.795 | 119429.1678 | 270250.8402 | 36.4 | 83.1
125122 | 2021-05-07 10:29 | 21.6643 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.9521 | μmol/L | 30.4443 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.803 | 119432.9812 | 270217.6041 | 36.4 | 83.1
125132 | 2021-05-07 10:29 | 21.9976 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.8547 | μmol/L | 30.4628 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.802 | 119414.1629 | 270209.7018 | 36.4 | 83.1
125142 | 2021-05-07 10:30 | 22.3308 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.0238 | μmol/L | 30.4443 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.799 | 119402.1051 | 270166.2935 | 36.4 | 83.1
125152 | 2021-05-07 10:30 | 22.6642 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.0623 | μmol/L | 30.4382 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.799 | 119395.1134 | 270151.4434 | 36.4 | 83.1
125162 | 2021-05-07 10:30 | 22.998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.6422 | μmol/L | 30.4996 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.801 | 119351.6546 | 270130.9863 | 36.4 | 83.1
125172 | 2021-05-07 10:31 | 23.3311 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.5247 | μmol/L | 30.4812 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.814 | 119405.5924 | 270101.4635 | 36.4 | 83.1
125182 | 2021-05-07 10:31 | 23.6643 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.4813 | μmol/L | 30.4566 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.825 | 119459.884 | 270080.6735 | 36.4 | 83.1
125192 | 2021-05-07 10:31 | 23.9976 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.6193 | μmol/L | 30.4259 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.828 | 119465.0716 | 270057.7736 | 36.4 | 83.1
125202 | 2021-05-07 10:32 | 24.3307 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.7523 | μmol/L | 30.4075 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.827 | 119411.2208 | 270037.4937 | 36.4 | 83.1
125212 | 2021-05-07 10:32 | 24.6648 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.8521 | μmol/L | 30.4259 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.815 | 119301.0703 | 270018.5626 | 36.4 | 83.1
125222 | 2021-05-07 10:32 | 24.998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.3969 | μmol/L | 30.4874 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.819 | 119019.0103 | 270013.6425 | 36.4 | 83.1
125232 | 2021-05-07 10:33 | 25.3311 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.6602 | μmol/L | 30.4566 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.815 | 118732.3563 | 270001.2406 | 36.4 | 83.1
125242 | 2021-05-07 10:33 | 25.6642 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.443 | μmol/L | 30.4628 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.825 | 118674.5238 | 269962.9974 | 36.4 | 83.1
125252 | 2021-05-07 10:33 | 25.998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.175 | μmol/L | 30.4628 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.84 | 118707.2267 | 269957.8357 | 36.4 | 83.1
125262 | 2021-05-07 10:34 | 26.3308 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.2823 | μmol/L | 30.4197 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.849 | 118739.5698 | 269912.6471 | 36.4 | 83.1
125272 | 2021-05-07 10:34 | 26.6644 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.2158 | μmol/L | 30.4505 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.842 | 118667.7118 | 269899.0567 | 36.4 | 83.1
125282 | 2021-05-07 10:34 | 26.9977 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.4532 | μmol/L | 30.4382 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.833 | 118576.1191 | 269876.8501 | 36.4 | 83.1
125292 | 2021-05-07 10:35 | 27.3308 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.2591 | μmol/L | 30.4751 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.831 | 118557.6892 | 269862.1945 | 36.4 | 83.1
125302 | 2021-05-07 10:35 | 27.6648 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.3103 | μmol/L | 30.4382 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.841 | 118551.1713 | 269845.1392 | 36.4 | 83.1
125312 | 2021-05-07 10:35 | 27.998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.2771 | μmol/L | 30.432 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.845 | 118575.4243 | 269824.4079 | 36.4 | 83.1
125322 | 2021-05-07 10:36 | 28.3309 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.6679 | μmol/L | 30.3952 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.836 | 118515.4388 | 269802.7649 | 36.4 | 83.1
125332 | 2021-05-07 10:36 | 28.6642 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.415 | μmol/L | 30.4013 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.848 | 118550.3768 | 269787.0569 | 36.4 | 83.1
125342 | 2021-05-07 10:36 | 28.9982 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.5631 | μmol/L | 30.346 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.859 | 118609.6676 | 269757.5009 | 36.4 | 83.1