## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-07 14:32

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
129764 | 2021-05-07 13:54 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 208.5123 | μmol/L | 29.8838 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.56 | 97679.6538 | 212899.3513 | 27.3 | 43.4
129774 | 2021-05-07 13:54 | 0.33898 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 207.3422 | μmol/L | 29.9022 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.617 | 97987.916 | 212907.7335 | 27.3 | 43.4
129784 | 2021-05-07 13:55 | 0.67177 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 206.6844 | μmol/L | 29.8899 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.657 | 98198.7717 | 212912.0161 | 27.3 | 43.4
129794 | 2021-05-07 13:55 | 1.0056 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.9871 | μmol/L | 29.8961 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.693 | 98403.2506 | 212901.7604 | 27.3 | 43.4
129804 | 2021-05-07 13:55 | 1.3387 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.0544 | μmol/L | 29.9083 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.74 | 98613.666 | 212893.8549 | 27.3 | 43.4
129814 | 2021-05-07 13:56 | 1.6725 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.1208 | μmol/L | 29.939 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.781 | 98839.4524 | 212900.984 | 27.3 | 43.4
129824 | 2021-05-07 13:56 | 2.0054 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.7165 | μmol/L | 29.9083 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.814 | 99030.2907 | 212895.8118 | 27.3 | 43.4
129834 | 2021-05-07 13:56 | 2.3385 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.2595 | μmol/L | 29.8777 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.85 | 99193.1441 | 212908.2585 | 27.3 | 43.4
129844 | 2021-05-07 13:57 | 2.672 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.6083 | μmol/L | 29.8961 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.88 | 99369.2133 | 212901.7128 | 27.3 | 43.4
129854 | 2021-05-07 13:57 | 3.0059 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.3489 | μmol/L | 29.8715 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.903 | 99487.6149 | 212899.5008 | 27.3 | 43.4
129864 | 2021-05-07 13:57 | 3.3388 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.4554 | μmol/L | 29.9328 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.932 | 99644.788 | 212900.4859 | 27.3 | 43.4
129874 | 2021-05-07 13:58 | 3.6718 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.9193 | μmol/L | 29.9451 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.958 | 99782.441 | 212909.0553 | 27.3 | 43.4
129884 | 2021-05-07 13:58 | 4.0056 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.471 | μmol/L | 29.9635 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.977 | 99873.9427 | 212908.8969 | 27.3 | 43.4
129894 | 2021-05-07 13:58 | 4.3387 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.4908 | μmol/L | 29.9083 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.995 | 99955.1952 | 212889.8601 | 27.3 | 43.4
129904 | 2021-05-07 13:59 | 4.6718 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.0108 | μmol/L | 29.9206 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.018 | 100081.2877 | 212902.5283 | 27.3 | 43.4
129914 | 2021-05-07 13:59 | 5.0057 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 199.262 | μmol/L | 30.0003 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.033 | 100159.9251 | 212901.3377 | 27.3 | 43.4
129924 | 2021-05-07 13:59 | 5.3388 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 199.418 | μmol/L | 29.9574 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.039 | 100210.3064 | 212890.6317 | 27.3 | 43.4
129934 | 2021-05-07 14:00 | 5.6726 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.7701 | μmol/L | 30.0064 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.059 | 100306.0451 | 212881.0224 | 27.3 | 43.4
129944 | 2021-05-07 14:00 | 6.0056 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.1857 | μmol/L | 30.0309 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.084 | 100397.5389 | 212883.7198 | 27.3 | 43.4
129954 | 2021-05-07 14:00 | 6.3386 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.3933 | μmol/L | 29.988 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.087 | 100436.3367 | 212883.7506 | 27.3 | 43.4
129964 | 2021-05-07 14:01 | 6.6723 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.2738 | μmol/L | 29.9819 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.096 | 100480.4589 | 212871.01 | 27.3 | 43.4
129974 | 2021-05-07 14:01 | 7.0052 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.1937 | μmol/L | 29.9635 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.107 | 100521.9162 | 212876.7783 | 27.3 | 43.4
129984 | 2021-05-07 14:01 | 7.3389 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 197.6763 | μmol/L | 30.0003 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.124 | 100621.7562 | 212880.8276 | 27.3 | 43.4
129994 | 2021-05-07 14:02 | 7.6718 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 197.3032 | μmol/L | 30.0248 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.137 | 100682.3885 | 212882.9998 | 27.3 | 43.4
130004 | 2021-05-07 14:02 | 8.0052 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 197.278 | μmol/L | 30.0003 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.147 | 100738.6643 | 212874.8114 | 27.3 | 43.4
130014 | 2021-05-07 14:02 | 8.339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.9851 | μmol/L | 30.0432 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.149 | 100748.1118 | 212883.5374 | 27.3 | 43.4
130024 | 2021-05-07 14:03 | 8.672 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.6502 | μmol/L | 30.0616 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.162 | 100796.6278 | 212874.3787 | 27.3 | 43.4
130034 | 2021-05-07 14:03 | 9.0059 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.6722 | μmol/L | 30.0493 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.165 | 100817.3528 | 212874.6616 | 27.3 | 43.4
130044 | 2021-05-07 14:03 | 9.3388 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.4044 | μmol/L | 30.0738 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.172 | 100848.4425 | 212861.1352 | 27.3 | 43.4
130054 | 2021-05-07 14:04 | 9.6719 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.2864 | μmol/L | 30.0677 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.181 | 100894.1082 | 212858.7742 | 27.3 | 43.4
130064 | 2021-05-07 14:04 | 10.0059 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.5611 | μmol/L | 30.0248 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.18 | 100912.3404 | 212863.5271 | 27.3 | 43.4
130074 | 2021-05-07 14:04 | 10.3387 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.4063 | μmol/L | 30.0248 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.189 | 100946.3912 | 212868.8282 | 27.3 | 43.4
130084 | 2021-05-07 14:05 | 10.6719 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.1413 | μmol/L | 30.0432 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.198 | 100994.7552 | 212854.8465 | 27.3 | 43.4
130094 | 2021-05-07 14:05 | 11.0058 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.1166 | μmol/L | 30.0187 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.208 | 101032.15 | 212856.2951 | 27.3 | 43.4
130104 | 2021-05-07 14:05 | 11.3386 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.9965 | μmol/L | 30.0187 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.215 | 101073.9141 | 212854.0166 | 27.3 | 43.4
130114 | 2021-05-07 14:06 | 11.6724 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.813 | μmol/L | 30.0493 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.215 | 101084.1459 | 212843.5517 | 27.3 | 43.4
130124 | 2021-05-07 14:06 | 12.0053 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.9889 | μmol/L | 29.9941 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.224 | 101141.4522 | 212849.3566 | 27.3 | 43.4
130134 | 2021-05-07 14:06 | 12.3392 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.5928 | μmol/L | 30.0432 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.23 | 101164.5535 | 212848.5403 | 27.3 | 43.4
130144 | 2021-05-07 14:07 | 12.6721 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.373 | μmol/L | 30.0371 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.245 | 101217.431 | 212841.8832 | 27.3 | 43.4
130154 | 2021-05-07 14:07 | 13.0051 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.3997 | μmol/L | 30.0125 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.252 | 101248.7723 | 212830.4202 | 27.3 | 43.4
130164 | 2021-05-07 14:07 | 13.339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.4606 | μmol/L | 29.988 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.257 | 101288.7799 | 212831.1665 | 27.3 | 43.4
130174 | 2021-05-07 14:08 | 13.6719 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 194.9391 | μmol/L | 30.0554 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.264 | 101298.2519 | 212842.8154 | 27.3 | 43.4
130184 | 2021-05-07 14:08 | 14.0058 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 194.8685 | μmol/L | 30.0616 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.266 | 101334.1043 | 212841.0377 | 27.3 | 43.4
130194 | 2021-05-07 14:08 | 14.3389 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.1875 | μmol/L | 29.988 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.273 | 101373.3475 | 212835.0878 | 27.3 | 43.4
130204 | 2021-05-07 14:09 | 14.6722 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 194.9416 | μmol/L | 30.0064 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.281 | 101404.419 | 212843.2585 | 27.3 | 43.4
130214 | 2021-05-07 14:09 | 15.0059 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 194.7932 | μmol/L | 29.9941 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.294 | 101448.2432 | 212835.6306 | 27.3 | 43.4
130224 | 2021-05-07 14:09 | 15.3389 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 194.4096 | μmol/L | 30.0187 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.308 | 101522.8941 | 212839.4805 | 27.3 | 43.4
130234 | 2021-05-07 14:10 | 15.6717 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 194.1767 | μmol/L | 30.0493 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.311 | 101548.0527 | 212832.0755 | 27.3 | 43.4
130244 | 2021-05-07 14:10 | 16.0056 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 194.1841 | μmol/L | 30.0309 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.317 | 101581.2101 | 212820.4263 | 27.3 | 43.4
130254 | 2021-05-07 14:10 | 16.3386 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 194.0655 | μmol/L | 30.0309 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.324 | 101623.6384 | 212831.0334 | 27.3 | 43.4
130264 | 2021-05-07 14:11 | 16.6724 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.7534 | μmol/L | 30.0493 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.336 | 101661.2109 | 212821.7986 | 27.3 | 43.4
130274 | 2021-05-07 14:11 | 17.0055 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.9523 | μmol/L | 29.9758 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.35 | 101713.7247 | 212813.3235 | 27.3 | 43.4
130284 | 2021-05-07 14:11 | 17.3385 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.7828 | μmol/L | 30.0187 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.345 | 101721.5919 | 212809.0065 | 27.3 | 43.4
130294 | 2021-05-07 14:12 | 17.6723 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.6307 | μmol/L | 30.0187 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.354 | 101761.3827 | 212803.0583 | 27.3 | 43.4
130304 | 2021-05-07 14:12 | 18.0051 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.4276 | μmol/L | 30.0616 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.351 | 101766.3009 | 212817.9702 | 27.3 | 43.4
130314 | 2021-05-07 14:12 | 18.3388 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.2227 | μmol/L | 30.0677 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.361 | 101787.9301 | 212815.2574 | 27.3 | 43.4
130324 | 2021-05-07 14:13 | 18.6717 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.4644 | μmol/L | 30.0125 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.366 | 101821.4492 | 212813.1506 | 27.3 | 43.4
130334 | 2021-05-07 14:13 | 19.0054 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.322 | μmol/L | 30.0309 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.368 | 101836.1148 | 212809.2411 | 27.3 | 43.4
130344 | 2021-05-07 14:13 | 19.3387 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.8886 | μmol/L | 30.0616 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.383 | 101884.4945 | 212794.3238 | 27.3 | 43.4
130354 | 2021-05-07 14:14 | 19.6725 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.103 | μmol/L | 30.0309 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.381 | 101898.7237 | 212798.7436 | 27.3 | 43.4
130364 | 2021-05-07 14:14 | 20.0056 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.0307 | μmol/L | 30.0432 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.381 | 101905.9601 | 212803.0753 | 27.3 | 43.4
130374 | 2021-05-07 14:14 | 20.3385 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.7491 | μmol/L | 30.0738 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.387 | 101929.514 | 212794.2714 | 27.3 | 43.4
130384 | 2021-05-07 14:15 | 20.6724 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.5904 | μmol/L | 30.0922 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.39 | 101948.3755 | 212796.8778 | 27.3 | 43.4
130394 | 2021-05-07 14:15 | 21.0051 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.4948 | μmol/L | 30.08 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.4 | 101987.4398 | 212785.9988 | 27.3 | 43.4
130404 | 2021-05-07 14:15 | 21.339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.6224 | μmol/L | 30.0554 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.401 | 102000.8263 | 212787.158 | 27.3 | 43.4
130414 | 2021-05-07 14:16 | 21.6719 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.4059 | μmol/L | 30.0922 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.401 | 102004.1029 | 212785.2643 | 27.3 | 43.4
130424 | 2021-05-07 14:16 | 22.0056 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 191.9861 | μmol/L | 30.1351 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.411 | 102038.3653 | 212796.3391 | 27.3 | 43.4
130434 | 2021-05-07 14:16 | 22.3386 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.1546 | μmol/L | 30.0922 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.416 | 102076.8402 | 212784.3274 | 27.3 | 43.4
130444 | 2021-05-07 14:17 | 22.6725 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.1019 | μmol/L | 30.0984 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.417 | 102074.5347 | 212774.1297 | 27.3 | 43.4
130454 | 2021-05-07 14:17 | 23.0055 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 191.9026 | μmol/L | 30.1351 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.416 | 102087.7535 | 212780.637 | 27.3 | 43.4
130464 | 2021-05-07 14:17 | 23.3386 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.0234 | μmol/L | 30.0861 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.426 | 102120.8184 | 212780.1709 | 27.3 | 43.4
130474 | 2021-05-07 14:18 | 23.6724 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 191.8319 | μmol/L | 30.1045 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.431 | 102145.6532 | 212786.7767 | 27.3 | 43.4
130484 | 2021-05-07 14:18 | 24.0055 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 191.5853 | μmol/L | 30.1351 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.435 | 102181.4666 | 212776.7203 | 27.3 | 43.4
130494 | 2021-05-07 14:18 | 24.3386 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 191.5264 | μmol/L | 30.1167 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.445 | 102204.4801 | 212780.7828 | 27.3 | 43.4
130504 | 2021-05-07 14:19 | 24.6725 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 191.6726 | μmol/L | 30.0861 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.447 | 102248.9279 | 212775.6603 | 27.3 | 43.4
130514 | 2021-05-07 14:19 | 25.0054 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 191.3342 | μmol/L | 30.0984 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.463 | 102295.6451 | 212773.277 | 27.3 | 43.4
130524 | 2021-05-07 14:19 | 25.3385 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 191.064 | μmol/L | 30.1474 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.462 | 102298.5789 | 212772.4516 | 27.3 | 43.4
130534 | 2021-05-07 14:20 | 25.6724 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 191.0936 | μmol/L | 30.1167 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.471 | 102341.3347 | 212772.7671 | 27.3 | 43.4
130544 | 2021-05-07 14:20 | 26.0056 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.8952 | μmol/L | 30.1535 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.47 | 102368.1447 | 212768.4799 | 27.3 | 43.4
130554 | 2021-05-07 14:20 | 26.3387 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.7039 | μmol/L | 30.1351 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.488 | 102427.5283 | 212765.5846 | 27.3 | 43.4
130564 | 2021-05-07 14:21 | 26.6723 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.4397 | μmol/L | 30.1719 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.491 | 102433.3347 | 212762.9362 | 27.3 | 43.4
130574 | 2021-05-07 14:21 | 27.0053 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.7973 | μmol/L | 30.1106 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.491 | 102441.7964 | 212747.0711 | 27.3 | 43.4
130584 | 2021-05-07 14:21 | 27.3384 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.2193 | μmol/L | 30.1842 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.5 | 102466.0712 | 212746.0373 | 27.3 | 43.4
130594 | 2021-05-07 14:22 | 27.6724 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.5269 | μmol/L | 30.1229 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.503 | 102498.4405 | 212748.6974 | 27.3 | 43.4
130604 | 2021-05-07 14:22 | 28.0058 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.1201 | μmol/L | 30.1842 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.506 | 102514.1509 | 212751.8351 | 27.3 | 43.4
130614 | 2021-05-07 14:22 | 28.3389 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.411 | μmol/L | 30.1229 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.51 | 102515.2735 | 212746.3792 | 27.3 | 43.4
130624 | 2021-05-07 14:23 | 28.6718 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 189.774 | μmol/L | 30.221 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.514 | 102554.6767 | 212749.0901 | 27.3 | 43.4
130634 | 2021-05-07 14:23 | 29.0057 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 189.8586 | μmol/L | 30.178 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.524 | 102592.5957 | 212753.3368 | 27.3 | 43.4
130644 | 2021-05-07 14:23 | 29.3387 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.2813 | μmol/L | 30.1167 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.52 | 102605.2255 | 212746.5775 | 27.3 | 43.4
130654 | 2021-05-07 14:24 | 29.6724 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 189.9459 | μmol/L | 30.1474 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.53 | 102654.779 | 212740.6942 | 27.3 | 43.4
130664 | 2021-05-07 14:24 | 30.0053 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.1048 | μmol/L | 30.1045 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.535 | 102672.2195 | 212740.794 | 27.3 | 43.4
130674 | 2021-05-07 14:24 | 30.3384 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.0797 | μmol/L | 30.0861 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.543 | 102698.894 | 212737.4887 | 27.3 | 43.4
130684 | 2021-05-07 14:25 | 30.6724 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 189.6763 | μmol/L | 30.1229 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.555 | 102751.2814 | 212737.4661 | 27.3 | 43.4
130694 | 2021-05-07 14:25 | 31.0054 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 189.4188 | μmol/L | 30.129 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.568 | 102826.3584 | 212749.3328 | 27.3 | 43.4
130704 | 2021-05-07 14:25 | 31.3392 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 189.3775 | μmol/L | 30.129 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.571 | 102850.5005 | 212734.3723 | 27.3 | 43.4
130714 | 2021-05-07 14:26 | 31.6722 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 189.4813 | μmol/L | 30.0984 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.575 | 102862.8553 | 212741.9255 | 27.3 | 43.4
130724 | 2021-05-07 14:26 | 32.0053 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 189.0519 | μmol/L | 30.1229 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.593 | 102926.7871 | 212744.5411 | 27.3 | 43.4
130734 | 2021-05-07 14:26 | 32.3387 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 189.0084 | μmol/L | 30.1474 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.587 | 102920.4591 | 212732.8295 | 27.3 | 43.4
130744 | 2021-05-07 14:27 | 32.6726 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 189.0877 | μmol/L | 30.1351 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.586 | 102928.6382 | 212736.162 | 27.3 | 43.4
130754 | 2021-05-07 14:27 | 33.0055 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 188.5748 | μmol/L | 30.2026 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.594 | 102957.5749 | 212737.2298 | 27.3 | 43.4
130764 | 2021-05-07 14:27 | 33.3387 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 188.6594 | μmol/L | 30.178 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.597 | 102968.4279 | 212732.3394 | 27.3 | 43.4
130774 | 2021-05-07 14:28 | 33.6724 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 188.8853 | μmol/L | 30.129 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.601 | 103008.0706 | 212735.507 | 27.3 | 43.4
130784 | 2021-05-07 14:28 | 34.0056 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 188.8659 | μmol/L | 30.0984 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.613 | 103051.874 | 212745.755 | 27.3 | 43.4
130794 | 2021-05-07 14:28 | 34.3386 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 188.4439 | μmol/L | 30.1658 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.615 | 103068.8243 | 212737.0439 | 27.3 | 43.4
130804 | 2021-05-07 14:29 | 34.6723 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 188.7022 | μmol/L | 30.0984 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.623 | 103104.2254 | 212736.8703 | 27.3 | 43.4
130814 | 2021-05-07 14:29 | 35.0054 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 188.362 | μmol/L | 30.129 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.633 | 103149.7151 | 212731.219 | 27.3 | 43.4
130824 | 2021-05-07 14:29 | 35.3391 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 188.2288 | μmol/L | 30.1351 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.639 | 103185.266 | 212735.7308 | 27.3 | 43.4
130834 | 2021-05-07 14:30 | 35.6724 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 188.0577 | μmol/L | 30.1535 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.643 | 103228.1082 | 212731.4897 | 27.3 | 43.4
130844 | 2021-05-07 14:30 | 36.0052 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 188.1934 | μmol/L | 30.1045 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.652 | 103250.9944 | 212730.7993 | 27.3 | 43.4
130854 | 2021-05-07 14:30 | 36.3388 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 187.8298 | μmol/L | 30.1535 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.657 | 103287.8561 | 212731.3458 | 27.3 | 43.4
130864 | 2021-05-07 14:31 | 36.6718 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 187.5643 | μmol/L | 30.1658 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.669 | 103315.6461 | 212715.7874 | 27.3 | 43.4