## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-07 14:32

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
129765 | 2021-05-07 13:54 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.109 | μmol/L | 29.8868 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.112 | 89415.4791 | 290777.4227 | 28.7 | 67.6
129775 | 2021-05-07 13:54 | 0.33305 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.3775 | μmol/L | 29.8807 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.217 | 89949.8548 | 290775.8607 | 28.7 | 67.6
129785 | 2021-05-07 13:55 | 0.66637 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.9518 | μmol/L | 29.8502 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.313 | 90395.6578 | 290780.0777 | 28.7 | 67.6
129795 | 2021-05-07 13:55 | 0.99917 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.3582 | μmol/L | 29.9112 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.389 | 90743.8304 | 290779.0026 | 28.7 | 67.6
129805 | 2021-05-07 13:55 | 1.3329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.438 | μmol/L | 29.9356 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.437 | 90980.492 | 290780.8882 | 28.7 | 67.6
129815 | 2021-05-07 13:56 | 1.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.5918 | μmol/L | 29.9417 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.487 | 91194.6216 | 290787.5812 | 28.7 | 67.6
129825 | 2021-05-07 13:56 | 1.999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.1601 | μmol/L | 29.9173 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.522 | 91403.4912 | 290790.6753 | 28.7 | 67.6
129835 | 2021-05-07 13:56 | 2.333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.5167 | μmol/L | 29.9112 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.564 | 91606.5664 | 290795.91 | 28.7 | 67.6
129845 | 2021-05-07 13:57 | 2.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.9736 | μmol/L | 29.899 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.602 | 91796.1973 | 290804.238 | 28.7 | 67.6
129855 | 2021-05-07 13:57 | 2.999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.2955 | μmol/L | 29.9295 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.634 | 91946.9453 | 290800.2016 | 28.7 | 67.6
129865 | 2021-05-07 13:57 | 3.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.8164 | μmol/L | 29.9356 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.662 | 92089.9142 | 290799.3602 | 28.7 | 67.6
129875 | 2021-05-07 13:58 | 3.6658 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.605 | μmol/L | 29.8868 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.692 | 92232.9721 | 290795.2551 | 28.7 | 67.6
129885 | 2021-05-07 13:58 | 3.9995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.1585 | μmol/L | 29.899 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.716 | 92339.193 | 290788.7017 | 28.7 | 67.6
129895 | 2021-05-07 13:58 | 4.3325 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.7133 | μmol/L | 29.9112 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.74 | 92479.7593 | 290796.7702 | 28.7 | 67.6
129905 | 2021-05-07 13:59 | 4.6664 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.401 | μmol/L | 29.899 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.764 | 92597.3477 | 290798.9191 | 28.7 | 67.6
129915 | 2021-05-07 13:59 | 4.9994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.5501 | μmol/L | 29.9783 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.791 | 92722.0235 | 290780.6121 | 28.7 | 67.6
129925 | 2021-05-07 13:59 | 5.3325 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.3511 | μmol/L | 29.96 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.81 | 92819.0955 | 290787.6426 | 28.7 | 67.6
129935 | 2021-05-07 14:00 | 5.6662 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.2574 | μmol/L | 29.96 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.816 | 92858.7047 | 290775.2468 | 28.7 | 67.6
129945 | 2021-05-07 14:00 | 5.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.2179 | μmol/L | 29.9295 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.829 | 92918.7184 | 290776.2743 | 28.7 | 67.6
129955 | 2021-05-07 14:00 | 6.333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.7322 | μmol/L | 30.0027 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.835 | 92953.754 | 290768.3139 | 28.7 | 67.6
129965 | 2021-05-07 14:01 | 6.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.6915 | μmol/L | 29.9783 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.846 | 93000.0758 | 290759.0812 | 28.7 | 67.6
129975 | 2021-05-07 14:01 | 6.999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.39 | μmol/L | 30.0027 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.857 | 93059.0727 | 290764.9301 | 28.7 | 67.6
129985 | 2021-05-07 14:01 | 7.333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.334 | μmol/L | 29.9783 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.869 | 93092.4629 | 290759.9228 | 28.7 | 67.6
129995 | 2021-05-07 14:02 | 7.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.2268 | μmol/L | 29.9722 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.878 | 93134.9974 | 290747.283 | 28.7 | 67.6
130005 | 2021-05-07 14:02 | 7.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.9247 | μmol/L | 30.0027 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.887 | 93177.2743 | 290748.2095 | 28.7 | 67.6
130015 | 2021-05-07 14:02 | 8.333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.0593 | μmol/L | 29.96 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.893 | 93235.593 | 290753.7532 | 28.7 | 67.6
130025 | 2021-05-07 14:03 | 8.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.8565 | μmol/L | 29.9661 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.904 | 93271.4795 | 290731.7207 | 28.7 | 67.6
130035 | 2021-05-07 14:03 | 8.999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.5721 | μmol/L | 29.9905 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.914 | 93329.8734 | 290732.7682 | 28.7 | 67.6
130045 | 2021-05-07 14:03 | 9.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.8997 | μmol/L | 30.0882 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.924 | 93384.72 | 290751.328 | 28.7 | 67.6
130055 | 2021-05-07 14:04 | 9.6664 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.8153 | μmol/L | 30.0577 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.94 | 93440.4566 | 290733.2484 | 28.7 | 67.6
130065 | 2021-05-07 14:04 | 9.9994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.7708 | μmol/L | 30.0516 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.945 | 93462.804 | 290718.6587 | 28.7 | 67.6
130075 | 2021-05-07 14:04 | 10.3323 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.5802 | μmol/L | 30.076 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.949 | 93492.9903 | 290716.3348 | 28.7 | 67.6
130085 | 2021-05-07 14:05 | 10.6662 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.2163 | μmol/L | 30.1187 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.958 | 93539.6986 | 290726.2395 | 28.7 | 67.6
130095 | 2021-05-07 14:05 | 10.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.4792 | μmol/L | 30.0516 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.964 | 93557.2617 | 290694.7315 | 28.7 | 67.6
130105 | 2021-05-07 14:05 | 11.333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.0512 | μmol/L | 30.1065 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.973 | 93599.4124 | 290727.0863 | 28.7 | 67.6
130115 | 2021-05-07 14:06 | 11.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.8236 | μmol/L | 30.1004 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.99 | 93665.5315 | 290711.859 | 28.7 | 67.6
130125 | 2021-05-07 14:06 | 11.999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.7538 | μmol/L | 30.076 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.003 | 93719.3033 | 290697.7389 | 28.7 | 67.6
130135 | 2021-05-07 14:06 | 12.3328 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.4848 | μmol/L | 30.1126 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.008 | 93759.5007 | 290690.8212 | 28.7 | 67.6
130145 | 2021-05-07 14:07 | 12.6658 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.6062 | μmol/L | 30.0577 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.019 | 93810.7786 | 290704.1972 | 28.7 | 67.6
130155 | 2021-05-07 14:07 | 12.9996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.4321 | μmol/L | 30.0821 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.022 | 93847.1344 | 290685.5115 | 28.7 | 67.6
130165 | 2021-05-07 14:07 | 13.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.0302 | μmol/L | 30.1065 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.04 | 93896.9937 | 290683.7164 | 28.7 | 67.6
130175 | 2021-05-07 14:08 | 13.6656 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.1953 | μmol/L | 30.0577 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.046 | 93958.4085 | 290690.4851 | 28.7 | 67.6
130185 | 2021-05-07 14:08 | 13.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.8768 | μmol/L | 30.1126 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.048 | 93956.6813 | 290674.3917 | 28.7 | 67.6
130195 | 2021-05-07 14:08 | 14.3325 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.5704 | μmol/L | 30.1248 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.064 | 94027.7814 | 290698.2854 | 28.7 | 67.6
130205 | 2021-05-07 14:09 | 14.6663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.6073 | μmol/L | 30.1004 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.07 | 94070.7663 | 290673.6211 | 28.7 | 67.6
130215 | 2021-05-07 14:09 | 14.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.2579 | μmol/L | 30.1065 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.091 | 94150.5161 | 290673.8252 | 28.7 | 67.6
130225 | 2021-05-07 14:09 | 15.3331 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.1221 | μmol/L | 30.1065 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.1 | 94230.9189 | 290669.1526 | 28.7 | 67.6
130235 | 2021-05-07 14:10 | 15.6661 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.1086 | μmol/L | 30.0455 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.122 | 94291.8568 | 290657.3483 | 28.7 | 67.6
130245 | 2021-05-07 14:10 | 15.9991 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.9998 | μmol/L | 30.0577 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.125 | 94323.1227 | 290659.9963 | 28.7 | 67.6
130255 | 2021-05-07 14:10 | 16.3324 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.7354 | μmol/L | 30.0882 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.132 | 94347.73 | 290660.4861 | 28.7 | 67.6
130265 | 2021-05-07 14:11 | 16.6662 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.8492 | μmol/L | 30.0577 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.135 | 94361.285 | 290660.4003 | 28.7 | 67.6
130275 | 2021-05-07 14:11 | 16.9991 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.4564 | μmol/L | 30.1187 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.14 | 94377.3362 | 290639.4214 | 28.7 | 67.6
130285 | 2021-05-07 14:11 | 17.3323 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.4096 | μmol/L | 30.1248 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.141 | 94392.3269 | 290633.8085 | 28.7 | 67.6
130295 | 2021-05-07 14:12 | 17.6662 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.5451 | μmol/L | 30.0699 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.151 | 94443.8829 | 290650.7466 | 28.7 | 67.6
130305 | 2021-05-07 14:12 | 17.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.1846 | μmol/L | 30.1248 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.156 | 94474.8087 | 290637.33 | 28.7 | 67.6
130315 | 2021-05-07 14:12 | 18.3328 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.1898 | μmol/L | 30.1065 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.162 | 94507.8446 | 290631.8375 | 28.7 | 67.6
130325 | 2021-05-07 14:13 | 18.6665 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.96 | μmol/L | 30.1248 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.171 | 94537.1783 | 290626.7242 | 28.7 | 67.6
130335 | 2021-05-07 14:13 | 18.9994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.0267 | μmol/L | 30.1004 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.175 | 94562.8733 | 290623.7397 | 28.7 | 67.6
130345 | 2021-05-07 14:13 | 19.3324 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.8006 | μmol/L | 30.1065 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.188 | 94597.9505 | 290617.6835 | 28.7 | 67.6
130355 | 2021-05-07 14:14 | 19.6661 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.6645 | μmol/L | 30.1126 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.195 | 94662.0144 | 290609.8554 | 28.7 | 67.6
130365 | 2021-05-07 14:14 | 19.999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.4056 | μmol/L | 30.1309 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.206 | 94720.8805 | 290607.7984 | 28.7 | 67.6
130375 | 2021-05-07 14:14 | 20.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.1008 | μmol/L | 30.1553 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.218 | 94770.9783 | 290607.3077 | 28.7 | 67.6
130385 | 2021-05-07 14:15 | 20.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.8446 | μmol/L | 30.1675 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.231 | 94837.2898 | 290591.9615 | 28.7 | 67.6
130395 | 2021-05-07 14:15 | 20.9997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.6001 | μmol/L | 30.1919 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.239 | 94870.0109 | 290605.4942 | 28.7 | 67.6
130405 | 2021-05-07 14:15 | 21.3328 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.6683 | μmol/L | 30.1614 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.245 | 94922.8028 | 290582.8474 | 28.7 | 67.6
130415 | 2021-05-07 14:16 | 21.6664 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.3631 | μmol/L | 30.1919 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.255 | 94946.7636 | 290581.7353 | 28.7 | 67.6
130425 | 2021-05-07 14:16 | 21.9994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.2003 | μmol/L | 30.1919 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.266 | 95004.9826 | 290591.2201 | 28.7 | 67.6
130435 | 2021-05-07 14:16 | 22.3331 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.0176 | μmol/L | 30.2103 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.272 | 95042.1527 | 290588.3827 | 28.7 | 67.6
130445 | 2021-05-07 14:17 | 22.6662 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.8204 | μmol/L | 30.2286 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.279 | 95071.5398 | 290585.6714 | 28.7 | 67.6
130455 | 2021-05-07 14:17 | 22.999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.833 | μmol/L | 30.1858 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.293 | 95137.7647 | 290587.6876 | 28.7 | 67.6
130465 | 2021-05-07 14:17 | 23.333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.3566 | μmol/L | 30.253 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.302 | 95167.3732 | 290581.9816 | 28.7 | 67.6
130475 | 2021-05-07 14:18 | 23.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.6526 | μmol/L | 30.198 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.301 | 95188.1839 | 290578.2075 | 28.7 | 67.6
130485 | 2021-05-07 14:18 | 23.9997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.7831 | μmol/L | 30.1553 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.307 | 95210.4063 | 290575.7949 | 28.7 | 67.6
130495 | 2021-05-07 14:18 | 24.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.4925 | μmol/L | 30.1919 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.314 | 95235.0279 | 290571.9201 | 28.7 | 67.6
130505 | 2021-05-07 14:19 | 24.6665 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.2152 | μmol/L | 30.2347 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.318 | 95242.6352 | 290558.9912 | 28.7 | 67.6
130515 | 2021-05-07 14:19 | 24.9995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.3876 | μmol/L | 30.1492 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.336 | 95318.9413 | 290564.8213 | 28.7 | 67.6
130525 | 2021-05-07 14:19 | 25.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.3069 | μmol/L | 30.1736 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.333 | 95327.363 | 290571.5637 | 28.7 | 67.6
130535 | 2021-05-07 14:20 | 25.666 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.294 | μmol/L | 30.1675 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.336 | 95350.6549 | 290564.2163 | 28.7 | 67.6
130545 | 2021-05-07 14:20 | 25.999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.0318 | μmol/L | 30.2103 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.339 | 95371.1069 | 290559.0439 | 28.7 | 67.6
130555 | 2021-05-07 14:20 | 26.333 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.6985 | μmol/L | 30.2469 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.349 | 95398.4226 | 290554.9245 | 28.7 | 67.6
130565 | 2021-05-07 14:21 | 26.6662 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.631 | μmol/L | 30.2286 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.36 | 95473.3676 | 290544.8905 | 28.7 | 67.6
130575 | 2021-05-07 14:21 | 26.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.6951 | μmol/L | 30.1614 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.379 | 95544.0863 | 290554.4969 | 28.7 | 67.6
130585 | 2021-05-07 14:21 | 27.3324 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.038 | μmol/L | 30.2591 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.39 | 95576.064 | 290544.91 | 28.7 | 67.6
130595 | 2021-05-07 14:22 | 27.6657 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.9197 | μmol/L | 30.2652 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.396 | 95619.4452 | 290537.2844 | 28.7 | 67.6
130605 | 2021-05-07 14:22 | 27.9995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.765 | μmol/L | 30.2713 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.405 | 95637.7708 | 290544.2226 | 28.7 | 67.6
130615 | 2021-05-07 14:22 | 28.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.5431 | μmol/L | 30.3079 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.407 | 95667.9376 | 290524.4693 | 28.7 | 67.6
130625 | 2021-05-07 14:23 | 28.6658 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.5072 | μmol/L | 30.2835 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.418 | 95730.3893 | 290546.8513 | 28.7 | 67.6
130635 | 2021-05-07 14:23 | 28.9996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.2082 | μmol/L | 30.2896 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.437 | 95808.9737 | 290530.0013 | 28.7 | 67.6
130645 | 2021-05-07 14:23 | 29.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.4715 | μmol/L | 30.2347 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.438 | 95819.3252 | 290531.1541 | 28.7 | 67.6
130655 | 2021-05-07 14:24 | 29.6664 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.3625 | μmol/L | 30.2591 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.437 | 95814.9769 | 290546.8827 | 28.7 | 67.6
130665 | 2021-05-07 14:24 | 29.9994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.1016 | μmol/L | 30.2835 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.446 | 95841.6565 | 290533.69 | 28.7 | 67.6
130675 | 2021-05-07 14:24 | 30.3324 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.9137 | μmol/L | 30.2835 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.459 | 95903.1841 | 290537.9846 | 28.7 | 67.6
130685 | 2021-05-07 14:25 | 30.6664 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.8612 | μmol/L | 30.2896 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.461 | 95934.5582 | 290535.1886 | 28.7 | 67.6
130695 | 2021-05-07 14:25 | 30.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.7784 | μmol/L | 30.2774 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.471 | 95964.2653 | 290531.4437 | 28.7 | 67.6
130705 | 2021-05-07 14:25 | 31.3325 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.4517 | μmol/L | 30.3079 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.483 | 96034.9383 | 290534.5216 | 28.7 | 67.6
130715 | 2021-05-07 14:26 | 31.6663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.4594 | μmol/L | 30.2835 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.491 | 96073.255 | 290533.6072 | 28.7 | 67.6
130725 | 2021-05-07 14:26 | 31.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.4277 | μmol/L | 30.2469 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.506 | 96133.6242 | 290517.9129 | 28.7 | 67.6
130735 | 2021-05-07 14:26 | 32.3328 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.3826 | μmol/L | 30.253 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.507 | 96131.0314 | 290516.4357 | 28.7 | 67.6
130745 | 2021-05-07 14:27 | 32.6658 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.1555 | μmol/L | 30.2896 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.51 | 96155.9508 | 290530.265 | 28.7 | 67.6
130755 | 2021-05-07 14:27 | 32.9997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.1632 | μmol/L | 30.2652 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.518 | 96194.1489 | 290510.2224 | 28.7 | 67.6
130765 | 2021-05-07 14:27 | 33.3328 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 166.122 | μmol/L | 30.2591 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.523 | 96227.7256 | 290515.0994 | 28.7 | 67.6
130775 | 2021-05-07 14:28 | 33.6657 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 165.705 | μmol/L | 30.3079 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.535 | 96293.3328 | 290511.2863 | 28.7 | 67.6
130785 | 2021-05-07 14:28 | 33.9997 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 165.7063 | μmol/L | 30.2591 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.552 | 96328.9218 | 290522.0846 | 28.7 | 67.6
130795 | 2021-05-07 14:28 | 34.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 165.3741 | μmol/L | 30.314 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.556 | 96370.7592 | 290511.993 | 28.7 | 67.6
130805 | 2021-05-07 14:29 | 34.6664 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 165.4404 | μmol/L | 30.2408 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.577 | 96462.7505 | 290499.6587 | 28.7 | 67.6
130815 | 2021-05-07 14:29 | 34.9996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 165.2288 | μmol/L | 30.2774 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.579 | 96484.9523 | 290491.1398 | 28.7 | 67.6
130825 | 2021-05-07 14:29 | 35.3323 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.8446 | μmol/L | 30.3201 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.591 | 96525.3316 | 290510.7018 | 28.7 | 67.6
130835 | 2021-05-07 14:30 | 35.6656 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.8466 | μmol/L | 30.314 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.593 | 96550.2553 | 290501.8457 | 28.7 | 67.6
130845 | 2021-05-07 14:30 | 35.9994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.9296 | μmol/L | 30.2774 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.6 | 96586.7622 | 290490.4849 | 28.7 | 67.6
130855 | 2021-05-07 14:30 | 36.3331 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.8197 | μmol/L | 30.2652 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.612 | 96642.1158 | 290489.1128 | 28.7 | 67.6
130865 | 2021-05-07 14:31 | 36.6661 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 164.7746 | μmol/L | 30.2286 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.628 | 96698.9526 | 290505.382 | 28.7 | 67.6