## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-07 10:38

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
124477 | 2021-05-07 10:08 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.8943 | μmol/L | 31.5824 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.054 | 125418.1317 | 271947.7505 | 32.55 | 27.7
124487 | 2021-05-07 10:08 | 0.32833 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.6411 | μmol/L | 31.7543 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.065 | 125655.1868 | 271924.5563 | 32.55 | 27.7
124497 | 2021-05-07 10:08 | 0.66155 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.55 | μmol/L | 31.6929 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.091 | 125852.4861 | 271871.9151 | 32.55 | 27.7
124507 | 2021-05-07 10:09 | 0.99467 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.3967 | μmol/L | 31.6622 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.11 | 125979.6194 | 271831.7731 | 32.55 | 27.7
124517 | 2021-05-07 10:09 | 1.3283 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.6822 | μmol/L | 31.7236 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.129 | 126074.3944 | 271791.7079 | 32.55 | 27.7
124527 | 2021-05-07 10:09 | 1.6617 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.6907 | μmol/L | 31.6929 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.139 | 126111.6146 | 271766.3801 | 32.55 | 27.7
124537 | 2021-05-07 10:10 | 1.9949 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.9658 | μmol/L | 31.6008 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.155 | 126181.2433 | 271724.0924 | 32.55 | 27.7
124547 | 2021-05-07 10:10 | 2.328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.4156 | μmol/L | 31.6561 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.167 | 126224.8559 | 271713.8074 | 32.55 | 27.7
124557 | 2021-05-07 10:10 | 2.6618 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.9338 | μmol/L | 31.6622 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.192 | 126307.4569 | 271676.8673 | 32.55 | 27.7
124567 | 2021-05-07 10:11 | 2.9951 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.944 | μmol/L | 31.6254 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.204 | 126369.3241 | 271644.3511 | 32.55 | 27.7
124577 | 2021-05-07 10:11 | 3.3281 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.0092 | μmol/L | 31.5824 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.215 | 126395.1868 | 271610.809 | 32.55 | 27.7
124587 | 2021-05-07 10:11 | 3.6612 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.0209 | μmol/L | 31.5394 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.229 | 126447.192 | 271565.4337 | 32.55 | 27.7
124597 | 2021-05-07 10:12 | 3.9951 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.7305 | μmol/L | 31.564 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.237 | 126485.1652 | 271536.8738 | 32.55 | 27.7
124607 | 2021-05-07 10:12 | 4.3283 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.5215 | μmol/L | 31.5517 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.253 | 126528.3761 | 271511.5954 | 32.55 | 27.7
124617 | 2021-05-07 10:12 | 4.6616 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.4365 | μmol/L | 31.5394 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.262 | 126548.9992 | 271481.2088 | 32.55 | 27.7
124627 | 2021-05-07 10:13 | 4.9945 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.3003 | μmol/L | 31.521 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.276 | 126570.9568 | 271460.7363 | 32.55 | 27.7
124637 | 2021-05-07 10:13 | 5.3283 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.3441 | μmol/L | 31.4903 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.284 | 126605.7688 | 271424.1066 | 32.55 | 27.7
124647 | 2021-05-07 10:13 | 5.6612 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.4988 | μmol/L | 31.4412 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.292 | 126619.3351 | 271387.1339 | 32.55 | 27.7
124657 | 2021-05-07 10:14 | 5.9951 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.2919 | μmol/L | 31.4228 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.31 | 126696.5168 | 271355.185 | 32.55 | 27.7
124667 | 2021-05-07 10:14 | 6.3281 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.1559 | μmol/L | 31.4044 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.324 | 126737.3877 | 271341.1221 | 32.55 | 27.7
124677 | 2021-05-07 10:14 | 6.6611 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.2363 | μmol/L | 31.3675 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.332 | 126765.3663 | 271307.1856 | 32.55 | 27.7
124687 | 2021-05-07 10:15 | 6.9951 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.4707 | μmol/L | 31.2816 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.348 | 126794.4996 | 271290.959 | 32.55 | 27.7
124697 | 2021-05-07 10:15 | 7.328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.7872 | μmol/L | 31.3368 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.368 | 126879.9199 | 271263.9389 | 32.55 | 27.7
124707 | 2021-05-07 10:15 | 7.6612 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.5766 | μmol/L | 31.3368 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.38 | 126939.953 | 271229.4733 | 32.55 | 27.7
124717 | 2021-05-07 10:16 | 7.9946 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.117 | μmol/L | 31.2202 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.389 | 126982.0499 | 271212.9198 | 32.55 | 27.7
124727 | 2021-05-07 10:16 | 8.3278 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.1074 | μmol/L | 31.1895 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.4 | 127013.6563 | 271189.9154 | 32.55 | 27.7
124737 | 2021-05-07 10:16 | 8.6612 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.7914 | μmol/L | 31.1895 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.418 | 127065.4708 | 271159.2227 | 32.55 | 27.7
124747 | 2021-05-07 10:17 | 8.9951 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.5395 | μmol/L | 31.2141 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.424 | 127091.0561 | 271140.1161 | 32.55 | 27.7
124757 | 2021-05-07 10:17 | 9.3283 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.4585 | μmol/L | 31.1895 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.437 | 127106.5694 | 271097.0491 | 32.55 | 27.7
124767 | 2021-05-07 10:17 | 9.6617 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.4219 | μmol/L | 31.1957 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.437 | 127095.58 | 271089.8727 | 32.55 | 27.7
124777 | 2021-05-07 10:18 | 9.9944 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.282 | μmol/L | 31.1957 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.445 | 127090.88 | 271064.573 | 32.55 | 27.7
124787 | 2021-05-07 10:18 | 10.3284 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.2694 | μmol/L | 31.1773 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.452 | 127117.946 | 271037.9552 | 32.55 | 27.7
124797 | 2021-05-07 10:18 | 10.6618 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.2601 | μmol/L | 31.1466 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.463 | 127143.474 | 271016.7315 | 32.55 | 27.7
124807 | 2021-05-07 10:19 | 10.9949 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.4986 | μmol/L | 31.1036 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.464 | 127125.8608 | 270979.4295 | 32.55 | 27.7
124817 | 2021-05-07 10:19 | 11.3282 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.4652 | μmol/L | 31.0975 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.468 | 127101.7044 | 270954.2108 | 32.55 | 27.7
124827 | 2021-05-07 10:19 | 11.6614 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.4318 | μmol/L | 31.0913 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.472 | 127104.744 | 270940.1822 | 32.55 | 27.7
124837 | 2021-05-07 10:20 | 11.9947 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.7132 | μmol/L | 31.0177 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.481 | 127117.2324 | 270909.3132 | 32.55 | 27.7
124847 | 2021-05-07 10:20 | 12.328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.5002 | μmol/L | 31.0299 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.489 | 127108.4182 | 270886.7038 | 32.55 | 27.7
124857 | 2021-05-07 10:20 | 12.6612 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.381 | μmol/L | 31.0177 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.5 | 127129.0161 | 270870.8752 | 32.55 | 27.7
124867 | 2021-05-07 10:21 | 12.9947 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.5842 | μmol/L | 30.9747 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.503 | 127135.1472 | 270842.3595 | 32.55 | 27.7
124877 | 2021-05-07 10:21 | 13.3277 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.5873 | μmol/L | 30.9624 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.507 | 127139.7006 | 270828.0533 | 32.55 | 27.7
124887 | 2021-05-07 10:21 | 13.6617 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.8999 | μmol/L | 30.9011 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.51 | 127146.9084 | 270801.9196 | 32.55 | 27.7
124897 | 2021-05-07 10:22 | 13.9949 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.8855 | μmol/L | 30.8888 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.515 | 127155.5562 | 270774.9073 | 32.55 | 27.7
124907 | 2021-05-07 10:22 | 14.3284 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.7151 | μmol/L | 30.8704 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.531 | 127102.0779 | 270763.197 | 32.55 | 27.7
124917 | 2021-05-07 10:22 | 14.6618 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.2347 | μmol/L | 30.9072 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.546 | 127186.5837 | 270735.4869 | 32.55 | 27.7
124927 | 2021-05-07 10:23 | 14.9952 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.0652 | μmol/L | 30.8888 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.562 | 127295.4143 | 270716.4269 | 32.55 | 27.7
124937 | 2021-05-07 10:23 | 15.3278 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.8106 | μmol/L | 30.8642 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.585 | 127440.3253 | 270693.6242 | 32.55 | 27.7
124947 | 2021-05-07 10:23 | 15.6616 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.4258 | μmol/L | 30.8765 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.603 | 127523.7757 | 270675.8918 | 32.55 | 27.7
124957 | 2021-05-07 10:24 | 15.9946 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.292 | μmol/L | 30.8581 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.617 | 127591.3317 | 270656.212 | 32.55 | 27.7
124967 | 2021-05-07 10:24 | 16.3278 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.3329 | μmol/L | 30.8335 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.623 | 127614.1964 | 270637.4655 | 32.55 | 27.7
124977 | 2021-05-07 10:24 | 16.6617 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.3769 | μmol/L | 30.7967 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.633 | 127655.8744 | 270618.6402 | 32.55 | 27.7
124987 | 2021-05-07 10:25 | 16.9949 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.0987 | μmol/L | 30.8029 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.647 | 127728.0803 | 270592.0601 | 32.55 | 27.7
124997 | 2021-05-07 10:25 | 17.3278 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.3233 | μmol/L | 30.7353 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.657 | 127775.7411 | 270564.9838 | 32.55 | 27.7
125007 | 2021-05-07 10:25 | 17.6617 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.6001 | μmol/L | 30.7967 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.678 | 127928.0714 | 270534.9009 | 32.55 | 27.7
125017 | 2021-05-07 10:26 | 17.9948 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.4844 | μmol/L | 30.7783 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.691 | 127978.1121 | 270533.4362 | 32.55 | 27.7
125027 | 2021-05-07 10:26 | 18.328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.5095 | μmol/L | 30.7476 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.7 | 128005.1159 | 270507.7715 | 32.55 | 27.7
125037 | 2021-05-07 10:26 | 18.6612 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.5847 | μmol/L | 30.7231 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.704 | 128029.6912 | 270493.1975 | 32.55 | 27.7
125047 | 2021-05-07 10:27 | 18.9951 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.219 | μmol/L | 30.7415 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.719 | 128084.4835 | 270468.8215 | 32.55 | 27.7
125057 | 2021-05-07 10:27 | 19.3283 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.1316 | μmol/L | 30.7476 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.722 | 128097.9629 | 270455.4489 | 32.55 | 27.7
125067 | 2021-05-07 10:27 | 19.6615 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.063 | μmol/L | 30.7476 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.726 | 128112.4516 | 270436.1483 | 32.55 | 27.7
125077 | 2021-05-07 10:28 | 19.9946 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.9478 | μmol/L | 30.7292 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.739 | 128178.0428 | 270410.1363 | 32.55 | 27.7
125087 | 2021-05-07 10:28 | 20.328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.5665 | μmol/L | 30.7476 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.755 | 128282.135 | 270387.4746 | 32.55 | 27.7
125097 | 2021-05-07 10:28 | 20.6614 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.5356 | μmol/L | 30.7353 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.761 | 128265.6655 | 270365.0562 | 32.55 | 27.7
125107 | 2021-05-07 10:29 | 20.9946 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.6649 | μmol/L | 30.6985 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.766 | 128259.816 | 270348.1218 | 32.55 | 27.7
125117 | 2021-05-07 10:29 | 21.3283 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.351 | μmol/L | 30.7231 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.776 | 128297.8721 | 270342.9535 | 32.55 | 27.7
125127 | 2021-05-07 10:29 | 21.6619 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.247 | μmol/L | 30.7292 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.78 | 128302.1337 | 270325.114 | 32.55 | 27.7
125137 | 2021-05-07 10:30 | 21.995 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.4461 | μmol/L | 30.6862 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.783 | 128272.1755 | 270308.8401 | 32.55 | 27.7
125147 | 2021-05-07 10:30 | 22.3283 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.247 | μmol/L | 30.7292 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.78 | 128269.1063 | 270286.2739 | 32.55 | 27.7
125157 | 2021-05-07 10:30 | 22.6616 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.1464 | μmol/L | 30.7231 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.788 | 128278.1391 | 270276.2441 | 32.55 | 27.7
125167 | 2021-05-07 10:31 | 22.9948 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.9388 | μmol/L | 30.7353 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.796 | 128312.4187 | 270240.9733 | 32.55 | 27.7
125177 | 2021-05-07 10:31 | 23.3281 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.054 | μmol/L | 30.6862 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.806 | 128340.6928 | 270227.4972 | 32.55 | 27.7
125187 | 2021-05-07 10:31 | 23.6613 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.9843 | μmol/L | 30.6924 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.808 | 128375.4299 | 270216.3672 | 32.55 | 27.7
125197 | 2021-05-07 10:32 | 23.9944 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.7074 | μmol/L | 30.7108 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.818 | 128406.2614 | 270203.8084 | 32.55 | 27.7
125207 | 2021-05-07 10:32 | 24.3284 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.6614 | μmol/L | 30.6924 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.827 | 128458.1471 | 270180.7367 | 32.55 | 27.7
125217 | 2021-05-07 10:32 | 24.6616 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.5049 | μmol/L | 30.6433 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.853 | 128556.3072 | 270179.3767 | 32.55 | 27.7
125227 | 2021-05-07 10:33 | 24.9949 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.3069 | μmol/L | 30.6862 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.85 | 128536.5174 | 270153.4523 | 32.55 | 27.7
125237 | 2021-05-07 10:33 | 25.3282 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.5575 | μmol/L | 30.6371 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.852 | 128528.2853 | 270142.2707 | 32.55 | 27.7
125247 | 2021-05-07 10:33 | 25.6614 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.6658 | μmol/L | 30.6126 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.854 | 128512.0782 | 270112.3012 | 32.55 | 27.7
125257 | 2021-05-07 10:34 | 25.9944 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.2661 | μmol/L | 30.6494 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.865 | 128540.0159 | 270106.2549 | 32.55 | 27.7
125267 | 2021-05-07 10:34 | 26.3283 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.3202 | μmol/L | 30.6371 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.866 | 128532.1959 | 270088.5463 | 32.55 | 27.7
125277 | 2021-05-07 10:34 | 26.6618 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.2814 | μmol/L | 30.6556 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.862 | 128528.1309 | 270071.9743 | 32.55 | 27.7
125287 | 2021-05-07 10:35 | 26.9944 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 189.9736 | μmol/L | 30.6678 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.876 | 128569.4859 | 270044.8867 | 32.55 | 27.7
125297 | 2021-05-07 10:35 | 27.3282 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.0108 | μmol/L | 30.6556 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.878 | 128564.2035 | 270031.7003 | 32.55 | 27.7
125307 | 2021-05-07 10:35 | 27.6614 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.0139 | μmol/L | 30.5819 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.903 | 128668.4113 | 270025.9156 | 32.55 | 27.7
125317 | 2021-05-07 10:36 | 27.9946 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.2418 | μmol/L | 30.5512 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.9 | 128612.7965 | 269999.1215 | 32.55 | 27.7
125327 | 2021-05-07 10:36 | 28.3285 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.257 | μmol/L | 30.5574 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.897 | 128618.642 | 269989.1455 | 32.55 | 27.7
125337 | 2021-05-07 10:36 | 28.6618 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.1709 | μmol/L | 30.5635 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.9 | 128606.8649 | 269975.4119 | 32.55 | 27.7
125347 | 2021-05-07 10:37 | 28.9944 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 189.9649 | μmol/L | 30.5758 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.908 | 128649.0277 | 269964.8174 | 32.55 | 27.7
125351 | 2021-05-07 10:37 | 29.3279 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 189.8114 | μmol/L | 30.5819 | °C | 1024 | hPa | Humid | 29 | 0 | 0 | 20.915 | 128655.7186 | 269948.0525 | 32.55 | 27.7