## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 129211289 | PSt7-10 | 000000-000 | 0000-00 | 2021-04-19 09:39

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-07 11:18

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
125352 | 2021-05-07 10:47 | 0 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.5855 | μmol/L | 31.1984 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.214 | 135112.6106 | 272632.9088 | 33.25 | 75.7
125362 | 2021-05-07 10:48 | 0.3374 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.6673 | μmol/L | 31.1491 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.282 | 135643.2815 | 272632.1577 | 33.25 | 75.7
125372 | 2021-05-07 10:48 | 0.67109 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.0674 | μmol/L | 31.1307 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.322 | 135976.6339 | 272609.1869 | 33.25 | 75.7
125382 | 2021-05-07 10:48 | 1.0039 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.0661 | μmol/L | 31.1061 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.387 | 136434.3824 | 272606.326 | 33.25 | 75.7
125392 | 2021-05-07 10:49 | 1.3374 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.7916 | μmol/L | 31.0753 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.413 | 136624.7107 | 272587.1799 | 33.25 | 75.7
125402 | 2021-05-07 10:49 | 1.671 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.5851 | μmol/L | 31.0568 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.431 | 136762.8841 | 272571.0499 | 33.25 | 75.7
125412 | 2021-05-07 10:49 | 2.0045 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.239 | μmol/L | 31.0383 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.457 | 136921.5766 | 272552.4905 | 33.25 | 75.7
125422 | 2021-05-07 10:50 | 2.3371 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.2458 | μmol/L | 31.0076 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.467 | 136995.32 | 272535.9577 | 33.25 | 75.7
125432 | 2021-05-07 10:50 | 2.6708 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.9746 | μmol/L | 30.9706 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.495 | 137182.0101 | 272523.3121 | 33.25 | 75.7
125442 | 2021-05-07 10:50 | 3.0043 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.4882 | μmol/L | 30.9645 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.525 | 137387.1418 | 272496.4339 | 33.25 | 75.7
125452 | 2021-05-07 10:51 | 3.3378 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.4242 | μmol/L | 30.9399 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.537 | 137495.1586 | 272482.1649 | 33.25 | 75.7
125462 | 2021-05-07 10:51 | 3.6707 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.577 | μmol/L | 30.8783 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.549 | 137561.3019 | 272477.1861 | 33.25 | 75.7
125472 | 2021-05-07 10:51 | 4.0042 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.4782 | μmol/L | 30.8537 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.563 | 137621.8235 | 272461.2343 | 33.25 | 75.7
125482 | 2021-05-07 10:52 | 4.3376 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.4449 | μmol/L | 30.8475 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.567 | 137673.595 | 272436.538 | 33.25 | 75.7
125492 | 2021-05-07 10:52 | 4.6711 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.453 | μmol/L | 30.8106 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.579 | 137742.4082 | 272429.198 | 33.25 | 75.7
125502 | 2021-05-07 10:52 | 5.0038 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.7186 | μmol/L | 30.8414 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.611 | 137946.4444 | 272405.3481 | 33.25 | 75.7
125512 | 2021-05-07 10:53 | 5.3372 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.9072 | μmol/L | 30.8475 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.656 | 138279.3859 | 272383.1577 | 33.25 | 75.7
125522 | 2021-05-07 10:53 | 5.6712 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.9344 | μmol/L | 30.8045 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.669 | 138373.5815 | 272376.4729 | 33.25 | 75.7
125532 | 2021-05-07 10:53 | 6.0038 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.6626 | μmol/L | 30.7921 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.689 | 138502.9206 | 272357.2635 | 33.25 | 75.7
125542 | 2021-05-07 10:54 | 6.3379 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.4212 | μmol/L | 30.7983 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.701 | 138581.2406 | 272350.5795 | 33.25 | 75.7
125552 | 2021-05-07 10:54 | 6.6705 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.634 | μmol/L | 30.7675 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.699 | 138556.6673 | 272335.6612 | 33.25 | 75.7
125562 | 2021-05-07 10:54 | 7.0038 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.6926 | μmol/L | 30.7368 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.706 | 138594.7039 | 272314.1446 | 33.25 | 75.7
125572 | 2021-05-07 10:55 | 7.3375 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.2573 | μmol/L | 30.7675 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.721 | 138706.4625 | 272297.8016 | 33.25 | 75.7
125582 | 2021-05-07 10:55 | 7.6709 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.6274 | μmol/L | 30.7614 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.76 | 138988.7331 | 272286.9056 | 33.25 | 75.7
125592 | 2021-05-07 10:55 | 8.0044 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 189.6786 | μmol/L | 30.7552 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.818 | 139418.6301 | 272277.2424 | 33.25 | 75.7
125602 | 2021-05-07 10:56 | 8.3376 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 188.9393 | μmol/L | 30.7429 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.866 | 139772.0809 | 272265.0954 | 33.25 | 75.7
125612 | 2021-05-07 10:56 | 8.671 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 188.5758 | μmol/L | 30.7183 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.896 | 139984.4562 | 272249.6181 | 33.25 | 75.7
125622 | 2021-05-07 10:56 | 9.0043 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 188.0429 | μmol/L | 30.706 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.932 | 140275.4424 | 272238.8864 | 33.25 | 75.7
125632 | 2021-05-07 10:57 | 9.3378 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 187.389 | μmol/L | 30.7183 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.967 | 140510.6638 | 272229.636 | 33.25 | 75.7
125642 | 2021-05-07 10:57 | 9.6709 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 187.0864 | μmol/L | 30.7306 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.981 | 140587.6367 | 272217.6682 | 33.25 | 75.7
125652 | 2021-05-07 10:57 | 10.004 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.9702 | μmol/L | 30.7306 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.988 | 140640.7178 | 272189.883 | 33.25 | 75.7
125662 | 2021-05-07 10:58 | 10.3372 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.8209 | μmol/L | 30.7306 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.997 | 140720.0945 | 272169.9146 | 33.25 | 75.7
125672 | 2021-05-07 10:58 | 10.6705 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.675 | μmol/L | 30.7183 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.01 | 140804.1517 | 272168.8634 | 33.25 | 75.7
125682 | 2021-05-07 10:58 | 11.0046 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.5607 | μmol/L | 30.7121 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.019 | 140859.718 | 272157.4332 | 33.25 | 75.7
125692 | 2021-05-07 10:59 | 11.3379 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.2813 | μmol/L | 30.706 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.038 | 140966.6341 | 272141.2623 | 33.25 | 75.7
125702 | 2021-05-07 10:59 | 11.6706 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.2351 | μmol/L | 30.6937 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.045 | 141014.5413 | 272124.546 | 33.25 | 75.7
125712 | 2021-05-07 10:59 | 12.0038 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.2384 | μmol/L | 30.6814 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.049 | 141030.6697 | 272103.3199 | 33.25 | 75.7
125722 | 2021-05-07 11:00 | 12.3373 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.2252 | μmol/L | 30.6691 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.054 | 141085.3993 | 272096.8698 | 33.25 | 75.7
125732 | 2021-05-07 11:00 | 12.6706 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.0437 | μmol/L | 30.6691 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.065 | 141139.6846 | 272085.2228 | 33.25 | 75.7
125742 | 2021-05-07 11:00 | 13.0041 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.0107 | μmol/L | 30.6691 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.067 | 141159.782 | 272080.5138 | 33.25 | 75.7
125752 | 2021-05-07 11:01 | 13.3373 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 185.8954 | μmol/L | 30.6691 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.074 | 141206.8298 | 272067.4473 | 33.25 | 75.7
125762 | 2021-05-07 11:01 | 13.6707 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 185.7637 | μmol/L | 30.6691 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.082 | 141239.4192 | 272063.3096 | 33.25 | 75.7
125772 | 2021-05-07 11:01 | 14.004 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 185.6962 | μmol/L | 30.6752 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.084 | 141231.4863 | 272052.806 | 33.25 | 75.7
125782 | 2021-05-07 11:02 | 14.3375 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 185.93 | μmol/L | 30.6629 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.074 | 141156.3649 | 272035.3209 | 33.25 | 75.7
125792 | 2021-05-07 11:02 | 14.6708 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.0009 | μmol/L | 30.6444 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.076 | 141183.22 | 272018.1609 | 33.25 | 75.7
125802 | 2021-05-07 11:02 | 15.0042 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 185.9284 | μmol/L | 30.6075 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.093 | 141257.4993 | 272016.8434 | 33.25 | 75.7
125812 | 2021-05-07 11:03 | 15.3373 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 185.9004 | μmol/L | 30.6506 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.08 | 141158.9614 | 272003.2381 | 33.25 | 75.7
125822 | 2021-05-07 11:03 | 15.6711 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 185.9745 | μmol/L | 30.6198 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.086 | 141218.3644 | 272010.5199 | 33.25 | 75.7
125832 | 2021-05-07 11:03 | 16.0042 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.2381 | μmol/L | 30.5583 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.091 | 141270.4873 | 272006.7728 | 33.25 | 75.7
125842 | 2021-05-07 11:04 | 16.3372 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 185.5781 | μmol/L | 30.626 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.108 | 141363.8118 | 271992.4383 | 33.25 | 75.7
125852 | 2021-05-07 11:04 | 16.6711 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 185.7853 | μmol/L | 30.589 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.108 | 141381.4246 | 271978.7152 | 33.25 | 75.7
125862 | 2021-05-07 11:04 | 17.0044 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 185.4715 | μmol/L | 30.5952 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.125 | 141476.5612 | 271971.7332 | 33.25 | 75.7
125872 | 2021-05-07 11:05 | 17.3375 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 185.1042 | μmol/L | 30.6198 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.139 | 141551.3732 | 271965.9005 | 33.25 | 75.7
125882 | 2021-05-07 11:05 | 17.6705 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 185.129 | μmol/L | 30.589 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.148 | 141651.8067 | 271957.5507 | 33.25 | 75.7
125892 | 2021-05-07 11:05 | 18.0043 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 184.9209 | μmol/L | 30.6321 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.146 | 141636.1785 | 271964.2814 | 33.25 | 75.7
125902 | 2021-05-07 11:06 | 18.3372 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 184.9508 | μmol/L | 30.5829 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.161 | 141733.4231 | 271944.0021 | 33.25 | 75.7
125912 | 2021-05-07 11:06 | 18.6709 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 184.5032 | μmol/L | 30.6075 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.18 | 141850.7299 | 271936.9289 | 33.25 | 75.7
125922 | 2021-05-07 11:06 | 19.0041 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 184.6945 | μmol/L | 30.5644 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.183 | 141892.9777 | 271920.959 | 33.25 | 75.7
125932 | 2021-05-07 11:07 | 19.3379 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 184.4954 | μmol/L | 30.5767 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.191 | 141932.5414 | 271923.364 | 33.25 | 75.7
125942 | 2021-05-07 11:07 | 19.6709 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 184.1784 | μmol/L | 30.546 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.221 | 142122.2639 | 271894.1257 | 33.25 | 75.7
125952 | 2021-05-07 11:07 | 20.0041 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 184.0381 | μmol/L | 30.5829 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.217 | 142100.1297 | 271896.1438 | 33.25 | 75.7
125962 | 2021-05-07 11:08 | 20.3379 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 184.0219 | μmol/L | 30.5829 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.218 | 142092.6958 | 271881.446 | 33.25 | 75.7
125972 | 2021-05-07 11:08 | 20.671 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 183.7657 | μmol/L | 30.5706 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.238 | 142229.7757 | 271884.13 | 33.25 | 75.7
125982 | 2021-05-07 11:08 | 21.004 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 183.7385 | μmol/L | 30.5521 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.246 | 142313.14 | 271872.9781 | 33.25 | 75.7
125992 | 2021-05-07 11:09 | 21.3371 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 183.3881 | μmol/L | 30.589 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.255 | 142382.9364 | 271854.4616 | 33.25 | 75.7
126002 | 2021-05-07 11:09 | 21.6708 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 183.3177 | μmol/L | 30.5521 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.272 | 142478.4239 | 271851.9292 | 33.25 | 75.7
126012 | 2021-05-07 11:09 | 22.004 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 183.0808 | μmol/L | 30.5337 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.293 | 142607.2392 | 271851.8417 | 33.25 | 75.7
126022 | 2021-05-07 11:10 | 22.3376 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 183.2457 | μmol/L | 30.5214 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.287 | 142584.3213 | 271839.9274 | 33.25 | 75.7
126032 | 2021-05-07 11:10 | 22.6711 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.6978 | μmol/L | 30.5214 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.321 | 142781.8731 | 271834.4675 | 33.25 | 75.7
126042 | 2021-05-07 11:10 | 23.0044 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 183.1973 | μmol/L | 30.5214 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.29 | 142619.635 | 271831.7079 | 33.25 | 75.7
126052 | 2021-05-07 11:11 | 23.3379 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.696 | μmol/L | 30.5275 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.319 | 142789.3715 | 271811.0858 | 33.25 | 75.7
126062 | 2021-05-07 11:11 | 23.6705 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.7083 | μmol/L | 30.4844 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.333 | 142900.724 | 271818.2372 | 33.25 | 75.7
126072 | 2021-05-07 11:11 | 24.0044 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.3594 | μmol/L | 30.4967 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.351 | 143004.578 | 271816.3672 | 33.25 | 75.7
126082 | 2021-05-07 11:12 | 24.3371 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.4085 | μmol/L | 30.5214 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.339 | 142926.2972 | 271806.2401 | 33.25 | 75.7
126092 | 2021-05-07 11:12 | 24.6711 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.2481 | μmol/L | 30.5214 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.349 | 142996.7205 | 271789.7873 | 33.25 | 75.7
126102 | 2021-05-07 11:12 | 25.0043 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.2249 | μmol/L | 30.4906 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.361 | 143074.0294 | 271790.2374 | 33.25 | 75.7
126112 | 2021-05-07 11:13 | 25.3374 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.1519 | μmol/L | 30.5214 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.355 | 143035.0818 | 271791.2964 | 33.25 | 75.7
126122 | 2021-05-07 11:13 | 25.6706 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.2534 | μmol/L | 30.5029 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.355 | 143018.2 | 271779.7992 | 33.25 | 75.7
126132 | 2021-05-07 11:13 | 26.0044 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.4939 | μmol/L | 30.4475 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.359 | 143050.9594 | 271772.8505 | 33.25 | 75.7
126142 | 2021-05-07 11:14 | 26.3376 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.4128 | μmol/L | 30.4783 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.354 | 143024.4045 | 271764.6475 | 33.25 | 75.7
126152 | 2021-05-07 11:14 | 26.6709 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.127 | μmol/L | 30.4967 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.365 | 143056.1082 | 271756.6383 | 33.25 | 75.7
126162 | 2021-05-07 11:14 | 27.0042 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.2293 | μmol/L | 30.5029 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.357 | 143051.3019 | 271742.1441 | 33.25 | 75.7
126172 | 2021-05-07 11:15 | 27.3377 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.1207 | μmol/L | 30.4906 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.368 | 143071.2687 | 271735.2365 | 33.25 | 75.7
126182 | 2021-05-07 11:15 | 27.6706 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.0051 | μmol/L | 30.5029 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.371 | 143104.6 | 271748.9281 | 33.25 | 75.7
126192 | 2021-05-07 11:15 | 28.0039 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.1848 | μmol/L | 30.4906 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.364 | 143056.8263 | 271732.2277 | 33.25 | 75.7
126202 | 2021-05-07 11:16 | 28.3374 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.4841 | μmol/L | 30.4537 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.358 | 143050.3241 | 271720.6371 | 33.25 | 75.7
126212 | 2021-05-07 11:16 | 28.6706 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.2061 | μmol/L | 30.4721 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.369 | 143089.1892 | 271722.8818 | 33.25 | 75.7
126222 | 2021-05-07 11:16 | 29.0038 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.3058 | μmol/L | 30.4598 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.367 | 143095.8657 | 271705.6195 | 33.25 | 75.7
126232 | 2021-05-07 11:17 | 29.3378 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.2079 | μmol/L | 30.466 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.371 | 143092.8078 | 271711.3318 | 33.25 | 75.7
126242 | 2021-05-07 11:17 | 29.6708 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.2114 | μmol/L | 30.4537 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.375 | 143549.7361 | 271706.3401 | 33.25 | 75.7