## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-07 11:18

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
125353 | 2021-05-07 10:47 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.2435 | μmol/L | 31.1687 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.809 | 124315.5592 | 295975.7837 | 59.9307 | 38.1
125363 | 2021-05-07 10:48 | 0.33017 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.8762 | μmol/L | 31.1625 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.833 | 124453.337 | 295942.6733 | 59.9307 | 38.1
125373 | 2021-05-07 10:48 | 0.66371 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.6346 | μmol/L | 31.1258 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.86 | 124560.2428 | 295938.9294 | 59.9307 | 38.1
125383 | 2021-05-07 10:48 | 0.9963 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.8007 | μmol/L | 31.0645 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.871 | 124606.4313 | 295915.5483 | 59.9307 | 38.1
125393 | 2021-05-07 10:49 | 1.3299 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.6413 | μmol/L | 31.0338 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.891 | 124706.9522 | 295901.2576 | 59.9307 | 38.1
125403 | 2021-05-07 10:49 | 1.6636 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.1331 | μmol/L | 31.0645 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.911 | 124827.3746 | 295886.0314 | 59.9307 | 38.1
125413 | 2021-05-07 10:49 | 1.9962 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.9366 | μmol/L | 31.0522 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.927 | 124897.9842 | 295879.7751 | 59.9307 | 38.1
125423 | 2021-05-07 10:50 | 2.3296 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.8266 | μmol/L | 31.0277 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.942 | 124969.6478 | 295857.3474 | 59.9307 | 38.1
125433 | 2021-05-07 10:50 | 2.6633 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.9388 | μmol/L | 30.9787 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.952 | 125039.6147 | 295846.473 | 59.9307 | 38.1
125443 | 2021-05-07 10:50 | 2.9969 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.7379 | μmol/L | 30.9848 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.962 | 125084.0794 | 295827.9824 | 59.9307 | 38.1
125453 | 2021-05-07 10:51 | 3.3301 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.4892 | μmol/L | 30.9848 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.977 | 125156.1606 | 295801.8406 | 59.9307 | 38.1
125463 | 2021-05-07 10:51 | 3.6635 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.3267 | μmol/L | 30.9726 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.991 | 125209.0649 | 295785.1368 | 59.9307 | 38.1
125473 | 2021-05-07 10:51 | 3.997 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.2503 | μmol/L | 30.948 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.004 | 125276.1229 | 295783.5206 | 59.9307 | 38.1
125483 | 2021-05-07 10:52 | 4.3297 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.1873 | μmol/L | 30.9358 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.012 | 125316.7233 | 295772.0506 | 59.9307 | 38.1
125493 | 2021-05-07 10:52 | 4.6634 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.0897 | μmol/L | 30.9297 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.02 | 125376.9455 | 295746.4138 | 59.9307 | 38.1
125503 | 2021-05-07 10:52 | 4.9967 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.9773 | μmol/L | 30.9174 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.031 | 125422.399 | 295739.3005 | 59.9307 | 38.1
125513 | 2021-05-07 10:53 | 5.3301 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.7975 | μmol/L | 30.9113 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.044 | 125467.7659 | 295715.1463 | 59.9307 | 38.1
125523 | 2021-05-07 10:53 | 5.6633 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.7528 | μmol/L | 30.8929 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.053 | 125510.5043 | 295690.8123 | 59.9307 | 38.1
125533 | 2021-05-07 10:53 | 5.9968 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.7935 | μmol/L | 30.8622 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.061 | 125555.4177 | 295680.5698 | 59.9307 | 38.1
125543 | 2021-05-07 10:54 | 6.3304 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.7112 | μmol/L | 30.8622 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.066 | 125550.2249 | 295671.0778 | 59.9307 | 38.1
125553 | 2021-05-07 10:54 | 6.6636 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.2185 | μmol/L | 30.7458 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.075 | 125608.599 | 295645.2252 | 59.9307 | 38.1
125563 | 2021-05-07 10:54 | 6.9962 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.9321 | μmol/L | 30.7703 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.084 | 125635.5479 | 295613.7624 | 59.9307 | 38.1
125573 | 2021-05-07 10:55 | 7.3296 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.6805 | μmol/L | 30.7887 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.093 | 125672.0769 | 295619.034 | 59.9307 | 38.1
125583 | 2021-05-07 10:55 | 7.663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.2471 | μmol/L | 30.8132 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.111 | 125786.1957 | 295611.1631 | 59.9307 | 38.1
125593 | 2021-05-07 10:55 | 7.9965 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 183.9372 | μmol/L | 30.8071 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.132 | 125892.4279 | 295601.5247 | 59.9307 | 38.1
125603 | 2021-05-07 10:56 | 8.33 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.0254 | μmol/L | 30.7826 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.135 | 125923.6676 | 295570.5331 | 59.9307 | 38.1
125613 | 2021-05-07 10:56 | 8.6633 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 183.9646 | μmol/L | 30.7642 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.145 | 125962.7289 | 295537.9229 | 59.9307 | 38.1
125623 | 2021-05-07 10:56 | 8.9966 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 183.8563 | μmol/L | 30.7397 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.16 | 126041.0988 | 295551.5208 | 59.9307 | 38.1
125633 | 2021-05-07 10:57 | 9.33 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 183.5902 | μmol/L | 30.7581 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.17 | 126098.5951 | 295534.6752 | 59.9307 | 38.1
125643 | 2021-05-07 10:57 | 9.6634 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 183.2966 | μmol/L | 30.7581 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.188 | 126186.5482 | 295510.8645 | 59.9307 | 38.1
125653 | 2021-05-07 10:57 | 9.9965 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 183.1516 | μmol/L | 30.7519 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.199 | 126277.4421 | 295502.544 | 59.9307 | 38.1
125663 | 2021-05-07 10:58 | 10.3302 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 182.9774 | μmol/L | 30.7335 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.216 | 126343.2063 | 295481.3256 | 59.9307 | 38.1
125673 | 2021-05-07 10:58 | 10.6637 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 182.5214 | μmol/L | 30.7397 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.242 | 126502.3077 | 295460.3662 | 59.9307 | 38.1
125683 | 2021-05-07 10:58 | 10.9965 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 182.6721 | μmol/L | 30.7213 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.239 | 126464.4838 | 295446.2399 | 59.9307 | 38.1
125693 | 2021-05-07 10:59 | 11.3296 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 182.6072 | μmol/L | 30.7213 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.243 | 126485.7269 | 295441.0064 | 59.9307 | 38.1
125703 | 2021-05-07 10:59 | 11.6637 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 182.4922 | μmol/L | 30.7274 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.248 | 126503.2543 | 295427.3536 | 59.9307 | 38.1
125713 | 2021-05-07 10:59 | 11.9962 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 182.4614 | μmol/L | 30.7213 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.252 | 126511.2431 | 295404.4965 | 59.9307 | 38.1
125723 | 2021-05-07 11:00 | 12.3296 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 182.6263 | μmol/L | 30.6477 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.267 | 126590.5045 | 295410.3179 | 59.9307 | 38.1
125733 | 2021-05-07 11:00 | 12.6631 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 182.2574 | μmol/L | 30.6968 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.273 | 126627.8545 | 295395.8832 | 59.9307 | 38.1
125743 | 2021-05-07 11:00 | 12.9965 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 182.162 | μmol/L | 30.6906 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.281 | 126688.2459 | 295380.5447 | 59.9307 | 38.1
125753 | 2021-05-07 11:01 | 13.3296 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 181.9553 | μmol/L | 30.6784 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.298 | 126776.7826 | 295361.6072 | 59.9307 | 38.1
125763 | 2021-05-07 11:01 | 13.663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 181.5702 | μmol/L | 30.6723 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.324 | 126928.9409 | 295366.7846 | 59.9307 | 38.1
125773 | 2021-05-07 11:01 | 13.9964 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 181.4415 | μmol/L | 30.6723 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.332 | 127007.8773 | 295355.9861 | 59.9307 | 38.1
125783 | 2021-05-07 11:02 | 14.3303 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 181.3628 | μmol/L | 30.6661 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.339 | 127011.4833 | 295333.4428 | 59.9307 | 38.1
125793 | 2021-05-07 11:02 | 14.6635 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 181.2199 | μmol/L | 30.66 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.35 | 127091.5539 | 295336.8455 | 59.9307 | 38.1
125803 | 2021-05-07 11:02 | 14.9968 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 181.8131 | μmol/L | 30.5436 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.353 | 127078.5857 | 295313.5603 | 59.9307 | 38.1
125813 | 2021-05-07 11:03 | 15.33 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 181.3806 | μmol/L | 30.5987 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.361 | 127120.6147 | 295307.6057 | 59.9307 | 38.1
125823 | 2021-05-07 11:03 | 15.6636 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 181.0068 | μmol/L | 30.6171 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.378 | 127229.2862 | 295307.8517 | 59.9307 | 38.1
125833 | 2021-05-07 11:03 | 15.9965 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.813 | μmol/L | 30.6232 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.388 | 127285.5446 | 295286.8319 | 59.9307 | 38.1
125843 | 2021-05-07 11:04 | 16.3296 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.8803 | μmol/L | 30.611 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.388 | 127299.4328 | 295292.7996 | 59.9307 | 38.1
125853 | 2021-05-07 11:04 | 16.6633 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.7715 | μmol/L | 30.5987 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.399 | 127354.572 | 295281.5363 | 59.9307 | 38.1
125863 | 2021-05-07 11:04 | 16.9966 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.751 | μmol/L | 30.5558 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.415 | 127430.7151 | 295260.435 | 59.9307 | 38.1
125873 | 2021-05-07 11:05 | 17.3297 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.5527 | μmol/L | 30.5803 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.419 | 127471.436 | 295261.5774 | 59.9307 | 38.1
125883 | 2021-05-07 11:05 | 17.6636 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.3947 | μmol/L | 30.5742 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.431 | 127530.1853 | 295249.4116 | 59.9307 | 38.1
125893 | 2021-05-07 11:05 | 17.9964 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.2991 | μmol/L | 30.5742 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.437 | 127554.6817 | 295240.7618 | 59.9307 | 38.1
125903 | 2021-05-07 11:06 | 18.3302 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.2688 | μmol/L | 30.5681 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.441 | 127592.8112 | 295232.7184 | 59.9307 | 38.1
125913 | 2021-05-07 11:06 | 18.6633 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.1431 | μmol/L | 30.562 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.451 | 127648.5124 | 295240.7949 | 59.9307 | 38.1
125923 | 2021-05-07 11:06 | 18.9964 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.2341 | μmol/L | 30.5191 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.46 | 127677.5685 | 295213.0773 | 59.9307 | 38.1
125933 | 2021-05-07 11:07 | 19.3302 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.3235 | μmol/L | 30.4823 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.467 | 127731.2613 | 295214.8778 | 59.9307 | 38.1
125943 | 2021-05-07 11:07 | 19.6632 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.0322 | μmol/L | 30.5007 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.479 | 127802.0019 | 295181.1378 | 59.9307 | 38.1
125953 | 2021-05-07 11:07 | 19.9962 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 179.8365 | μmol/L | 30.5191 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.485 | 127831.225 | 295193.4467 | 59.9307 | 38.1
125963 | 2021-05-07 11:08 | 20.3301 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 179.5968 | μmol/L | 30.5252 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.498 | 127896.8626 | 295174.2487 | 59.9307 | 38.1
125973 | 2021-05-07 11:08 | 20.663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 179.4417 | μmol/L | 30.5129 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.512 | 127984.3067 | 295165.4548 | 59.9307 | 38.1
125983 | 2021-05-07 11:08 | 20.9968 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 179.4833 | μmol/L | 30.4762 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.522 | 128036.7393 | 295177.6257 | 59.9307 | 38.1
125993 | 2021-05-07 11:09 | 21.3301 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 179.5089 | μmol/L | 30.4394 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.533 | 128099.7111 | 295159.545 | 59.9307 | 38.1
126003 | 2021-05-07 11:09 | 21.663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 179.4696 | μmol/L | 30.4088 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.546 | 128158.7251 | 295151.7182 | 59.9307 | 38.1
126013 | 2021-05-07 11:09 | 21.9963 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 179.2383 | μmol/L | 30.4455 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.548 | 128195.3218 | 295142.2447 | 59.9307 | 38.1
126023 | 2021-05-07 11:10 | 22.3296 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 178.6727 | μmol/L | 30.4945 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.567 | 128304.9656 | 295141.4593 | 59.9307 | 38.1
126033 | 2021-05-07 11:10 | 22.6632 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 178.9515 | μmol/L | 30.3965 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.583 | 128379.644 | 295133.0491 | 59.9307 | 38.1
126043 | 2021-05-07 11:10 | 22.9966 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 178.7383 | μmol/L | 30.4271 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.586 | 128387.279 | 295110.4984 | 59.9307 | 38.1
126053 | 2021-05-07 11:11 | 23.3299 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 178.5826 | μmol/L | 30.421 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.598 | 128473.5225 | 295134.6094 | 59.9307 | 38.1
126063 | 2021-05-07 11:11 | 23.6631 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 178.4899 | μmol/L | 30.4149 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.606 | 128510.2895 | 295113.1424 | 59.9307 | 38.1
126073 | 2021-05-07 11:11 | 23.9962 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 178.1567 | μmol/L | 30.4271 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.623 | 128617.5922 | 295100.7737 | 59.9307 | 38.1
126083 | 2021-05-07 11:12 | 24.3298 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 177.9686 | μmol/L | 30.4271 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.635 | 128682.8372 | 295086.4326 | 59.9307 | 38.1
126093 | 2021-05-07 11:12 | 24.6637 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 177.7964 | μmol/L | 30.4271 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.646 | 128727.6741 | 295082.7769 | 59.9307 | 38.1
126103 | 2021-05-07 11:12 | 24.997 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 178.1561 | μmol/L | 30.372 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.642 | 128744.4149 | 295074.9311 | 59.9307 | 38.1
126113 | 2021-05-07 11:13 | 25.3302 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 178.0464 | μmol/L | 30.372 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.649 | 128758.5869 | 295070.4962 | 59.9307 | 38.1
126123 | 2021-05-07 11:13 | 25.6635 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 177.9194 | μmol/L | 30.3781 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.655 | 128786.6782 | 295078.3335 | 59.9307 | 38.1
126133 | 2021-05-07 11:13 | 25.9967 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 177.7473 | μmol/L | 30.3781 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.666 | 128819.8801 | 295050.0667 | 59.9307 | 38.1
126143 | 2021-05-07 11:14 | 26.3302 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 177.6931 | μmol/L | 30.3475 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.68 | 128910.2239 | 295029.2218 | 59.9307 | 38.1
126153 | 2021-05-07 11:14 | 26.6635 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 177.5146 | μmol/L | 30.372 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.683 | 128944.0012 | 295048.9413 | 59.9307 | 38.1
126163 | 2021-05-07 11:14 | 26.9965 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 177.4539 | μmol/L | 30.3659 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.689 | 128961.5175 | 295039.9631 | 59.9307 | 38.1
126173 | 2021-05-07 11:15 | 27.3297 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 177.426 | μmol/L | 30.3536 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.695 | 128985.9316 | 295028.2067 | 59.9307 | 38.1
126183 | 2021-05-07 11:15 | 27.6636 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 177.4311 | μmol/L | 30.3352 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.701 | 129023.9139 | 295032.3 | 59.9307 | 38.1
126193 | 2021-05-07 11:15 | 27.9966 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 177.4601 | μmol/L | 30.2862 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.716 | 129099.899 | 295034.0699 | 59.9307 | 38.1
126203 | 2021-05-07 11:16 | 28.33 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 177.1228 | μmol/L | 30.323 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.725 | 129154.5424 | 295013.8339 | 59.9307 | 38.1
126213 | 2021-05-07 11:16 | 28.6634 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 177.2524 | μmol/L | 30.3046 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.723 | 129122.8054 | 295008.9831 | 59.9307 | 38.1
126223 | 2021-05-07 11:16 | 28.9965 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 177.0707 | μmol/L | 30.2862 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.741 | 129264.1927 | 295004.4436 | 59.9307 | 38.1
126233 | 2021-05-07 11:17 | 29.3297 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 177.1363 | μmol/L | 30.2739 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.741 | 129249.2688 | 294986.0575 | 59.9307 | 38.1
126243 | 2021-05-07 11:17 | 29.663 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 176.9636 | μmol/L | 30.2801 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.75 | 129252.1691 | 294979.3812 | 59.9307 | 38.1