## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-07 11:18

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
125354 | 2021-05-07 10:47 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.2322 | μmol/L | 31.2019 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.705 | 94127.7896 | 214032.6672 | 27.3 | 43.4
125364 | 2021-05-07 10:48 | 0.33782 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.2561 | μmol/L | 31.1835 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.761 | 94389.2382 | 214017.5887 | 27.3 | 43.4
125374 | 2021-05-07 10:48 | 0.67179 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.465 | μmol/L | 31.1529 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.812 | 94626.6853 | 214016.2346 | 27.3 | 43.4
125384 | 2021-05-07 10:48 | 1.0045 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.0135 | μmol/L | 31.1038 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.852 | 94834.6901 | 214001.0398 | 27.3 | 43.4
125394 | 2021-05-07 10:49 | 1.3381 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.1965 | μmol/L | 31.1161 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.89 | 94996.5431 | 213990.7089 | 27.3 | 43.4
125404 | 2021-05-07 10:49 | 1.6711 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.9996 | μmol/L | 31.067 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.917 | 95137.2838 | 213985.9129 | 27.3 | 43.4
125414 | 2021-05-07 10:49 | 2.0047 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.5088 | μmol/L | 31.0364 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.953 | 95308.9975 | 213971.1922 | 27.3 | 43.4
125424 | 2021-05-07 10:50 | 2.338 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.2288 | μmol/L | 30.9505 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 19.997 | 95516.2431 | 213974.9938 | 27.3 | 43.4
125434 | 2021-05-07 10:50 | 2.6718 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.4651 | μmol/L | 31.0057 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.018 | 95628.3377 | 213949.5806 | 27.3 | 43.4
125444 | 2021-05-07 10:50 | 3.0045 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.0095 | μmol/L | 30.9996 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.044 | 95767.87 | 213955.8551 | 27.3 | 43.4
125454 | 2021-05-07 10:51 | 3.3381 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 210.6903 | μmol/L | 30.9873 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.065 | 95837.4854 | 213948.7807 | 27.3 | 43.4
125464 | 2021-05-07 10:51 | 3.671 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 210.5824 | μmol/L | 30.9689 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.077 | 95894.8511 | 213924.8955 | 27.3 | 43.4
125474 | 2021-05-07 10:51 | 4.0046 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 210.304 | μmol/L | 30.9505 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.098 | 95956.5676 | 213919.9152 | 27.3 | 43.4
125484 | 2021-05-07 10:52 | 4.3381 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 210.3161 | μmol/L | 30.9137 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.11 | 96004.9663 | 213904.9242 | 27.3 | 43.4
125494 | 2021-05-07 10:52 | 4.6718 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 209.9945 | μmol/L | 30.9137 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.127 | 96076.7841 | 213896.022 | 27.3 | 43.4
125504 | 2021-05-07 10:52 | 5.0045 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 209.7739 | μmol/L | 30.8954 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.145 | 96169.1458 | 213882.3014 | 27.3 | 43.4
125514 | 2021-05-07 10:53 | 5.338 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 209.2235 | μmol/L | 30.9076 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.17 | 96264.0668 | 213883.4356 | 27.3 | 43.4
125524 | 2021-05-07 10:53 | 5.6715 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 209.2693 | μmol/L | 30.8831 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.176 | 96291.1327 | 213871.8723 | 27.3 | 43.4
125534 | 2021-05-07 10:53 | 6.0049 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 209.0438 | μmol/L | 30.8831 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.188 | 96339.5765 | 213863.8449 | 27.3 | 43.4
125544 | 2021-05-07 10:54 | 6.3382 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 209.0373 | μmol/L | 30.8463 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.201 | 96390.9988 | 213851.8727 | 27.3 | 43.4
125554 | 2021-05-07 10:54 | 6.6718 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 208.7184 | μmol/L | 30.8463 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.218 | 96459.5954 | 213830.0343 | 27.3 | 43.4
125564 | 2021-05-07 10:54 | 7.0051 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 208.5748 | μmol/L | 30.8279 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.232 | 96523.1891 | 213829.8873 | 27.3 | 43.4
125574 | 2021-05-07 10:55 | 7.3379 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 208.4459 | μmol/L | 30.8218 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.241 | 96582.0462 | 213832.288 | 27.3 | 43.4
125584 | 2021-05-07 10:55 | 7.6713 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 208.261 | μmol/L | 30.8156 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.253 | 96618.993 | 213812.6829 | 27.3 | 43.4
125594 | 2021-05-07 10:55 | 8.0046 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 208.1905 | μmol/L | 30.8034 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.261 | 96656.5609 | 213811.5827 | 27.3 | 43.4
125604 | 2021-05-07 10:56 | 8.338 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 208.1013 | μmol/L | 30.7911 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.27 | 96681.8541 | 213802.7133 | 27.3 | 43.4
125614 | 2021-05-07 10:56 | 8.6716 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 208.3066 | μmol/L | 30.7359 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.278 | 96714.5005 | 213779.8357 | 27.3 | 43.4
125624 | 2021-05-07 10:56 | 9.0049 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 208.1427 | μmol/L | 30.7237 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.291 | 96751.6449 | 213772.9316 | 27.3 | 43.4
125634 | 2021-05-07 10:57 | 9.3382 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 207.9315 | μmol/L | 30.7421 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.296 | 96766.2052 | 213765.7045 | 27.3 | 43.4
125644 | 2021-05-07 10:57 | 9.6716 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 207.8239 | μmol/L | 30.7298 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.306 | 96797.5375 | 213743.6283 | 27.3 | 43.4
125654 | 2021-05-07 10:57 | 10.005 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 208.1157 | μmol/L | 30.693 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.303 | 96799.699 | 213737.329 | 27.3 | 43.4
125664 | 2021-05-07 10:58 | 10.3379 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 208.1673 | μmol/L | 30.6501 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.315 | 96843.1377 | 213735.3522 | 27.3 | 43.4
125674 | 2021-05-07 10:58 | 10.6713 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 208.2123 | μmol/L | 30.5704 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.34 | 96927.6977 | 213729.5657 | 27.3 | 43.4
125684 | 2021-05-07 10:58 | 11.0046 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 208.0532 | μmol/L | 30.6011 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.338 | 96931.7879 | 213714.6415 | 27.3 | 43.4
125694 | 2021-05-07 10:59 | 11.338 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 207.8796 | μmol/L | 30.6194 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.341 | 96933.3762 | 213699.0176 | 27.3 | 43.4
125704 | 2021-05-07 10:59 | 11.6713 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 207.5142 | μmol/L | 30.6562 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.348 | 96953.4317 | 213695.1956 | 27.3 | 43.4
125714 | 2021-05-07 10:59 | 12.0046 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 207.4977 | μmol/L | 30.6501 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.351 | 96972.4423 | 213700.8495 | 27.3 | 43.4
125724 | 2021-05-07 11:00 | 12.3379 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 207.2503 | μmol/L | 30.6685 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.358 | 96998.6925 | 213691.0264 | 27.3 | 43.4
125734 | 2021-05-07 11:00 | 12.6712 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 207.7513 | μmol/L | 30.5581 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.369 | 97032.5078 | 213685.9163 | 27.3 | 43.4
125744 | 2021-05-07 11:00 | 13.0047 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 207.304 | μmol/L | 30.6194 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.372 | 97062.5374 | 213672.1138 | 27.3 | 43.4
125754 | 2021-05-07 11:01 | 13.3382 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 206.9295 | μmol/L | 30.6317 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.388 | 97092.649 | 213659.5005 | 27.3 | 43.4
125764 | 2021-05-07 11:01 | 13.6716 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 206.8207 | μmol/L | 30.6256 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.396 | 97130.3043 | 213652.9517 | 27.3 | 43.4
125774 | 2021-05-07 11:01 | 14.0048 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 206.7858 | μmol/L | 30.6194 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.4 | 97166.686 | 213660.3544 | 27.3 | 43.4
125784 | 2021-05-07 11:02 | 14.3383 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 206.5089 | μmol/L | 30.6194 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.415 | 97201.9207 | 213647.4756 | 27.3 | 43.4
125794 | 2021-05-07 11:02 | 14.6717 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 206.5479 | μmol/L | 30.6133 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.415 | 97230.8353 | 213631.9701 | 27.3 | 43.4
125804 | 2021-05-07 11:02 | 15.005 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 206.4599 | μmol/L | 30.6011 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.424 | 97250.3611 | 213627.8348 | 27.3 | 43.4
125814 | 2021-05-07 11:03 | 15.3382 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 206.6385 | μmol/L | 30.5643 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.427 | 97274.4235 | 213617.5354 | 27.3 | 43.4
125824 | 2021-05-07 11:03 | 15.6712 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 206.93 | μmol/L | 30.4662 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.445 | 97335.3355 | 213623.6225 | 27.3 | 43.4
125834 | 2021-05-07 11:03 | 16.0044 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 206.606 | μmol/L | 30.4968 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.452 | 97372.2764 | 213611.8181 | 27.3 | 43.4
125844 | 2021-05-07 11:04 | 16.3384 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 206.0372 | μmol/L | 30.5459 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.466 | 97411.726 | 213611.6097 | 27.3 | 43.4
125854 | 2021-05-07 11:04 | 16.6715 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 206.2194 | μmol/L | 30.4968 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.473 | 97458.2181 | 213604.8154 | 27.3 | 43.4
125864 | 2021-05-07 11:04 | 17.0048 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 206.4037 | μmol/L | 30.4417 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.482 | 97508.4549 | 213607.1456 | 27.3 | 43.4
125874 | 2021-05-07 11:05 | 17.338 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.9071 | μmol/L | 30.4968 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.49 | 97548.8946 | 213610.8961 | 27.3 | 43.4
125884 | 2021-05-07 11:05 | 17.6711 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.6755 | μmol/L | 30.503 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.501 | 97581.9897 | 213604.4073 | 27.3 | 43.4
125894 | 2021-05-07 11:05 | 18.0049 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.675 | μmol/L | 30.4784 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.509 | 97617.7673 | 213593.2639 | 27.3 | 43.4
125904 | 2021-05-07 11:06 | 18.3378 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.8159 | μmol/L | 30.4417 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.514 | 97634.8154 | 213585.2798 | 27.3 | 43.4
125914 | 2021-05-07 11:06 | 18.6716 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.6693 | μmol/L | 30.4417 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.522 | 97673.6256 | 213588.2863 | 27.3 | 43.4
125924 | 2021-05-07 11:06 | 19.0047 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.2337 | μmol/L | 30.4846 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.531 | 97674.0323 | 213570.703 | 27.3 | 43.4
125934 | 2021-05-07 11:07 | 19.3377 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.4638 | μmol/L | 30.4539 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.529 | 97698.4615 | 213573.1037 | 27.3 | 43.4
125944 | 2021-05-07 11:07 | 19.6718 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.4314 | μmol/L | 30.4417 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.535 | 97717.5554 | 213560.0585 | 27.3 | 43.4
125954 | 2021-05-07 11:07 | 20.0049 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.5925 | μmol/L | 30.3987 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.541 | 97735.2391 | 213559.8719 | 27.3 | 43.4
125964 | 2021-05-07 11:08 | 20.3378 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.5601 | μmol/L | 30.3865 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.547 | 97779.5228 | 213551.5309 | 27.3 | 43.4
125974 | 2021-05-07 11:08 | 20.6716 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.1658 | μmol/L | 30.4171 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.558 | 97810.2741 | 213540.8687 | 27.3 | 43.4
125984 | 2021-05-07 11:08 | 21.0046 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.8218 | μmol/L | 30.4355 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.571 | 97864.1446 | 213536.4743 | 27.3 | 43.4
125994 | 2021-05-07 11:09 | 21.3376 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.0262 | μmol/L | 30.3987 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.572 | 97866.5688 | 213531.0768 | 27.3 | 43.4
126004 | 2021-05-07 11:09 | 21.6714 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.8804 | μmol/L | 30.3987 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.58 | 97874.6886 | 213520.3142 | 27.3 | 43.4
126014 | 2021-05-07 11:09 | 22.0047 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.6961 | μmol/L | 30.4049 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.588 | 97893.0683 | 213520.6837 | 27.3 | 43.4
126024 | 2021-05-07 11:10 | 22.338 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.9414 | μmol/L | 30.3803 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.583 | 97917.6619 | 213524.4891 | 27.3 | 43.4
126034 | 2021-05-07 11:10 | 22.6715 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.7571 | μmol/L | 30.3865 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.591 | 97947.4891 | 213509.639 | 27.3 | 43.4
126044 | 2021-05-07 11:10 | 23.0047 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.8672 | μmol/L | 30.3313 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.604 | 97969.8413 | 213504.1931 | 27.3 | 43.4
126054 | 2021-05-07 11:11 | 23.3382 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.7647 | μmol/L | 30.3374 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.608 | 97996.2668 | 213506.5872 | 27.3 | 43.4
126064 | 2021-05-07 11:11 | 23.6716 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.6607 | μmol/L | 30.3497 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.609 | 98011.7415 | 213505.861 | 27.3 | 43.4
126074 | 2021-05-07 11:11 | 24.0048 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.8539 | μmol/L | 30.2639 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.628 | 98065.844 | 213491.8411 | 27.3 | 43.4
126084 | 2021-05-07 11:12 | 24.3381 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.9939 | μmol/L | 30.2271 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.633 | 98084.8245 | 213484.9185 | 27.3 | 43.4
126094 | 2021-05-07 11:12 | 24.6712 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.8238 | μmol/L | 30.2455 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.636 | 98099.1543 | 213487.5534 | 27.3 | 43.4
126104 | 2021-05-07 11:12 | 25.0043 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.8955 | μmol/L | 30.221 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.641 | 98124.8819 | 213485.042 | 27.3 | 43.4
126114 | 2021-05-07 11:13 | 25.3377 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.4445 | μmol/L | 30.2393 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.659 | 98218.5157 | 213485.0324 | 27.3 | 43.4
126124 | 2021-05-07 11:13 | 25.6711 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.9695 | μmol/L | 30.2761 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.673 | 98269.9142 | 213469.5103 | 27.3 | 43.4
126134 | 2021-05-07 11:13 | 26.0045 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.8993 | μmol/L | 30.27 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.679 | 98319.5959 | 213473.7621 | 27.3 | 43.4
126144 | 2021-05-07 11:14 | 26.3377 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.7292 | μmol/L | 30.2393 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.699 | 98382.1392 | 213464.4504 | 27.3 | 43.4
126154 | 2021-05-07 11:14 | 26.6712 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.4701 | μmol/L | 30.2577 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.707 | 98427.0278 | 213470.6407 | 27.3 | 43.4
126164 | 2021-05-07 11:14 | 27.0043 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.1372 | μmol/L | 30.2823 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.717 | 98458.9679 | 213467.2032 | 27.3 | 43.4
126174 | 2021-05-07 11:15 | 27.3377 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.9753 | μmol/L | 30.2823 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.726 | 98511.1675 | 213461.6971 | 27.3 | 43.4
126184 | 2021-05-07 11:15 | 27.6717 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.1639 | μmol/L | 30.2577 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.724 | 98521.9616 | 213459.0911 | 27.3 | 43.4
126194 | 2021-05-07 11:15 | 28.005 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.3993 | μmol/L | 30.2026 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.73 | 98519.5967 | 213452.4749 | 27.3 | 43.4
126204 | 2021-05-07 11:16 | 28.3377 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.6125 | μmol/L | 30.1597 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.733 | 98548.3413 | 213460.7735 | 27.3 | 43.4
126214 | 2021-05-07 11:16 | 28.6712 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.3539 | μmol/L | 30.178 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.741 | 98576.1602 | 213440.2121 | 27.3 | 43.4
126224 | 2021-05-07 11:16 | 29.0046 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.015 | μmol/L | 30.221 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.745 | 98574.4964 | 213436.8637 | 27.3 | 43.4
126234 | 2021-05-07 11:17 | 29.3378 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.1135 | μmol/L | 30.1964 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.748 | 98593.0148 | 213440.1955 | 27.3 | 43.4
126244 | 2021-05-07 11:17 | 29.6712 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.7951 | μmol/L | 30.2332 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.753 | 98507.6743 | 213431.5433 | 27.3 | 43.4