## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-07 11:18

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
125355 | 2021-05-07 10:47 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.8349 | μmol/L | 31.2175 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.56 | 88437.2162 | 292845.6552 | 28.7 | 67.6
125365 | 2021-05-07 10:48 | 0.34165 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.6344 | μmol/L | 31.1931 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.638 | 88784.0784 | 292827.3581 | 28.7 | 67.6
125375 | 2021-05-07 10:48 | 0.67533 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.971 | μmol/L | 31.1747 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.683 | 88977.0602 | 292818.9367 | 28.7 | 67.6
125385 | 2021-05-07 10:48 | 1.0086 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.6551 | μmol/L | 31.1381 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.714 | 89110.9786 | 292809.0425 | 28.7 | 67.6
125395 | 2021-05-07 10:49 | 1.342 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.3046 | μmol/L | 31.1076 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.745 | 89250.5875 | 292794.4768 | 28.7 | 67.6
125405 | 2021-05-07 10:49 | 1.6754 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.951 | μmol/L | 31.0954 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.77 | 89365.4187 | 292791.5405 | 28.7 | 67.6
125415 | 2021-05-07 10:49 | 2.0087 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.4588 | μmol/L | 31.1015 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.797 | 89482.6815 | 292788.1898 | 28.7 | 67.6
125425 | 2021-05-07 10:50 | 2.342 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.1621 | μmol/L | 31.071 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.825 | 89613.5384 | 292757.2395 | 28.7 | 67.6
125435 | 2021-05-07 10:50 | 2.6752 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 187.9641 | μmol/L | 31.0526 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.843 | 89693.9082 | 292742.5047 | 28.7 | 67.6
125445 | 2021-05-07 10:50 | 3.0086 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 187.6364 | μmol/L | 31.016 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.875 | 89836.7916 | 292719.4215 | 28.7 | 67.6
125455 | 2021-05-07 10:51 | 3.3419 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 187.3793 | μmol/L | 30.9672 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.907 | 89978.3511 | 292697.3467 | 28.7 | 67.6
125465 | 2021-05-07 10:51 | 3.6753 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 187.3249 | μmol/L | 30.9122 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.929 | 90050.721 | 292693.4217 | 28.7 | 67.6
125475 | 2021-05-07 10:51 | 4.0086 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 187.1924 | μmol/L | 30.9061 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.939 | 90103.3701 | 292675.5613 | 28.7 | 67.6
125485 | 2021-05-07 10:52 | 4.3421 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.9737 | μmol/L | 30.9122 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.95 | 90134.1328 | 292648.0994 | 28.7 | 67.6
125495 | 2021-05-07 10:52 | 4.6754 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.5205 | μmol/L | 30.9244 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.973 | 90208.9621 | 292628.0269 | 28.7 | 67.6
125505 | 2021-05-07 10:52 | 5.0083 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.6386 | μmol/L | 30.9183 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.968 | 90179.535 | 292623.8766 | 28.7 | 67.6
125515 | 2021-05-07 10:53 | 5.3416 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.6886 | μmol/L | 30.9183 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.965 | 90198.5461 | 292608.0813 | 28.7 | 67.6
125525 | 2021-05-07 10:53 | 5.6749 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.5581 | μmol/L | 30.9061 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.977 | 90215.8993 | 292586.1592 | 28.7 | 67.6
125535 | 2021-05-07 10:53 | 6.0083 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.3902 | μmol/L | 30.9122 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.985 | 90238.7206 | 292571.6351 | 28.7 | 67.6
125545 | 2021-05-07 10:54 | 6.3418 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.443 | μmol/L | 30.9 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.986 | 90237.3156 | 292562.5466 | 28.7 | 67.6
125555 | 2021-05-07 10:54 | 6.6752 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.2947 | μmol/L | 30.8939 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.997 | 90284.9098 | 292529.9545 | 28.7 | 67.6
125565 | 2021-05-07 10:54 | 7.0084 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.403 | μmol/L | 30.8573 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.003 | 90295.9865 | 292511.0638 | 28.7 | 67.6
125575 | 2021-05-07 10:55 | 7.3423 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.7152 | μmol/L | 30.8023 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.003 | 90282.7981 | 292489.5703 | 28.7 | 67.6
125585 | 2021-05-07 10:55 | 7.675 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.4822 | μmol/L | 30.8023 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.017 | 90323.7982 | 292471.2172 | 28.7 | 67.6
125595 | 2021-05-07 10:55 | 8.0083 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.5682 | μmol/L | 30.7901 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.016 | 90304.2003 | 292465.182 | 28.7 | 67.6
125605 | 2021-05-07 10:56 | 8.3417 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.3768 | μmol/L | 30.8268 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.015 | 90313.137 | 292453.4102 | 28.7 | 67.6
125615 | 2021-05-07 10:56 | 8.675 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.2937 | μmol/L | 30.8268 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.02 | 90318.3935 | 292431.0567 | 28.7 | 67.6
125625 | 2021-05-07 10:56 | 9.0083 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.0627 | μmol/L | 30.8207 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.036 | 90364.1431 | 292413.9111 | 28.7 | 67.6
125635 | 2021-05-07 10:57 | 9.3419 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.1305 | μmol/L | 30.8146 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.034 | 90358.1517 | 292402.4396 | 28.7 | 67.6
125645 | 2021-05-07 10:57 | 9.6751 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.0129 | μmol/L | 30.8207 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.039 | 90375.8853 | 292392.0376 | 28.7 | 67.6
125655 | 2021-05-07 10:57 | 10.0087 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.8514 | μmol/L | 30.8023 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.055 | 90426.861 | 292374.9449 | 28.7 | 67.6
125665 | 2021-05-07 10:58 | 10.3421 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.1141 | μmol/L | 30.7413 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.06 | 90409.8149 | 292364.4935 | 28.7 | 67.6
125675 | 2021-05-07 10:58 | 10.6754 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.8434 | μmol/L | 30.7657 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.068 | 90467.7128 | 292350.8234 | 28.7 | 67.6
125685 | 2021-05-07 10:58 | 11.0085 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.8074 | μmol/L | 30.7779 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.066 | 90465.7963 | 292326.4862 | 28.7 | 67.6
125695 | 2021-05-07 10:59 | 11.342 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.7095 | μmol/L | 30.7718 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.074 | 90475.1239 | 292317.2975 | 28.7 | 67.6
125705 | 2021-05-07 10:59 | 11.6752 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.6448 | μmol/L | 30.7657 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.08 | 90497.1752 | 292292.0269 | 28.7 | 67.6
125715 | 2021-05-07 10:59 | 12.0086 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.6462 | μmol/L | 30.7596 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.082 | 90486.5388 | 292282.8766 | 28.7 | 67.6
125725 | 2021-05-07 11:00 | 12.342 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.7138 | μmol/L | 30.7535 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.08 | 90470.5763 | 292279.7103 | 28.7 | 67.6
125735 | 2021-05-07 11:00 | 12.6753 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.7152 | μmol/L | 30.7474 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.082 | 90491.8698 | 292264.7163 | 28.7 | 67.6
125745 | 2021-05-07 11:00 | 13.009 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.7842 | μmol/L | 30.7352 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.082 | 90478.1215 | 292247.4869 | 28.7 | 67.6
125755 | 2021-05-07 11:01 | 13.3423 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.6051 | μmol/L | 30.723 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.097 | 90521.4527 | 292228.019 | 28.7 | 67.6
125765 | 2021-05-07 11:01 | 13.6757 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.6202 | μmol/L | 30.7291 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.094 | 90513.5513 | 292229.6319 | 28.7 | 67.6
125775 | 2021-05-07 11:01 | 14.009 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.5074 | μmol/L | 30.7169 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.105 | 90543.6165 | 292202.4972 | 28.7 | 67.6
125785 | 2021-05-07 11:02 | 14.3424 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.5763 | μmol/L | 30.7047 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.105 | 90549.5678 | 292194.7035 | 28.7 | 67.6
125795 | 2021-05-07 11:02 | 14.6757 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.5253 | μmol/L | 30.7108 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.106 | 90545.1523 | 292181.7217 | 28.7 | 67.6
125805 | 2021-05-07 11:02 | 15.009 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.6479 | μmol/L | 30.6803 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.109 | 90548.4379 | 292168.0818 | 28.7 | 67.6
125815 | 2021-05-07 11:03 | 15.3422 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.7361 | μmol/L | 30.6558 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.112 | 90544.6068 | 292160.7085 | 28.7 | 67.6
125825 | 2021-05-07 11:03 | 15.6753 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.6177 | μmol/L | 30.668 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.115 | 90561.9889 | 292163.4591 | 28.7 | 67.6
125835 | 2021-05-07 11:03 | 16.009 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.4842 | μmol/L | 30.6741 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.121 | 90580.1309 | 292152.5101 | 28.7 | 67.6
125845 | 2021-05-07 11:04 | 16.3418 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.407 | μmol/L | 30.6864 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.122 | 90584.0281 | 292157.1706 | 28.7 | 67.6
125855 | 2021-05-07 11:04 | 16.6755 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.4375 | μmol/L | 30.6619 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.128 | 90610.1763 | 292145.4894 | 28.7 | 67.6
125865 | 2021-05-07 11:04 | 17.0087 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.3481 | μmol/L | 30.6558 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.136 | 90630.536 | 292144.8877 | 28.7 | 67.6
125875 | 2021-05-07 11:05 | 17.3417 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.3302 | μmol/L | 30.6619 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.135 | 90635.7811 | 292112.5466 | 28.7 | 67.6
125885 | 2021-05-07 11:05 | 17.6756 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.2972 | μmol/L | 30.6619 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.137 | 90643.6197 | 292118.3367 | 28.7 | 67.6
125895 | 2021-05-07 11:05 | 18.0086 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.193 | μmol/L | 30.6497 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.147 | 90666.5729 | 292091.9057 | 28.7 | 67.6
125905 | 2021-05-07 11:06 | 18.3423 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.3042 | μmol/L | 30.6314 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.147 | 90678.7713 | 292100.7822 | 28.7 | 67.6
125915 | 2021-05-07 11:06 | 18.6753 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.2561 | μmol/L | 30.6253 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.152 | 90679.8646 | 292070.7405 | 28.7 | 67.6
125925 | 2021-05-07 11:06 | 19.0082 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.3153 | μmol/L | 30.6192 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.15 | 90689.3441 | 292064.7897 | 28.7 | 67.6
125935 | 2021-05-07 11:07 | 19.342 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.1341 | μmol/L | 30.6192 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.161 | 90708.2884 | 292061.277 | 28.7 | 67.6
125945 | 2021-05-07 11:07 | 19.6752 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.056 | μmol/L | 30.6009 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.172 | 90731.2764 | 292052.6387 | 28.7 | 67.6
125955 | 2021-05-07 11:07 | 20.009 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.8791 | μmol/L | 30.6192 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.177 | 90751.3164 | 292027.9058 | 28.7 | 67.6
125965 | 2021-05-07 11:08 | 20.3419 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.2562 | μmol/L | 30.5521 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.177 | 90744.5488 | 292012.2886 | 28.7 | 67.6
125975 | 2021-05-07 11:08 | 20.6749 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.0697 | μmol/L | 30.5765 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.18 | 90764.3329 | 292007.5702 | 28.7 | 67.6
125985 | 2021-05-07 11:08 | 21.0087 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.9697 | μmol/L | 30.5826 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.184 | 90775.3651 | 291988.9576 | 28.7 | 67.6
125995 | 2021-05-07 11:09 | 21.3417 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.9245 | μmol/L | 30.5643 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.193 | 90806.3991 | 291999.9435 | 28.7 | 67.6
126005 | 2021-05-07 11:09 | 21.6754 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.8329 | μmol/L | 30.5704 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.196 | 90806.0829 | 291984.6676 | 28.7 | 67.6
126015 | 2021-05-07 11:09 | 22.0087 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.6905 | μmol/L | 30.5826 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.201 | 90835.9592 | 291987.0362 | 28.7 | 67.6
126025 | 2021-05-07 11:10 | 22.3421 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.8029 | μmol/L | 30.5582 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.202 | 90838.7788 | 291978.7456 | 28.7 | 67.6
126035 | 2021-05-07 11:10 | 22.6752 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.8329 | μmol/L | 30.5338 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.209 | 90881.0262 | 291975.2958 | 28.7 | 67.6
126045 | 2021-05-07 11:10 | 23.0085 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.5991 | μmol/L | 30.5521 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.217 | 90902.4185 | 291965.1607 | 28.7 | 67.6
126055 | 2021-05-07 11:11 | 23.3419 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.4488 | μmol/L | 30.5643 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.222 | 90929.6711 | 291971.5375 | 28.7 | 67.6
126065 | 2021-05-07 11:11 | 23.6752 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.926 | μmol/L | 30.4849 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.22 | 90929.0006 | 291959.0557 | 28.7 | 67.6
126075 | 2021-05-07 11:11 | 24.0082 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.6224 | μmol/L | 30.5215 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.226 | 90945.3838 | 291955.3288 | 28.7 | 67.6
126085 | 2021-05-07 11:12 | 24.3423 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.5091 | μmol/L | 30.5154 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.235 | 90976.3822 | 291938.4743 | 28.7 | 67.6
126095 | 2021-05-07 11:12 | 24.6756 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.2773 | μmol/L | 30.5276 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.245 | 90988.5326 | 291940.2113 | 28.7 | 67.6
126105 | 2021-05-07 11:12 | 25.0086 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.0471 | μmol/L | 30.5338 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.257 | 91045.789 | 291933.0833 | 28.7 | 67.6
126115 | 2021-05-07 11:13 | 25.342 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.231 | μmol/L | 30.5154 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.252 | 91053.278 | 291919.8454 | 28.7 | 67.6
126125 | 2021-05-07 11:13 | 25.6754 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.182 | μmol/L | 30.5154 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.255 | 91056.4876 | 291909.6983 | 28.7 | 67.6
126135 | 2021-05-07 11:13 | 26.0088 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.118 | μmol/L | 30.5093 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.261 | 91071.8097 | 291900.1456 | 28.7 | 67.6
126145 | 2021-05-07 11:14 | 26.342 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.223 | μmol/L | 30.4788 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.265 | 91086.6425 | 291898.1904 | 28.7 | 67.6
126155 | 2021-05-07 11:14 | 26.6753 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.2039 | μmol/L | 30.491 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.262 | 91092.9996 | 291904.315 | 28.7 | 67.6
126165 | 2021-05-07 11:14 | 27.0086 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.0229 | μmol/L | 30.4971 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.271 | 91102.6144 | 291894.0806 | 28.7 | 67.6
126175 | 2021-05-07 11:15 | 27.3419 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.9455 | μmol/L | 30.4788 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.282 | 91124.0155 | 291882.5665 | 28.7 | 67.6
126185 | 2021-05-07 11:15 | 27.6751 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.9958 | μmol/L | 30.4727 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.281 | 91138.6389 | 291881.9439 | 28.7 | 67.6
126195 | 2021-05-07 11:15 | 28.0085 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.8123 | μmol/L | 30.491 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.286 | 91189.2591 | 291876.9134 | 28.7 | 67.6
126205 | 2021-05-07 11:16 | 28.342 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.6741 | μmol/L | 30.4544 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.307 | 91243.9844 | 291864.5994 | 28.7 | 67.6
126215 | 2021-05-07 11:16 | 28.6753 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.4775 | μmol/L | 30.4605 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.317 | 91275.2071 | 291856.2892 | 28.7 | 67.6
126225 | 2021-05-07 11:16 | 29.0089 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.4422 | μmol/L | 30.4727 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.315 | 91273.301 | 291834.5318 | 28.7 | 67.6
126235 | 2021-05-07 11:17 | 29.3421 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.5588 | μmol/L | 30.4605 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.312 | 91261.6017 | 291837.7598 | 28.7 | 67.6
126245 | 2021-05-07 11:17 | 29.6753 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.7043 | μmol/L | 30.3934 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.326 | 91360.0036 | 291836.701 | 28.7 | 67.6