## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-07 11:18

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
125356 | 2021-05-07 10:47 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.3299 | μmol/L | 31.1512 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.371 | 120057.0326 | 269304.8451 | 36.4 | 83.1
125366 | 2021-05-07 10:48 | 0.33163 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.7933 | μmol/L | 31.1143 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.413 | 120320.4377 | 269279.4924 | 36.4 | 83.1
125376 | 2021-05-07 10:48 | 0.66431 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.2143 | μmol/L | 31.0959 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.451 | 120532.9512 | 269272.2996 | 36.4 | 83.1
125386 | 2021-05-07 10:48 | 0.99775 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.7418 | μmol/L | 31.0897 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.479 | 122033.193 | 269267.7404 | 36.4 | 83.1
125396 | 2021-05-07 10:49 | 1.3313 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.5571 | μmol/L | 31.0528 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.502 | 122399.3656 | 269244.3411 | 36.4 | 83.1
125406 | 2021-05-07 10:49 | 1.6648 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.7839 | μmol/L | 30.9914 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.511 | 122549.4417 | 269228.0415 | 36.4 | 83.1
125416 | 2021-05-07 10:49 | 1.9977 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.909 | μmol/L | 30.9545 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.517 | 122854.967 | 269208.3545 | 36.4 | 83.1
125426 | 2021-05-07 10:50 | 2.3309 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.2457 | μmol/L | 30.9729 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.547 | 123019.3959 | 269185.189 | 36.4 | 83.1
125436 | 2021-05-07 10:50 | 2.6647 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.147 | μmol/L | 30.9914 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.546 | 123031.95 | 269188.9412 | 36.4 | 83.1
125446 | 2021-05-07 10:50 | 2.9984 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.2404 | μmol/L | 30.9852 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.543 | 123078.9166 | 269167.8179 | 36.4 | 83.1
125456 | 2021-05-07 10:51 | 3.331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.4692 | μmol/L | 30.9606 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.539 | 124975.6513 | 269163.0266 | 36.4 | 83.1
125466 | 2021-05-07 10:51 | 3.6644 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.4354 | μmol/L | 30.9545 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.543 | 125102.5921 | 269135.5098 | 36.4 | 83.1
125476 | 2021-05-07 10:51 | 3.9977 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.5862 | μmol/L | 30.9422 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.539 | 125128.2325 | 269132.5998 | 36.4 | 83.1
125486 | 2021-05-07 10:52 | 4.3312 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.4406 | μmol/L | 30.9422 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.547 | 125181.5246 | 269107.3377 | 36.4 | 83.1
125496 | 2021-05-07 10:52 | 4.6647 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.3784 | μmol/L | 30.9176 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.559 | 125245.1862 | 269082.6514 | 36.4 | 83.1
125506 | 2021-05-07 10:52 | 4.9982 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.4979 | μmol/L | 30.893 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.561 | 125303.6533 | 269082.0814 | 36.4 | 83.1
125516 | 2021-05-07 10:53 | 5.3317 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.5369 | μmol/L | 30.8869 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.561 | 125305.3263 | 269060.6405 | 36.4 | 83.1
125526 | 2021-05-07 10:53 | 5.6644 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.4875 | μmol/L | 30.8746 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.568 | 125379.4032 | 269060.8154 | 36.4 | 83.1
125536 | 2021-05-07 10:53 | 5.9977 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.6096 | μmol/L | 30.8438 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.572 | 125371.2881 | 269031.2282 | 36.4 | 83.1
125546 | 2021-05-07 10:54 | 6.3317 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.9863 | μmol/L | 30.7701 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.577 | 125386.3839 | 269025.0314 | 36.4 | 83.1
125556 | 2021-05-07 10:54 | 6.6642 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.6537 | μmol/L | 30.8254 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.576 | 125378.8326 | 268994.8039 | 36.4 | 83.1
125566 | 2021-05-07 10:54 | 6.9977 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.3889 | μmol/L | 30.85 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.582 | 125389.211 | 268978.0972 | 36.4 | 83.1
125576 | 2021-05-07 10:55 | 7.331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.2669 | μmol/L | 30.8377 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.593 | 125447.6965 | 268965.0058 | 36.4 | 83.1
125586 | 2021-05-07 10:55 | 7.6644 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.1995 | μmol/L | 30.8254 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.601 | 125618.1006 | 268950.5388 | 36.4 | 83.1
125596 | 2021-05-07 10:55 | 7.9979 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.2566 | μmol/L | 30.8193 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.6 | 125345.4303 | 268943.3366 | 36.4 | 83.1
125606 | 2021-05-07 10:56 | 8.3312 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.4925 | μmol/L | 30.7762 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.602 | 125323.4142 | 268916.0431 | 36.4 | 83.1
125616 | 2021-05-07 10:56 | 8.6647 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.817 | μmol/L | 30.7394 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.597 | 125217.7506 | 268920.9564 | 36.4 | 83.1
125626 | 2021-05-07 10:56 | 8.9981 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.5237 | μmol/L | 30.7885 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.596 | 125236.467 | 268908.8592 | 36.4 | 83.1
125636 | 2021-05-07 10:57 | 9.3317 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.8508 | μmol/L | 30.7455 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.593 | 125131.8918 | 268884.6713 | 36.4 | 83.1
125646 | 2021-05-07 10:57 | 9.6651 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.7055 | μmol/L | 30.7885 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.586 | 125110.0759 | 268879.6891 | 36.4 | 83.1
125656 | 2021-05-07 10:57 | 9.998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.8352 | μmol/L | 30.7394 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.596 | 125120.7878 | 268863.7949 | 36.4 | 83.1
125666 | 2021-05-07 10:58 | 10.3312 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.8352 | μmol/L | 30.7394 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.596 | 125123.5563 | 268859.4235 | 36.4 | 83.1
125676 | 2021-05-07 10:58 | 10.6644 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.6456 | μmol/L | 30.7578 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.6 | 125135.8648 | 268835.9133 | 36.4 | 83.1
125686 | 2021-05-07 10:58 | 10.9977 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.7831 | μmol/L | 30.7332 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.601 | 125099.2104 | 268810.9865 | 36.4 | 83.1
125696 | 2021-05-07 10:59 | 11.3317 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.7362 | μmol/L | 30.7148 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.61 | 125161.2197 | 268813.38 | 36.4 | 83.1
125706 | 2021-05-07 10:59 | 11.6649 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.0244 | μmol/L | 30.6779 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.607 | 125197.9462 | 268802.7525 | 36.4 | 83.1
125716 | 2021-05-07 10:59 | 11.9983 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.172 | μmol/L | 30.6287 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.616 | 125234.6042 | 268785.864 | 36.4 | 83.1
125726 | 2021-05-07 11:00 | 12.3317 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.7595 | μmol/L | 30.7025 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.613 | 125172.9639 | 268781.0349 | 36.4 | 83.1
125736 | 2021-05-07 11:00 | 12.665 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.0658 | μmol/L | 30.6656 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.609 | 125177.3509 | 268761.5895 | 36.4 | 83.1
125746 | 2021-05-07 11:00 | 12.9977 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.7514 | μmol/L | 30.6779 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.622 | 125223.8366 | 268763.662 | 36.4 | 83.1
125756 | 2021-05-07 11:01 | 13.331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.6529 | μmol/L | 30.6963 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.621 | 125201.6456 | 268744.6887 | 36.4 | 83.1
125766 | 2021-05-07 11:01 | 13.6644 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.6191 | μmol/L | 30.6902 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.625 | 125233.7828 | 268742.528 | 36.4 | 83.1
125776 | 2021-05-07 11:01 | 13.9978 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.5984 | μmol/L | 30.6963 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.624 | 125228.1973 | 268729.5334 | 36.4 | 83.1
125786 | 2021-05-07 11:02 | 14.3313 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.8989 | μmol/L | 30.6287 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.631 | 125210.444 | 268726.9537 | 36.4 | 83.1
125796 | 2021-05-07 11:02 | 14.6646 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.0545 | μmol/L | 30.6041 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.631 | 125198.2374 | 268704.5708 | 36.4 | 83.1
125806 | 2021-05-07 11:02 | 14.9978 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.7706 | μmol/L | 30.6533 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.63 | 125212.5845 | 268711.2725 | 36.4 | 83.1
125816 | 2021-05-07 11:03 | 15.3311 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.702 | μmol/L | 30.6656 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.629 | 125226.8623 | 268698.9903 | 36.4 | 83.1
125826 | 2021-05-07 11:03 | 15.6649 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.8469 | μmol/L | 30.6226 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.636 | 125268.1564 | 268693.5148 | 36.4 | 83.1
125836 | 2021-05-07 11:03 | 15.9979 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.6965 | μmol/L | 30.6349 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.64 | 125288.0988 | 268691.317 | 36.4 | 83.1
125846 | 2021-05-07 11:04 | 16.3317 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.7328 | μmol/L | 30.6349 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.638 | 125178.4205 | 268666.9982 | 36.4 | 83.1
125856 | 2021-05-07 11:04 | 16.6646 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.8877 | μmol/L | 30.5673 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.653 | 125233.4529 | 268649.2657 | 36.4 | 83.1
125866 | 2021-05-07 11:04 | 16.9979 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.9265 | μmol/L | 30.5611 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.653 | 125213.3017 | 268657.6414 | 36.4 | 83.1
125876 | 2021-05-07 11:05 | 17.3309 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.0638 | μmol/L | 30.5365 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.654 | 125230.3826 | 268644.4613 | 36.4 | 83.1
125886 | 2021-05-07 11:05 | 17.6649 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.5482 | μmol/L | 30.598 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.661 | 125221.6199 | 268626.6148 | 36.4 | 83.1
125896 | 2021-05-07 11:05 | 17.9977 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.6077 | μmol/L | 30.5857 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.662 | 125222.3208 | 268615.871 | 36.4 | 83.1
125906 | 2021-05-07 11:06 | 18.3315 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.8588 | μmol/L | 30.5488 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.661 | 125168.0313 | 268610.0329 | 36.4 | 83.1
125916 | 2021-05-07 11:06 | 18.6646 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.8976 | μmol/L | 30.5427 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.661 | 125187.9652 | 268607.2345 | 36.4 | 83.1
125926 | 2021-05-07 11:06 | 18.9976 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.6929 | μmol/L | 30.555 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.668 | 125231.7294 | 268598.5153 | 36.4 | 83.1
125936 | 2021-05-07 11:07 | 19.3313 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.4364 | μmol/L | 30.5611 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.68 | 125268.5972 | 268587.123 | 36.4 | 83.1
125946 | 2021-05-07 11:07 | 19.6644 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.594 | μmol/L | 30.5304 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.682 | 125313.6014 | 268583.1943 | 36.4 | 83.1
125956 | 2021-05-07 11:07 | 19.9983 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.6246 | μmol/L | 30.4996 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.691 | 125317.5545 | 268564.5804 | 36.4 | 83.1
125966 | 2021-05-07 11:08 | 20.3311 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.741 | μmol/L | 30.4812 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.691 | 125369.9476 | 268548.904 | 36.4 | 83.1
125976 | 2021-05-07 11:08 | 20.6643 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.689 | μmol/L | 30.4751 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.696 | 125345.1299 | 268552.7729 | 36.4 | 83.1
125986 | 2021-05-07 11:08 | 20.9982 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.7022 | μmol/L | 30.4874 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.691 | 125345.8385 | 268547.702 | 36.4 | 83.1
125996 | 2021-05-07 11:09 | 21.3312 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.5546 | μmol/L | 30.4935 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.697 | 125383.5664 | 268536.4461 | 36.4 | 83.1
126006 | 2021-05-07 11:09 | 21.6649 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.296 | μmol/L | 30.5058 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.707 | 125532.9587 | 268536.6332 | 36.4 | 83.1
126016 | 2021-05-07 11:09 | 21.9982 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.2624 | μmol/L | 30.4996 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.711 | 125499.6294 | 268543.1885 | 36.4 | 83.1
126026 | 2021-05-07 11:10 | 22.3317 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.0067 | μmol/L | 30.5058 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.723 | 125502.4368 | 268530.5663 | 36.4 | 83.1
126036 | 2021-05-07 11:10 | 22.6649 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.3991 | μmol/L | 30.4751 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.712 | 125432.068 | 268536.3634 | 36.4 | 83.1
126046 | 2021-05-07 11:10 | 22.9984 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.3654 | μmol/L | 30.4689 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.716 | 125435.7285 | 268510.772 | 36.4 | 83.1
126056 | 2021-05-07 11:11 | 23.3311 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.7682 | μmol/L | 30.4136 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.713 | 125391.0679 | 268509.3418 | 36.4 | 83.1
126066 | 2021-05-07 11:11 | 23.6647 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.7056 | μmol/L | 30.389 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.725 | 125450.6804 | 268503.3388 | 36.4 | 83.1
126076 | 2021-05-07 11:11 | 23.9977 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.5869 | μmol/L | 30.4136 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.723 | 125450.5358 | 268488.5731 | 36.4 | 83.1
126086 | 2021-05-07 11:12 | 24.3312 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.4783 | μmol/L | 30.4136 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.729 | 125409.5228 | 268482.8761 | 36.4 | 83.1
126096 | 2021-05-07 11:12 | 24.6643 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.1478 | μmol/L | 30.4259 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.743 | 125443.3974 | 268486.3176 | 36.4 | 83.1
126106 | 2021-05-07 11:12 | 24.9982 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.0319 | μmol/L | 30.4443 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.743 | 125435.8678 | 268477.0072 | 36.4 | 83.1
126116 | 2021-05-07 11:13 | 25.3316 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.9491 | μmol/L | 30.4259 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.754 | 125640.8509 | 268454.1371 | 36.4 | 83.1
126126 | 2021-05-07 11:13 | 25.665 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.918 | μmol/L | 30.4136 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.76 | 125724.9307 | 268459.2175 | 36.4 | 83.1
126136 | 2021-05-07 11:13 | 25.9983 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.7491 | μmol/L | 30.4075 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.772 | 125737.439 | 268458.1142 | 36.4 | 83.1
126146 | 2021-05-07 11:14 | 26.3314 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.7901 | μmol/L | 30.3952 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.774 | 125767.4245 | 268449.5036 | 36.4 | 83.1
126156 | 2021-05-07 11:14 | 26.6648 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.7311 | μmol/L | 30.4075 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.773 | 125730.4628 | 268455.6434 | 36.4 | 83.1
126166 | 2021-05-07 11:14 | 26.998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.8007 | μmol/L | 30.4136 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.767 | 125686.8067 | 268462.5002 | 36.4 | 83.1
126176 | 2021-05-07 11:15 | 27.3314 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.7131 | μmol/L | 30.4075 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.774 | 125698.1526 | 268444.1703 | 36.4 | 83.1
126186 | 2021-05-07 11:15 | 27.6643 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.7105 | μmol/L | 30.4136 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.772 | 125652.7599 | 268432.9495 | 36.4 | 83.1
126196 | 2021-05-07 11:15 | 27.998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.7671 | μmol/L | 30.4075 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.771 | 125603.9839 | 268426.9571 | 36.4 | 83.1
126206 | 2021-05-07 11:16 | 28.331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.7943 | μmol/L | 30.4075 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.769 | 125556.0364 | 268421.1574 | 36.4 | 83.1
126216 | 2021-05-07 11:16 | 28.6649 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.009 | μmol/L | 30.389 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.764 | 125537.3192 | 268411.7284 | 36.4 | 83.1
126226 | 2021-05-07 11:16 | 28.9983 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.973 | μmol/L | 30.389 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.766 | 125529.8179 | 268409.785 | 36.4 | 83.1
126236 | 2021-05-07 11:17 | 29.3316 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.973 | μmol/L | 30.389 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.766 | 125626.4954 | 268400.73 | 36.4 | 83.1
126246 | 2021-05-07 11:17 | 29.6643 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.685 | μmol/L | 30.432 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.767 | 125688.9669 | 268396.3705 | 36.4 | 83.1