## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-07 11:18

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
125357 | 2021-05-07 10:47 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.2866 | μmol/L | 31.2091 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.715 | 96027.0577 | 295808.4311 | 30.45 | 114.2
125367 | 2021-05-07 10:48 | 0.33871 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.4662 | μmol/L | 31.2338 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.755 | 96221.3443 | 295795.6759 | 30.45 | 114.2
125377 | 2021-05-07 10:48 | 0.67213 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.0756 | μmol/L | 31.1844 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.795 | 96400.5712 | 295800.9633 | 30.45 | 114.2
125387 | 2021-05-07 10:48 | 1.0056 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.4535 | μmol/L | 31.1844 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.832 | 96560.9619 | 295772.4974 | 30.45 | 114.2
125397 | 2021-05-07 10:49 | 1.3392 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.0438 | μmol/L | 31.1536 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.867 | 96718.5504 | 295762.4442 | 30.45 | 114.2
125407 | 2021-05-07 10:49 | 1.6725 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.628 | μmol/L | 31.1474 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.894 | 96835.4244 | 295740.4159 | 30.45 | 114.2
125417 | 2021-05-07 10:49 | 2.0052 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.4021 | μmol/L | 31.1228 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.916 | 96914.1266 | 295732.6125 | 30.45 | 114.2
125427 | 2021-05-07 10:50 | 2.3387 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.2763 | μmol/L | 31.0981 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.932 | 96991.8678 | 295719.4225 | 30.45 | 114.2
125437 | 2021-05-07 10:50 | 2.6722 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.0306 | μmol/L | 31.0858 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.951 | 97075.7673 | 295690.2666 | 30.45 | 114.2
125447 | 2021-05-07 10:50 | 3.0056 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.8721 | μmol/L | 31.0611 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.969 | 97151.744 | 295672.9485 | 30.45 | 114.2
125457 | 2021-05-07 10:51 | 3.3389 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.5775 | μmol/L | 31.0488 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.991 | 97218.717 | 295652.645 | 30.45 | 114.2
125467 | 2021-05-07 10:51 | 3.6717 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.7503 | μmol/L | 30.9686 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.008 | 97303.5724 | 295640.1957 | 30.45 | 114.2
125477 | 2021-05-07 10:51 | 4.0054 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.2617 | μmol/L | 30.9995 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.027 | 97369.6467 | 295615.2592 | 30.45 | 114.2
125487 | 2021-05-07 10:52 | 4.339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.3075 | μmol/L | 30.9563 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.039 | 97412.241 | 295596.9935 | 30.45 | 114.2
125497 | 2021-05-07 10:52 | 4.6718 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.1902 | μmol/L | 30.9625 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.044 | 97459.4491 | 295594.4422 | 30.45 | 114.2
125507 | 2021-05-07 10:52 | 5.0052 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.0235 | μmol/L | 30.9686 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.052 | 97509.9351 | 295567.1 | 30.45 | 114.2
125517 | 2021-05-07 10:53 | 5.3388 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.0564 | μmol/L | 30.9131 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.069 | 97562.3538 | 295560.0238 | 30.45 | 114.2
125527 | 2021-05-07 10:53 | 5.6723 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.7547 | μmol/L | 30.9316 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.081 | 97623.0158 | 295542.8369 | 30.45 | 114.2
125537 | 2021-05-07 10:53 | 6.0057 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.0817 | μmol/L | 30.8268 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.097 | 97676.4705 | 295518.1286 | 30.45 | 114.2
125547 | 2021-05-07 10:54 | 6.339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.8149 | μmol/L | 30.8392 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.109 | 97736.999 | 295487.2022 | 30.45 | 114.2
125557 | 2021-05-07 10:54 | 6.6724 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.9951 | μmol/L | 30.8947 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.14 | 97759.7019 | 295492.772 | 30.45 | 114.2
125567 | 2021-05-07 10:54 | 7.0053 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.2152 | μmol/L | 30.87 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.135 | 97776.1615 | 295478.203 | 30.45 | 114.2
125577 | 2021-05-07 10:55 | 7.3389 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.2772 | μmol/L | 30.8268 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.146 | 97854.7901 | 295455.197 | 30.45 | 114.2
125587 | 2021-05-07 10:55 | 7.672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.9263 | μmol/L | 30.8515 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.159 | 97915.7984 | 295444.4263 | 30.45 | 114.2
125597 | 2021-05-07 10:55 | 8.0054 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.1917 | μmol/L | 30.7837 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.166 | 97945.5027 | 295417.945 | 30.45 | 114.2
125607 | 2021-05-07 10:56 | 8.3387 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.7486 | μmol/L | 30.8453 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.172 | 97973.5475 | 295407.9372 | 30.45 | 114.2
125617 | 2021-05-07 10:56 | 8.6719 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.892 | μmol/L | 30.8022 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.178 | 97990.0029 | 295377.1144 | 30.45 | 114.2
125627 | 2021-05-07 10:56 | 9.0053 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.8377 | μmol/L | 30.7652 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.194 | 98030.4198 | 295376.3101 | 30.45 | 114.2
125637 | 2021-05-07 10:57 | 9.3388 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.6293 | μmol/L | 30.7528 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.211 | 98046.1227 | 295362.4335 | 30.45 | 114.2
125647 | 2021-05-07 10:57 | 9.6721 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.3416 | μmol/L | 30.7898 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.216 | 98067.2549 | 295352.9145 | 30.45 | 114.2
125657 | 2021-05-07 10:57 | 10.0059 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.2603 | μmol/L | 30.7898 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.221 | 98117.3756 | 295336.8769 | 30.45 | 114.2
125667 | 2021-05-07 10:58 | 10.3385 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.1646 | μmol/L | 30.7837 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.229 | 98148.3966 | 295319.0714 | 30.45 | 114.2
125677 | 2021-05-07 10:58 | 10.6719 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.2281 | μmol/L | 30.7344 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.242 | 98163.4645 | 295311.0594 | 30.45 | 114.2
125687 | 2021-05-07 10:58 | 11.0051 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 182.916 | μmol/L | 30.7467 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.257 | 98218.2818 | 295282.9492 | 30.45 | 114.2
125697 | 2021-05-07 10:59 | 11.3385 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 182.9322 | μmol/L | 30.7467 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.256 | 98266.6654 | 295265.0484 | 30.45 | 114.2
125707 | 2021-05-07 10:59 | 11.6719 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 182.6929 | μmol/L | 30.7344 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.275 | 98332.516 | 295254.2654 | 30.45 | 114.2
125717 | 2021-05-07 10:59 | 12.0052 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 182.5727 | μmol/L | 30.7035 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.293 | 98346.7289 | 295249.7239 | 30.45 | 114.2
125727 | 2021-05-07 11:00 | 12.3385 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 182.4093 | μmol/L | 30.7097 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.301 | 98355.615 | 295219.239 | 30.45 | 114.2
125737 | 2021-05-07 11:00 | 12.6719 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 182.9742 | μmol/L | 30.6049 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.302 | 98388.1253 | 295209.4233 | 30.45 | 114.2
125747 | 2021-05-07 11:00 | 13.0055 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 182.5658 | μmol/L | 30.6727 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.304 | 98383.8318 | 295185.6097 | 30.45 | 114.2
125757 | 2021-05-07 11:01 | 13.3389 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 182.4328 | μmol/L | 30.685 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.308 | 98417.5176 | 295183.0837 | 30.45 | 114.2
125767 | 2021-05-07 11:01 | 13.6723 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 182.3161 | μmol/L | 30.6974 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.311 | 98434.5518 | 295164.1824 | 30.45 | 114.2
125777 | 2021-05-07 11:01 | 14.0056 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 182.2483 | μmol/L | 30.6542 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.33 | 98447.8032 | 295168.0934 | 30.45 | 114.2
125787 | 2021-05-07 11:02 | 14.3391 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 182.0512 | μmol/L | 30.6665 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.338 | 98483.0943 | 295138.9695 | 30.45 | 114.2
125797 | 2021-05-07 11:02 | 14.6725 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.6917 | μmol/L | 30.685 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.354 | 98510.9022 | 295122.9921 | 30.45 | 114.2
125807 | 2021-05-07 11:02 | 15.0057 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 182.1985 | μmol/L | 30.6049 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.35 | 98499.1404 | 295121.6459 | 30.45 | 114.2
125817 | 2021-05-07 11:03 | 15.3386 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.9979 | μmol/L | 30.6295 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.354 | 98528.8536 | 295109.5772 | 30.45 | 114.2
125827 | 2021-05-07 11:03 | 15.6723 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 182.3205 | μmol/L | 30.5741 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.353 | 98533.4805 | 295099.2387 | 30.45 | 114.2
125837 | 2021-05-07 11:03 | 16.0052 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 182.507 | μmol/L | 30.4878 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.371 | 98578.6601 | 295102.5967 | 30.45 | 114.2
125847 | 2021-05-07 11:04 | 16.3391 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.9018 | μmol/L | 30.5741 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.379 | 98607.5689 | 295090.1743 | 30.45 | 114.2
125857 | 2021-05-07 11:04 | 16.6721 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.8339 | μmol/L | 30.5864 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.379 | 98608.5478 | 295078.6721 | 30.45 | 114.2
125867 | 2021-05-07 11:04 | 17.0053 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.6498 | μmol/L | 30.6111 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.382 | 98660.4759 | 295051.1891 | 30.45 | 114.2
125877 | 2021-05-07 11:05 | 17.3392 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.493 | μmol/L | 30.5987 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.396 | 98677.0659 | 295053.0246 | 30.45 | 114.2
125887 | 2021-05-07 11:05 | 17.6722 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.5929 | μmol/L | 30.5864 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.394 | 98700.0441 | 295036.4339 | 30.45 | 114.2
125897 | 2021-05-07 11:05 | 18.0054 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.5022 | μmol/L | 30.5679 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.406 | 98698.4955 | 295023.8159 | 30.45 | 114.2
125907 | 2021-05-07 11:06 | 18.3391 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.3666 | μmol/L | 30.5926 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.406 | 98701.4161 | 295009.9713 | 30.45 | 114.2
125917 | 2021-05-07 11:06 | 18.6721 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.0361 | μmol/L | 30.5741 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.433 | 98770.5815 | 294997.452 | 30.45 | 114.2
125927 | 2021-05-07 11:06 | 19.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.3247 | μmol/L | 30.5186 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.434 | 98784.3838 | 294985.5667 | 30.45 | 114.2
125937 | 2021-05-07 11:07 | 19.3387 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.4583 | μmol/L | 30.5001 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.432 | 98781.0598 | 294977.9279 | 30.45 | 114.2
125947 | 2021-05-07 11:07 | 19.6718 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.1469 | μmol/L | 30.5247 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.443 | 98825.1242 | 294967.5466 | 30.45 | 114.2
125957 | 2021-05-07 11:07 | 20.0056 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.4852 | μmol/L | 30.4631 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.443 | 98839.271 | 294968.6219 | 30.45 | 114.2
125967 | 2021-05-07 11:08 | 20.3386 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.9005 | μmol/L | 30.4939 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.469 | 98906.4096 | 294957.1216 | 30.45 | 114.2
125977 | 2021-05-07 11:08 | 20.6725 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.2113 | μmol/L | 30.4693 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.458 | 98912.6461 | 294940.0322 | 30.45 | 114.2
125987 | 2021-05-07 11:08 | 21.0054 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.3324 | μmol/L | 30.4384 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.461 | 98926.8615 | 294942.7702 | 30.45 | 114.2
125997 | 2021-05-07 11:09 | 21.3387 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.32 | μmol/L | 30.4261 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.466 | 98952.2457 | 294914.3504 | 30.45 | 114.2
126007 | 2021-05-07 11:09 | 21.6725 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.1107 | μmol/L | 30.3768 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.496 | 99024.4839 | 294924.7477 | 30.45 | 114.2
126017 | 2021-05-07 11:09 | 22.0052 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.6797 | μmol/L | 30.4323 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.504 | 99053.7793 | 294919.789 | 30.45 | 114.2
126027 | 2021-05-07 11:10 | 22.3384 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.2209 | μmol/L | 30.3275 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.506 | 99058.8175 | 294897.0961 | 30.45 | 114.2
126037 | 2021-05-07 11:10 | 22.6724 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.8076 | μmol/L | 30.3768 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.515 | 99121.8209 | 294898.6929 | 30.45 | 114.2
126047 | 2021-05-07 11:10 | 23.0057 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.4887 | μmol/L | 30.4323 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.516 | 99122.215 | 294886.8112 | 30.45 | 114.2
126057 | 2021-05-07 11:11 | 23.3391 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.7066 | μmol/L | 30.3953 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.515 | 99134.9493 | 294886.2117 | 30.45 | 114.2
126067 | 2021-05-07 11:11 | 23.6726 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.0666 | μmol/L | 30.309 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.522 | 99162.2621 | 294875.6109 | 30.45 | 114.2
126077 | 2021-05-07 11:11 | 24.0055 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.512 | μmol/L | 30.4076 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.523 | 99162.153 | 294869.1377 | 30.45 | 114.2
126087 | 2021-05-07 11:12 | 24.3387 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.7389 | μmol/L | 30.3398 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.532 | 99193.8457 | 294841.9201 | 30.45 | 114.2
126097 | 2021-05-07 11:12 | 24.6718 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.1204 | μmol/L | 30.3891 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.554 | 99263.3875 | 294831.2999 | 30.45 | 114.2
126107 | 2021-05-07 11:12 | 25.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.2827 | μmol/L | 30.3768 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.548 | 99254.271 | 294836.7244 | 30.45 | 114.2
126117 | 2021-05-07 11:13 | 25.3392 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.3585 | μmol/L | 30.3891 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.539 | 99218.2169 | 294823.1952 | 30.45 | 114.2
126127 | 2021-05-07 11:13 | 25.6723 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.3249 | μmol/L | 30.3953 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.539 | 99223.1731 | 294825.077 | 30.45 | 114.2
126137 | 2021-05-07 11:13 | 26.0051 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.2546 | μmol/L | 30.3645 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.554 | 99291.0682 | 294812.4133 | 30.45 | 114.2
126147 | 2021-05-07 11:14 | 26.3384 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.1912 | μmol/L | 30.3645 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.558 | 99288.6519 | 294811.1225 | 30.45 | 114.2
126157 | 2021-05-07 11:14 | 26.6718 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.2284 | μmol/L | 30.346 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.562 | 99304.7871 | 294813.3252 | 30.45 | 114.2
126167 | 2021-05-07 11:14 | 27.0052 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.0558 | μmol/L | 30.3398 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.575 | 99345.3543 | 294806.8239 | 30.45 | 114.2
126177 | 2021-05-07 11:15 | 27.3384 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.31 | μmol/L | 30.2843 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.578 | 99336.704 | 294784.0969 | 30.45 | 114.2
126187 | 2021-05-07 11:15 | 27.6724 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.3771 | μmol/L | 30.272 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.578 | 99356.5753 | 294794.0911 | 30.45 | 114.2
126197 | 2021-05-07 11:15 | 28.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.1496 | μmol/L | 30.2905 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.586 | 99405.7376 | 294789.93 | 30.45 | 114.2
126207 | 2021-05-07 11:16 | 28.3385 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.0984 | μmol/L | 30.3028 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.585 | 99419.5798 | 294757.7421 | 30.45 | 114.2
126217 | 2021-05-07 11:16 | 28.6726 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 179.8907 | μmol/L | 30.309 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.596 | 99452.7454 | 294749.603 | 30.45 | 114.2
126227 | 2021-05-07 11:16 | 29.0051 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 179.8591 | μmol/L | 30.309 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.598 | 99459.691 | 294740.0428 | 30.45 | 114.2
126237 | 2021-05-07 11:17 | 29.3391 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 179.5764 | μmol/L | 30.3028 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.618 | 99471.6771 | 294755.069 | 30.45 | 114.2
126247 | 2021-05-07 11:17 | 29.6725 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.2066 | μmol/L | 30.2042 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.612 | 100618.1984 | 294731.335 | 30.45 | 114.2