## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-07 11:54

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
126253 | 2021-05-07 11:25 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.1102 | μmol/L | 30.2249 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.901 | 123551.5134 | 294849.1775 | 59.9307 | 38.1
126263 | 2021-05-07 11:26 | 0.33625 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.8503 | μmol/L | 30.2249 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.975 | 124037.1579 | 294838.0271 | 59.9307 | 38.1
126273 | 2021-05-07 11:26 | 0.66918 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.6425 | μmol/L | 30.2678 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.032 | 124416.3513 | 294832.4511 | 59.9307 | 38.1
126283 | 2021-05-07 11:26 | 1.0028 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.5001 | μmol/L | 30.2801 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.096 | 124857.8603 | 294832.5742 | 59.9307 | 38.1
126293 | 2021-05-07 11:27 | 1.3363 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.8349 | μmol/L | 30.2739 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.138 | 125116.2936 | 294822.9115 | 59.9307 | 38.1
126303 | 2021-05-07 11:27 | 1.669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.9425 | μmol/L | 30.2617 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.196 | 125514.4472 | 294833.3304 | 59.9307 | 38.1
126313 | 2021-05-07 11:27 | 2.0025 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.0144 | μmol/L | 30.2862 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.244 | 125837.6049 | 294833.2473 | 59.9307 | 38.1
126323 | 2021-05-07 11:28 | 2.3364 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.2608 | μmol/L | 30.2862 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.29 | 126159.5568 | 294841.6629 | 59.9307 | 38.1
126333 | 2021-05-07 11:28 | 2.6694 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 183.8246 | μmol/L | 30.2678 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.323 | 126390.5297 | 294847.9537 | 59.9307 | 38.1
126343 | 2021-05-07 11:28 | 3.0024 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 183.1243 | μmol/L | 30.2739 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.364 | 126679.859 | 294839.9797 | 59.9307 | 38.1
126353 | 2021-05-07 11:29 | 3.3356 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 181.9469 | μmol/L | 30.2678 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.439 | 127170.3925 | 294844.0178 | 59.9307 | 38.1
126363 | 2021-05-07 11:29 | 3.6695 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 181.1738 | μmol/L | 30.2801 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.483 | 127471.4325 | 294824.9108 | 59.9307 | 38.1
126373 | 2021-05-07 11:29 | 4.0028 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.8938 | μmol/L | 30.2494 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.511 | 127641.7995 | 294828.1168 | 59.9307 | 38.1
126383 | 2021-05-07 11:30 | 4.3362 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.4983 | μmol/L | 30.2372 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.54 | 127842.3923 | 294808.8597 | 59.9307 | 38.1
126393 | 2021-05-07 11:30 | 4.6697 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.3372 | μmol/L | 30.182 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.569 | 128039.6317 | 294808.8509 | 59.9307 | 38.1
126403 | 2021-05-07 11:30 | 5.0028 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.015 | μmol/L | 30.2004 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.583 | 128143.2258 | 294804.5079 | 59.9307 | 38.1
126413 | 2021-05-07 11:31 | 5.3357 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 179.5272 | μmol/L | 30.2494 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.597 | 128220.7869 | 294796.87 | 59.9307 | 38.1
126423 | 2021-05-07 11:31 | 5.6696 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 178.9856 | μmol/L | 30.2678 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.625 | 128401.031 | 294793.8153 | 59.9307 | 38.1
126433 | 2021-05-07 11:31 | 6.0027 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 178.8092 | μmol/L | 30.2801 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.632 | 128466.9308 | 294798.622 | 59.9307 | 38.1
126443 | 2021-05-07 11:32 | 6.3357 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 178.9117 | μmol/L | 30.2494 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.636 | 128489.9753 | 294789.0498 | 59.9307 | 38.1
126453 | 2021-05-07 11:32 | 6.6691 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 178.7732 | μmol/L | 30.2372 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.649 | 128566.0837 | 294786.4729 | 59.9307 | 38.1
126463 | 2021-05-07 11:32 | 7.0029 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 178.5391 | μmol/L | 30.2311 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.666 | 128672.854 | 294769.811 | 59.9307 | 38.1
126473 | 2021-05-07 11:33 | 7.3359 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 178.2788 | μmol/L | 30.2065 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.691 | 128874.2913 | 294772.9783 | 59.9307 | 38.1
126483 | 2021-05-07 11:33 | 7.6695 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 178.0908 | μmol/L | 30.2065 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.703 | 128937.7734 | 294766.2778 | 59.9307 | 38.1
126493 | 2021-05-07 11:33 | 8.0027 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 177.7419 | μmol/L | 30.2249 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.719 | 129035.2892 | 294744.5475 | 59.9307 | 38.1
126503 | 2021-05-07 11:34 | 8.3363 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 177.6482 | μmol/L | 30.2249 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.725 | 129070.228 | 294752.1651 | 59.9307 | 38.1
126513 | 2021-05-07 11:34 | 8.6694 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 177.5669 | μmol/L | 30.2372 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.726 | 129074.3053 | 294749.6157 | 59.9307 | 38.1
126523 | 2021-05-07 11:34 | 9.0024 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 177.7706 | μmol/L | 30.1759 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.734 | 129105.7278 | 294736.8041 | 59.9307 | 38.1
126533 | 2021-05-07 11:35 | 9.3363 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 177.5021 | μmol/L | 30.1882 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.747 | 129199.0084 | 294724.9691 | 59.9307 | 38.1
126543 | 2021-05-07 11:35 | 9.6697 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 177.8212 | μmol/L | 30.1024 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.756 | 129255.518 | 294742.7128 | 59.9307 | 38.1
126553 | 2021-05-07 11:35 | 10.0023 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 177.2185 | μmol/L | 30.2004 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.761 | 129298.4927 | 294708.2498 | 59.9307 | 38.1
126563 | 2021-05-07 11:36 | 10.3364 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 176.9803 | μmol/L | 30.2188 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.77 | 129356.0139 | 294709.0438 | 59.9307 | 38.1
126573 | 2021-05-07 11:36 | 10.6696 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 176.8577 | μmol/L | 30.2127 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.78 | 129413.5535 | 294706.6631 | 59.9307 | 38.1
126583 | 2021-05-07 11:36 | 11.0026 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 176.5941 | μmol/L | 30.2127 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.797 | 129503.4864 | 294698.169 | 59.9307 | 38.1
126593 | 2021-05-07 11:37 | 11.3356 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 176.5322 | μmol/L | 30.2127 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.801 | 129521.8204 | 294689.753 | 59.9307 | 38.1
126603 | 2021-05-07 11:37 | 11.6696 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 176.3636 | μmol/L | 30.2065 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.814 | 129615.3707 | 294683.164 | 59.9307 | 38.1
126613 | 2021-05-07 11:37 | 12.0025 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 176.3206 | μmol/L | 30.1943 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.821 | 129666.5403 | 294674.1011 | 59.9307 | 38.1
126623 | 2021-05-07 11:38 | 12.3363 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 176.5041 | μmol/L | 30.1453 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.826 | 129707.0195 | 294658.009 | 59.9307 | 38.1
126633 | 2021-05-07 11:38 | 12.6692 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 176.1795 | μmol/L | 30.1453 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.847 | 129791.6423 | 294658.2034 | 59.9307 | 38.1
126643 | 2021-05-07 11:38 | 13.0023 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 176.6632 | μmol/L | 30.0717 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.841 | 129779.2124 | 294647.7585 | 59.9307 | 38.1
126653 | 2021-05-07 11:39 | 13.3361 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 176.2292 | μmol/L | 30.133 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.848 | 129817.3043 | 294645.0105 | 59.9307 | 38.1
126663 | 2021-05-07 11:39 | 13.6694 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 175.659 | μmol/L | 30.1882 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.866 | 129932.6653 | 294652.1474 | 59.9307 | 38.1
126673 | 2021-05-07 11:39 | 14.0028 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 175.6197 | μmol/L | 30.1637 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.877 | 129980.8548 | 294623.2089 | 59.9307 | 38.1
126683 | 2021-05-07 11:40 | 14.3357 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 175.4028 | μmol/L | 30.1698 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.889 | 130045.0028 | 294633.2832 | 59.9307 | 38.1
126693 | 2021-05-07 11:40 | 14.669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 175.3277 | μmol/L | 30.1637 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.896 | 130092.0191 | 294622.7264 | 59.9307 | 38.1
126703 | 2021-05-07 11:40 | 15.0029 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 175.1283 | μmol/L | 30.1637 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.909 | 130165.9498 | 294605.245 | 59.9307 | 38.1
126713 | 2021-05-07 11:41 | 15.3359 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 175.0159 | μmol/L | 30.182 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.91 | 130188.4934 | 294597.932 | 59.9307 | 38.1
126723 | 2021-05-07 11:41 | 15.6696 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 175.0109 | μmol/L | 30.1453 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.923 | 130264.6299 | 294610.0181 | 59.9307 | 38.1
126733 | 2021-05-07 11:41 | 16.0028 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.9309 | μmol/L | 30.1575 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.924 | 130269.5708 | 294585.7768 | 59.9307 | 38.1
126743 | 2021-05-07 11:42 | 16.3356 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.7762 | μmol/L | 30.1637 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.932 | 130322.9705 | 294578.4245 | 59.9307 | 38.1
126753 | 2021-05-07 11:42 | 16.6695 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.7116 | μmol/L | 30.1759 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.932 | 130333.5531 | 294571.3844 | 59.9307 | 38.1
126763 | 2021-05-07 11:42 | 17.0024 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.6778 | μmol/L | 30.133 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.949 | 130419.7432 | 294570.8681 | 59.9307 | 38.1
126773 | 2021-05-07 11:43 | 17.3363 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.5657 | μmol/L | 30.1514 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.95 | 130413.0569 | 294551.8149 | 59.9307 | 38.1
126783 | 2021-05-07 11:43 | 17.6694 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.4672 | μmol/L | 30.1759 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.948 | 130435.1138 | 294541.8105 | 59.9307 | 38.1
126793 | 2021-05-07 11:43 | 18.0031 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.4132 | μmol/L | 30.1514 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.96 | 130476.0402 | 294529.058 | 59.9307 | 38.1
126803 | 2021-05-07 11:44 | 18.3361 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.4132 | μmol/L | 30.1514 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.96 | 130487.2677 | 294520.2497 | 59.9307 | 38.1
126813 | 2021-05-07 11:44 | 18.6691 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.4572 | μmol/L | 30.1575 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.955 | 130447.9733 | 294527.6577 | 59.9307 | 38.1
126823 | 2021-05-07 11:44 | 19.0029 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.52 | μmol/L | 30.1514 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.953 | 130421.4804 | 294519.2202 | 59.9307 | 38.1
126833 | 2021-05-07 11:45 | 19.3359 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.4589 | μmol/L | 30.1514 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.957 | 130456.1383 | 294503.4771 | 59.9307 | 38.1
126843 | 2021-05-07 11:45 | 19.6691 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.3962 | μmol/L | 30.1575 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.959 | 130482.4339 | 294514.6065 | 59.9307 | 38.1
126853 | 2021-05-07 11:45 | 20.0029 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.2325 | μmol/L | 30.1698 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.966 | 130503.4152 | 294483.0261 | 59.9307 | 38.1
126863 | 2021-05-07 11:46 | 20.3359 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.1454 | μmol/L | 30.182 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.967 | 130518.6105 | 294498.8848 | 59.9307 | 38.1
126873 | 2021-05-07 11:46 | 20.6696 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.088 | μmol/L | 30.1698 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.975 | 130558.289 | 294484.5537 | 59.9307 | 38.1
126883 | 2021-05-07 11:46 | 21.0026 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 173.9915 | μmol/L | 30.1882 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.975 | 130577.095 | 294481.2358 | 59.9307 | 38.1
126893 | 2021-05-07 11:47 | 21.3356 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 173.9512 | μmol/L | 30.1698 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.984 | 130610.7888 | 294461.8501 | 59.9307 | 38.1
126903 | 2021-05-07 11:47 | 21.6697 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 173.8791 | μmol/L | 30.182 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 21.985 | 130629.1779 | 294490.1762 | 59.9307 | 38.1
126913 | 2021-05-07 11:47 | 22.0029 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 173.7163 | μmol/L | 30.1943 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 21.991 | 130648.7529 | 294471.979 | 59.9307 | 38.1
126923 | 2021-05-07 11:48 | 22.336 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 173.4186 | μmol/L | 30.2004 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 22.009 | 130743.4289 | 294472.9977 | 59.9307 | 38.1
126933 | 2021-05-07 11:48 | 22.6689 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 173.3527 | μmol/L | 30.2188 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 22.007 | 130764.0803 | 294459.5432 | 59.9307 | 38.1
126943 | 2021-05-07 11:48 | 23.0027 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 173.1299 | μmol/L | 30.2311 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 22.017 | 130817.7383 | 294454.8385 | 59.9307 | 38.1
126953 | 2021-05-07 11:49 | 23.3357 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 173.1939 | μmol/L | 30.2188 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 22.017 | 130813.6884 | 294464.0943 | 59.9307 | 38.1
126963 | 2021-05-07 11:49 | 23.6695 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 173.0694 | μmol/L | 30.2311 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 22.021 | 130842.1575 | 294447.1714 | 59.9307 | 38.1
126973 | 2021-05-07 11:49 | 24.0024 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 172.9014 | μmol/L | 30.2372 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 22.03 | 130877.9401 | 294437.3659 | 59.9307 | 38.1
126983 | 2021-05-07 11:50 | 24.3362 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 172.7598 | μmol/L | 30.2311 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 22.042 | 130954.552 | 294424.94 | 59.9307 | 38.1
126993 | 2021-05-07 11:50 | 24.6692 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 172.5506 | μmol/L | 30.2249 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 22.058 | 131056.3337 | 294435.9232 | 59.9307 | 38.1
127003 | 2021-05-07 11:50 | 25.0023 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 172.556 | μmol/L | 30.2065 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 22.064 | 131079.8646 | 294427.4751 | 59.9307 | 38.1
127013 | 2021-05-07 11:51 | 25.3357 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 172.3231 | μmol/L | 30.2311 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 22.071 | 131157.4623 | 294449.8699 | 59.9307 | 38.1
127023 | 2021-05-07 11:51 | 25.6696 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 172.1861 | μmol/L | 30.2372 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 22.078 | 131200.7252 | 294439.0383 | 59.9307 | 38.1
127033 | 2021-05-07 11:51 | 26.0025 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 172.141 | μmol/L | 30.2372 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 22.081 | 131214.8667 | 294423.9317 | 59.9307 | 38.1
127043 | 2021-05-07 11:52 | 26.3361 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 172.0641 | μmol/L | 30.2433 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 22.084 | 131242.0179 | 294416.6361 | 59.9307 | 38.1
127053 | 2021-05-07 11:52 | 26.6691 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 171.9909 | μmol/L | 30.2372 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 22.091 | 131282.8623 | 294423.599 | 59.9307 | 38.1
127063 | 2021-05-07 11:52 | 27.0028 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 171.886 | μmol/L | 30.2372 | °C | 1025 | hPa | Humid | 28 | 1 | 0 | 22.098 | 131304.7443 | 294423.2978 | 59.9307 | 38.1
127073 | 2021-05-07 11:53 | 27.3358 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 171.9854 | μmol/L | 30.2311 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 22.093 | 131296.9171 | 294413.4363 | 59.9307 | 38.1
127083 | 2021-05-07 11:53 | 27.6691 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 171.9536 | μmol/L | 30.2372 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 22.093 | 131316.6532 | 294428.3762 | 59.9307 | 38.1
127093 | 2021-05-07 11:53 | 28.0023 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 171.7157 | μmol/L | 30.2311 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 22.111 | 131423.2861 | 294407.3678 | 59.9307 | 38.1