## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-07 11:54

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
126254 | 2021-05-07 11:25 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.0796 | μmol/L | 30.2393 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.144 | 95634.4375 | 213333.2194 | 27.3 | 43.4
126264 | 2021-05-07 11:26 | 0.33875 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.7441 | μmol/L | 30.2148 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.222 | 96051.4651 | 213349.4016 | 27.3 | 43.4
126274 | 2021-05-07 11:26 | 0.67255 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.3145 | μmol/L | 30.2271 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.293 | 96404.3425 | 213344.7108 | 27.3 | 43.4
126284 | 2021-05-07 11:26 | 1.0053 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 210.1752 | μmol/L | 30.2516 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.345 | 96684.2709 | 213342.4277 | 27.3 | 43.4
126294 | 2021-05-07 11:27 | 1.3388 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 209.6982 | μmol/L | 30.2148 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.383 | 96879.1305 | 213340.1357 | 27.3 | 43.4
126304 | 2021-05-07 11:27 | 1.6724 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 209.1819 | μmol/L | 30.1903 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.419 | 97066.0352 | 213335.6054 | 27.3 | 43.4
126314 | 2021-05-07 11:27 | 2.0055 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 209.0775 | μmol/L | 30.1045 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.454 | 97243.2248 | 213331.7981 | 27.3 | 43.4
126324 | 2021-05-07 11:28 | 2.3384 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 208.0094 | μmol/L | 30.1903 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.482 | 97407.0716 | 213344.01 | 27.3 | 43.4
126334 | 2021-05-07 11:28 | 2.6724 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 207.2635 | μmol/L | 30.2087 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.516 | 97564.3898 | 213336.3297 | 27.3 | 43.4
126344 | 2021-05-07 11:28 | 3.0055 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 207.3989 | μmol/L | 30.0738 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.555 | 97798.4297 | 213347.118 | 27.3 | 43.4
126354 | 2021-05-07 11:29 | 3.3388 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 206.2668 | μmol/L | 30.0493 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.625 | 98145.5617 | 213338.0709 | 27.3 | 43.4
126364 | 2021-05-07 11:29 | 3.6717 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.3008 | μmol/L | 30.0984 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.661 | 98320.1782 | 213328.7218 | 27.3 | 43.4
126374 | 2021-05-07 11:29 | 4.0058 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.8944 | μmol/L | 30.1167 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.677 | 98415.0937 | 213326.2473 | 27.3 | 43.4
126384 | 2021-05-07 11:30 | 4.3392 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.7614 | μmol/L | 30.08 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.697 | 98501.7161 | 213323.7765 | 27.3 | 43.4
126394 | 2021-05-07 11:30 | 4.6723 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.1044 | μmol/L | 30.1474 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.71 | 98575.0397 | 213330.1507 | 27.3 | 43.4
126404 | 2021-05-07 11:30 | 5.0053 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.6581 | μmol/L | 30.1842 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.722 | 98641.6224 | 213322.5859 | 27.3 | 43.4
126414 | 2021-05-07 11:31 | 5.3387 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.0551 | μmol/L | 30.08 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.736 | 98689.4324 | 213315.1834 | 27.3 | 43.4
126424 | 2021-05-07 11:31 | 5.6718 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.1496 | μmol/L | 30.0677 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.735 | 98708.4413 | 213323.1472 | 27.3 | 43.4
126434 | 2021-05-07 11:31 | 6.0056 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.7313 | μmol/L | 30.129 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.737 | 98732.2006 | 213311.3622 | 27.3 | 43.4
126444 | 2021-05-07 11:32 | 6.3387 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.9488 | μmol/L | 30.0738 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.744 | 98758.1784 | 213304.389 | 27.3 | 43.4
126454 | 2021-05-07 11:32 | 6.6719 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.5553 | μmol/L | 30.1167 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.751 | 98792.2656 | 213308.6763 | 27.3 | 43.4
126464 | 2021-05-07 11:32 | 7.0057 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.5616 | μmol/L | 30.0984 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.757 | 98824.3025 | 213294.6778 | 27.3 | 43.4
126474 | 2021-05-07 11:33 | 7.3388 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.4376 | μmol/L | 30.0922 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.766 | 98835.3447 | 213284.1676 | 27.3 | 43.4
126484 | 2021-05-07 11:33 | 7.6722 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.1255 | μmol/L | 30.1106 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.777 | 98887.574 | 213287.3166 | 27.3 | 43.4
126494 | 2021-05-07 11:33 | 8.0055 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.1858 | μmol/L | 30.0922 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.78 | 98893.7269 | 213279.0932 | 27.3 | 43.4
126504 | 2021-05-07 11:34 | 8.3386 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.2376 | μmol/L | 30.0984 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.775 | 98891.0771 | 213285.8655 | 27.3 | 43.4
126514 | 2021-05-07 11:34 | 8.6718 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.0536 | μmol/L | 30.1106 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.781 | 98902.3051 | 213286.9507 | 27.3 | 43.4
126524 | 2021-05-07 11:34 | 9.0056 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.9416 | μmol/L | 30.1229 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.783 | 98912.4601 | 213287.9334 | 27.3 | 43.4
126534 | 2021-05-07 11:35 | 9.3387 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.5765 | μmol/L | 30.1413 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.797 | 98982.6465 | 213286.5816 | 27.3 | 43.4
126544 | 2021-05-07 11:35 | 9.6721 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.5179 | μmol/L | 30.1045 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.813 | 99080.2115 | 213265.0264 | 27.3 | 43.4
126554 | 2021-05-07 11:35 | 10.0052 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.4506 | μmol/L | 30.0922 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.821 | 99102.5191 | 213266.9458 | 27.3 | 43.4
126564 | 2021-05-07 11:36 | 10.339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.2274 | μmol/L | 30.1167 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.825 | 99116.4867 | 213254.9166 | 27.3 | 43.4
126574 | 2021-05-07 11:36 | 10.6722 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.3097 | μmol/L | 30.0861 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.831 | 99158.7337 | 213254.3115 | 27.3 | 43.4
126584 | 2021-05-07 11:36 | 11.0051 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.2382 | μmol/L | 30.0861 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.835 | 99159.4814 | 213250.7283 | 27.3 | 43.4
126594 | 2021-05-07 11:37 | 11.339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.3005 | μmol/L | 30.0616 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.84 | 99152.9846 | 213251.7498 | 27.3 | 43.4
126604 | 2021-05-07 11:37 | 11.6722 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.1446 | μmol/L | 30.0984 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.836 | 99145.6783 | 213248.0195 | 27.3 | 43.4
126614 | 2021-05-07 11:37 | 12.0051 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.9173 | μmol/L | 30.1351 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.836 | 99147.0416 | 213240.7017 | 27.3 | 43.4
126624 | 2021-05-07 11:38 | 12.3389 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.7191 | μmol/L | 30.1413 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.845 | 99162.6232 | 213233.2596 | 27.3 | 43.4
126634 | 2021-05-07 11:38 | 12.6718 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.0196 | μmol/L | 30.0984 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.843 | 99167.5908 | 213229.258 | 27.3 | 43.4
126644 | 2021-05-07 11:38 | 13.0057 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.9348 | μmol/L | 30.0861 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.852 | 99204.4729 | 213237.6304 | 27.3 | 43.4
126654 | 2021-05-07 11:39 | 13.3386 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.6344 | μmol/L | 30.129 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.854 | 99209.0372 | 213225.6975 | 27.3 | 43.4
126664 | 2021-05-07 11:39 | 13.6719 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.5654 | μmol/L | 30.1229 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.86 | 99245.8794 | 213225.1768 | 27.3 | 43.4
126674 | 2021-05-07 11:39 | 14.0056 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.1966 | μmol/L | 30.1106 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.885 | 99362.9417 | 213229.916 | 27.3 | 43.4
126684 | 2021-05-07 11:40 | 14.3386 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.3986 | μmol/L | 30.0922 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.88 | 99366.8502 | 213230.4219 | 27.3 | 43.4
126694 | 2021-05-07 11:40 | 14.6724 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.4517 | μmol/L | 30.0432 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.894 | 99422.919 | 213213.9273 | 27.3 | 43.4
126704 | 2021-05-07 11:40 | 15.0055 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.6318 | μmol/L | 30.1045 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.919 | 99522.9993 | 213207.701 | 27.3 | 43.4
126714 | 2021-05-07 11:41 | 15.3386 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.8266 | μmol/L | 30.0554 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.925 | 99561.5554 | 213212.7695 | 27.3 | 43.4
126724 | 2021-05-07 11:41 | 15.6725 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.8553 | μmol/L | 30.0248 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.934 | 99596.6495 | 213196.0604 | 27.3 | 43.4
126734 | 2021-05-07 11:41 | 16.0056 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.7514 | μmol/L | 30.0187 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.942 | 99623.388 | 213204.5251 | 27.3 | 43.4
126744 | 2021-05-07 11:42 | 16.3392 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.6917 | μmol/L | 30.0371 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.939 | 99617.1524 | 213185.0325 | 27.3 | 43.4
126754 | 2021-05-07 11:42 | 16.6723 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.8509 | μmol/L | 30.0371 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.93 | 99566.982 | 213173.087 | 27.3 | 43.4
126764 | 2021-05-07 11:42 | 17.0056 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.0589 | μmol/L | 30.0003 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.931 | 99560.0374 | 213176.0249 | 27.3 | 43.4
126774 | 2021-05-07 11:43 | 17.3387 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.9239 | μmol/L | 30.0309 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.928 | 99525.292 | 213169.8008 | 27.3 | 43.4
126784 | 2021-05-07 11:43 | 17.6725 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.0302 | μmol/L | 30.0309 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.922 | 99506.6832 | 213166.6463 | 27.3 | 43.4
126794 | 2021-05-07 11:43 | 18.0055 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.0037 | μmol/L | 30.0554 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.915 | 99461.8341 | 213169.2713 | 27.3 | 43.4
126804 | 2021-05-07 11:44 | 18.3387 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.8885 | μmol/L | 30.08 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.913 | 99445.4596 | 213159.0795 | 27.3 | 43.4
126814 | 2021-05-07 11:44 | 18.6724 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.8664 | μmol/L | 30.0922 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.91 | 99434.096 | 213168.2499 | 27.3 | 43.4
126824 | 2021-05-07 11:44 | 19.0053 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.1899 | μmol/L | 30.08 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.896 | 99357.7072 | 213148.4726 | 27.3 | 43.4
126834 | 2021-05-07 11:45 | 19.3384 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.2431 | μmol/L | 30.08 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.893 | 99327.3767 | 213146.983 | 27.3 | 43.4
126844 | 2021-05-07 11:45 | 19.6721 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.4962 | μmol/L | 30.0677 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.883 | 99279.3601 | 213140.6445 | 27.3 | 43.4
126854 | 2021-05-07 11:45 | 20.0052 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.4763 | μmol/L | 30.0738 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.882 | 99278.0835 | 213141.9066 | 27.3 | 43.4
126864 | 2021-05-07 11:46 | 20.3392 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.3297 | μmol/L | 30.0861 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.886 | 99283.0062 | 213141.3492 | 27.3 | 43.4
126874 | 2021-05-07 11:46 | 20.6722 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.4651 | μmol/L | 30.0554 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.889 | 99306.8485 | 213131.3406 | 27.3 | 43.4
126884 | 2021-05-07 11:46 | 21.0053 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.5162 | μmol/L | 30.0616 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.884 | 99274.5963 | 213130.8083 | 27.3 | 43.4
126894 | 2021-05-07 11:47 | 21.3391 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.4585 | μmol/L | 30.0738 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.883 | 99269.3007 | 213121.8078 | 27.3 | 43.4
126904 | 2021-05-07 11:47 | 21.6723 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.3453 | μmol/L | 30.0922 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.883 | 99283.5741 | 213124.2753 | 27.3 | 43.4
126914 | 2021-05-07 11:47 | 22.0052 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.1855 | μmol/L | 30.0922 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.892 | 99296.9956 | 213129.1952 | 27.3 | 43.4
126924 | 2021-05-07 11:48 | 22.339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.1456 | μmol/L | 30.1045 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.89 | 99320.1698 | 213117.7383 | 27.3 | 43.4
126934 | 2021-05-07 11:48 | 22.672 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.8774 | μmol/L | 30.1106 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.903 | 99372.1455 | 213122.6452 | 27.3 | 43.4
126944 | 2021-05-07 11:48 | 23.0051 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.7756 | μmol/L | 30.0984 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.913 | 99396.0357 | 213122.4838 | 27.3 | 43.4
126954 | 2021-05-07 11:49 | 23.339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.5897 | μmol/L | 30.1229 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.915 | 99418.4813 | 213114.2728 | 27.3 | 43.4
126964 | 2021-05-07 11:49 | 23.6723 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.5013 | μmol/L | 30.1229 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.92 | 99431.2809 | 213107.4608 | 27.3 | 43.4
126974 | 2021-05-07 11:49 | 24.0054 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.5235 | μmol/L | 30.1106 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.923 | 99438.5144 | 213109.1099 | 27.3 | 43.4
126984 | 2021-05-07 11:50 | 24.3385 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.6495 | μmol/L | 30.1045 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.918 | 99429.195 | 213094.5867 | 27.3 | 43.4
126994 | 2021-05-07 11:50 | 24.6721 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.6119 | μmol/L | 30.1106 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.918 | 99423.8345 | 213115.0167 | 27.3 | 43.4
127004 | 2021-05-07 11:50 | 25.0059 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.5457 | μmol/L | 30.0984 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.926 | 99461.793 | 213112.9739 | 27.3 | 43.4
127014 | 2021-05-07 11:51 | 25.339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.5125 | μmol/L | 30.0922 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.93 | 99479.8044 | 213113.9513 | 27.3 | 43.4
127024 | 2021-05-07 11:51 | 25.6722 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.3777 | μmol/L | 30.1229 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.927 | 99472.7424 | 213116.3564 | 27.3 | 43.4
127034 | 2021-05-07 11:51 | 26.0051 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.1745 | μmol/L | 30.1474 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.93 | 99485.407 | 213112.8655 | 27.3 | 43.4
127044 | 2021-05-07 11:52 | 26.3391 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.1392 | μmol/L | 30.1474 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.932 | 99499.3398 | 213106.0068 | 27.3 | 43.4
127054 | 2021-05-07 11:52 | 26.6719 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.2717 | μmol/L | 30.1229 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.933 | 99505.5295 | 213113.2765 | 27.3 | 43.4
127064 | 2021-05-07 11:52 | 27.0055 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.3093 | μmol/L | 30.1167 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.933 | 99512.1625 | 213100.7122 | 27.3 | 43.4
127074 | 2021-05-07 11:53 | 27.3384 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.1039 | μmol/L | 30.1474 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.934 | 99518.1273 | 213113.4757 | 27.3 | 43.4
127084 | 2021-05-07 11:53 | 27.6723 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.1261 | μmol/L | 30.1351 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.937 | 99528.6826 | 213106.9309 | 27.3 | 43.4
127094 | 2021-05-07 11:53 | 28.0054 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.2057 | μmol/L | 30.1106 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.941 | 99698.9419 | 213098.4964 | 27.3 | 43.4