## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-07 11:54

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
126255 | 2021-05-07 11:25 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.9485 | μmol/L | 30.1919 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.728 | 88521.5178 | 291644.3471 | 28.7 | 67.6
126265 | 2021-05-07 11:26 | 0.33262 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.6954 | μmol/L | 30.1797 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.804 | 88894.044 | 291655.1063 | 28.7 | 67.6
126275 | 2021-05-07 11:26 | 0.66556 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.1795 | μmol/L | 30.2591 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.865 | 89201.3267 | 291656.8277 | 28.7 | 67.6
126285 | 2021-05-07 11:26 | 0.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.3515 | μmol/L | 30.1858 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.938 | 89552.6759 | 291674.1993 | 28.7 | 67.6
126295 | 2021-05-07 11:27 | 1.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.9609 | μmol/L | 30.253 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.997 | 89842.363 | 291661.2754 | 28.7 | 67.6
126305 | 2021-05-07 11:27 | 1.6662 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.0193 | μmol/L | 30.2286 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.061 | 90115.9325 | 291678.9762 | 28.7 | 67.6
126315 | 2021-05-07 11:27 | 1.9988 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.1223 | μmol/L | 30.2652 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.102 | 90333.4669 | 291665.5394 | 28.7 | 67.6
126325 | 2021-05-07 11:28 | 2.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 187.0864 | μmol/L | 30.2713 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.162 | 90598.8002 | 291668.526 | 28.7 | 67.6
126335 | 2021-05-07 11:28 | 2.6655 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.5755 | μmol/L | 30.253 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.199 | 90799.1599 | 291671.7942 | 28.7 | 67.6
126345 | 2021-05-07 11:28 | 2.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.0549 | μmol/L | 30.2103 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.245 | 90997.979 | 291679.9744 | 28.7 | 67.6
126355 | 2021-05-07 11:29 | 3.3322 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.4338 | μmol/L | 30.2652 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.264 | 91124.217 | 291654.747 | 28.7 | 67.6
126365 | 2021-05-07 11:29 | 3.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.6876 | μmol/L | 30.3018 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.297 | 91263.5577 | 291640.3634 | 28.7 | 67.6
126375 | 2021-05-07 11:29 | 3.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.4993 | μmol/L | 30.2652 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.321 | 91357.7818 | 291641.1502 | 28.7 | 67.6
126385 | 2021-05-07 11:30 | 4.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.4312 | μmol/L | 30.2774 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.321 | 91375.478 | 291645.819 | 28.7 | 67.6
126395 | 2021-05-07 11:30 | 4.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.3142 | μmol/L | 30.2896 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.324 | 91409.7579 | 291646.0528 | 28.7 | 67.6
126405 | 2021-05-07 11:30 | 4.9988 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.0533 | μmol/L | 30.2896 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.34 | 91477.7222 | 291641.3669 | 28.7 | 67.6
126415 | 2021-05-07 11:31 | 5.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.9417 | μmol/L | 30.2041 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.376 | 91646.3991 | 291627.8131 | 28.7 | 67.6
126425 | 2021-05-07 11:31 | 5.6657 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.645 | μmol/L | 30.2225 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.388 | 91703.2615 | 291635.2183 | 28.7 | 67.6
126435 | 2021-05-07 11:31 | 5.9994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.5787 | μmol/L | 30.2286 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.39 | 91706.6576 | 291625.2542 | 28.7 | 67.6
126445 | 2021-05-07 11:32 | 6.3324 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.4272 | μmol/L | 30.253 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.391 | 91728.741 | 291598.1195 | 28.7 | 67.6
126455 | 2021-05-07 11:32 | 6.6663 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.1706 | μmol/L | 30.2408 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.411 | 91810.1174 | 291601.9286 | 28.7 | 67.6
126465 | 2021-05-07 11:32 | 6.9995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.6463 | μmol/L | 30.2713 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.433 | 91928.3752 | 291592.1735 | 28.7 | 67.6
126475 | 2021-05-07 11:33 | 7.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.4878 | μmol/L | 30.2591 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.447 | 91991.6232 | 291591.2808 | 28.7 | 67.6
126485 | 2021-05-07 11:33 | 7.6661 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.4962 | μmol/L | 30.2225 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.459 | 92031.4852 | 291581.3886 | 28.7 | 67.6
126495 | 2021-05-07 11:33 | 7.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.1672 | μmol/L | 30.253 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.469 | 92100.9408 | 291574.3799 | 28.7 | 67.6
126505 | 2021-05-07 11:34 | 8.3322 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.8897 | μmol/L | 30.2713 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.48 | 92137.1164 | 291551.2566 | 28.7 | 67.6
126515 | 2021-05-07 11:34 | 8.6662 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.8269 | μmol/L | 30.2652 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.486 | 92163.3821 | 291561.6864 | 28.7 | 67.6
126525 | 2021-05-07 11:34 | 8.9991 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.6986 | μmol/L | 30.2652 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.494 | 92194.516 | 291556.7656 | 28.7 | 67.6
126535 | 2021-05-07 11:35 | 9.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.6708 | μmol/L | 30.2469 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.502 | 92216.0028 | 291549.084 | 28.7 | 67.6
126545 | 2021-05-07 11:35 | 9.6661 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.7349 | μmol/L | 30.2469 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.498 | 92209.5718 | 291537.3215 | 28.7 | 67.6
126555 | 2021-05-07 11:35 | 9.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.8194 | μmol/L | 30.2286 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.499 | 92209.2031 | 291530.68 | 28.7 | 67.6
126565 | 2021-05-07 11:36 | 10.3325 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.5978 | μmol/L | 30.2164 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.517 | 92263.808 | 291516.9916 | 28.7 | 67.6
126575 | 2021-05-07 11:36 | 10.6655 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.496 | μmol/L | 30.2408 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.515 | 92303.3911 | 291502.1028 | 28.7 | 67.6
126585 | 2021-05-07 11:36 | 10.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.1021 | μmol/L | 30.2164 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.548 | 92424.3186 | 291498.976 | 28.7 | 67.6
126595 | 2021-05-07 11:37 | 11.3322 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.4679 | μmol/L | 30.1553 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.546 | 92411.5297 | 291504.3049 | 28.7 | 67.6
126605 | 2021-05-07 11:37 | 11.6661 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.1354 | μmol/L | 30.2103 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.548 | 92429.1126 | 291489.733 | 28.7 | 67.6
126615 | 2021-05-07 11:37 | 11.999 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.9222 | μmol/L | 30.2347 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.553 | 92437.4247 | 291483.0688 | 28.7 | 67.6
126625 | 2021-05-07 11:38 | 12.3329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.9237 | μmol/L | 30.2286 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.555 | 92430.6449 | 291466.8908 | 28.7 | 67.6
126635 | 2021-05-07 11:38 | 12.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.0513 | μmol/L | 30.2286 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.547 | 92406.0026 | 291460.7204 | 28.7 | 67.6
126645 | 2021-05-07 11:38 | 12.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.9758 | μmol/L | 30.2103 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.558 | 92446.9025 | 291460.2883 | 28.7 | 67.6
126655 | 2021-05-07 11:39 | 13.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.5863 | μmol/L | 30.2408 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.572 | 92492.8114 | 291450.1167 | 28.7 | 67.6
126665 | 2021-05-07 11:39 | 13.6658 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.718 | μmol/L | 30.2225 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.57 | 92497.9696 | 291444.3945 | 28.7 | 67.6
126675 | 2021-05-07 11:39 | 13.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.3725 | μmol/L | 30.2041 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.598 | 92612.5294 | 291434.2101 | 28.7 | 67.6
126685 | 2021-05-07 11:40 | 14.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.4736 | μmol/L | 30.1797 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.6 | 92618.9579 | 291418.5992 | 28.7 | 67.6
126695 | 2021-05-07 11:40 | 14.6656 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.8465 | μmol/L | 30.0821 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.61 | 92653.6419 | 291417.6749 | 28.7 | 67.6
126705 | 2021-05-07 11:40 | 14.9995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.6527 | μmol/L | 30.0943 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.618 | 92696.9249 | 291423.2699 | 28.7 | 67.6
126715 | 2021-05-07 11:41 | 15.3325 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.374 | μmol/L | 30.1309 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.623 | 92722.7483 | 291388.8601 | 28.7 | 67.6
126725 | 2021-05-07 11:41 | 15.6656 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.0308 | μmol/L | 30.1736 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.63 | 92750.7467 | 291378.6269 | 28.7 | 67.6
126735 | 2021-05-07 11:41 | 15.9995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.0437 | μmol/L | 30.1858 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.625 | 92736.6359 | 291383.0212 | 28.7 | 67.6
126745 | 2021-05-07 11:42 | 16.3324 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.917 | μmol/L | 30.1858 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.633 | 92779.2947 | 291379.7926 | 28.7 | 67.6
126755 | 2021-05-07 11:42 | 16.6662 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.9156 | μmol/L | 30.1919 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.631 | 92768.3377 | 291358.8112 | 28.7 | 67.6
126765 | 2021-05-07 11:42 | 16.9994 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.8092 | μmol/L | 30.1736 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.644 | 92836.7655 | 291364.5082 | 28.7 | 67.6
126775 | 2021-05-07 11:43 | 17.3325 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.5578 | μmol/L | 30.1675 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.662 | 92905.798 | 291357.0477 | 28.7 | 67.6
126785 | 2021-05-07 11:43 | 17.6656 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.5075 | μmol/L | 30.1797 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.661 | 92891.5511 | 291353.4528 | 28.7 | 67.6
126795 | 2021-05-07 11:43 | 17.9993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.7662 | μmol/L | 30.1553 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.653 | 92846.0903 | 291333.6267 | 28.7 | 67.6
126805 | 2021-05-07 11:44 | 18.3323 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.9504 | μmol/L | 30.1126 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.656 | 92855.1939 | 291342.2063 | 28.7 | 67.6
126815 | 2021-05-07 11:44 | 18.6662 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.5637 | μmol/L | 30.1431 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.67 | 92916.0295 | 291331.35 | 28.7 | 67.6
126825 | 2021-05-07 11:44 | 18.9991 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.2882 | μmol/L | 30.1736 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.677 | 92935.782 | 291323.2905 | 28.7 | 67.6
126835 | 2021-05-07 11:45 | 19.3322 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.2251 | μmol/L | 30.1736 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.681 | 92948.8123 | 291316.7828 | 28.7 | 67.6
126845 | 2021-05-07 11:45 | 19.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.2837 | μmol/L | 30.1919 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.671 | 92906.8067 | 291305.3789 | 28.7 | 67.6
126855 | 2021-05-07 11:45 | 19.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.2492 | μmol/L | 30.2041 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.669 | 92913.111 | 291294.6087 | 28.7 | 67.6
126865 | 2021-05-07 11:46 | 20.3327 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.3182 | μmol/L | 30.1797 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.673 | 92923.0613 | 291288.2926 | 28.7 | 67.6
126875 | 2021-05-07 11:46 | 20.6657 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.9156 | μmol/L | 30.2164 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.686 | 92983.1122 | 291289.403 | 28.7 | 67.6
126885 | 2021-05-07 11:46 | 20.9995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.9673 | μmol/L | 30.198 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.689 | 92996.4536 | 291276.2204 | 28.7 | 67.6
126895 | 2021-05-07 11:47 | 21.3325 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.5184 | μmol/L | 30.2347 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.705 | 93064.231 | 291270.1173 | 28.7 | 67.6
126905 | 2021-05-07 11:47 | 21.6655 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.393 | μmol/L | 30.2347 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.713 | 93073.2993 | 291258.5817 | 28.7 | 67.6
126915 | 2021-05-07 11:47 | 21.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.6186 | μmol/L | 30.2103 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.707 | 93071.2154 | 291254.2262 | 28.7 | 67.6
126925 | 2021-05-07 11:48 | 22.3324 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.1336 | μmol/L | 30.1614 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.691 | 93033.7402 | 291258.0354 | 28.7 | 67.6
126935 | 2021-05-07 11:48 | 22.6655 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.4855 | μmol/L | 30.2408 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.705 | 93072.1264 | 291247.8111 | 28.7 | 67.6
126945 | 2021-05-07 11:48 | 22.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.2332 | μmol/L | 30.2469 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.719 | 93119.7925 | 291247.801 | 28.7 | 67.6
126955 | 2021-05-07 11:49 | 23.3329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.0424 | μmol/L | 30.2591 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.727 | 93135.6531 | 291227.7041 | 28.7 | 67.6
126965 | 2021-05-07 11:49 | 23.6659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.0408 | μmol/L | 30.2652 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.725 | 93147.9177 | 291214.7064 | 28.7 | 67.6
126975 | 2021-05-07 11:49 | 23.9989 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.1973 | μmol/L | 30.2652 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.715 | 93098.9452 | 291227.3837 | 28.7 | 67.6
126985 | 2021-05-07 11:50 | 24.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.9424 | μmol/L | 30.2835 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.725 | 93121.3843 | 291232.5508 | 28.7 | 67.6
126995 | 2021-05-07 11:50 | 24.6655 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.105 | μmol/L | 30.2591 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.723 | 93115.4768 | 291227.8461 | 28.7 | 67.6
127005 | 2021-05-07 11:50 | 24.9995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.0955 | μmol/L | 30.2347 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.732 | 93157.904 | 291229.4748 | 28.7 | 67.6
127015 | 2021-05-07 11:51 | 25.3328 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.0627 | μmol/L | 30.2408 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.732 | 93178.1125 | 291239.344 | 28.7 | 67.6
127025 | 2021-05-07 11:51 | 25.6656 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.8518 | μmol/L | 30.2713 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.735 | 93179.1534 | 291234.4913 | 28.7 | 67.6
127035 | 2021-05-07 11:51 | 25.9995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.1471 | μmol/L | 30.2164 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.735 | 93182.1495 | 291226.5599 | 28.7 | 67.6
127045 | 2021-05-07 11:52 | 26.3326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.9314 | μmol/L | 30.2652 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.732 | 93181.9147 | 291226.2651 | 28.7 | 67.6
127055 | 2021-05-07 11:52 | 26.6655 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.0283 | μmol/L | 30.253 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.73 | 93169.5639 | 291225.8028 | 28.7 | 67.6
127065 | 2021-05-07 11:52 | 26.9992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.883 | μmol/L | 30.2713 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.733 | 93185.1733 | 291213.4276 | 28.7 | 67.6
127075 | 2021-05-07 11:53 | 27.3329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.8377 | μmol/L | 30.2652 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.738 | 93209.1022 | 291202.9839 | 28.7 | 67.6
127085 | 2021-05-07 11:53 | 27.6662 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.5522 | μmol/L | 30.2835 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.75 | 93254.7429 | 291211.7729 | 28.7 | 67.6
127095 | 2021-05-07 11:53 | 27.9995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.4276 | μmol/L | 30.2835 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.758 | 93321.5246 | 291202.7797 | 28.7 | 67.6