## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-07 11:54

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
126256 | 2021-05-07 11:25 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.6844 | μmol/L | 30.0018 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.535 | 122793.1154 | 268271.1313 | 36.4 | 83.1
126266 | 2021-05-07 11:26 | 0.34144 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 208.952 | μmol/L | 30.1002 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.594 | 123205.1986 | 268273.3137 | 36.4 | 83.1
126276 | 2021-05-07 11:26 | 0.67477 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 208.2202 | μmol/L | 30.0756 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.642 | 123589.8473 | 268260.3912 | 36.4 | 83.1
126286 | 2021-05-07 11:26 | 1.0082 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 207.019 | μmol/L | 30.137 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.686 | 123888.0385 | 268254.3462 | 36.4 | 83.1
126296 | 2021-05-07 11:27 | 1.3416 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.1837 | μmol/L | 30.1678 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.721 | 124132.4856 | 268254.1569 | 36.4 | 83.1
126306 | 2021-05-07 11:27 | 1.675 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.7485 | μmol/L | 30.1616 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.747 | 124299.7581 | 268257.2782 | 36.4 | 83.1
126316 | 2021-05-07 11:27 | 2.008 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.3437 | μmol/L | 30.1739 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.765 | 124381.3782 | 268256.1171 | 36.4 | 83.1
126326 | 2021-05-07 11:28 | 2.3413 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.9326 | μmol/L | 30.2046 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.777 | 124499.0901 | 268258.5343 | 36.4 | 83.1
126336 | 2021-05-07 11:28 | 2.6752 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.9241 | μmol/L | 30.1801 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.786 | 124540.8354 | 268257.5806 | 36.4 | 83.1
126346 | 2021-05-07 11:28 | 3.0082 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.0448 | μmol/L | 30.1493 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.79 | 124568.5924 | 268250.6951 | 36.4 | 83.1
126356 | 2021-05-07 11:29 | 3.3419 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.6526 | μmol/L | 30.1801 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.801 | 124620.2519 | 268240.0906 | 36.4 | 83.1
126366 | 2021-05-07 11:29 | 3.675 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.3249 | μmol/L | 30.1862 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.817 | 124715.8096 | 268237.8914 | 36.4 | 83.1
126376 | 2021-05-07 11:29 | 4.0082 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.2191 | μmol/L | 30.1801 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.825 | 124775.8805 | 268232.8272 | 36.4 | 83.1
126386 | 2021-05-07 11:30 | 4.3416 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.9128 | μmol/L | 30.1801 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.842 | 124867.9741 | 268229.7955 | 36.4 | 83.1
126396 | 2021-05-07 11:30 | 4.6749 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.5253 | μmol/L | 30.2046 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.855 | 124971.2107 | 268228.8775 | 36.4 | 83.1
126406 | 2021-05-07 11:30 | 5.0088 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.5891 | μmol/L | 30.1801 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.86 | 125001.1033 | 268228.9034 | 36.4 | 83.1
126416 | 2021-05-07 11:31 | 5.3418 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.6144 | μmol/L | 30.1616 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.865 | 125028.6204 | 268235.3102 | 36.4 | 83.1
126426 | 2021-05-07 11:31 | 5.6747 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.5524 | μmol/L | 30.137 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.877 | 125078.7363 | 268218.7775 | 36.4 | 83.1
126436 | 2021-05-07 11:31 | 6.0085 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.3631 | μmol/L | 30.1616 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.879 | 125117.6641 | 268215.8148 | 36.4 | 83.1
126446 | 2021-05-07 11:32 | 6.3417 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.2784 | μmol/L | 30.1493 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.888 | 125157.7924 | 268211.7334 | 36.4 | 83.1
126456 | 2021-05-07 11:32 | 6.6754 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.3705 | μmol/L | 30.1432 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.885 | 125137.3414 | 268198.783 | 36.4 | 83.1
126466 | 2021-05-07 11:32 | 7.0085 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.47 | μmol/L | 30.1186 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.888 | 125154.8126 | 268194.4374 | 36.4 | 83.1
126476 | 2021-05-07 11:33 | 7.3417 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.0456 | μmol/L | 30.1493 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.901 | 125219.395 | 268182.1978 | 36.4 | 83.1
126486 | 2021-05-07 11:33 | 7.6753 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.0659 | μmol/L | 30.1432 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.902 | 125219.4217 | 268169.7397 | 36.4 | 83.1
126496 | 2021-05-07 11:33 | 8.0086 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.1808 | μmol/L | 30.1248 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.902 | 125232.3251 | 268179.3939 | 36.4 | 83.1
126506 | 2021-05-07 11:34 | 8.3415 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.9382 | μmol/L | 30.1493 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.907 | 125230.4416 | 268158.2881 | 36.4 | 83.1
126516 | 2021-05-07 11:34 | 8.6755 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.7545 | μmol/L | 30.1616 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.913 | 125285.4341 | 268151.5279 | 36.4 | 83.1
126526 | 2021-05-07 11:34 | 9.0085 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.9734 | μmol/L | 30.1063 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.92 | 125325.957 | 268152.9379 | 36.4 | 83.1
126536 | 2021-05-07 11:35 | 9.342 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.6216 | μmol/L | 30.137 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.929 | 125372.312 | 268129.1992 | 36.4 | 83.1
126546 | 2021-05-07 11:35 | 9.6749 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.4382 | μmol/L | 30.1493 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.935 | 125399.1662 | 268128.7197 | 36.4 | 83.1
126556 | 2021-05-07 11:35 | 10.0087 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.9469 | μmol/L | 30.0387 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.945 | 125446.3664 | 268126.2096 | 36.4 | 83.1
126566 | 2021-05-07 11:36 | 10.3419 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.4735 | μmol/L | 30.1063 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.948 | 125448.7459 | 268127.0646 | 36.4 | 83.1
126576 | 2021-05-07 11:36 | 10.6748 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.3388 | μmol/L | 30.1309 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.947 | 125465.406 | 268118.6709 | 36.4 | 83.1
126586 | 2021-05-07 11:36 | 11.0085 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.3284 | μmol/L | 30.1125 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.954 | 125477.281 | 268102.3576 | 36.4 | 83.1
126596 | 2021-05-07 11:37 | 11.3416 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.43 | μmol/L | 30.0817 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.959 | 125520.9947 | 268103.0662 | 36.4 | 83.1
126606 | 2021-05-07 11:37 | 11.6755 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.1657 | μmol/L | 30.1186 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.961 | 125533.0065 | 268092.9994 | 36.4 | 83.1
126616 | 2021-05-07 11:37 | 12.0084 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 201.9626 | μmol/L | 30.137 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.966 | 125539.2754 | 268076.674 | 36.4 | 83.1
126626 | 2021-05-07 11:38 | 12.3416 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 201.8534 | μmol/L | 30.1432 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.97 | 125552.52 | 268086.1677 | 36.4 | 83.1
126636 | 2021-05-07 11:38 | 12.6755 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 201.7164 | μmol/L | 30.1309 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.982 | 125647.6796 | 268082.1219 | 36.4 | 83.1
126646 | 2021-05-07 11:38 | 13.0084 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 201.5264 | μmol/L | 30.1186 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.997 | 125725.2611 | 268073.3571 | 36.4 | 83.1
126656 | 2021-05-07 11:39 | 13.3415 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 201.7948 | μmol/L | 30.0694 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.999 | 125717.4601 | 268063.9581 | 36.4 | 83.1
126666 | 2021-05-07 11:39 | 13.6747 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 201.7923 | μmol/L | 30.0756 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.997 | 125709.2548 | 268064.5085 | 36.4 | 83.1
126676 | 2021-05-07 11:39 | 14.0085 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 201.6986 | μmol/L | 30.0879 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.998 | 125722.6007 | 268049.3036 | 36.4 | 83.1
126686 | 2021-05-07 11:40 | 14.3415 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 201.8556 | μmol/L | 30.051 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.002 | 125739.6794 | 268047.0287 | 36.4 | 83.1
126696 | 2021-05-07 11:40 | 14.6751 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 201.7466 | μmol/L | 30.0572 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.006 | 125764.3025 | 268043.7793 | 36.4 | 83.1
126706 | 2021-05-07 11:40 | 15.0082 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 201.6377 | μmol/L | 30.0633 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.01 | 125756.7843 | 268039.0743 | 36.4 | 83.1
126716 | 2021-05-07 11:41 | 15.342 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 201.3898 | μmol/L | 30.1063 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.009 | 125747.9275 | 268029.9108 | 36.4 | 83.1
126726 | 2021-05-07 11:41 | 15.6749 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 201.658 | μmol/L | 30.0572 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.011 | 125764.51 | 268010.8829 | 36.4 | 83.1
126736 | 2021-05-07 11:41 | 16.0087 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 201.8099 | μmol/L | 30.0326 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.011 | 125770.0067 | 268007.0777 | 36.4 | 83.1
126746 | 2021-05-07 11:42 | 16.3417 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 201.5365 | μmol/L | 30.051 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.02 | 125800.1702 | 267998.6646 | 36.4 | 83.1
126756 | 2021-05-07 11:42 | 16.6747 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 201.5238 | μmol/L | 30.0387 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.025 | 125851.9696 | 268010.2041 | 36.4 | 83.1
126766 | 2021-05-07 11:42 | 17.0082 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 201.3645 | μmol/L | 30.0387 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.034 | 125867.8271 | 267987.6721 | 36.4 | 83.1
126776 | 2021-05-07 11:43 | 17.342 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 201.0841 | μmol/L | 30.0756 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.037 | 125935.8862 | 267983.7911 | 36.4 | 83.1
126786 | 2021-05-07 11:43 | 17.6749 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 200.8117 | μmol/L | 30.094 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.046 | 125950.8523 | 267990.7525 | 36.4 | 83.1
126796 | 2021-05-07 11:43 | 18.0087 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 200.9681 | μmol/L | 30.0572 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.05 | 126003.939 | 267984.2785 | 36.4 | 83.1
126806 | 2021-05-07 11:44 | 18.3419 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 200.7489 | μmol/L | 30.0756 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.056 | 126038.7739 | 267971.6362 | 36.4 | 83.1
126816 | 2021-05-07 11:44 | 18.6749 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 200.283 | μmol/L | 30.137 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.061 | 126047.7332 | 267959.9828 | 36.4 | 83.1
126826 | 2021-05-07 11:44 | 19.008 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 200.5977 | μmol/L | 30.1002 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.056 | 126024.8161 | 267964.2789 | 36.4 | 83.1
126836 | 2021-05-07 11:45 | 19.3417 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 200.5701 | μmol/L | 30.0817 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.064 | 126061.1869 | 267966.1828 | 36.4 | 83.1
126846 | 2021-05-07 11:45 | 19.6754 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 200.1926 | μmol/L | 30.1432 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.064 | 126089.6872 | 267945.7361 | 36.4 | 83.1
126856 | 2021-05-07 11:45 | 20.0086 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.9968 | μmol/L | 30.1493 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.073 | 126119.2865 | 267937.1237 | 36.4 | 83.1
126866 | 2021-05-07 11:46 | 20.3416 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 200.0195 | μmol/L | 30.137 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.076 | 126148.5285 | 267921.8454 | 36.4 | 83.1
126876 | 2021-05-07 11:46 | 20.6754 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 200.1176 | μmol/L | 30.1125 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.079 | 126173.1027 | 267931.735 | 36.4 | 83.1
126886 | 2021-05-07 11:46 | 21.0086 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 200.0045 | μmol/L | 30.1309 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.079 | 126150.9823 | 267917.6496 | 36.4 | 83.1
126896 | 2021-05-07 11:47 | 21.3414 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.831 | μmol/L | 30.1678 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.076 | 126163.3123 | 267918.5336 | 36.4 | 83.1
126906 | 2021-05-07 11:47 | 21.6751 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.7609 | μmol/L | 30.1678 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.08 | 126157.0667 | 267917.9102 | 36.4 | 83.1
126916 | 2021-05-07 11:47 | 22.0088 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.633 | μmol/L | 30.1801 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.083 | 126167.6275 | 267908.7304 | 36.4 | 83.1
126926 | 2021-05-07 11:48 | 22.3418 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.7986 | μmol/L | 30.1616 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.08 | 126155.9223 | 267907.2811 | 36.4 | 83.1
126936 | 2021-05-07 11:48 | 22.6749 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.9116 | μmol/L | 30.1432 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.08 | 126173.4778 | 267892.6398 | 36.4 | 83.1
126946 | 2021-05-07 11:48 | 23.0085 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.6181 | μmol/L | 30.1739 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.086 | 126215.8388 | 267889.5159 | 36.4 | 83.1
126956 | 2021-05-07 11:49 | 23.3415 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.6811 | μmol/L | 30.1493 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.091 | 126244.9066 | 267899.0765 | 36.4 | 83.1
126966 | 2021-05-07 11:49 | 23.6754 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.6915 | μmol/L | 30.1248 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.099 | 126275.0215 | 267889.1591 | 36.4 | 83.1
126976 | 2021-05-07 11:49 | 24.0084 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.7493 | μmol/L | 30.1125 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.1 | 126271.9904 | 267900.7705 | 36.4 | 83.1
126986 | 2021-05-07 11:50 | 24.3416 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.2603 | μmol/L | 30.1924 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.1 | 126271.3737 | 267888.8834 | 36.4 | 83.1
126996 | 2021-05-07 11:50 | 24.6754 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.2253 | μmol/L | 30.1924 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.102 | 126301.3015 | 267882.9092 | 36.4 | 83.1
127006 | 2021-05-07 11:50 | 25.0081 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.2708 | μmol/L | 30.1678 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.108 | 126340.8563 | 267872.0864 | 36.4 | 83.1
127016 | 2021-05-07 11:51 | 25.3421 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.3888 | μmol/L | 30.137 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.112 | 126359.1812 | 267880.8122 | 36.4 | 83.1
127026 | 2021-05-07 11:51 | 25.675 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.2787 | μmol/L | 30.1493 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.114 | 126370.4525 | 267898.873 | 36.4 | 83.1
127036 | 2021-05-07 11:51 | 26.0081 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.891 | μmol/L | 30.1985 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.119 | 126408.4344 | 267890.1198 | 36.4 | 83.1
127046 | 2021-05-07 11:52 | 26.342 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.8963 | μmol/L | 30.1862 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.123 | 126418.5983 | 267890.6751 | 36.4 | 83.1
127056 | 2021-05-07 11:52 | 26.6749 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.7622 | μmol/L | 30.1739 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.135 | 126493.8733 | 267882.0389 | 36.4 | 83.1
127066 | 2021-05-07 11:52 | 27.0086 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.6123 | μmol/L | 30.1985 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.135 | 126510.5069 | 267875.4514 | 36.4 | 83.1
127076 | 2021-05-07 11:53 | 27.3416 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.7875 | μmol/L | 30.1555 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.14 | 126525.5439 | 267873.5461 | 36.4 | 83.1
127086 | 2021-05-07 11:53 | 27.6747 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.167 | μmol/L | 30.2231 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.152 | 126592.3697 | 267862.9141 | 36.4 | 83.1
127096 | 2021-05-07 11:53 | 28.0085 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.2178 | μmol/L | 30.1862 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.162 | 126629.5797 | 267858.8998 | 36.4 | 83.1