## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-07 11:54

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
126257 | 2021-05-07 11:26 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.2078 | μmol/L | 30.1117 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.212 | 96821.7986 | 294599.1335 | 30.45 | 114.2
126267 | 2021-05-07 11:26 | 0.33396 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.7987 | μmol/L | 30.1919 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.27 | 97088.7414 | 294592.1329 | 30.45 | 114.2
126277 | 2021-05-07 11:26 | 0.66755 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.2777 | μmol/L | 30.1734 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.308 | 97298.3857 | 294593.0353 | 30.45 | 114.2
126287 | 2021-05-07 11:27 | 1.0003 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.6182 | μmol/L | 30.1919 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.342 | 97471.7176 | 294588.9785 | 30.45 | 114.2
126297 | 2021-05-07 11:27 | 1.3339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.3294 | μmol/L | 30.1734 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.366 | 97630.0656 | 294582.2895 | 30.45 | 114.2
126307 | 2021-05-07 11:27 | 1.6673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.8072 | μmol/L | 30.1795 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.396 | 97775.0067 | 294571.4412 | 30.45 | 114.2
126317 | 2021-05-07 11:28 | 2.0003 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.131 | μmol/L | 30.2227 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.423 | 97932.5024 | 294582.4456 | 30.45 | 114.2
126327 | 2021-05-07 11:28 | 2.3337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 182.389 | μmol/L | 30.2227 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.469 | 98151.3983 | 294588.534 | 30.45 | 114.2
126337 | 2021-05-07 11:28 | 2.6674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.8005 | μmol/L | 30.2597 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.493 | 98288.0193 | 294583.6912 | 30.45 | 114.2
126347 | 2021-05-07 11:29 | 3.0005 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.665 | μmol/L | 30.2288 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.512 | 98383.8315 | 294577.0395 | 30.45 | 114.2
126357 | 2021-05-07 11:29 | 3.3343 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.585 | μmol/L | 30.2288 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.517 | 98457.7974 | 294575.7176 | 30.45 | 114.2
126367 | 2021-05-07 11:29 | 3.6673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.3824 | μmol/L | 30.2104 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.536 | 98523.8283 | 294555.2492 | 30.45 | 114.2
126377 | 2021-05-07 11:30 | 4.0005 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.072 | μmol/L | 30.235 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.547 | 98582.9657 | 294548.1864 | 30.45 | 114.2
126387 | 2021-05-07 11:30 | 4.3338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.8684 | μmol/L | 30.2227 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.564 | 98713.5619 | 294560.2432 | 30.45 | 114.2
126397 | 2021-05-07 11:30 | 4.6671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.5539 | μmol/L | 30.2104 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.588 | 98811.2828 | 294550.0391 | 30.45 | 114.2
126407 | 2021-05-07 11:31 | 5.0003 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.2257 | μmol/L | 30.2473 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.596 | 98889.1832 | 294551.7768 | 30.45 | 114.2
126417 | 2021-05-07 11:31 | 5.3344 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 179.7928 | μmol/L | 30.2658 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.617 | 98974.8526 | 294537.0964 | 30.45 | 114.2
126427 | 2021-05-07 11:31 | 5.6675 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 179.6524 | μmol/L | 30.2597 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.628 | 99014.7323 | 294540.275 | 30.45 | 114.2
126437 | 2021-05-07 11:32 | 6.0005 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 179.5977 | μmol/L | 30.2843 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.623 | 99027.2677 | 294526.3708 | 30.45 | 114.2
126447 | 2021-05-07 11:32 | 6.3343 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 179.2979 | μmol/L | 30.2843 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.642 | 99102.8439 | 294525.4348 | 30.45 | 114.2
126457 | 2021-05-07 11:32 | 6.6674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 179.2738 | μmol/L | 30.2597 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.652 | 99144.2098 | 294506.2139 | 30.45 | 114.2
126467 | 2021-05-07 11:33 | 7.0004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 179.2756 | μmol/L | 30.2535 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.654 | 99182.6125 | 294512.5482 | 30.45 | 114.2
126477 | 2021-05-07 11:33 | 7.3341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 179.157 | μmol/L | 30.2288 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.67 | 99251.7824 | 294493.7645 | 30.45 | 114.2
126487 | 2021-05-07 11:33 | 7.6677 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 179.045 | μmol/L | 30.235 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.675 | 99270.9579 | 294502.8436 | 30.45 | 114.2
126497 | 2021-05-07 11:34 | 8.001 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.9701 | μmol/L | 30.2227 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.684 | 99289.9686 | 294484.2732 | 30.45 | 114.2
126507 | 2021-05-07 11:34 | 8.3339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.9913 | μmol/L | 30.2042 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.689 | 99325.3818 | 294478.2739 | 30.45 | 114.2
126517 | 2021-05-07 11:34 | 8.6672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.7798 | μmol/L | 30.2288 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.694 | 99347.1277 | 294455.9658 | 30.45 | 114.2
126527 | 2021-05-07 11:35 | 9.0009 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.717 | μmol/L | 30.2288 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.698 | 99380.2452 | 294457.4782 | 30.45 | 114.2
126537 | 2021-05-07 11:35 | 9.3337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.705 | μmol/L | 30.2165 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.703 | 99404.6927 | 294449.6716 | 30.45 | 114.2
126547 | 2021-05-07 11:35 | 9.6671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.5833 | μmol/L | 30.2042 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.715 | 99460.4708 | 294431.8833 | 30.45 | 114.2
126557 | 2021-05-07 11:36 | 10.0004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.3741 | μmol/L | 30.2227 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.722 | 99477.7756 | 294419.4953 | 30.45 | 114.2
126567 | 2021-05-07 11:36 | 10.3336 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.2683 | μmol/L | 30.2104 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.733 | 99500.2059 | 294423.6537 | 30.45 | 114.2
126577 | 2021-05-07 11:36 | 10.6675 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.3871 | μmol/L | 30.1795 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.736 | 99516.6169 | 294415.6552 | 30.45 | 114.2
126587 | 2021-05-07 11:37 | 11.0008 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.3052 | μmol/L | 30.1919 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.737 | 99538.5893 | 294414.1063 | 30.45 | 114.2
126597 | 2021-05-07 11:37 | 11.334 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.3383 | μmol/L | 30.1857 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.737 | 99546.5339 | 294424.181 | 30.45 | 114.2
126607 | 2021-05-07 11:37 | 11.667 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.2932 | μmol/L | 30.1795 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.742 | 99556.6044 | 294389.8853 | 30.45 | 114.2
126617 | 2021-05-07 11:38 | 12.0007 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.1838 | μmol/L | 30.1795 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.749 | 99565.7409 | 294383.8288 | 30.45 | 114.2
126627 | 2021-05-07 11:38 | 12.3336 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.2519 | μmol/L | 30.161 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.751 | 99583.268 | 294375.1713 | 30.45 | 114.2
126637 | 2021-05-07 11:38 | 12.6674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.0957 | μmol/L | 30.161 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.761 | 99601.5535 | 294364.3798 | 30.45 | 114.2
126647 | 2021-05-07 11:39 | 13.0006 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.9671 | μmol/L | 30.1734 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.765 | 99630.2617 | 294363.7458 | 30.45 | 114.2
126657 | 2021-05-07 11:39 | 13.3337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.07 | μmol/L | 30.1425 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.769 | 99643.256 | 294353.2019 | 30.45 | 114.2
126667 | 2021-05-07 11:39 | 13.6677 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.9066 | μmol/L | 30.1672 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.771 | 99654.8856 | 294338.561 | 30.45 | 114.2
126677 | 2021-05-07 11:40 | 14.0006 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.9259 | μmol/L | 30.1549 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.774 | 99663.176 | 294341.8105 | 30.45 | 114.2
126687 | 2021-05-07 11:40 | 14.3344 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.9452 | μmol/L | 30.1425 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.777 | 99669.2205 | 294327.6587 | 30.45 | 114.2
126697 | 2021-05-07 11:40 | 14.6672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.8323 | μmol/L | 30.1549 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.78 | 99716.6736 | 294319.1452 | 30.45 | 114.2
126707 | 2021-05-07 11:41 | 15.001 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.694 | μmol/L | 30.1487 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.791 | 99740.7623 | 294308.732 | 30.45 | 114.2
126717 | 2021-05-07 11:41 | 15.3341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.8297 | μmol/L | 30.1117 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.795 | 99750.1972 | 294318.9199 | 30.45 | 114.2
126727 | 2021-05-07 11:41 | 15.667 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.7188 | μmol/L | 30.1179 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.8 | 99752.0824 | 294294.6276 | 30.45 | 114.2
126737 | 2021-05-07 11:42 | 16.001 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.9269 | μmol/L | 30.0994 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.793 | 99757.8712 | 294290.0961 | 30.45 | 114.2
126747 | 2021-05-07 11:42 | 16.334 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.5284 | μmol/L | 30.1302 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.808 | 99775.8048 | 294293.896 | 30.45 | 114.2
126757 | 2021-05-07 11:42 | 16.6671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.3985 | μmol/L | 30.1487 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.81 | 99796.8037 | 294273.7219 | 30.45 | 114.2
126767 | 2021-05-07 11:43 | 17.0006 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.4333 | μmol/L | 30.1364 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.812 | 99809.9578 | 294276.0096 | 30.45 | 114.2
126777 | 2021-05-07 11:43 | 17.3337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.5496 | μmol/L | 30.1117 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.813 | 99821.1586 | 294282.2882 | 30.45 | 114.2
126787 | 2021-05-07 11:43 | 17.6675 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.5632 | μmol/L | 30.1179 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.81 | 99812.1811 | 294254.3848 | 30.45 | 114.2
126797 | 2021-05-07 11:44 | 18.0005 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.4159 | μmol/L | 30.1425 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.811 | 99820.0152 | 294243.4692 | 30.45 | 114.2
126807 | 2021-05-07 11:44 | 18.3344 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.3519 | μmol/L | 30.1487 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.813 | 99834.9261 | 294241.2048 | 30.45 | 114.2
126817 | 2021-05-07 11:44 | 18.6677 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.1637 | μmol/L | 30.1549 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.823 | 99857.9563 | 294236.2583 | 30.45 | 114.2
126827 | 2021-05-07 11:45 | 19.0005 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.1948 | μmol/L | 30.1549 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.821 | 99871.2025 | 294232.5808 | 30.45 | 114.2
126837 | 2021-05-07 11:45 | 19.3343 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.0824 | μmol/L | 30.1672 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.824 | 99885.2295 | 294229.421 | 30.45 | 114.2
126847 | 2021-05-07 11:45 | 19.6673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.1365 | μmol/L | 30.1425 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.829 | 99903.261 | 294213.6368 | 30.45 | 114.2
126857 | 2021-05-07 11:46 | 20.0005 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.2117 | μmol/L | 30.1241 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.831 | 99906.3735 | 294217.0227 | 30.45 | 114.2
126867 | 2021-05-07 11:46 | 20.3343 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.935 | μmol/L | 30.1672 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.834 | 99928.1688 | 294203.9476 | 30.45 | 114.2
126877 | 2021-05-07 11:46 | 20.6672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.9913 | μmol/L | 30.161 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.832 | 99933.6927 | 294193.956 | 30.45 | 114.2
126887 | 2021-05-07 11:47 | 21.001 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.9139 | μmol/L | 30.161 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.837 | 99938.9968 | 294195.8486 | 30.45 | 114.2
126897 | 2021-05-07 11:47 | 21.3341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.9078 | μmol/L | 30.1549 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.84 | 99955.1112 | 294182.4059 | 30.45 | 114.2
126907 | 2021-05-07 11:47 | 21.6672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.9078 | μmol/L | 30.1549 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.84 | 99967.9703 | 294185.5612 | 30.45 | 114.2
126917 | 2021-05-07 11:48 | 22.001 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.8595 | μmol/L | 30.161 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.841 | 99971.8007 | 294173.4949 | 30.45 | 114.2
126927 | 2021-05-07 11:48 | 22.3339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.8693 | μmol/L | 30.1795 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.834 | 99960.6209 | 294164.6731 | 30.45 | 114.2
126937 | 2021-05-07 11:48 | 22.6677 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.6045 | μmol/L | 30.1857 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.849 | 100021.8088 | 294165.9782 | 30.45 | 114.2
126947 | 2021-05-07 11:49 | 23.0007 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.6237 | μmol/L | 30.1734 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.852 | 100061.7707 | 294159.0855 | 30.45 | 114.2
126957 | 2021-05-07 11:49 | 23.3337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.3728 | μmol/L | 30.1857 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.864 | 100077.4863 | 294145.1927 | 30.45 | 114.2
126967 | 2021-05-07 11:49 | 23.6676 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.1917 | μmol/L | 30.2227 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.863 | 100086.8343 | 294150.771 | 30.45 | 114.2
126977 | 2021-05-07 11:50 | 24.0004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.1917 | μmol/L | 30.2227 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.863 | 100103.1119 | 294145.3448 | 30.45 | 114.2
126987 | 2021-05-07 11:50 | 24.3344 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.2283 | μmol/L | 30.2042 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.867 | 100103.4209 | 294135.0291 | 30.45 | 114.2
126997 | 2021-05-07 11:50 | 24.6673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.1745 | μmol/L | 30.2042 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.87 | 100127.746 | 294135.0567 | 30.45 | 114.2
127007 | 2021-05-07 11:51 | 25.0006 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.8779 | μmol/L | 30.2412 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.877 | 100170.5935 | 294128.9094 | 30.45 | 114.2
127017 | 2021-05-07 11:51 | 25.3341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.9839 | μmol/L | 30.2227 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.876 | 100181.2501 | 294137.9206 | 30.45 | 114.2
127027 | 2021-05-07 11:51 | 25.6672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.8703 | μmol/L | 30.2165 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.886 | 100218.4357 | 294133.6254 | 30.45 | 114.2
127037 | 2021-05-07 11:52 | 26.0008 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.7588 | μmol/L | 30.2288 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.889 | 100214.6819 | 294137.7367 | 30.45 | 114.2
127047 | 2021-05-07 11:52 | 26.3338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.6339 | μmol/L | 30.235 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.895 | 100254.4929 | 294133.7026 | 30.45 | 114.2
127057 | 2021-05-07 11:52 | 26.6674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.6571 | μmol/L | 30.2104 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.902 | 100277.1855 | 294114.9919 | 30.45 | 114.2
127067 | 2021-05-07 11:53 | 27.001 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.4266 | μmol/L | 30.2597 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.9 | 100290.7565 | 294112.6181 | 30.45 | 114.2
127077 | 2021-05-07 11:53 | 27.334 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.4632 | μmol/L | 30.2412 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.904 | 100307.0027 | 294113.3469 | 30.45 | 114.2
127087 | 2021-05-07 11:53 | 27.6677 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.3193 | μmol/L | 30.2597 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.907 | 100310.3835 | 294111.5714 | 30.45 | 114.2
127097 | 2021-05-07 11:54 | 28.0009 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.3539 | μmol/L | 30.2473 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.909 | 101472.3518 | 294103.8821 | 30.45 | 114.2