## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-07 11:54

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
126259 | 2021-05-07 11:26 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.3581 | μmol/L | 30.1531 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.543 | 136450.9506 | 303215.5575 | 33.25 | 68.6
126269 | 2021-05-07 11:26 | 0.33186 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.1594 | μmol/L | 30.2203 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.651 | 137249.4475 | 303218.5041 | 33.25 | 68.6
126279 | 2021-05-07 11:26 | 0.66541 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.3215 | μmol/L | 30.1409 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.73 | 137805.5374 | 303216.7113 | 33.25 | 68.6
126289 | 2021-05-07 11:27 | 0.99887 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.098 | μmol/L | 30.1287 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.809 | 138417.3085 | 303206.466 | 33.25 | 68.6
126299 | 2021-05-07 11:27 | 1.3322 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.3432 | μmol/L | 30.1409 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.851 | 138680.3182 | 303183.5708 | 33.25 | 68.6
126309 | 2021-05-07 11:27 | 1.6659 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.054 | μmol/L | 30.1348 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.871 | 138825.1871 | 303181.0994 | 33.25 | 68.6
126319 | 2021-05-07 11:28 | 1.9991 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.6082 | μmol/L | 30.1531 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.892 | 138962.834 | 303191.3766 | 33.25 | 68.6
126329 | 2021-05-07 11:28 | 2.332 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.3938 | μmol/L | 30.1287 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.914 | 139107.5878 | 303181.5166 | 33.25 | 68.6
126339 | 2021-05-07 11:28 | 2.6659 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.3645 | μmol/L | 30.1226 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.918 | 139178.452 | 303184.1676 | 33.25 | 68.6
126349 | 2021-05-07 11:29 | 2.9991 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.0685 | μmol/L | 30.1348 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.932 | 139265.3143 | 303170.386 | 33.25 | 68.6
126359 | 2021-05-07 11:29 | 3.3321 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.8783 | μmol/L | 30.1287 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.946 | 139377.4006 | 303161.0617 | 33.25 | 68.6
126369 | 2021-05-07 11:29 | 3.6653 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.6724 | μmol/L | 30.1226 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.961 | 139466.1101 | 303166.2689 | 33.25 | 68.6
126379 | 2021-05-07 11:30 | 3.9988 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.3147 | μmol/L | 30.1654 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.968 | 139529.3951 | 303162.7459 | 33.25 | 68.6
126389 | 2021-05-07 11:30 | 4.332 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.2375 | μmol/L | 30.1592 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.975 | 139567.7978 | 303162.3658 | 33.25 | 68.6
126399 | 2021-05-07 11:30 | 4.6652 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.6979 | μmol/L | 30.1837 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22 | 139751.325 | 303149.0099 | 33.25 | 68.6
126409 | 2021-05-07 11:31 | 4.9991 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.5534 | μmol/L | 30.1531 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.02 | 139898.1123 | 303148.8898 | 33.25 | 68.6
126419 | 2021-05-07 11:31 | 5.3322 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.6422 | μmol/L | 30.1348 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.021 | 139887.1359 | 303152.2772 | 33.25 | 68.6
126429 | 2021-05-07 11:31 | 5.6652 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.3274 | μmol/L | 30.1592 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.032 | 139986.464 | 303145.3898 | 33.25 | 68.6
126439 | 2021-05-07 11:32 | 5.9991 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 184.9141 | μmol/L | 30.1592 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.058 | 140184.697 | 303137.4079 | 33.25 | 68.6
126449 | 2021-05-07 11:32 | 6.332 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 184.2434 | μmol/L | 30.202 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.085 | 140374.0212 | 303138.4888 | 33.25 | 68.6
126459 | 2021-05-07 11:32 | 6.666 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 184.227 | μmol/L | 30.1715 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.097 | 140508.4036 | 303130.9013 | 33.25 | 68.6
126469 | 2021-05-07 11:33 | 6.9989 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 183.8579 | μmol/L | 30.1837 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.116 | 140607.2127 | 303114.9942 | 33.25 | 68.6
126479 | 2021-05-07 11:33 | 7.332 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 183.5932 | μmol/L | 30.1776 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.135 | 140718.6775 | 303100.7115 | 33.25 | 68.6
126489 | 2021-05-07 11:33 | 7.6655 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 182.7746 | μmol/L | 30.2447 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.163 | 140908.7935 | 303105.823 | 33.25 | 68.6
126499 | 2021-05-07 11:34 | 7.9987 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 182.6931 | μmol/L | 30.2203 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.177 | 141016.7201 | 303082.6699 | 33.25 | 68.6
126509 | 2021-05-07 11:34 | 8.3325 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 182.5024 | μmol/L | 30.2264 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.187 | 141055.9655 | 303086.2398 | 33.25 | 68.6
126519 | 2021-05-07 11:34 | 8.6656 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 182.4305 | μmol/L | 30.2142 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.196 | 141136.9202 | 303069.8886 | 33.25 | 68.6
126529 | 2021-05-07 11:35 | 8.9985 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 182.5428 | μmol/L | 30.1776 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.202 | 141168.3662 | 303054.426 | 33.25 | 68.6
126539 | 2021-05-07 11:35 | 9.3326 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 182.6333 | μmol/L | 30.1531 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.205 | 141204.0001 | 303056.2047 | 33.25 | 68.6
126549 | 2021-05-07 11:35 | 9.6652 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 182.7582 | μmol/L | 30.1226 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.208 | 141241.3681 | 303059.9367 | 33.25 | 68.6
126559 | 2021-05-07 11:36 | 9.9993 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 182.5552 | μmol/L | 30.1531 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.21 | 141236.1718 | 303047.5906 | 33.25 | 68.6
126569 | 2021-05-07 11:36 | 10.3323 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 182.2651 | μmol/L | 30.202 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.211 | 141215.4234 | 303018.962 | 33.25 | 68.6
126579 | 2021-05-07 11:36 | 10.6653 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 182.3056 | μmol/L | 30.1837 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.215 | 141260.346 | 303014.8724 | 33.25 | 68.6
126589 | 2021-05-07 11:37 | 10.9989 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 182.2868 | μmol/L | 30.1592 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.225 | 141332.818 | 303008.7898 | 33.25 | 68.6
126599 | 2021-05-07 11:37 | 11.3318 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.9878 | μmol/L | 30.1959 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.231 | 141392.0807 | 302992.0944 | 33.25 | 68.6
126609 | 2021-05-07 11:37 | 11.6659 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.8384 | μmol/L | 30.1837 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.245 | 141468.5072 | 302992.9435 | 33.25 | 68.6
126619 | 2021-05-07 11:38 | 11.9993 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.534 | μmol/L | 30.202 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.258 | 141551.9618 | 302980.8326 | 33.25 | 68.6
126629 | 2021-05-07 11:38 | 12.3322 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.5869 | μmol/L | 30.1592 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.27 | 141641.5505 | 302982.8579 | 33.25 | 68.6
126639 | 2021-05-07 11:38 | 12.6652 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.5931 | μmol/L | 30.1165 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.285 | 141754.9934 | 302980.5555 | 33.25 | 68.6
126649 | 2021-05-07 11:39 | 12.999 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.1593 | μmol/L | 30.147 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.302 | 141863.185 | 302969.797 | 33.25 | 68.6
126659 | 2021-05-07 11:39 | 13.3322 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.8563 | μmol/L | 30.1654 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.315 | 141930.7421 | 302954.5905 | 33.25 | 68.6
126669 | 2021-05-07 11:39 | 13.6652 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.1316 | μmol/L | 30.1104 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.317 | 141958.3493 | 302941.6791 | 33.25 | 68.6
126679 | 2021-05-07 11:40 | 13.9989 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.0481 | μmol/L | 30.1226 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.318 | 141988.0604 | 302933.0401 | 33.25 | 68.6
126689 | 2021-05-07 11:40 | 14.332 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.1007 | μmol/L | 30.1104 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.319 | 141982.388 | 302930.0445 | 33.25 | 68.6
126699 | 2021-05-07 11:40 | 14.6658 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.9802 | μmol/L | 30.1043 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.329 | 142041.3354 | 302918.6312 | 33.25 | 68.6
126709 | 2021-05-07 11:41 | 14.9989 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.8506 | μmol/L | 30.086 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.344 | 142160.4815 | 302923.0518 | 33.25 | 68.6
126719 | 2021-05-07 11:41 | 15.3321 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.6594 | μmol/L | 30.0982 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.352 | 142199.265 | 302903.1608 | 33.25 | 68.6
126729 | 2021-05-07 11:41 | 15.6657 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.4186 | μmol/L | 30.147 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.35 | 142201.8182 | 302897.3708 | 33.25 | 68.6
126739 | 2021-05-07 11:42 | 15.9988 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.6405 | μmol/L | 30.1348 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.34 | 142135.7993 | 302893.9991 | 33.25 | 68.6
126749 | 2021-05-07 11:42 | 16.3325 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.5726 | μmol/L | 30.147 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.34 | 142092.6699 | 302890.8089 | 33.25 | 68.6
126759 | 2021-05-07 11:42 | 16.6657 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.6066 | μmol/L | 30.1409 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.34 | 142092.0308 | 302868.2674 | 33.25 | 68.6
126769 | 2021-05-07 11:43 | 16.9985 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.5729 | μmol/L | 30.1165 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.351 | 142166.592 | 302880.0631 | 33.25 | 68.6
126779 | 2021-05-07 11:43 | 17.3325 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.2924 | μmol/L | 30.1531 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.356 | 142197.0982 | 302851.818 | 33.25 | 68.6
126789 | 2021-05-07 11:43 | 17.6655 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.2617 | μmol/L | 30.1531 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.358 | 142215.3049 | 302861.8904 | 33.25 | 68.6
126799 | 2021-05-07 11:44 | 17.9993 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.3326 | μmol/L | 30.1348 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.36 | 142200.9808 | 302847.7847 | 33.25 | 68.6
126809 | 2021-05-07 11:44 | 18.3323 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.462 | μmol/L | 30.1226 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.356 | 142198.2458 | 302846.6073 | 33.25 | 68.6
126819 | 2021-05-07 11:44 | 18.6653 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.1943 | μmol/L | 30.1348 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.369 | 142291.7295 | 302846.6307 | 33.25 | 68.6
126829 | 2021-05-07 11:45 | 18.9991 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 179.8376 | μmol/L | 30.1715 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.379 | 142367.4782 | 302828.3247 | 33.25 | 68.6
126839 | 2021-05-07 11:45 | 19.3322 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 179.7029 | μmol/L | 30.1654 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.39 | 142405.3188 | 302824.651 | 33.25 | 68.6
126849 | 2021-05-07 11:45 | 19.6659 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 179.4147 | μmol/L | 30.1898 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.4 | 142514.0965 | 302811.676 | 33.25 | 68.6
126859 | 2021-05-07 11:46 | 19.9989 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 179.3599 | μmol/L | 30.1776 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.408 | 142570.5212 | 302810.6471 | 33.25 | 68.6
126869 | 2021-05-07 11:46 | 20.3319 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 179.1029 | μmol/L | 30.202 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.416 | 142621.2242 | 302798.2905 | 33.25 | 68.6
126879 | 2021-05-07 11:46 | 20.6658 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 179.0298 | μmol/L | 30.1959 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.423 | 142676.8781 | 302784.2333 | 33.25 | 68.6
126889 | 2021-05-07 11:47 | 20.999 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 179.0057 | μmol/L | 30.1837 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.429 | 142712.1538 | 302795.181 | 33.25 | 68.6
126899 | 2021-05-07 11:47 | 21.332 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.7491 | μmol/L | 30.2081 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.437 | 142759.4718 | 302770.7767 | 33.25 | 68.6
126909 | 2021-05-07 11:47 | 21.6657 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.7339 | μmol/L | 30.2081 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.438 | 142775.7416 | 302764.5124 | 33.25 | 68.6
126919 | 2021-05-07 11:48 | 21.9986 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.6546 | μmol/L | 30.2142 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.441 | 142767.7157 | 302772.7832 | 33.25 | 68.6
126929 | 2021-05-07 11:48 | 22.3322 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.7371 | μmol/L | 30.202 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.44 | 142760.845 | 302764.1106 | 33.25 | 68.6
126939 | 2021-05-07 11:48 | 22.6652 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.5994 | μmol/L | 30.2325 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.438 | 142755.4775 | 302764.118 | 33.25 | 68.6
126949 | 2021-05-07 11:49 | 22.999 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.5082 | μmol/L | 30.2325 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.444 | 142757.0959 | 302748.8441 | 33.25 | 68.6
126959 | 2021-05-07 11:49 | 23.3318 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.5634 | μmol/L | 30.2142 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.447 | 142782.2282 | 302748.1496 | 33.25 | 68.6
126969 | 2021-05-07 11:49 | 23.6657 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.4322 | μmol/L | 30.2325 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.449 | 142796.7055 | 302737.3965 | 33.25 | 68.6
126979 | 2021-05-07 11:50 | 23.9987 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.3866 | μmol/L | 30.2325 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.452 | 142816.9519 | 302729.7648 | 33.25 | 68.6
126989 | 2021-05-07 11:50 | 24.3324 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.2923 | μmol/L | 30.2386 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.456 | 142824.1267 | 302725.1757 | 33.25 | 68.6
126999 | 2021-05-07 11:50 | 24.6653 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.2436 | μmol/L | 30.2447 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.457 | 142840.0046 | 302733.1548 | 33.25 | 68.6
127009 | 2021-05-07 11:51 | 24.9993 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.2284 | μmol/L | 30.2447 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.458 | 142843.522 | 302723.753 | 33.25 | 68.6
127019 | 2021-05-07 11:51 | 25.3323 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.1071 | μmol/L | 30.2447 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.466 | 142853.7968 | 302710.2935 | 33.25 | 68.6
127029 | 2021-05-07 11:51 | 25.6654 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.9059 | μmol/L | 30.2814 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.466 | 142896.7857 | 302724.581 | 33.25 | 68.6
127039 | 2021-05-07 11:52 | 25.9992 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 178.0216 | μmol/L | 30.263 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.465 | 142900.6925 | 302729.3301 | 33.25 | 68.6
127049 | 2021-05-07 11:52 | 26.3322 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.9491 | μmol/L | 30.2569 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.472 | 142929.3454 | 302708.1488 | 33.25 | 68.6
127059 | 2021-05-07 11:52 | 26.6659 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.8583 | μmol/L | 30.2569 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.478 | 142985.014 | 302708.2137 | 33.25 | 68.6
127069 | 2021-05-07 11:53 | 26.9988 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.6131 | μmol/L | 30.263 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.492 | 143057.4392 | 302703.6557 | 33.25 | 68.6
127079 | 2021-05-07 11:53 | 27.3319 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.6164 | μmol/L | 30.2569 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.494 | 143107.3827 | 302697.9238 | 33.25 | 68.6
127089 | 2021-05-07 11:53 | 27.6659 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.5894 | μmol/L | 30.2508 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.498 | 143139.4299 | 302700.959 | 33.25 | 68.6
127099 | 2021-05-07 11:54 | 27.9988 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 177.3146 | μmol/L | 30.2569 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.514 | 144397.4821 | 302706.4491 | 33.25 | 68.6