## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-07 11:54

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
126260 | 2021-05-07 11:26 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.0471 | μmol/L | 30.153 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.869 | 125051.8041 | 267202.6352 | 26.25 | 74
126270 | 2021-05-07 11:26 | 0.34102 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.7482 | μmol/L | 30.1408 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.006 | 126019.7149 | 267191.5766 | 26.25 | 74
126280 | 2021-05-07 11:26 | 0.67451 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.0138 | μmol/L | 30.1103 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.118 | 126796.1614 | 267182.7737 | 26.25 | 74
126290 | 2021-05-07 11:27 | 1.0076 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.2719 | μmol/L | 30.1286 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.215 | 127473.6515 | 267182.3731 | 26.25 | 74
126300 | 2021-05-07 11:27 | 1.3412 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.0872 | μmol/L | 30.1225 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.288 | 128014.6575 | 267171.016 | 26.25 | 74
126310 | 2021-05-07 11:27 | 1.6744 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.7739 | μmol/L | 30.1408 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.361 | 128493.3245 | 267175.6519 | 26.25 | 74
126320 | 2021-05-07 11:28 | 2.0077 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.4964 | μmol/L | 30.1897 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.422 | 128909.9268 | 267169.2095 | 26.25 | 74
126330 | 2021-05-07 11:28 | 2.3414 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.9463 | μmol/L | 30.1714 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.462 | 129199.8093 | 267173.8848 | 26.25 | 74
126340 | 2021-05-07 11:28 | 2.6744 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.5542 | μmol/L | 30.1775 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.484 | 129371.6502 | 267175.1475 | 26.25 | 74
126350 | 2021-05-07 11:29 | 3.0075 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.0965 | μmol/L | 30.1897 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.508 | 129564.32 | 267162.7944 | 26.25 | 74
126360 | 2021-05-07 11:29 | 3.3411 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.0385 | μmol/L | 30.1653 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.52 | 129649.7765 | 267148.7017 | 26.25 | 74
126370 | 2021-05-07 11:29 | 3.674 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.4627 | μmol/L | 30.2019 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.543 | 129845.9822 | 267144.7067 | 26.25 | 74
126380 | 2021-05-07 11:30 | 4.0073 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.1513 | μmol/L | 30.2203 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.556 | 129929.8941 | 267146.6189 | 26.25 | 74
126390 | 2021-05-07 11:30 | 4.3414 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.7902 | μmol/L | 30.1897 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.589 | 130155.957 | 267137.8554 | 26.25 | 74
126400 | 2021-05-07 11:30 | 4.6746 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.3486 | μmol/L | 30.2203 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.606 | 130262.4199 | 267133.3334 | 26.25 | 74
126410 | 2021-05-07 11:31 | 5.0075 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.2899 | μmol/L | 30.2019 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.616 | 130338.7551 | 267134.8422 | 26.25 | 74
126420 | 2021-05-07 11:31 | 5.3415 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.0199 | μmol/L | 30.1958 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.635 | 130471.8145 | 267140.8227 | 26.25 | 74
126430 | 2021-05-07 11:31 | 5.6746 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 182.8213 | μmol/L | 30.2203 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.639 | 130522.1795 | 267132.7531 | 26.25 | 74
126440 | 2021-05-07 11:32 | 6.0076 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 182.7965 | μmol/L | 30.1958 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.649 | 130621.4172 | 267122.3406 | 26.25 | 74
126450 | 2021-05-07 11:32 | 6.3414 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 182.623 | μmol/L | 30.1897 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.662 | 130703.6014 | 267127.5924 | 26.25 | 74
126460 | 2021-05-07 11:32 | 6.6746 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 182.3295 | μmol/L | 30.2142 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.672 | 130755.0734 | 267096.9248 | 26.25 | 74
126470 | 2021-05-07 11:33 | 7.0076 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 182.2536 | μmol/L | 30.2019 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.681 | 130837.8602 | 267098.5634 | 26.25 | 74
126480 | 2021-05-07 11:33 | 7.3407 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 182.1479 | μmol/L | 30.1836 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.694 | 130896.4289 | 267102.6844 | 26.25 | 74
126490 | 2021-05-07 11:33 | 7.674 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.7511 | μmol/L | 30.2386 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.7 | 130973.3548 | 267082.6357 | 26.25 | 74
126500 | 2021-05-07 11:34 | 8.008 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.8516 | μmol/L | 30.2203 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.7 | 130953.0557 | 267073.9447 | 26.25 | 74
126510 | 2021-05-07 11:34 | 8.341 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 182.1338 | μmol/L | 30.1775 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.697 | 130960.9072 | 267068.0599 | 26.25 | 74
126520 | 2021-05-07 11:34 | 8.6743 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.7164 | μmol/L | 30.1958 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.717 | 131053.6706 | 267065.4555 | 26.25 | 74
126530 | 2021-05-07 11:35 | 9.0076 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.8888 | μmol/L | 30.2019 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.704 | 130995.8934 | 267061.2934 | 26.25 | 74
126540 | 2021-05-07 11:35 | 9.3409 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.9417 | μmol/L | 30.1836 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.707 | 130984.9702 | 267046.439 | 26.25 | 74
126550 | 2021-05-07 11:35 | 9.6743 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 182.3512 | μmol/L | 30.0858 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.715 | 131057.9485 | 267037.3013 | 26.25 | 74
126560 | 2021-05-07 11:36 | 10.0074 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.8978 | μmol/L | 30.1714 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.714 | 131040.6576 | 267040.864 | 26.25 | 74
126570 | 2021-05-07 11:36 | 10.3413 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.6233 | μmol/L | 30.1897 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.725 | 131118.0028 | 267034.3442 | 26.25 | 74
126580 | 2021-05-07 11:36 | 10.6742 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.9598 | μmol/L | 30.1225 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.727 | 131125.2568 | 267021.4126 | 26.25 | 74
126590 | 2021-05-07 11:37 | 11.0079 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.745 | μmol/L | 30.153 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.73 | 131148.8897 | 267014.1785 | 26.25 | 74
126600 | 2021-05-07 11:37 | 11.341 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.4671 | μmol/L | 30.1836 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.737 | 131191.4278 | 267008.0723 | 26.25 | 74
126610 | 2021-05-07 11:37 | 11.6741 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.455 | μmol/L | 30.1714 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.742 | 131229.6748 | 267000.8198 | 26.25 | 74
126620 | 2021-05-07 11:38 | 12.0077 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.9015 | μmol/L | 30.1775 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.775 | 131411.4778 | 266998.8873 | 26.25 | 74
126630 | 2021-05-07 11:38 | 12.3408 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.3045 | μmol/L | 30.1469 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.76 | 131322.8165 | 266993.5488 | 26.25 | 74
126640 | 2021-05-07 11:38 | 12.6747 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.4853 | μmol/L | 30.1225 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.757 | 131296.6626 | 266986.1075 | 26.25 | 74
126650 | 2021-05-07 11:39 | 13.0077 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.2498 | μmol/L | 30.1714 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.755 | 131303.605 | 266973.1405 | 26.25 | 74
126660 | 2021-05-07 11:39 | 13.3407 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.8487 | μmol/L | 30.1958 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.772 | 131404.2617 | 266961.7725 | 26.25 | 74
126670 | 2021-05-07 11:39 | 13.6747 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.8543 | μmol/L | 30.1775 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.778 | 131454.298 | 266950.0879 | 26.25 | 74
126680 | 2021-05-07 11:40 | 14.0077 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.7932 | μmol/L | 30.1714 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.784 | 131479.3004 | 266942.7267 | 26.25 | 74
126690 | 2021-05-07 11:40 | 14.3414 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.8931 | μmol/L | 30.153 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.784 | 131495.1097 | 266942.5224 | 26.25 | 74
126700 | 2021-05-07 11:40 | 14.6746 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.8006 | μmol/L | 30.1469 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.792 | 131531.2482 | 266933.7252 | 26.25 | 74
126710 | 2021-05-07 11:41 | 15.0075 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.5632 | μmol/L | 30.153 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.805 | 131593.563 | 266940.0617 | 26.25 | 74
126720 | 2021-05-07 11:41 | 15.3414 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.2341 | μmol/L | 30.153 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.826 | 131752.1807 | 266919.3912 | 26.25 | 74
126730 | 2021-05-07 11:41 | 15.6744 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.6205 | μmol/L | 30.0675 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.831 | 131775.7137 | 266917.0845 | 26.25 | 74
126740 | 2021-05-07 11:42 | 16.0073 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.3042 | μmol/L | 30.1286 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.83 | 131745.4513 | 266917.5598 | 26.25 | 74
126750 | 2021-05-07 11:42 | 16.341 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.5255 | μmol/L | 30.1225 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.818 | 131685.0821 | 266909.8448 | 26.25 | 74
126760 | 2021-05-07 11:42 | 16.6748 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 179.9957 | μmol/L | 30.1653 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.837 | 131782.9528 | 266908.751 | 26.25 | 74
126770 | 2021-05-07 11:43 | 17.0081 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 179.9138 | μmol/L | 30.1775 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.838 | 131809.358 | 266898.157 | 26.25 | 74
126780 | 2021-05-07 11:43 | 17.3411 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 179.8631 | μmol/L | 30.1897 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.837 | 131805.4034 | 266883.8517 | 26.25 | 74
126790 | 2021-05-07 11:43 | 17.674 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 179.982 | μmol/L | 30.1592 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.84 | 131808.579 | 266886.2416 | 26.25 | 74
126800 | 2021-05-07 11:44 | 18.0079 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 179.9644 | μmol/L | 30.1653 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.839 | 131830.1154 | 266877.3532 | 26.25 | 74
126810 | 2021-05-07 11:44 | 18.3409 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 179.9157 | μmol/L | 30.1714 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.84 | 131803.7062 | 266866.0803 | 26.25 | 74
126820 | 2021-05-07 11:44 | 18.6747 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.027 | μmol/L | 30.1653 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.835 | 131804.3497 | 266864.1716 | 26.25 | 74
126830 | 2021-05-07 11:45 | 19.0078 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 179.6815 | μmol/L | 30.1714 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.855 | 131929.6052 | 266867.5955 | 26.25 | 74
126840 | 2021-05-07 11:45 | 19.3414 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 179.9114 | μmol/L | 30.1347 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.853 | 131933.147 | 266861.7382 | 26.25 | 74
126850 | 2021-05-07 11:45 | 19.6743 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 179.7439 | μmol/L | 30.1714 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.851 | 131905.7057 | 266854.9119 | 26.25 | 74
126860 | 2021-05-07 11:46 | 20.0081 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 179.4713 | μmol/L | 30.1958 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.86 | 131959.1942 | 266846.7522 | 26.25 | 74
126870 | 2021-05-07 11:46 | 20.341 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 179.0475 | μmol/L | 30.2081 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.883 | 132121.2119 | 266832.2536 | 26.25 | 74
126880 | 2021-05-07 11:46 | 20.674 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.8283 | μmol/L | 30.2142 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.895 | 132228.9283 | 266826.9372 | 26.25 | 74
126890 | 2021-05-07 11:47 | 21.0076 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.8341 | μmol/L | 30.1958 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.901 | 132243.0236 | 266823.0711 | 26.25 | 74
126900 | 2021-05-07 11:47 | 21.3406 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.6985 | μmol/L | 30.1836 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.914 | 132353.0332 | 266819.1192 | 26.25 | 74
126910 | 2021-05-07 11:47 | 21.6744 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.3175 | μmol/L | 30.2142 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.928 | 132418.7635 | 266808.1499 | 26.25 | 74
126920 | 2021-05-07 11:48 | 22.008 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.3967 | μmol/L | 30.2081 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.925 | 132371.9846 | 266801.8794 | 26.25 | 74
126930 | 2021-05-07 11:48 | 22.3408 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.2074 | μmol/L | 30.2203 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.933 | 132453.568 | 266806.6562 | 26.25 | 74
126940 | 2021-05-07 11:48 | 22.6745 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.1939 | μmol/L | 30.2142 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.936 | 132488.7537 | 266804.935 | 26.25 | 74
126950 | 2021-05-07 11:49 | 23.0074 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.2885 | μmol/L | 30.2081 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.932 | 132452.8554 | 266800.5591 | 26.25 | 74
126960 | 2021-05-07 11:49 | 23.3411 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.1089 | μmol/L | 30.2386 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.933 | 132442.6496 | 266791.1162 | 26.25 | 74
126970 | 2021-05-07 11:49 | 23.6742 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.1417 | μmol/L | 30.2325 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.933 | 132432.3855 | 266790.4557 | 26.25 | 74
126980 | 2021-05-07 11:50 | 24.008 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 177.8965 | μmol/L | 30.2753 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.934 | 132447.4542 | 266801.7074 | 26.25 | 74
126990 | 2021-05-07 11:50 | 24.3408 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 177.8289 | μmol/L | 30.2936 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.932 | 132397.3024 | 266786.9781 | 26.25 | 74
127000 | 2021-05-07 11:50 | 24.6747 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 177.9234 | μmol/L | 30.2875 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.928 | 132412.17 | 266767.0251 | 26.25 | 74
127010 | 2021-05-07 11:51 | 25.0077 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.0934 | μmol/L | 30.2386 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.934 | 132464.5894 | 266775.5413 | 26.25 | 74
127020 | 2021-05-07 11:51 | 25.3411 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.0262 | μmol/L | 30.2081 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.949 | 132548.6743 | 266778.2026 | 26.25 | 74
127030 | 2021-05-07 11:51 | 25.6741 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 177.5598 | μmol/L | 30.2692 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.958 | 132655.5725 | 266764.1353 | 26.25 | 74
127040 | 2021-05-07 11:52 | 26.0078 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 177.7196 | μmol/L | 30.2508 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.954 | 132579.0978 | 266769.7305 | 26.25 | 74
127050 | 2021-05-07 11:52 | 26.3409 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 177.735 | μmol/L | 30.2508 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.953 | 132602.4268 | 266751.695 | 26.25 | 74
127060 | 2021-05-07 11:52 | 26.6747 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 177.7271 | μmol/L | 30.2753 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.945 | 132564.4441 | 266770.7749 | 26.25 | 74
127070 | 2021-05-07 11:53 | 27.0075 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 177.3634 | μmol/L | 30.3059 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.958 | 132608.8692 | 266762.075 | 26.25 | 74
127080 | 2021-05-07 11:53 | 27.3412 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 177.6883 | μmol/L | 30.2997 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.939 | 132533.8664 | 266758.1665 | 26.25 | 74
127090 | 2021-05-07 11:53 | 27.6741 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 177.6829 | μmol/L | 30.2692 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.95 | 132597.4094 | 266761.2366 | 26.25 | 74
127100 | 2021-05-07 11:54 | 28.0077 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 177.5598 | μmol/L | 30.2692 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.958 | 132685.3434 | 266754.2364 | 26.25 | 74