## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-07 11:54

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
126261 | 2021-05-07 11:26 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.7419 | μmol/L | 29.9683 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.552 | 124017.0189 | 268916.9896 | 32.55 | 27.7
126271 | 2021-05-07 11:26 | 0.33097 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.5263 | μmol/L | 29.9805 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.616 | 124616.3312 | 268923.9549 | 32.55 | 27.7
126281 | 2021-05-07 11:26 | 0.66364 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.2119 | μmol/L | 30.0051 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.682 | 125178.3652 | 268919.2038 | 32.55 | 27.7
126291 | 2021-05-07 11:27 | 0.99714 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.3648 | μmol/L | 30.0419 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.775 | 125892.9307 | 268893.1834 | 32.55 | 27.7
126301 | 2021-05-07 11:27 | 1.3308 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.068 | μmol/L | 30.0235 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.856 | 126458.0943 | 268876.4578 | 32.55 | 27.7
126311 | 2021-05-07 11:27 | 1.6643 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.88 | μmol/L | 30.0296 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.923 | 126975.8287 | 268867.223 | 32.55 | 27.7
126321 | 2021-05-07 11:28 | 1.9975 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.9252 | μmol/L | 30.0235 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 20.981 | 127362.9317 | 268862.4782 | 32.55 | 27.7
126331 | 2021-05-07 11:28 | 2.3304 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.1966 | μmol/L | 30.0174 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.026 | 127705.5913 | 268848.2018 | 32.55 | 27.7
126341 | 2021-05-07 11:28 | 2.6644 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.3829 | μmol/L | 30.0296 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.07 | 128046.0909 | 268848.9082 | 32.55 | 27.7
126351 | 2021-05-07 11:29 | 2.9974 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 189.8144 | μmol/L | 30.0174 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.108 | 128326.5465 | 268830.5918 | 32.55 | 27.7
126361 | 2021-05-07 11:29 | 3.3311 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.9836 | μmol/L | 30.0603 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.143 | 128584.4677 | 268818.2893 | 32.55 | 27.7
126371 | 2021-05-07 11:29 | 3.6642 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.4473 | μmol/L | 30.0726 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.171 | 128779.1607 | 268806.6817 | 32.55 | 27.7
126381 | 2021-05-07 11:30 | 3.9976 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 187.7358 | μmol/L | 30.1278 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.195 | 128966.2493 | 268806.8477 | 32.55 | 27.7
126391 | 2021-05-07 11:30 | 4.3309 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 187.5107 | μmol/L | 30.1033 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.217 | 129119.2481 | 268781.744 | 32.55 | 27.7
126401 | 2021-05-07 11:30 | 4.6639 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 187.836 | μmol/L | 29.999 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.233 | 129243.2932 | 268798.9881 | 32.55 | 27.7
126411 | 2021-05-07 11:31 | 4.9977 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 187.3075 | μmol/L | 30.0603 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.244 | 129345.2107 | 268792.4383 | 32.55 | 27.7
126421 | 2021-05-07 11:31 | 5.3307 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 186.6866 | μmol/L | 30.1033 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.267 | 129469.9406 | 268783.4292 | 32.55 | 27.7
126431 | 2021-05-07 11:31 | 5.6637 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 186.4878 | μmol/L | 30.1094 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.277 | 129579.1716 | 268772.651 | 32.55 | 27.7
126441 | 2021-05-07 11:32 | 5.9977 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.9928 | μmol/L | 30.1217 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.303 | 129731.1124 | 268781.3212 | 32.55 | 27.7
126451 | 2021-05-07 11:32 | 6.331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.6694 | μmol/L | 30.1094 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.327 | 129864.7039 | 268771.211 | 32.55 | 27.7
126461 | 2021-05-07 11:32 | 6.6641 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.4487 | μmol/L | 30.1401 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.33 | 129946.344 | 268774.3753 | 32.55 | 27.7
126471 | 2021-05-07 11:33 | 6.9972 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.466 | μmol/L | 30.0787 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.35 | 130062.8188 | 268749.9094 | 32.55 | 27.7
126481 | 2021-05-07 11:33 | 7.3306 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.4797 | μmol/L | 30.0296 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.366 | 130150.0998 | 268753.4613 | 32.55 | 27.7
126491 | 2021-05-07 11:33 | 7.6639 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 184.9873 | μmol/L | 30.1033 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.371 | 130207.7435 | 268757.6057 | 32.55 | 27.7
126501 | 2021-05-07 11:34 | 7.997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.0551 | μmol/L | 30.0358 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.39 | 130313.1833 | 268726.3335 | 32.55 | 27.7
126511 | 2021-05-07 11:34 | 8.3308 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 184.5458 | μmol/L | 30.1155 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.394 | 130348.5077 | 268735.9708 | 32.55 | 27.7
126521 | 2021-05-07 11:34 | 8.664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 184.4737 | μmol/L | 30.0849 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.409 | 130448.4303 | 268739.5658 | 32.55 | 27.7
126531 | 2021-05-07 11:35 | 8.9974 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 184.4807 | μmol/L | 30.0603 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.417 | 130514.9986 | 268729.2442 | 32.55 | 27.7
126541 | 2021-05-07 11:35 | 9.3305 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 184.1647 | μmol/L | 30.091 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.426 | 130565.1752 | 268715.5438 | 32.55 | 27.7
126551 | 2021-05-07 11:35 | 9.6642 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.9603 | μmol/L | 30.1278 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.426 | 130592.5946 | 268703.5293 | 32.55 | 27.7
126561 | 2021-05-07 11:36 | 9.9971 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.9854 | μmol/L | 30.0971 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.435 | 130609.2665 | 268709.1023 | 32.55 | 27.7
126571 | 2021-05-07 11:36 | 10.3304 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 184.1198 | μmol/L | 30.0787 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.433 | 130621.3132 | 268705.1572 | 32.55 | 27.7
126581 | 2021-05-07 11:36 | 10.6642 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 184.1055 | μmol/L | 30.0726 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.436 | 130642.2894 | 268701.1124 | 32.55 | 27.7
126591 | 2021-05-07 11:37 | 10.9971 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.885 | μmol/L | 30.0542 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.456 | 130746.1945 | 268686.696 | 32.55 | 27.7
126601 | 2021-05-07 11:37 | 11.3308 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.8009 | μmol/L | 30.0665 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.457 | 130786.6871 | 268674.6522 | 32.55 | 27.7
126611 | 2021-05-07 11:37 | 11.664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.842 | μmol/L | 30.0358 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.465 | 130804.0432 | 268675.5819 | 32.55 | 27.7
126621 | 2021-05-07 11:38 | 11.9976 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.7812 | μmol/L | 30.0235 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.473 | 130838.1474 | 268667.9149 | 32.55 | 27.7
126631 | 2021-05-07 11:38 | 12.3307 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.5131 | μmol/L | 30.0603 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.477 | 130877.3046 | 268659.7761 | 32.55 | 27.7
126641 | 2021-05-07 11:38 | 12.6637 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.6489 | μmol/L | 30.0358 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.477 | 130863.0598 | 268650.1772 | 32.55 | 27.7
126651 | 2021-05-07 11:39 | 12.9978 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.5792 | μmol/L | 30.0542 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.475 | 130880.7843 | 268636.3224 | 32.55 | 27.7
126661 | 2021-05-07 11:39 | 13.3308 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.6131 | μmol/L | 30.048 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.475 | 130847.123 | 268639.6916 | 32.55 | 27.7
126671 | 2021-05-07 11:39 | 13.664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.0597 | μmol/L | 30.1278 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.482 | 130900.8826 | 268640.3554 | 32.55 | 27.7
126681 | 2021-05-07 11:40 | 13.9977 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.04 | μmol/L | 30.1401 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.479 | 130906.8131 | 268633.6427 | 32.55 | 27.7
126691 | 2021-05-07 11:40 | 14.3306 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.7788 | μmol/L | 30.1033 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.508 | 131064.2471 | 268625.3539 | 32.55 | 27.7
126701 | 2021-05-07 11:40 | 14.6644 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.681 | μmol/L | 30.1094 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.512 | 131114.0595 | 268632.0643 | 32.55 | 27.7
126711 | 2021-05-07 11:41 | 14.9974 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.1511 | μmol/L | 30.0358 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.508 | 131089.8871 | 268620.5406 | 32.55 | 27.7
126721 | 2021-05-07 11:41 | 15.3305 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.0033 | μmol/L | 30.048 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.513 | 131104.4155 | 268608.9674 | 32.55 | 27.7
126731 | 2021-05-07 11:41 | 15.6644 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.8003 | μmol/L | 30.0849 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.513 | 131126.2682 | 268611.4559 | 32.55 | 27.7
126741 | 2021-05-07 11:42 | 15.9974 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.5851 | μmol/L | 30.1094 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.518 | 131161.1787 | 268602.8253 | 32.55 | 27.7
126751 | 2021-05-07 11:42 | 16.3304 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.9785 | μmol/L | 30.0235 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.523 | 131177.9186 | 268596.8207 | 32.55 | 27.7
126761 | 2021-05-07 11:42 | 16.6642 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.6847 | μmol/L | 30.0971 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.516 | 131177.0452 | 268584.8735 | 32.55 | 27.7
126771 | 2021-05-07 11:43 | 16.9972 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.6724 | μmol/L | 30.0849 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.521 | 131199.1639 | 268587.3129 | 32.55 | 27.7
126781 | 2021-05-07 11:43 | 17.3311 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.6121 | μmol/L | 30.0726 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.529 | 131239.8739 | 268593.2309 | 32.55 | 27.7
126791 | 2021-05-07 11:43 | 17.6642 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.7062 | μmol/L | 30.0787 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.521 | 131228.0408 | 268580.3805 | 32.55 | 27.7
126801 | 2021-05-07 11:44 | 17.9978 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.3813 | μmol/L | 30.0971 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.535 | 131270.7777 | 268573.819 | 32.55 | 27.7
126811 | 2021-05-07 11:44 | 18.3308 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.0242 | μmol/L | 30.1708 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.532 | 131256.4637 | 268577.8033 | 32.55 | 27.7
126821 | 2021-05-07 11:44 | 18.6638 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.3542 | μmol/L | 30.1339 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.524 | 131239.3075 | 268564.1452 | 32.55 | 27.7
126831 | 2021-05-07 11:45 | 18.9976 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.4292 | μmol/L | 30.0971 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.532 | 131265.4873 | 268565.2082 | 32.55 | 27.7
126841 | 2021-05-07 11:45 | 19.3304 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.3138 | μmol/L | 30.1094 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.535 | 131296.7157 | 268550.003 | 32.55 | 27.7
126851 | 2021-05-07 11:45 | 19.6642 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.1703 | μmol/L | 30.1094 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.544 | 131365.8314 | 268561.0098 | 32.55 | 27.7
126861 | 2021-05-07 11:46 | 19.9973 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.013 | μmol/L | 30.1033 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.556 | 131435.7442 | 268548.9874 | 32.55 | 27.7
126871 | 2021-05-07 11:46 | 20.331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.0093 | μmol/L | 30.1155 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.552 | 131404.0983 | 268550.6981 | 32.55 | 27.7
126881 | 2021-05-07 11:46 | 20.6641 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.823 | μmol/L | 30.1524 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.551 | 131411.193 | 268543.0426 | 32.55 | 27.7
126891 | 2021-05-07 11:47 | 20.9971 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.0111 | μmol/L | 30.1094 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.554 | 131416.7174 | 268536.2462 | 32.55 | 27.7
126901 | 2021-05-07 11:47 | 21.3308 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.7455 | μmol/L | 30.1462 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.558 | 131439.6151 | 268525.0544 | 32.55 | 27.7
126911 | 2021-05-07 11:47 | 21.6645 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.8343 | μmol/L | 30.1155 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.563 | 131462.082 | 268511.2253 | 32.55 | 27.7
126921 | 2021-05-07 11:48 | 21.9972 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.7988 | μmol/L | 30.1278 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.561 | 131461.6992 | 268507.1847 | 32.55 | 27.7
126931 | 2021-05-07 11:48 | 22.3309 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.286 | μmol/L | 30.1953 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.57 | 131502.8869 | 268517.9172 | 32.55 | 27.7
126941 | 2021-05-07 11:48 | 22.6639 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.3374 | μmol/L | 30.183 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.571 | 131506.0221 | 268522.787 | 32.55 | 27.7
126951 | 2021-05-07 11:49 | 22.9977 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.3215 | μmol/L | 30.183 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.572 | 131512.7861 | 268501.9123 | 32.55 | 27.7
126961 | 2021-05-07 11:49 | 23.3308 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.3412 | μmol/L | 30.1708 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.575 | 131539.6639 | 268499.0356 | 32.55 | 27.7
126971 | 2021-05-07 11:49 | 23.664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.4262 | μmol/L | 30.1524 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.576 | 131553.6638 | 268515.2005 | 32.55 | 27.7
126981 | 2021-05-07 11:50 | 23.997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.934 | μmol/L | 30.2076 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.588 | 131595.022 | 268498.3224 | 32.55 | 27.7
126991 | 2021-05-07 11:50 | 24.3309 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.8453 | μmol/L | 30.2383 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.583 | 131585.5275 | 268499.0088 | 32.55 | 27.7
127001 | 2021-05-07 11:50 | 24.6639 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.1354 | μmol/L | 30.1708 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.588 | 131603.4868 | 268486.3781 | 32.55 | 27.7
127011 | 2021-05-07 11:51 | 24.9977 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.0999 | μmol/L | 30.183 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.586 | 131620.6005 | 268485.7544 | 32.55 | 27.7
127021 | 2021-05-07 11:51 | 25.3309 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.0247 | μmol/L | 30.1708 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.595 | 131664.2307 | 268474.7954 | 32.55 | 27.7
127031 | 2021-05-07 11:51 | 25.6642 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.9792 | μmol/L | 30.1646 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.6 | 131691.2104 | 268468.8756 | 32.55 | 27.7
127041 | 2021-05-07 11:52 | 25.9972 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.4489 | μmol/L | 30.2444 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.606 | 131706.5727 | 268466.9819 | 32.55 | 27.7
127051 | 2021-05-07 11:52 | 26.3311 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.7287 | μmol/L | 30.2076 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.601 | 131704.1835 | 268464.6283 | 32.55 | 27.7
127061 | 2021-05-07 11:52 | 26.664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.7404 | μmol/L | 30.1708 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.613 | 131760.5388 | 268459.2017 | 32.55 | 27.7
127071 | 2021-05-07 11:53 | 26.9977 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.8193 | μmol/L | 30.1708 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.608 | 131753.6315 | 268458.4681 | 32.55 | 27.7
127081 | 2021-05-07 11:53 | 27.3308 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.7304 | μmol/L | 30.1524 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.62 | 131819.8844 | 268453.5929 | 32.55 | 27.7
127091 | 2021-05-07 11:53 | 27.6639 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.5749 | μmol/L | 30.1953 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.615 | 131806.2283 | 268450.6791 | 32.55 | 27.7
127101 | 2021-05-07 11:54 | 27.9976 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 180.6477 | μmol/L | 30.1646 | °C | 1025 | hPa | Humid | 29 | 0 | 0 | 21.621 | 132244.1082 | 268454.9279 | 32.55 | 27.7